

Ethidium Bromide Disposal

Ethidium Bromide (3, 8-Diamino-5-ethyl-6-phenylphenanthridinium bromide) is a commonly used DNA staining dye. It binds very tightly to DNA by intercalation (slipping in between the base pairs), and is therefore considered mutagenic and should be handled appropriately due to its DNA binding properties. Inactivation with bleach has not been proven to be completely effective so the following guidelines must be met for proper disposal.

Solid Waste

Solid laboratory waste such as gloves, pipette tips, bench paper, and electrophoresis gels that are contaminated with ethidium bromide (and any other hazardous chemicals) should be collected, stored, and disposed of according to the University’s chemical waste program. Contact EHS for specific recommendations on how to properly package this material for disposal. Contamination of these items can be verified by scanning them with an ultraviolet light.

Liquid Waste

Ethidium bromide extractor funnel

Aqueous solutions of ethidium bromide can be passed through an activated charcoal funnel. The resulting liquid should be checked with a UV light for fluorescence. Lack of fluorescence indicates no residual ethidium bromide and the filtrate may be drain disposed, assuming there are no other hazardous materials in the liquid. Spent funnels should be handed as ethidium bromide solid waste as listed above. An example of these funnels is shown below and are available from [VWR Scientific](http://www.vwrsp.com) as item number 10057-756 (for 2) or 10057-758 (for 6). Other manufacturers also offer these funnels.



Large quantities of aqueous solutions of ethidium bromide that cannot be passed through the above funnel must be collected, stored, and disposed of according to the University’s chemical waste program.

Destaining Bags

Destaining bags are large plastic bags which contain a small “tea bag” packet of activated charcoal. Aqueous waste containing ethidium bromide is poured into the bag, and the ethidium bromide concentrates in the activated charcoal bag. They are available from BIO101 ([www.bio101.com](http://www.bio101.com)) or [Amresco](http://www.amresco-inc.com/DESTAINING-BAGS-E732.cmsx). The resulting liquid should be checked with a UV light for fluorescence. Lack of fluorescence indicates no residual ethidium bromide and the filtrate may be drain disposed, assuming there are no other hazardous materials in the liquid.

Activated Charcoal

Aqueous waste can also be filtered through activated charcoal. The resulting liquid should be checked with a UV light for fluorescence. Lack of fluorescence indicates no residual ethidium bromide and the filtrate may be drain disposed, assuming there are no other hazardous materials in the liquid.

July 8, 2019