Pre-Event Safety Checklist

Name of Facility: _______________________________________________________________________

Date: ______________________  	Time of Inspection: ______________________

Occupant Load:  _____________   	Number of Crowd Managers on Duty:  _______

(List names on back of form, 
1 for each 250 occupant load)

| EXITS | YES | NO |
| --- | --- | --- |
| Crowd Managers/Ushers/Event staff are familiar with the facility evacuation plan? |  |  |
| Are all exit doors unlocked? |  |  |
| Are all exit doors operational? |  |  |
| Are any exit doors chained closed? |  |  |
| Is there a clear path from the exit door to a public way, i.e. no storage or parking blocking egress routes? |  |  |
| Are all exit signs visible and illuminated |  |  |
| Is emergency lighting functional? |  |  |
| Are all exit ways, aisles, corridors, stairways, etc. clear of any obstructions? |  |  |
| Fire Alarm System | YES | NO |
| Does the system have power? (Green light glowing) |  |  |
| Does the system show any trouble signals? (Yellow light glowing) |  |  |
| Is the system in alarm? (Red light glowing) |  |  |
| Note: No lights should be illuminated other than the power light; if other lights are illuminated, contact the appropriate fire alarm technicians / maintenance office. |  |  |
| If the system has manual pull stations, are they unobstructed and available for use? |  |  |
| Is the voice evacuation (if equipped) system available for emergency announcements? |  |  |
| Are there any visible issues with smoke detectors, heat detectors, etc.? |  |  |

| Fire Protection Systems | YES | NO |
| --- | --- | --- |
| Is the sprinkler system operational? |  |  |
| Are there any visible issues with individual sprinklers (painted, obstructed, etc.)? |  |  |
| PORTABLE FIRE EXTINGUISHERS | YES | NO |
| Are fire extinguishers available, visible, fully charged, and ready to use? |  |  |
| Have fire extinguishers been inspected with a current inspection tag attached? |  |  |
| SPECIAL CONDITIONS | YES | NO |
| Have pyrotechnics and laser use been approved by PSU Environmental Health and Safety? |  |  |
| Have any flame effects been approved by PSU Environmental Health and Safety? |  |  |
| Are all decorations flame resistant or treated with an approved flame retardant? |  |  |
| Is theatrical fog (haze) being used? Has its use been reviewed and approved by appropriate individuals (fire alarm system technicians / Campus Administration / Environmental Health and Safety)? |  |  |
| OUTDOOR EVENTS | YES | NO |
| Are Emergency Access (vehicle / pedestrian) paths clear of obstructions? |  |  |
| Have any large tent installations been approved by proper authorities? |  |  |
| Are fire hydrants in the immediate area clear of all obstructions and visible? |  |  |
| Are cooking fires (charcoal, propane) located outside or in a separate tent from attendees and are fire extinguishers present? |  |  |
| OCCUPANT LOAD | YES | NO |
| Is a plan in place to ensure the maximum occupant load is not exceeded for the space? |  |  |
| NOTES AND COMMENTS |

NAME OF CROWD MANAGERS ON DUTY

Name of person completing report (Print): ________________________________________________

Signature: ___________________________________________________________________________