Environmental Health and Safety

Title: Laboratory and Research Safety Plan Document #: EHS-0004 Issued: 9/16/2021 Approved By: Robert Segura Version: 9 Page: 1 of 201

Laboratory and Research

Safety Plan

- General Safety Plan

- Laboratory Waste Management Plan

- Rules and Procedures for the Use of Radioactive Material at The Pennsylvania State University

- Unit Specific Plan

_____________________________________________________________________________________________

The Pennsylvania State University

ehs.psu.edu

814-865-6391

Overview of changes in version 9 of the Laboratory and Research Safety Plan:

A number of revisions are included in this update of the Laboratory and Research Safety Plan. Many of them are simple formatting changes that should make this document easier to use and information easier to find. The content updates presented in this document do not change any policies or procedures followed by laboratory and research groups at Penn State, but simply document already established practices that may not have appeared in writing previously.

How to use this document:

- Words and phrases that are in blue and bold are external links.

- Words and phrases that are black and underlined bring you to another section of this document.

- The table of contents is also linked to respective sections of this document.

For those using Windows as an operating system, hold down the control key and click the item of interest to follow the link.

For those using Mac as an operating system, hold down the command key and click the item of interest to follow the link.

Emergency Phone Numbers

Fire, Police, Ambulance				911

Environmental Health and Safety						814-865-6391

University Police and Public Safety					814-863-1111

University Health Services							814-863-0774

Occupational Medicine								814-863-8492

Mount Nittany Medical Center Emergency Department		814-234-6110

Poison Control									800-222-1222

Table of Contents

1.0	LABORATORY AND RESEARCH SAFETY PLAN	11

1.1	Purpose	11

2.0	Scope	12

3.0	RESPONSIBILITIES	13

3.1	Penn State Leadership	13

3.2	Finance and Business	13

3.3	Office of Physical Plant	13

3.4	Environmental Health and Safety	13

3.4.1	Assistant Director of Environmental Health and Safety	13

3.5	Budget Executives and Budget Administrators	13

3.5.1	College and Campus Safety Officers	14

3.5.2	University Safety Council	14

3.6	Senior Vice President for Research	14

3.6.1	Office for Research Protections	15

3.6.2	Senior Vice President for Research Institute Safety Officers	16

3.7	Department Heads, Directors of Academic Affairs, Center Directors, and Other Facility Directors	16

3.7.1	Departmental Safety Officers and Campus Laboratory Safety Officers	16

3.8	Principal Investigators and/or Supervisors	17

3.8.1	Supervision Requirement	18

3.9	Laboratory/Research Safety Officers	19

3.10	The Individual	19

3.10.1	Students	19

3.11	Visitors, Vendors, and Contractors	20

3.11.1	Visiting Researchers	20

3.11.2	Vendors and Contractors	20

4.0	THE LABORATORY AND RESEARCH SAFETY PLAN	21

4.1	Laboratory and Research Safety Plan	21

4.2	Laboratory and Research Safety Documentation	21

4.2.1	Department Level Documentation	22

4.3	Unit Specific Plan	22

4.3.1	Initial Preparation	22

4.3.2	Change of Facility	22

4.3.3	Addition of or Change to a Specific Project	22

4.4	Inspections	23

4.4.1	Laboratory and Research Safety Self Inspections	23

4.4.2	EHS Laboratory and Research Inspections	23

4.4.3	Other Inspections	23

4.4.4	Inspections by non-Penn State Entities	23

5.0	UNIVERSITY EMERGENCY INFORMATION	24

5.1	Where to Find Specific Information	24

5.2	University Emergency Response Plan	24

5.3	Building Emergency and Evacuation Plans	24

5.4	Power Failure	24

5.5	Incident and Accident Reporting	25

5.5.1	Accident Reporting	25

5.5.2	Incident Reporting	25

5.5.3	Near Misses	26

5.6	EHS Assistance	26

5.7	Medical Emergency Procedures	26

5.7.1	For Employees	26

5.7.2	For Students	27

5.7.3	For Individuals Working at Campuses and Other Locations	27

5.7.4	Non-Penn State Individuals, Employees, and Students	27

5.8	Personal Injury	27

5.8.1	Burn	27

5.8.2	Inhalation	27

5.8.3	Ingestion	28

5.8.4	Puncture or Cut	28

5.8.5	Needlestick	28

5.8.6	Eye Exposure	28

5.8.7	Skin Exposure	28

6.0	General Laboratory and Research Safety	29

6.1	Training	29

6.2	Exposure to Hazardous Substances	30

6.2.1	Exposure Routes	30

6.2.2	Signs and Symptoms of Exposure	30

6.2.3	Medical Surveillance	31

6.2.4	Medical Consultation and Evaluation	31

6.2.5	Medical Surveillance for Chemicals of High Chronic Toxicity	32

6.2.6	Monitoring Airborne Concentrations of Contaminants	32

6.3	Exposure Control Methods	33

6.3.1	Engineering Controls	33

6.3.2	Administrative Controls and Work Practices	36

6.3.3	Personal Protective Equipment	37

6.4	General Laboratory Protocols	45

6.4.1	Personal Hygiene	45

6.4.2	Procedures for Working Alone	46

6.4.3	Unattended/Overnight Operations	46

6.4.4	Housekeeping	46

6.4.5	Cleaning Glassware	47

6.4.6	Minors in Laboratory and Research Areas	47

6.5	General Laboratory Safety Equipment	47

6.5.1	Safety Showers	47

6.5.2	Eyewashes	48

6.5.3	Fire Extinguisher Policy	48

6.6	General Laboratory Facilities	49

6.6.1	Facility Cleaning and Maintenance	49

6.6.2	Laboratory Ventilation	50

6.6.3	Laboratory Sinks and Drain Traps	50

6.6.4	Laboratory Storage and Sprinklers	50

6.6.5	Relocating or Closing a Laboratory	51

6.6.6	Laboratory Doors	51

6.6.7	Signs and Labels for Laboratories	51

6.7	General Laboratory Equipment	52

6.7.1	Centrifuges	52

6.7.2	Sonicators	53

6.7.3	Vacuum Pumps	53

6.7.4	Temperature Control Devices	54

6.7.5	Sharps, Needles, Syringes, and Scalpel Blades	58

6.7.6	Glassware	58

6.8	Electrical Safety in Laboratories	58

6.8.1	Extension Cords, Power Strips, and Surge Protectors	59

6.8.2	Electrical Equipment	60

6.8.3	Static Electricity	60

6.9	Fire Prevention and Protection	61

6.9.1	Hot Work	61

6.10	Machine Shop Equipment	62

6.11	Transportation of Hazardous Materials	62

7.0	Chemical Hazards and Chemical Hygiene	63

7.1	Hazardous Chemicals	63

7.2	Hazard Communication	63

7.2.1	Safety Data Sheets	63

7.2.2	Chemical Labels and Labeling	67

7.2.3	Additional Sources of Chemical Hazard Information	68

7.3	Hazards and Handling of Chemical Groups	69

7.3.1	General Chemical Handling Guidelines	69

7.3.2	Chemical Emergency Procedures	70

7.3.3	Transporting Chemicals	73

7.3.4	Corrosive Materials	74

7.3.5	Flammable and Combustible Materials	79

7.3.6	Oxidizers	83

7.3.7	Highly Reactive Chemicals	84

7.3.8	Toxic Chemicals	89

7.3.9	Compressed and Liquified Gases and Cryogenic Liquids	95

7.3.10	Pesticides	103

7.4	Chemical Inventory Management	105

7.4.1	Chemicals That Shall Be Inventoried in CHIMS	106

7.4.2	Chemicals Not Required to Be Inventoried in CHIMS	106

7.4.3	Chemicals of Interest	106

7.5	Chemical Storage	106

7.5.1	General Principles of Chemical Storage	107

7.5.2	Chemical Storage Groups	108

7.5.3	Storage Group Definitions	109

7.5.4	Storage Facilities	113

7.5.5	Inspection of Stored Chemicals	113

7.5.6	Refrigerator and Freezer Storage	113

7.5.7	Tanks and Drums	114

7.6	Safety for Specific Chemical Operations	114

7.6.1	Extractions	115

7.6.2	Distillations	115

7.6.3	Reduced Pressure Operations	117

7.6.4	Cold Traps	118

7.6.5	Laboratory Reactor Pressure Vessels	118

7.7	Nanomaterials	120

7.7.1	Planning Engineered Nanomaterial Research	120

7.7.2	Engineering Controls	121

7.7.3	Work Practices	121

7.7.4	Standard Operating Procedures	122

7.7.5	Training	122

7.7.6	Personal Protective Equipment	122

7.7.7	Consultation	122

8.0	BIOLOGICAL AGENTS	123

8.1	General	123

8.2	Responsibilities	123

8.2.1	Institutional Biosafety Committee Application	123

8.3	Containment Methods	123

8.3.1	Laboratory Practice and Technique	124

8.3.2	Safety Equipment: Primary Barriers	124

8.3.3	Facility Design and Construction: Secondary Barriers	125

8.4	Biosafety Levels	125

8.4.1	Biosafety Level 1	125

8.4.2	Biosafety Level 2	127

8.4.3	Biosafety Level 3	130

8.4.4	Biosafety Level 4	131

8.5	Human Blood, Blood Products, and Other Potentially Infectious Materials	131

8.5.1	Exposure Control Plan	132

8.5.2	HIV and HBV Research Laboratories	132

8.5.3	Universal Precautions	132

8.5.4	Engineering Controls and Work Practices	132

8.5.5	Personal Protective Equipment	133

8.5.6	Housekeeping	134

8.5.7	Laundry	135

8.5.8	Hepatitis B Vaccination and Postexposure Evaluation and Follow-up	135

8.5.9	Communication of Hazard: Labels	136

8.5.10	Communication of Hazard: Information and Training	136

8.6	Recombinant or Synthetic Nucleic Acid Activities	136

8.7	Biological Spills	137

8.7.1	Sterilization, Disinfection, and Decontamination	138

8.7.2	Decontamination of Spills	141

8.7.3	Biological Spill in the Open Laboratory	141

8.7.4	Biological Spill Within a Biological Safety Cabinet	141

8.7.5	Biological Spill in a Centrifuge or Other Equipment	142

8.7.6	Biological Spill on a Person	142

9.0	Research Involving Animals	143

9.1	Oversight of Research Involving Animals	143

9.2	Hazards of Working with Animals	143

9.2.1	Physical Hazards	143

9.2.2	Allergens	143

9.2.3	Zoonoses	144

9.2.4	Chemical Hazards	145

9.2.5	Biological Hazards	145

9.2.6	Radiological Hazards	146

9.3	Guidelines for Use of Invertebrate Animals	146

9.3.1	Permits and Approvals for Collection and Maintenance of Invertebrate Collections	146

9.3.2	Housing and Containment of Invertebrate Animals	146

9.3.3	Hazards of Collecting Invertebrates	147

9.3.4	Beekeeping Safety	147

9.3.5	Cone Snail Safety	147

9.4	Preserved Animals and Specimens	148

9.4.1	Modern Preservation of Animals and Specimens	148

9.4.2	Historically Preserved Specimen Hazards	148

9.4.3	Commonly Preserved Specimens	148

9.4.4	Hazardous Pesticides and Preservatives	149

9.4.5	Rodent Related Hazards	151

9.4.6	Other Potential Hazards	151

9.4.7	Detection	151

9.4.8	Hazard Assessment and Control	152

9.4.9	Transfer or Disposal of Contaminated or Potentially Contaminated Specimens	154

10.0	Radiation Protection	155

10.1	Radioactive Materials	155

10.2	Lasers	155

10.2.1	Laser Registration and Setup	155

10.2.2	Training	155

10.2.3	Laser Controlled Areas	156

10.2.4	Personal Protective Equipment	157

10.2.5	Responsibilities	157

10.2.6	Laser Audits	158

10.3	Non-Ionizing Radiation	158

10.4	Radiation Producing Equipment	158

10.5	Special Precautions against Ultraviolet Light	158

11.0	Laboratory and Research Waste	160

11.1	Waste Minimization	160

11.2	General Research Waste	160

11.2.1	Trash	160

11.2.2	Recycling	160

11.2.3	Uncontaminated Broken Glass	161

11.2.4	Uncontaminated Sharps	162

11.3	Chemical and Hazardous Waste	162

11.3.1	Definition of Hazardous Waste	163

11.3.2	Responsibilities	163

11.3.3	Handling of Chemical Waste	164

11.3.4	Satellite Accumulation Area Requirements	164

11.3.5	Chemical Waste Containers	164

11.3.6	Chemical Waste Labeling	165

11.3.7	Storage of Chemical Waste	166

11.3.8	Comingling and Mixing of Chemical Waste	166

11.3.9	Chemical Waste Pickup	166

11.3.10	Sanitary Sewer Disposal	166

11.3.11	Treatment	167

11.3.12	Chemically Contaminated Sharps	167

11.3.13	Disposal of Compressed Gas Cylinders	168

11.3.14	Electrophoresis Gels	168

11.3.15	Disposal of Unknown Chemicals	168

11.4	Regulated Medical Waste	169

11.4.1	Separation of Regulated Medical Waste	169

11.4.2	Solid Regulated Medical Waste	170

11.4.3	Liquid Regulated Medical Waste	170

11.4.4	Sharps Contaminated with Regulated Medical Waste	170

11.4.5	Storage and Transport of Regulated Medical Waste	171

11.4.6	Treatment of Regulated Medical Waste	171

11.5	Radioactive Waste	173

11.6	Mixed Waste	173

11.6.1	Mixed Regulated Medical and Radioactive Waste	173

11.6.2	Mixed Chemical and Radioactive Waste	173

11.6.3	Mixed Chemical and Regulated Medical Waste	174

11.6.4	Mixed Chemical, Radioactive, and Regulated Medical Waste	174

11.7	Batteries	175

11.8	Equipment Lamps and Bulbs	175

11.9	Equipment Disposal	175

11.10	Waste Generated From Animal Research	176

11.11	Disposal of Controlled Substances	176

12.0	Abbreviations	177

13.0	REFERENCES	178

13.1	Federal Laws and Regulations	178

13.1.1	Environmental Protection Agency (EPA)	178

13.1.2	National Institutes of Health (NIH)	178

13.1.3	Occupational Health and Safety Administration (OSHA)	178

13.2	State Laws	179

13.2.1	PA Department of Agriculture	179

13.2.2	Department of Environmental Protection	179

13.3	Penn State Policies and Programs	179

13.4	Nanomaterial References	179

14.0	REVISION SUMMARY TABLE	181

15.0	ATTACHMENTS	182

Appendix A – Unit Specific Plan	183

Appendix B – Standard Operating Procedures	184

Appendix C – Emergency Response Training Fact Sheet	185

Appendix D – Chemical Safety Fact Sheet	187

Appendix E – Compressed Gas Cylinders Fact Sheet	190

Appendix F – Highly Reactive Materials, High-Pressure Reactions, or Vacuum Systems Fact Sheet	193

Appendix G – Biological Safety Fact Sheet	197

LIST OF TABLES

Table 6.1	Engineering Control Selection Guide	33

Table 6.2	Common Lab Coat Fabric Information	41

Table 6.3	Properties of Protective Clothing Materials	42

Table 6.4	Common Heat Bath Materials and Properties	57

Table 7.1	GHS Pictograms and Their Corresponding Chemical Hazards.	64

Table 7.2	Flammable and Combustible Liquid Classification	79

Table 7.3	Characteristics of Common Solvents	80

Table 7.4	Maximum Allowable Size of Flammable and Combustible Liquid Containers in Laboratories	81

Table 7.5	Examples of Explosive and Reactive (Unstable) Chemicals	84

Table 7.6	Common Peroxide Forming Chemicals	87

Table 7.7 	Examples of Acute Toxicity Compounds	91

Table 7.8	OSHA Carcinogen List	92

Table 7.9	Examples of Embryotoxins	94

Table 7.10	Chemicals That Form Peroxides Upon Concentration	116

Table 7.11	Exposure Risks and Control Measures for Nanomaterials	120

Table 8.1	Summary of Practical Disinfectants	139

LIST OF FIGURES

Figure 7.1	Standard Hazard Warning Label.	67

Figure 7.2	Alternate Labeling Using HMIS Is Allowed for Workplace Chemical Bottles.	68

Figure 7.3	Alternate Labeling Using the NFPA Diamond Is Also Allowed.	68

Figure 9.1	Examples of acceptable container labels	154

Figure 11.1	Example of a Properly Completed Green Tag	165

List of Boxes

Box 7.1	General Guidelines for Chemical Handling	69

Box 7.2	Procedure for Simple Low-Toxicity Chemical Spills	72

Box 7.3	Procedure for Chemical Spill on a Person	72

Box 7.4	Procedure for Transport of Chemicals	73

Box 7.5 	General Guidelines for Handling Corrosive Materials	74

Box 7.6	Procedure for Inorganic Acid Neutralization	75

Box 7.7	Procedure for Base Neutralization	76

Box 7.8	Procedure for Spills of Corrosive Materials	78

Box 7.9	Procedure for Spills of Flammable or Volatile Materials	82

Box 7.10	Procedure for Spills of Highly Reactive Materials	89

Box 7.11	Guidelines for Handling Toxic Chemicals	89

Box 7.12	Procedure for Spills of Toxic Chemicals	90

Box 7.13	Procedure for Mercury Spills	91

Box 7.14	Additional Guidelines for Handling Chemicals of Acute or Chronic Toxicity	94

Box 7.15	Guidelines for Handling Compressed Gases	95

Box 7.16	Procedure for Cryogenic Liquid Spill on a Person	101

Box 7.17	Guidelines for Handling Pesticides	104

# LABORATORY AND RESEARCH SAFETY PLAN

## Purpose

The Pennsylvania State University (Penn State) has established a policy for the management of laboratory and research hazards, Safety Policy SY43: Laboratory and Research Safety Plan (LRSP).

The LRSP provides information and guidance to help you conduct your laboratory and research work safely and in compliance with environmental health and safety regulations and Penn State policy. It is also a useful training resource for principal investigators (PI) and other supervisory personnel.

The LRSP is made up of four parts: the General Safety Plan (this document), the Laboratory Waste Management Plan, Rules and Procedures for the Use of Radioactive Material at The Pennsylvania State University, and the Unit Specific Plan. All four parts make up the entirety of the LRSP.

The General Safety Plan serves as a reference source for a broad range of general safety issues for laboratories and research areas. Your facility's Unit Specific Plan is the portion of the plan that addresses hazards specific to your laboratory or research area. Users of radioactive material shall follow the Rules and Procedures for the Use of Radioactive Material at The Pennsylvania State University. Generators of unwanted chemical material shall follow the Laboratory Waste Management Plan. These four parts should provide comprehensive information to address hazards in your area.

The LRSP shall be made available to all research and laboratory workers. Electronic access to the General Safety Plan (this document), Laboratory Waste Management Plan, and Rules and Procedures for the Use of Radioactive Material at The Pennsylvania State University is sufficient. A completed Unit Specific Plan shall be made available in paper copy in each laboratory or research area.

Although the information in this document is compiled from sources believed to be reliable, it is not all encompassing and is intended only to serve as a starting point for good safety practices. The laboratory or research PI or supervisor is responsible for adding specific information, for developing and maintaining a safe workplace, and for complying with federal, state, and local laws, and Penn State policy.

Whenever used, the word shall indicates required procedures. The word should indicates a recommendation for good practice.

The LRSP is the Chemical Hygiene Plan for Penn State, including all associated materials, such as the Unit Specific Plan, Standard Operating Procedures (SOPs), Fact Sheets, Chemical Inventory Management System (CHIMS), etc. Further information about the requirements of the Chemical Hygiene Plan, as per the Occupational Safety and Health Administration (OSHA), can be found in 29 CFR 1910.1450 and its appendices.

# Scope

As per Safety Policy SY43: Laboratory and Research Safety Plan, this program applies to all employees, students, visitors, and any other individuals at all locations of Penn State who work in research or laboratory settings (except for the Hershey Medical Center and College of Medicine). Penn State employees and students shall follow the guidelines and regulations of institutions they are visiting for research purposes, including other universities, laboratories, and field sites.

# RESPONSIBILITIES

This section assigns and describes responsibilities associated with laboratory and research safety practices.

## Penn State Leadership

The University president endorses Penn State’s Environmental Health and Safety (EHS) policy SY01: Environmental Health and Safety Policy requiring that the University leadership maintain a safe work environment within their jurisdiction, by monitoring and exercising control over their assigned areas.

## Finance and Business

The president has delegated administrative responsibility for activities of EHS to Finance and Business.

## Office of Physical Plant

The Office of Physical Plant (OPP) reports to Finance and Business and oversees the activities of EHS.

## Environmental Health and Safety

The director of EHS reports to OPP. EHS has overall responsibility for the administration of Penn State’s environmental health and safety programs. Their mission is to work with the university community to develop and implement efficient, comprehensive, and pro-active health and safety programs.

EHS responsibilities include:

- developing the LRSP, including appropriate chemical hygiene policies and practices,

- providing resources and assisting work units in implementing the LRSP,

- developing and providing related training materials,

- auditing compliance in laboratory and research areas,

- coordinating collection of hazardous waste produced in laboratories,

- responding to emergencies in the event of a spill, and

- periodically reviewing and updating the LRSP, as needed.

EHS representatives are authorized to enter Penn State facilities within their jurisdiction at any time to observe working conditions, monitor equipment, and sample for contaminants. EHS is authorized to close a facility or stop a process or procedure that poses an imminent danger to life or property.

### Assistant Director of Environmental Health and Safety

The assistant director of EHS serves as the Chemical Hygiene Officer (CHO) for Penn State.

## Budget Executives and Budget Administrators

Individuals in roles such as chancellor, dean, associate dean, division head, institute directors, etc., have the primary responsibility to maintain a safe work environment within their jurisdiction, by monitoring and exercising control over their assigned areas.

- Assign a representative from each academic and administrative unit to the University Safety Council. This representative must be selected to ensure compliance with this policy and other appropriate University safety policies, rules, procedures, and practices. This is often the individual designated to act on behalf of the budget executive or budget administrator.

- Communicate to all faculty, staff, and students that health and safety of persons in the workplace and environment are of the highest priority at Penn State.

- Ensure that health and safety responsibilities are carried out in the academic departments or administrative units for which they are responsible.

- Ensure that environmental health and safety obligations established by this program applicable to their areas of jurisdiction are carried out. This includes assuring compliance with applicable state and federal health and safety rules, regulations, standards, and procedures. Included, for example, are regulations of the Pennsylvania Department of Environmental Protection (DEP), Nuclear Regulatory Commission (NRC), and policies and procedures established by EHS.

- Monitor implementation of programs designed to protect the health and safety of faculty, staff, students, and visitors:

  - Consult with their University Safety Council representative and/or EHS with respect to new, existing, or planned facilities or equipment that may present a health or safety hazard to determine specific measures that may need to be implemented to control these hazards before exposure to these hazards may occur.

  - Support measures such as training, use of protective devices, and resources to control and prevent hazards.

### College and Campus Safety Officers

Each College or Campus Safety Officer shall:

- attend the regularly scheduled meetings and special meetings of the University Safety Council, and report Council activities to the appropriate budget executive.

- establish and maintain, as chairperson, a Safety Committee within the member's area of responsibility. The size and structure of this Committee shall be dictated by the types of activities, the potential hazards inherent to those activities, and the number of persons who may be exposed.

- accompany insurance company loss prevention representatives on inspections of areas under the Safety Officer's jurisdiction.

- review all Employer's Report of Occupational Injury or Disease for employee accidents, or the Incident Report for non-employees or employees not engaged in normal employment activities, whichever report is appropriate for the accident/illness, and any other associated accident/illness reports. They shall also assist in the investigation of all serious accidents, and all other accidents when requested by the supervisor.

- initiate proper follow-up measures and ensure corrective actions are implemented when unsafe conditions, practices, or equipment are reported or observed.

### University Safety Council

The University Safety Council is comprised of members representing academic colleges and administrative units, as appointed by their respective budget executives. University Safety Council representatives are commonly referred to as "College Safety Officers."

The duties of the University Safety Council are to develop and implement, under the guidance of EHS, a comprehensive and practical environmental health and safety program, and to maintain an environment that is conducive to the safety, health, and well-being of the University community.

## Senior Vice President for Research

The senior vice president for research reports to the executive vice president and provost and oversees the activities of the Office for Research Protections (ORP), including appointing members to the Institutional Animal Care and Use Committee (IACUC), Institutional Biosafety Committee (IBC), Institutional Review Board (IRB), and University Isotope Committee (UIC).

### Office for Research Protections

The ORP partners with researchers to maintain the integrity of Penn State research involving human subjects, vertebrate animals, regulated biohazardous materials, and radioisotopes. ORP also provides oversight for research that includes the use of unmanned aircraft (UA) and controlled substances.

#### Institutional Animal Care and Use Committee

The IACUC is responsible for reviewing all proposed research, testing, or teaching activities involving vertebrate animals to be conducted at Penn State. Animal work involving the use of biohazardous agents or radioisotopes requires prior approval of the IBC or UIC, respectively. See Research Protections Policy RP04: Care and Use of Vertebrate Animals for further details.

#### Institutional Biosafety Committee

The IBC is responsible for reviewing all research and instruction involving regulated biohazardous materials, including recombinant DNA, as defined in Research Protections Policy RP11: Use of Regulated and Biohazardous Materials in Research and Instruction. Approval by the IBC must be granted prior to the use of any biohazardous material.

#### Institutional Review Board

The IRB has the authority to review all human subject research in which Penn State is engaged, regardless of funding or research site, including the categories exempted or waived by Office of Human Research Protections or Food and Drug Administration (FDA) regulations. See Research Protections Policy RP03: The Use of Human Participates in Research for further details.

#### University Isotopes Committee

The UIC is responsible for the administration of specific licenses issued to Penn State for the use of radioactive materials and ensuring that such licensed use meets federal, state, and local regulations and University policy. In addition, the UIC evaluates procedures, and approves, denies, or rescinds individual University isotope authorizations. The Committee meets on a quarterly basis to address the University's radioactive material status. See Safety Policy SY14: Use of Radioactive Materials for further details.

#### Unmanned Aircraft

All personnel, including faculty, staff, students, and third parties (contractors) wishing to operate UA (i.e., drones) on Penn State property or as part of a Penn State activity must go through the proper channels to request approval. UA operations are not permitted until approval is granted by the central UA Operations Team within ORP. See Safety Policy SY45: Use of Unmanned Aircraft (“UA”) for further details.

#### Controlled Substances

ORP assists research groups in complying with regulations and requirements that govern the use of controlled substances in research. This includes identifying the requirements for registration and use of controlled substances. Penn State does not obtain or maintain Drug Enforcement Administration (DEA) registration for investigators. Investigators are responsible for obtaining and maintaining registration directly through the DEA. See Research Protections Policy RP13: Use of Controlled Substances in Research for further details.

### Senior Vice President for Research Institute Safety Officers

Safety officers for the Institutes under the senior vice president for research straddle the responsibilities of both college safety officers, described above, and those of department safety officers, described below. They are in a unique position of being responsible for research space occupied by research groups from other colleges and work units. Like departments, they are responsible for the safety of their employees and all of the associated tasks and record keeping listed in the next section. Institute safety officers may also be asked to help with investigations if facility issues need to be addressed, even if the people involved are not Institute employees.

## Department Heads, Directors of Academic Affairs, Center Directors, and Other Facility Directors

The term “department head” is used in this text to include directors of academic affairs (DAA), center directors, and other facility directors.

The senior vice president for finance and business and the senior vice president for research have assigned direct responsibility for compliance with Penn State’s environmental health and safety programs to department heads at University Park and to DAAs at commonwealth campuses. Department heads shall provide a safe workplace and shall implement the environmental health and safety programs. This includes ensuring that personnel are adequately trained, and overseeing the preparation and submission of annual laboratory and research safety self-inspections.

Department heads should appoint departmental safety officers and alternates who are responsible for the oversight and coordination of safety issues within that specific department, and serve as the primary point of contact and liaison with the College or Campus Safety Officer.

Department heads shall maintain discipline, enforce rules and regulations, and take prompt, effective corrective action when necessary. The department head shall also provide assistance to EHS staff when situations arise involving investigators and other personnel in the department.

Department heads shall be familiar with and understand the federal, state, and local regulations and Penn State policies applicable to the department's work and shall ensure compliance through PIs and other supervisory personnel. Regulatory and policy documents are available on the EHS website, ehs.psu.edu and from EHS.

The department head may delegate safety and health-related tasks to PIs or other supervisors, but ultimately compliance is the department head's responsibility.

### Departmental Safety Officers and Campus Laboratory Safety Officers

Each Departmental Safety Officer or Campus Laboratory Safety Officer shall:

- establish and maintain, as chairperson, a Safety Committee within their area of responsibility. The size and structure of this Committee shall be dictated by the types of activities, the potential hazards inherent to those activities, and the number of persons who may be exposed.

- work with Department administration to visibly demonstrate leadership commitment to workplace safety and health.

- implement processes to raise work unit awareness of the safety officer and safety committee.

- assist in the investigation of all serious accidents and incidents, and all other accidents and incidents when requested by the supervisor or EHS.

- initiate proper follow-up measures and ensure corrective actions are implemented when unsafe conditions, practices, or equipment are reported or observed.

- implement processes to ensure that all personnel in their area know what to do in an emergency.

- familiarize themselves, and members of their department’s safety committee, with the EHS website, identifying those programs that are applicable to their areas.

- proactively provide EHS information and serve as a resource for students and employees in their areas.

- ensure that required training is delivered and completed.

- coordinate centralized record keeping. This includes:

  - copies of laboratory and research safety self inspections, including PI and department head signatures.

  - list of individuals who have had laboratory and research safety training, including initial and annual refresher.

- contact EHS to facilitate laboratory moves, either moving within or leaving the university.

- provide to EHS confirmation that all affected individuals annually complete and submit the laboratory and research safety self-inspection.

- serve as the CHIMS officer with the following responsibilities:

  - Contact EHS with required building and personnel information.

  - Be familiar with the use and features of the CHIMS.

  - Ensure that all chemical users within their areas of jurisdiction update the CHIMS annually.

  - Maintain ongoing communications with college safety officers in implementation of and compliance with this policy.

- help facilitate EHS laboratory inspections:

  - Responsible for working with College Safety officer to schedule inspections.

  - Accompany EHS on inspections.

  - Distribute inspection forms to faculty following inspection.

  - Collect all signed forms from faculty and ensure deficiencies have been corrected.

  - Forward forms to EHS.

## Principal Investigators and/or Supervisors

Anyone who supervises or oversees laboratories or research is responsible for the safe and legal conduct of research under their purview. This is commonly the PI for a laboratory, but also includes supervisors of laboratory and research areas, farms, facilities, etc. All supervisors, including department heads, faculty, and other employees with direct oversight of Penn State activities and employees or students have specific responsibilities to provide for the health and safety of those supervised. They are in a key position in the organizational structure to carry out safety policies and to prevent injuries to their employees and students.

This responsibility shall not be delegated. The PI/supervisor shall be aware of all of the hazards associated with all materials present in their laboratory and research areas. In the event of an accident or incident, the PI/supervisor shall initiate appropriate emergency procedures.

The PI/supervisor shall:

- be thoroughly informed of appropriate Penn State and departmental safety policies, rules, and procedures and how they specifically apply to their responsibilities and authority.

- inform all new and current personnel that safety and health, and concern for the environment, are priorities at Penn State.

- inform all new and current personnel about environmental health and safety policies, rules, regulations, and procedures, as well as their specific responsibilities.

- be familiar with and understand the rules, regulations, and Penn State policies pertaining to the workplace. These encompass, but are not limited to, the following items: training, record keeping, labeling of chemicals, labeling and proper disposal of surplus and unwanted chemicals and biological materials, posting of warnings, medical surveillance, chemical inventory management and reporting, engineering controls, safe work practices, provision of personal protective equipment (PPE), management of unwanted materials, requirements of the Laboratory Waste Management Plan, and access restrictions.

- ensure that required safety equipment, devices, and PPE are provided and maintained, and are properly used by individuals working in their operations.

- provide personnel with instruction and assistance in the proper operation of equipment or materials involved in any operation that may be potentially hazardous.

- take prompt corrective action when unsafe conditions, practices, or equipment are reported or observed.

- require prompt reporting of health and safety concerns.

- promptly conduct a thorough investigation in all work-related injuries, illnesses, and accidents, submit appropriate recommendations on all reports, including the Employer's Report of Occupational Injury or Disease or the Incident Report, as appropriate, and follow through to ensure corrective measures have been implemented.

- coordinate or conduct inspections to maintain safe and healthful conditions, and address any deficiencies that are identified.

- provide financial support for health and safety improvements, or request assistance from the next higher level of supervision regarding these requests.

- prepare a Unit Specific Plan and shall make all laboratory personnel aware of the plan.

- review and update the Unit Specific Plan annually, ensuring completion of certification of agreement by all affected personnel.

- ensure SOPs are developed for hazardous materials and operations not covered in the LRSP.

- provide for health and safety training.

- ensure all personnel, including employees, visitors, and students receive Initial Laboratory and Research Safety Training provided by EHS, including completion of the annual refresher. PIs are also required to complete these trainings.

- provide training and information on the LRSP including the Unit Specific Plan to all affected personnel.

- notify personnel of hazardous chemical monitoring results, if any.

- answer questions and concerns about health and safety topics as they pertain to their research areas, and forwards unresolved questions and concerns to EHS for response.

- make sure personnel who develop signs or symptoms associated with hazardous material exposure are given an opportunity to receive medical attention.

- make available to employees permissible exposure limits (PEL) for hazardous chemicals, information on signs and symptoms associated with exposures to hazardous chemicals used, and Safety Data Sheets (SDS) for hazardous chemicals used. EHS is available to provide guidance.

- either act as or assigns an individual in their laboratory the responsibility for overseeing safety within the laboratory. This person serves as the Laboratory/Research Safety Officer.

- serve as the chemical hygiene officer (CHO) for their lab, unless they have delegated this responsibility to another individual within their laboratory.

### Supervision Requirement

Everyone needs to have a supervisor, or someone acting in that capacity, at all times in order to ensure that the supervisory responsibilities listed above and in Safety Policy SY01: Environmental Health and Safety Policy are followed. If a faculty member or supervisor will be out of town, especially long term, someone else must be clearly assigned to take on those responsibilities and be familiar with the activities the individual is doing, including the potential hazards of the work.

## Laboratory/Research Safety Officers

Each PI/supervisor shall either act as, or assign, an individual in their laboratory and research area the responsibility for overseeing safety within the area. This person serves as the Laboratory/Research Safety Officer. In areas where hazardous chemicals are used, this person also serves as the lab’s CHO.

Laboratory/Research Safety officers:

- monitor the procurement and use of chemicals.

- oversee the Satellite Accumulation Area and ensure they are inspected weekly.

- ensure proper disposal of chemicals used in the laboratory and that they are submitted for pick up promptly.

- ensure that appropriate self-inspections are maintained.

- provide input to PIs/Supervisors on developing precautions and adequate facilities.

- know the current legal requirements concerning regulated substances, as provided through EHS resources.

- seek ways to improve the lab’s Unit Specific Plan.

## The Individual

Every individual working in a laboratory, any other work site where research is conducted, or where hazardous materials are used, shall know and comply with Penn State’s safety policies and rules, and shall follow both oral and written instructions from the PI or supervisor. The individual shall report to the PI any unsafe conditions and any accident or exposure to chemicals or biological agents. If the individual receives no response or an unsatisfactory response, they shall contact the department head or EHS.

All Penn State employees and students have specific responsibilities to comply with established health and safety policies, standards, rules, procedures, and regulations. Compliance with these is essential to create and maintain a healthy and safe environment at all Penn State locations.

Individuals working in research areas, laboratories, or with hazardous materials shall:

- comply with applicable environmental health and safety policies, standards, rules, regulations, and procedures. These include safety-related signs, posters, warnings, and written or oral directions when performing tasks.

- not perform any function or operation that is considered hazardous, or is known to be hazardous, without proper instructions and authorization.

- only use equipment and materials approved or provided by the supervisor or instructor and for which instruction has been provided by this or prior experience, training, and proven competence.

- become thoroughly knowledgeable about potential hazards associated with the work area, knowing where information on these hazards is maintained, and how to use this information when needed.

- wear or use appropriate PPE.

- report all unsafe conditions, practices, or equipment to the PI, supervisor, instructor, or safety officer whenever deficiencies are observed.

- inform the PI, supervisor, or instructor immediately of all work-related injuries or accidents and obtain prompt medical attention when necessary.

- provide information necessary for the PI, supervisor, or safety officer to adequately and thoroughly complete the Employer's Report of Occupational Injury or Disease or the Incident Report, as appropriate, and any other associated accident/illness reports.

### Students

Although many laws apply only to employees (including student employees), it is the policy of Penn State to ensure that everyone, including students, who might be exposed to hazardous materials in the course of their activities at Penn State are also adequately protected and trained. Students shall receive instruction in the appropriate safety precautions for their specific teaching and research labs, and are expected to follow the given rules.

## Visitors, Vendors, and Contractors

### Visiting Researchers

Visiting researchers, including visiting scholars, regardless of position or duration of their stay at Penn State, are expected to follow the same laws, regulations, and Penn State safety policies and procedures as all other individuals working in laboratory and research areas. See Academic policy AC01: Visiting Scholars for further information about visiting scholars.

### Vendors and Contractors

Vendors and contractors, regardless of employer or duration of their stay at Penn State, are expected to, at minimum, follow the same laws, regulations, and Penn State safety policies and procedures as all other individuals working in laboratory and research areas.

# THE LABORATORY AND RESEARCH SAFETY PLAN

## Laboratory and Research Safety Plan

The LRSP is intended to be a central safety resource for laboratory and research areas. The complete LRSP includes:

- General Safety Plan (this document)

- Laboratory Waste Management Plan

- Rules and Procedures for the Use of Radioactive Material at The Pennsylvania State University

- Unit Specific Plan

## Laboratory and Research Safety Documentation

Numerous federal and state regulations, including OSHA (29 CFR 1910.1450), Environmental Protection Agency (EPA) (Subpart K), DEP, and Safety Policies (SY01 and SY43) require specific documentation to be readily available within the workplace. To meet these requirements, and others, the following documentation shall be kept, on paper, in every laboratory and research area at Penn State:

- Unit Specific Plan (reviewed annually, updated as needed)

- Certification of Agreement page (re-signed every year)

- Standard Operating Procedures (SOPs)

- EHS safety training records (including all initial and refresher laboratory and research safety training records)

- CHIMS printout (updated electronically at least annually, printed yearly)

- Laboratory and Research Safety self-inspection form

- Laboratory Waste Management Plan

  - specifically 3 years of satellite accumulation area weekly inspection sheets

Other regulations and programs may apply to laboratory and research areas that also have documentation requirements. These programs may include, but are not limited to:

- biosafety (covered in Section 8.0)

- bloodborne pathogens (covered in Section 8.5)

- laser safety (covered in Section 10.2)

- machine shop safety (covered in Section 6.10)

- pesticide management (covered in Section 7.3.10)

- respiratory protection (covered in Section 6.3.3.8)

These documents should preferably be kept in one binder entitled Laboratory and Research Safety binder, in a holder on the back of the room’s entrance door or to either side of the door inside the lab. Some items may be kept electronically with prior written approval by EHS.

Research groups may also, at their discretion, maintain the following documents on paper in the lab, though they are not required:

- The entirety of the Laboratory and Research Safety Plan

- The entirety of the Laboratory Waste Management Plan

- Safety Data Sheets (SDS)

Laboratory and research groups that occupy more than once space within the same building are not required to make duplicate binders. The binder may be kept in one location with signage posted in the other locations about where the binder may be found. This does NOT apply to research groups that occupy space in more than one buildings. These research groups are required to have a binder for each building that covers the research specific to that building.

While this documentation is meant to inform researchers of the hazards they may face in the course of their research, modern laboratory design (especially shared spaces) and the need to share equipment means that researchers may need to be aware of additional hazards. Research groups that share spaces and/or equipment with others should be aware of the hazards of neighboring groups or hazards that may be introduced by sharing equipment.

### Department Level Documentation

As discussed in section 3.7.1, departments are required to retain certain documents, including laboratory and research safety self inspections and initial and refresher Laboratory and Research Safety training records.

## Unit Specific Plan

The Unit Specific Plan is the laboratory-specific section of the LRSP for research labs, teaching labs, research areas, and common facilities (those shared by more than one researcher). In the case of shared facilities, the director, coordinator, or designated facility supervisor for the center shall compile the Unit Specific Plan. A blank template of the Unit Specific Plan can be found in the forms section of the Laboratory and Research Safety webpage. After initial preparation, the Unit Specific Plan shall be reviewed at least annually, and updated as needed.

### Initial Preparation

If biological, chemical, or radiological materials, or reactive processes are used, the PI/supervisor shall prepare a Unit Specific Plan. It shall be made available for review by EHS. The Unit Specific Plan contains the following sections; only sections that are applicable need be completed.

- Research Overview

- General Safety

- Chemical Safety

- Biological Safety

- Radiation Safety

- Animal Related Hazards

- Physical Hazards

- Safety Precautions in Place

- Certification Agreement

### Change of Facility

A new Unit Specific Plan shall be prepared when new facilities are opened or when labs move within Penn State. The original Unit Specific Plan will not be considered valid for the new space.

For further information about laboratory relocation, see section 6.6.5.

### Addition of or Change to a Specific Project

A Unit Specific Plan shall be prepared or modified for new projects not covered by the original Unit Specific Plan.

## Inspections

Penn State has an inspection program for all laboratory and research areas.

### Laboratory and Research Safety Self Inspections

The Laboratory and Research Safety Self Inspection form provides a useful tool for evaluating your laboratory or research areas. The self inspection shall be performed annually by an individual familiar with the research being performed. This form should be completed in January (unless otherwise stated), sent to EHS, and a copy placed in the Laboratory and Research Safety binder.

This same form can also be used for peer inspections of laboratories.

Research groups that are new to Penn State should perform this self inspection shortly after setting up the lab. Likewise, research groups that move within Penn State should perform this self inspection shortly after setting up the lab after a move.

### EHS Laboratory and Research Inspections

EHS staff regularly conduct safety inspections of all laboratory and research areas. PIs or supervisors may be asked to update the Unit Specific Plan and other information. The inspector may examine general laboratory/research conditions, engineering controls, housekeeping, work practices, chemical storage, use of PPE, signs and postings, documentation, and records. Researchers may also be interviewed. Inspection findings are provided in a written report to the PI or supervisor, department head, and safety officer with the requirement that all shortcomings are addressed promptly.

### Other Inspections

EHS may perform other types of inspections within laboratory and research areas to cover topics such as biosafety, radiation protection, environmental protections, or machine shop safety.

### Inspections by non-Penn State Entities

Many regulatory agencies and non-Penn State organizations also perform inspections or audits of laboratory and research spaces. These inspections may be scheduled or unscheduled. If an inspector from an agency such as OSHA, EPA, DEP, United States Department of Agriculture (USDA), DEA, FM Global, etc. should come to your lab, call EHS immediately at 814-865-6391.

# UNIVERSITY EMERGENCY INFORMATION

## Where to Find Specific Information

This section provides general information about the University's emergency response programs.

- For detailed emergency notification procedures and other general emergency information, including fire safety, see the EHS In Case of Emergency website.

- For emergency information relating to chemical spills and exposures, see Section 7.0.

- For emergency information relating to biological spills and exposures, including exposure to bloodborne pathogens, see Section 8.0.

Call for assistance when needed. Always call 911 if there is an explosion, fire, injury, or spill-related evacuation. If there is a chemical or biological spill, call EHS, 814-865-6391, during normal business hours, 8 am – 5 pm to report the spill. After normal business hours at University Park, call University Police and Public Safety, 814-863-1111 or 911. University Police or Security Office phone numbers for each campus can be found at police.psu.edu.

## University Emergency Response Plan

University Police and Public Safety maintains Penn State’s Emergency Response Plan and an Operation Plan for emergencies. The Emergency Response Plan formalizes responses to all classes of emergencies, from small events to catastrophes. In emergency situations, the role of University Police is to investigate the situation, provide site security, implement the emergency plan, and establish communications. EHS will advise and assist with hazardous-material spill control and cleanup. When the ability to respond adequately to an emergency is beyond the capability of University personnel, University Police will call the local fire department or local hazardous materials response team.

## Building Emergency and Evacuation Plans

Potential emergencies such as fires, explosions, spills, chemical releases, and other emergencies may require individuals to evacuate the building. A Building Emergency Evacuation Plan and adequate occupant familiarity with the building minimize threats to life and property. The Building Emergency Evacuation Plan is intended to communicate the policies and procedures to follow in an emergency situation. Building Emergency Evacuation Plans are managed by Building Emergency Coordinators, designated by College Safety Officers.

Every laboratory should have a plan in place for how to handle emergency shut down of the laboratory, including equipment. Everyone working in a laboratory and research area should also know the designated meeting site for their building.

In the event of a fire, hazardous material release, or other hazardous situation requiring emergency response, the first person at the scene will:

- Activate the fire alarm, if needed

- Evacuate and go to the building’s designated meeting site

- Call 911

- Assist emergency personnel by providing information regarding location of the incident, origin, and persons involved.

## Power Failure

In the event of a power failure, if there is adequate emergency lighting and it is safe to do so, cap any open chemical or biological containers, close gas cylinders, perform an orderly shutdown of equipment and processes, and close the fume hood or biological safety cabinet (BSC) sash. Leave immediately when the area has been secured and can be left unattended. Contact EHS or University Police if there is a possibility of an uncontrolled reaction in a process that cannot be shut down.

## Incident and Accident Reporting

All incidents and accidents that occur in laboratory and research areas shall be reported to EHS, including spills, fires, injuries, or illness. Accidents are any event that causes injury or illness. Incidents are any event that causes damage to or loss of property. Always handle the immediate danger first, calling for emergency assistance if needed, then worry about reporting. Reporting incidents and accidents aids in establishing a culture of responsible scientific research and accountability. It is NOT intended to be punitive.

### Accident Reporting

For reference, see Safety Policies SY04: Employee Accidents – Reporting and Investigation and SY03: Emergencies Involving Students.

Accidents are any event that causes injury or illness. They must be reported using Employer’s Report of Occupational Injury or Disease, also commonly called a “First Report of Injury” (FROI) procedure. Individuals cannot file their own FROI. At University Park, contact your department or college safety officer to start this process. Accident reporting at commonwealth campuses is typically handled by safety officers or other designated persons.

Any event that causes an injury or illness must be reported, especially:

- fire or explosion related to hazardous materials that cause an injury or illness

- sudden or non-sudden release involving a poison by inhalation hazard

Accidents that occur in laboratory and research areas shall be investigated by the PI or supervisor after the immediate danger has been properly handled. The PI or supervisor shall be responsible for providing a written report to EHS of investigation findings and corrective actions, and ensure that corrective actions are undertaken to prevent repeat accidents.

EHS may also prepare an investigation report, as follow-up for the accident. Investigations are made and reports written to learn the cause of the accident and what changes in procedures, equipment, or training should be made to avoid other accidents.

### Incident Reporting

Incidents are any event that causes damage to or loss of property. They must be reported to EHS, especially:

- fire or explosion related to hazardous materials

- sudden or non-sudden release that require use of greater than normal housekeeping for simple spills

- any incident that is or may become a threat to human health or the environment

Laboratory incidents shall be investigated by the PI or supervisor. The PI or supervisor shall be responsible for providing a written report to EHS of investigation findings and corrective actions, and ensure that corrective actions are undertaken to prevent repeat incidents.

EHS may also prepare an investigation report, as follow-up for the incident. Investigations are made and reports written to learn the cause of the incident and what changes in procedures, equipment, or training should be made to avoid other incidents.

### Near Misses

A near miss is an event in which no property was damaged and no one was injured, but with a slight shift in time or position, damage or injury could have occurred. Near misses can go by many other names or phrases, including near hits, close calls, injury-free events, or near collisions. Regardless of the nomenclature, unplanned events have the potential to cause accidents and incidents, as discussed in the previous two sections.

Reporting of near misses is not currently required at Penn State. However, analysis and discussion of near misses within the group can provide research and laboratory groups with valuable information on ways to improve lab practices, hygiene, SOPs, and many other aspects that impact the safety of research and laboratory operations. By analyzing what could have happened, had things gone just a little bit more wrong, you may be able to prevent future accidents and incidents. Research and laboratory groups are strongly encouraged to share these “lessons learned” with EHS, especially when they may have broad applicability to our university community.

## EHS Assistance

EHS will respond to spills. Cleanup may be done by area personnel under the direction of the PI, supervisor, or EHS if there is no immediate risk of fire, or health or physical hazards. In situations involving these hazards, EHS will advise on evacuation or other precautions to protect persons and property in the immediate area.

## Medical Emergency Procedures

For emergency medical assistance, call 911.

Research with potentially hazardous materials carries the risk of personal contamination and injury. Researchers should be aware of the signs and symptoms associated with exposure to the materials they work with.

Poison Control, 800-222-1222, may be a valuable resource in the event that a hazardous material has been swallowed, inhaled, injected, or splashed in the eyes or on the skin.

Extreme caution should be taken when determining whether to transport an injured person to medical care in a personal vehicle. It is better to call for an ambulance if there is ANY chance complications could arise during transport.

### For Employees

In the event an employee is injured or exposed to a hazardous substance, follow these procedures to obtain medical care and establish any Workers' Compensation benefits to which the employee may be entitled. All work-related injuries and illnesses must be reported to the PI or supervisor, and a FROI must be filed as discussed above in section 5.5.1.

Medical services at University Park are provided to Penn State employees at Occupational Medicine, 814-863-8492, and Mount Nittany Medical Center Emergency Department, 814-234-6110.

#### Ambulatory Victims (able to walk):

- Inform the PI or supervisor of the injury or illness.

- Proceed to Occupational Medicine or Mount Nittany Medical Center to secure treatment.

#### Nonambulatory Victims (unconscious or unable to walk)

- Call 911.

- Report the injury, victim's name, and location (building, floor).

- Ask for an ambulance.

### For Students

Students in need of emergency medical assistance should call 911.

For other, less severe medical emergencies, call University Health Services, 814-863-0774, or a local health care provider.

### For Individuals Working at Campuses and Other Locations

Individuals working at other campuses and any of the various Penn State locations across the commonwealth should be aware of the specifics of how to handle medical emergencies at their locations. Some campuses have a campus nurse who may provide basic medical care.

### Non-Penn State Individuals, Employees, and Students

Non-Penn State employees, students, or visitors who require medical assistance should seek care from their primary health care provider or, in an emergency, by calling 911.

## Personal Injury

Always seek appropriate medical attention for any injuries. If you have been trained to administer first aid, you can help treat minor injuries or help direct interim first aid measures until medical personnel can take over. Prompt action to notify emergency responders and appropriate first aid attention can be important to someone who is seriously injured.

The information that follows is not a replacement for professional medical advice or first aid training. If your research group works with materials that would require specific first aid actions, that information should be documented in an associated SOP and shared with all lab members.

### Burn

If your clothing catches fire, decide very quickly how to put out the fire and minimize burns. The following methods are in order of preference:

- Get under a safety shower or other water source if one is immediately at hand and pull the handle.

- If a safety shower is not immediately available, stop, drop, and roll to extinguish the fire, holding your hands over your face to shield your face and eyes.

Assess the condition of the skin's burn area. If skin is not broken, run water over the burn area to remove heat. If skin is broken, apply a dry, sterile dressing over the wound. Seek medical attention as soon as possible.

### Inhalation

Call 911 to solicit trained emergency medical personnel in the event of an emergency. A person exposed to smoke or fumes shall be removed to uncontaminated air. Any victim overcome by smoke or fumes shall be treated for shock. Give cardiopulmonary resuscitation (CPR) if necessary and if trained personnel are available. If a person needs to be rescued from a contaminated area, evaluate the possibility of harm to the rescuer before anyone enters or remains in the contaminated area without proper PPE. If applicable, the SDS should accompany the victim to the medical treatment facility.

### Ingestion

If a person ingests a toxic chemical or biological agent, determine, if possible, what was ingested and notify emergency medical personnel by calling 911. If applicable, the SDS should accompany the victim to the medical treatment facility.

### Puncture or Cut

Accidents involving skin punctures by a chemical or biological agent shall be reported to the PI or supervisor immediately and EHS as soon as possible. Appropriate medical testing, treatment, and follow-up may be indicated and shall be provided as appropriate. When treating a victim with a puncture wound or cut, wear PPE (e.g., gloves) to minimize exposure to human blood, body fluids, or other chemical or biological contamination. Wash the area with soap and water if any contaminants may be present. Apply a pressure pad or clean cloth firmly to the wound. Raise the wounded area above the level of the heart to slow the bleeding. For severe bleeding or spurting, very firmly press the pressure pad directly on the wound and apply pressure at the applicable body pressure point above the wound to stop the flow of blood. In a severe injury, keep the victim warm, calm, and oriented to prevent shock. Seek medical attention as soon as possible. If applicable, the SDS should accompany the victim to the medical treatment facility.

### Needlestick

Needlesticks or other accidents involving skin punctures by a chemical or biological agent shall be reported to the PI or supervisor immediately and EHS as soon as possible. Wash the area with soap and water if any contaminants may be present. Appropriate medical testing, treatment, and follow-up may be indicated and shall be provided as appropriate. When a needlestick occurs, do not wait to obtain medical attention and report the incident. Many sections in this Plan include information about engineering controls and work practices that can be used to minimize the risk of needlesticks. See Sections 6.7.5, 8.4, 8.5.4, 11.3.12, and 11.4.4. If applicable, the SDS should accompany the victim to the medical treatment facility.

### Eye Exposure

Remove contact lens(es), if applicable, and promptly flush eye(s) using an eyewash for at least 15 minutes and seek immediate medical attention. If applicable, the SDS should accompany the victim to the medical treatment facility.

### Skin Exposure

Promptly flush the affected area with water using a safety shower or drench hose for at least 15 minutes. Remove any contaminated clothing to ensure the materials are washed away from the body. Seek immediate medical attention. If applicable, the SDS should accompany the victim to the medical treatment facility.

# General Laboratory and Research Safety

Much of the rest of this Plan discusses identification of hazards and appropriate risk assessment. By definition, a hazard is any source of potential damage, harm, or adverse health effects on something or someone. Many things in research are potential sources of harm, not just chemical or biological materials. Risk is the likelihood of these hazards actually causing harm or damage. Risk assessment, or the process of determining the likelihood of something causing harm, is an important part of safely conducting research. Managing hazards and risks in research can aid in eliminating or minimizing potential exposure to hazardous substances.

Safely conducting research requires having the proper containment equipment and engineering controls, wearing appropriate PPE, using proper work practices, knowing safety information for the materials and equipment used, and following safety instructions and protocols.

The general safety information in this section is provided to assist PIs and supervisors in planning work and to guide those carrying out research.

Because each laboratory or research area is unique, judgment is required in interpreting general concepts for individual settings. The Unit Specific Plan provides specific information for individual areas. If you have questions or concerns about implementing general safety concepts or specific safety procedures, consult your PI/supervisor or contact EHS.

Some areas contain more than one type or category of hazardous substance. For example, biochemistry laboratories may work with chemicals, biological agents, and radioactive materials. In such cases, the PPE and work practices to be used are those that provide protection against all of the hazardous materials or processes.

## Training

Federal law mandates training for every person working in a laboratory, or who supervises individuals working in a lab, at the time of initial assignment to a laboratory or work area where hazardous chemicals are present or exposure to bloodborne pathogens is possible.

Training is required under the OSHA Laboratory Standard (29 CFR 1910.1450) and for Chemical Waste handling, Bloodborne Pathogens, and various general industry standards such as the Respiratory Protection Program. Penn State policy prohibits persons without appropriate training from working in laboratories and other areas where hazardous chemicals are used. New hazards, including physical, chemical, biological, laser, radiation, etc., may require additional trainings. Additional training is also required whenever a new chemical exposure hazard is introduced.

Initial Laboratory and Research Safety Training is required of all individuals working in, or supervising people who work in, research labs at Penn State.

Refresher Laboratory and Research Safety Training shall be completed annually by all persons working in areas of potential exposure to bloodborne pathogens and for persons with potential exposure to chemical hazards.

PIs/supervisors shall also complete initial and refresher Laboratory and Research Safety Training.

PIs shall ensure that laboratory personnel are properly trained and shall certify training in the Unit Specific Plan. Training records shall be part of the Laboratory and Research Safety binder. Bloodborne-pathogens training information can be found in Section 8.5.

EHS can provide general safety seminars for laboratory or department groups. EHS training is general in nature; PIs are required to provide specific safety training in the particular hazards of their laboratories.

## Exposure to Hazardous Substances

A thorough discussion of the hazards and risks associated with exposure to hazardous substances is beyond the scope of this plan. Individuals who handle hazardous substances should supplement the information in this plan with specific details applicable to their laboratories. The best course of action is to eliminate the risk of being exposed, then place a barrier between the hazard and the person.

The complex relationship between a material and its biological effect in humans involves considerations of dose, duration, frequency of the exposure, route of exposure, and many other factors, including gender, allergic factors, age, previous sensitization, and lifestyle. Toxic effects can be immediate or delayed, reversible or irreversible, local or systemic.

### Exposure Routes

Hazardous materials may enter the body through the following routes:

- Inhalation – absorption through the respiratory tract by inhalation. This is probably the easiest way for hazardous materials to enter the body.

- Ingestion – absorption through the digestive tract by eating or smoking with contaminated hands or in contaminated work areas. Depending on particle or droplet size, aerosols may also be ingested.

- Skin or eye contact – absorption through the skin or eyes. The eyes are very porous and can easily absorb toxic vapors that cause permanent eye damage.

- Injection – percutaneous injection through the skin. This can occur through misuse of sharp items, especially hypodermic needles.

#### Acute Exposure

Short term, which can result in an acute effect, such as:

- allergic reaction

- coughing

- shortness of breath

- skin rash

- burning eyes

- burning skin

- death

#### Chronic Exposure

Long term, low exposure that may result in a chronic effect, such as:

- asbestosis (from asbestos exposure)

- silicosis (from silica exposure)

- central nervous system disorders (organic mercury, metallic mercury, cadmium, arsenic, etc.)

- various cancers (lung, kidney, bladder, liver)

### Signs and Symptoms of Exposure

Signs and symptoms of exposure to hazardous materials vary widely. Depending on the material, length of exposure, and a number of other factors, signs and symptoms can include: dizziness, headache, irritated or watery eyes, sneezing, coughing, sore throat, shortness of breath, rash, itching, nausea, vomiting, diarrhea, and loss of balance or coordination. Exposure to some chemicals may even lead to death. Many other health problems also present similar signs and symptoms.

See Section 4 of the SDS for information specific to individual chemicals. For particularly hazardous chemicals, such as OSHA listed carcinogens, reproductive toxins, pyrophoric or highly reactive materials, include this information in lab specific training and SOPs.

### Medical Surveillance

Medical surveillance may be required in two general situations.

Medical surveillance may be needed before certain research even starts, to assess the baseline health of an individual. For example, researchers who perform tasks where noise may be excessive are enrolled in the EHS Hearing Conservation Program (discussed further in section 6.3.3.9) while those who wear respiratory protection are enrolled in the Respiratory Protection Program (discussed further in section 6.3.3.8). This type of medical surveillance is generally planned ahead of time.

In other situations, medical surveillance may be required after exposure to certain hazardous materials. This type of medical surveillance is sometimes necessary after an initial emergency has been handled.

Signs and Symptoms. Whenever an employee or student develops signs or symptoms associated with a hazardous material exposure, that person shall be provided an opportunity to receive an appropriate medical examination.

Exposure Monitoring. If exposure monitoring, discussed further in Sections 6.2.5 and 6.2.6, reveals that the airborne concentration of a chemical is above the action level or the PEL (if no action level is set) for a chemical regulated by OSHA, medical surveillance shall be implemented for affected persons as prescribed in the OSHA standard for the material.

Spills, Leaks, and Other Releases. If a spill, leak, explosion, or other occurrence results in the likelihood of a hazardous material exposure, affected employees shall be provided an opportunity for a medical consultation. The consultation will determine whether there is a need for a medical examination.

### Medical Consultation and Evaluation

Medical consultation and evaluation shall be performed under the direct supervision of a licensed physician without cost to the employee or student, without loss of pay, and at a reasonable time and place. For employees, medical examinations or surveillance shall be provided through Occupational Medicine, the cost is the responsibility of the work unit. For students, the medical program shall be administered through Penn State’s University Health Services.

The department head, PI, or designee from the lab shall ensure that the following information is provided to the physician: the identity of the material or substance involved in the exposure, a description of conditions relating to the exposure, any quantitative data available regarding the exposure, and a description of signs and symptoms experienced by the affected person.

The employee shall ensure that the following information is obtained from the physician in writing:

- Recommendation for medical follow-up

- Results of the medical examination and associated tests

- Any medical condition revealed in the course of the examination that may place the affected person at increased risk as a result of the exposure

- A statement that the physician has informed the affected person of the results of the consultation or examination and any medical condition that may require further treatment

The physician shall not reveal specific findings or diagnoses unrelated to the exposure. All medical records shall be kept as part of an employee's or student's permanent file.

### Medical Surveillance for Chemicals of High Chronic Toxicity

Routine medical surveillance may be warranted for individuals working with chemicals of high chronic toxicity, including carcinogens.

Although no restriction of hiring can be made, candidates for work with carcinogens shall be informed of the possibility of increased risk associated with these conditions:

- Strong family history of cancer, comprising at least two first-generation relatives from maternal and paternal ancestry or a specific pattern of cancer incidence that can be recognized as a genetic trait

- A precancerous condition or past history of cancer

- A history of treatment with cytotoxic drugs

- A history of impaired immunity or current use of therapeutic doses of steroids or other immunosuppressive drugs

- Concurrent pregnancy or likelihood of pregnancy during employment

Job tasks for certain workers using chemicals of high chronic toxicity should be evaluated to determine whether these workers should be temporarily excluded from work or reassigned to less hazardous activities. This is particularly appropriate for pregnant individuals or persons receiving immunosuppressive drugs or therapy.

### Monitoring Airborne Concentrations of Contaminants

OSHA has established PELs for airborne concentrations of selected materials. The PEL is defined as a time-weighted average (TWA) concentration of a particular substance for a normal 8-hour workday and a 40-hour work week, a concentration to which nearly all workers (except those with particular sensitivities) may be exposed, day after day, without adverse effect.

Corollaries to the 8-hour PEL are the short-term exposure limit (STEL) and the ceiling exposure limit. The STEL is the TWA concentration of a compound to which a worker may be exposed over a period of 15 minutes without expecting symptoms of irritation, chronic or irreversible tissue damage, or narcosis. The ceiling exposure limit is the concentration of a substance that should not be exceeded during any part of the working exposure. In conventional industrial hygiene practice, the ceiling exposure limit is also assessed over 15 minutes.

As the PELs were designed to protect workers in industrial settings, it is unlikely that these limits will be exceeded during research procedures. Researchers do not generally handle the same quantities of hazardous materials as manufacturing and production employees.

Exposure to airborne chemicals in laboratories shall not exceed PELs. If there is reason to believe that airborne concentrations may exceed PELs, contact EHS for consultation on the need for air monitoring. PELs are listed on SDS or are available from EHS. Please note that PELs have not been developed for all the compounds to which researchers may be exposed. In all circumstances, caution shall be used in handling hazardous chemicals.

In addition to PELs, OSHA has set action levels for specific compounds, such as cadmium, formaldehyde, and lead, for which individual standards have been promulgated. OSHA has classified these compounds as potential carcinogens, which are discussed further in section 7.3.8.2. Action levels are concentrations of a chemical in air at which OSHA regulations to protect workers take effect.

If monitoring of airborne concentrations reveals that levels are above the OSHA action level, then levels shall either be immediately reduced by a procedural change or equipment modification, or the department head and PI shall comply with the requirements of the OSHA standard for the chemical. OSHA regulations govern periodic monitoring and termination of monitoring, as well as employee notification. Medical surveillance may be a requirement, as discussed above.

For chemicals without regulated action levels, the general rule is that half the PEL may be considered a de facto action level. Engineering controls shall be instituted to reduce exposure to the hazardous substance in question.

## Exposure Control Methods

There are three general methods for controlling exposure to hazardous substances: engineering controls, work practices or administrative controls, and PPE. It is the goal of Penn State to use engineering controls and administrative controls as the primary methods for addressing and controlling hazards. All laboratory SOPs shall include the safety precautions needed to protect researchers from exposure to chemicals or biological agents. Each situation is unique, and safety aspects shall be assessed individually as described in your laboratory's Unit Specific Plan. Some of the fundamental principles of exposure control methods are described below.

### Engineering Controls

Engineering controls focus on controlling a hazard at its source. Engineering controls provide protection by removing hazardous conditions or by placing a barrier between the researcher and the hazard. Examples include chemical fume hoods, BSCs, glove boxes, ventilation, or machine guards. These are considered the first line of defense in the laboratory for the reduction or elimination of the potential exposure to hazards.

Chemical fume hoods are sometimes mistakenly used as a BSC or glovebox. These engineering controls are not interchangeable. Table 6.1 and the sections that follow provide guidance on which engineering control to use for various hazardous materials and procedures.

Table 6.1	Engineering Control Selection Guide

| Fume hood | Glovebox/Isolator | Biological Safety Cabinet (BSC) |
| --- | --- | --- |
| Volatile chemicals | Air reactive compounds | Biological aerosols including human blood |
| Flammable liquids | Highly toxic compounds | Biosafety level (BSL) 2 and 3 agents |
| Toxic materials | Controlled environment | Tissue culture |
| Hot processes | Water reactive compounds | Sterile field |
| Open flames |  | Necropsy (not perfused) |
| Acids and bases |  | Non-volatile drugs |
| Gases |  |  |
| Necropsy (perfused) |  |  |

#### Chemical Fume Hoods

A chemical fume hood is an important engineering control for preventing exposure to hazardous materials. In conjunction with sound laboratory techniques, a chemical fume hood serves as an effective means for capturing toxic, carcinogenic, odiferous, or flammable vapors or other airborne contaminants that would otherwise enter the general laboratory atmosphere. With the sash lowered, the chemical fume hood also forms a physical barrier to protect users from hazards such as chemical splashes or sprays, fires, and minor explosions. Chemical fume hoods may also provide effective containment for accidental spills of chemicals, although this is not their primary purpose. Additions, such as shelving, tampering with or changing damper settings, or any other alterations to the chemical fume hood structure may reduce their performance and is prohibited.

A chemical fume hood should be used when working with:

- chemicals with a National Fire Protection Association (NFPA) Health rating of 3 or 4

- toxic volatile materials (ex: chloroform, formaldehyde)

- flammable chemicals

- carcinogens or particularly hazardous substances

- a procedure that may create an aerosol of a toxic substance

- reactive or explosive materials or chemicals that may spatter

- toxic gases (ammonia, carbon monoxide, chlorine, fluorine, hydrogen sulfide, nitrogen dioxide, etc.)

- odorous materials, both hazardous and non-hazardous

- nanoparticles and nanomaterials

When working in a chemical fume hood, work at least six inches inside, with the sash lowered as far as practical, or with a panel in front of you. Equipment in the chemical fume hood should also be stationed at least six inches away from the sash. These practices can reduce vapor concentrations at the hood face by about 90%. When not in use, the sash should be closed to both minimize energy usage and also serve as a blast shield should a fire or explosion occur inside the hood. In cases where you are performing experiments that are suspected to present an explosion hazard, you should use a portable blast shield inside the hood in addition to a closed sash.

Chemical fume hoods are not meant for storage of chemicals. Storing chemical containers and equipment in a chemical fume hood impairs the performance of the hood. Volatile and odorous chemicals and highly toxic gases should be stored in ventilated cabinets, not in a chemical fume hood. The deliberate release and venting of chemicals (i.e., evaporation) in chemical fume hoods shall never be used as a means of disposal.

Equipment in chemical fume hoods shall be fitted with traps, condensers, or scrubbers to remove toxic fumes, gases, vapors, or dusts before venting to the atmosphere. Chemical fume hood performance is dependent on the room's air flow pattern, including air flow generated by drafts and persons walking by.

Compounds such as perchloric acid or aqua regia will cause corrosion to standard fume hoods, and only hoods designed for their use should be used. Refer to Section 7.3.4 for further information.

Any problems with chemical fume hood ventilation or airflow should be reported to the departmental safety officer, EHS, or OPP for inspection and evaluation. Do not use a malfunctioning chemical fume hood until the problem has been addressed and corrected.

#### Gloveboxes and Glovebags

Gloveboxes come in many different varieties. Some are not considered engineering controls because they only protect materials from the environment while providing no protection to the researcher. Others are capable of protecting the researcher from hazardous materials.

Gloveboxes must be specifically designed for the type of materials used. The glovebox can have several types of positive pressure atmospheres like inert gases (argon, nitrogen) or negative pressure atmospheres (vacuum). The basic elements of a glovebox include a frame for the containment area, a transparent look-through area to observe the work performed inside the glovebox, the gloves in which the operator will place their hands to work inside the glovebox, and the pass through chamber for placing materials either in or out of the glovebox. Contact EHS or the manufacturer’s representative for advice on the appropriate type or proper installation of a glovebox.

Glovebox safety starts with the installation per the manufacturers’ specifications. Once in place, the PI is responsible for maintenance, inspection, and proper use. The lab is also responsible for writing a SOP for the use of the glovebox and training of operators. The SOP and training records should be maintained in the Laboratory and Research Safety binder.

Basic glovebox safety requirements include an inspection by the user before each use. The inspection should cover the following:

- Confirm the atmosphere is correct for the type of work the researcher will perform

- Clear the work space to help prevent accidents or spills

- Check gloves for tears, degradation, or bubbling

- Confirm appropriate chemical resistant gloves are available inside the glovebox

- Check glass for cracks or fogging

- Check that O-rings and seals are not compromised

- Confirm atmospheric gauges are working properly

- Confirm airlocks are working properly and sealing

- Clean and clear work surfaces

A guidance document by the American Glovebox Society has detailed information on the proper selection, maintenance, and use of gloveboxes.

Glove bags are a special type of isolation device that allows the growth of microorganisms that cannot thrive in environments that contain oxygen. While glove bags are not themselves safety devices, they do present safety hazards in that the atmosphere within them usually contains a certain percentage of hydrogen, a highly flammable gas. Pure hydrogen must never be used to establish or to maintain an anaerobic chamber; a mixture of gases should be used. Mixtures with a concentration of hydrogen greater than 4% can present an explosive mixture within the chamber.

#### Biological Safety Cabinets

More information about BSCs can be found in Section 8.3.2.1 and in the EHS document entitled Biological Safety Cabinets Overview.

A BSC is the primary engineering control for working with hazardous biological materials. BSCs are designed to protect personnel from biohazardous materials being manipulated within the cabinet. Many BSCs at Penn State are Class II BSCs. This class of BSC is designed to protect both personnel and the environment from hazardous biological materials, while also protecting the products being handled inside from general room contaminants.

BSCs are generally NOT suited for work with hazardous chemicals. Most types of BSCs do not filter out hazardous chemical vapors and do not exhaust the chemicals away from the lab; the air from most BSCs at Penn State is vented back into the lab. Because many BSCs recirculate the air within, use of hazardous chemicals within the BSC can lead to a dangerous buildup of certain hazardous materials. Even ducted BSCs that do not recirculate air may not provide enough containment for work with hazardous chemicals.

Heat sources should be used with care inside BSCs, especially any devices that produce a flame. The use of Bunsen burners is not allowed inside BSCs. Alternate means to sterilize tools should be used. Further information and discussion of alternatives can be found in the document Bunsen Burners and Biosafety Cabinets.

BSCs must be certified annually.

#### Laminar Flow Hoods

Laminar flow hoods, also known as clean benches, are open front cabinets that are designed to protect processes and products from contamination by flowing high efficiency particulate air (HEPA) filtered air onto the work area towards the user. They are NOT engineering controls and do not protect the operator from hazardous materials. They should not be used with hazardous materials including biological material, hazardous chemicals, or radionuclides. Only materials and chemicals that can safely be used on the benchtop should be used in laminar flow hoods. If used properly, laminar flow hoods can provide a sterile environment in which to perform non-hazardous microbiological work, polymerase chain reaction (PCR), or media preparation.

Much like BSCs, heat sources should be used with care inside laminar flow hoods, especially any device that produces a flame. Use of open flame devices such as Bunsen burners presents a hazard because the laminar flow of air will blow the flame towards the user. They can also void the manufacturer’s warranty.

### Administrative Controls and Work Practices

Administrative controls focus on the interaction between an individual and a hazard. These controls involve the introduction of work practices that reduce the risk of injury or illness. Administrative controls change the way people work by changing their behavior, rather than removing the hazard or providing PPE. In a research setting, administrative controls consist of various policies and requirements that are established at an administrative level (e.g., by the PI, laboratory supervisor, department chair, department safety committee, or EHS) to promote safety in the laboratory.

Some examples of administrative controls include:

- Ensuring that all laboratory personnel have been provided with adequate training to enable them to conduct their research safely.

- Requiring prior approval and additional control measures for certain particularly hazardous operations or activities.

- Posting appropriate signs to identify specific hazards within an area.

- Requiring that various standard practices for chemical, biological, and radiological safety and good housekeeping are observed at all times in the laboratory.

#### Research Subject to Review or Prior Approval

Many types of research require review and approval PRIOR to starting work. Work with some materials may also require licensing or registration PRIOR to purchase or use of materials.

The OSHA Laboratory Standard also requires that PIs identify activities that take place in their lab that are sufficiently hazardous that they warrant prior approval before being performed.

For information about working with explosive materials, see section 7.3.7.1.

Section 3.6.1 has information about the ORP, which oversees research with vertebrate animals (section 3.6.1.1), regulated biohazardous material including recombinant or synthetic nucleic acids (section 3.6.1.2), human subjects (section 3.6.1.3), radioactive materials (section 3.6.1.4), and unmanned aircraft (UA) (section 3.6.1.5). ORP also manages compliance with DEA regulations that cover possession and use of controlled substances (section 3.6.1.6).

The purchase, storage, and/or use of 55 gallon drums of hazardous materials in laboratories requires prior approval from EHS.

#### Standard Operating Procedures

SOPs are a required supplement to this plan to reduce the risks involved in working with hazardous materials or performing other potentially hazardous operations in the laboratory. SOPs shall be developed if research will include the use of carcinogens, reproductive toxins, substances which have a high degree of acute toxicity, or work with a piece of equipment or operation that may pose any physical hazards, i.e. lasers, x-ray equipment, high voltage equipment, etc.

A template SOP and directions on how to write an SOP can be found on the EHS webpage.

### Personal Protective Equipment

PPE is used to complement other controls when they do not completely eliminate the hazard. PPE must also be used when engineering and administrative controls are either not possible or infeasible. Many injuries and illnesses can be easily prevented by utilizing PPE. The Unit Specific Plan shall be used as the hazard assessment tool to plan for the selection of appropriate PPE for research needs. If respiratory, hearing, arc flash/electrical, or fall protection PPE is necessary, refer to those respective Penn State safety programs.

Everyone working in a laboratory or research area has the responsibility to dress sensibly for the research they are performing. Only minimal protection is afforded by ordinary clothing and eyeglasses. PPE provides protection from injury due to absorbing, inhaling, or coming into physical contact with hazardous substances. Laboratory clothing also protects the researchers' own clothing. Researchers are responsible for using special protective clothing and equipment when they are required for safety. Protective gear may include eye protection, laboratory coats, wraparound gowns, coveralls, aprons, gloves, shoe covers, or respirators.

Most PPE, including lab coats and gloves, should be removed before leaving the laboratory and should not be worn outside the laboratory in hallways, offices, conference rooms, or eating areas.

#### General Attire in Laboratory and Research Areas

Long pants, or an equivalent, and closed toe shoes are required of every individual working in a laboratory. Suitable clothing shall be worn while performing research, and unprotected skin should be covered whenever possible. Shorts are not appropriate. Long sleeves protect arms and shall fit snugly, especially when working around machinery.

Selection of fabric may also be important, depending on the type of research. Clothing may absorb liquid spills that would otherwise come in contact with your skin. Wool affords more protection from flash burns or corrosive chemicals than cotton or synthetic fabrics. Synthetic fabrics may increase the severity of injury in case of fire. Cotton is less prone to static electricity buildup than nylon or other synthetics.

#### Purchase of PPE

It is the responsibility of the PI/supervisor to purchase most forms of PPE required to safely perform research tasks. OSHA requires the work unit to pay 100% of the cost for items such as respirators, hearing protection, non-prescription eye protection, face protection, head protection, fall protection, electrical PPE, hand protection, chemical resistant PPE, and flame resistant PPE. Additional information about the purchase of other forms of PPE for employees, such as prescription safety glasses and non-specialty protective footwear can be found in the PPE Program.

PIs are not required to pay for everyday clothing such as long sleeve shirts, long pants, and street shoes. They are also not required to pay for ordinary clothing, skin creams, or other items used solely for protection from the weather such as winter coats, jackets, gloves, parkas, rubber boots, hats, raincoats, ordinary sunglasses, and sunscreen.

#### Maintenance and Cleaning of PPE

PPE shall be used and maintained in a sanitary condition and shall be cleaned regularly to avoid spreading contamination. Damaged and worn PPE shall be replaced.

Laboratory coats shall never be washed at home or in a public laundromat. At University Park, laboratory coats can be washed through University Laundry Services. To arrange for a pickup, contact the Laundry Manager at Hospitality Services, Jerry Gardner at jlg55@psu.edu, use the subject lab coat cleaning, or by phone at 814-863-5074. Some commonwealth campuses have laundry services that can also handle lab coats. In all other instances, lab coats should be washed through a commercial laundering service.

Regular clothing that is suspected of being contaminated shall be evaluated by EHS for a proper decontamination or disposal method. It shall not be washed with or come into contact with other personal laundry.

There are special precautions to be taken for clothing used during pesticide applications. Please see the Penn State Pesticide Management Program Manual for further information.

#### Eye and Face Protection

The eyes and face are very sensitive and can quickly absorb many chemicals or be easily injured by flying debris. Regulations require protective eye and face equipment where there is a reasonable probability that using them can prevent injury. Requirements for eye and face protection are determined by the Unit Specific Plan and SOPs pertinent to the specific work being performed.

All eye and face protection used at Penn State shall meet the standards of American National Standards Institute (ANSI) Z87.1 and be stamped with “Z87” by the manufacturer. Unmarked eye protection is not acceptable.

Regular prescription glasses do not provide adequate protection against eye injury and may not be used alone as protective equipment. Personnel whose vision requires corrective lenses, and who are required to wear eye protection, shall wear safety glasses or goggles over their eyeglasses, prescription safety glasses, or goggles with prescription lenses. If contact lenses are worn, they should not be handled in the laboratory and shall be worn with regularly required eye protection.

Eye and face protection should be selected based on the hazards presented by the work being performed. Safety glasses with clear side shields are adequate protection for many laboratory based activities. Goggles should be worn when there is danger of splashing chemicals or flying particles, such as when chemicals are poured or glassware is used under elevated or reduced pressure. A face shield with goggles offers maximum protection (for example, with vacuum systems that may implode).

Consider the following elements when selecting eye and face protection:

- Eye and face protection should have the ability to protect against specific hazards.

- Safety glasses and goggles should fit properly and be reasonably comfortable to wear. This means that the bridge should be properly supported on your nose and the center of the lens in front of your eye with the frame being as close to the face as possible.

- They should provide unrestricted vision and movement.

- They should be durable and cleanable.

- They should allow unrestricted functioning of any other required PPE.

- Goggles and safety glasses should not interfere with the seal of a tight-fitting respirator.

Eye and face protection should be maintained and stored properly. This includes:

- Before each use, eye and face protection equipment should be inspected for cleanliness or damage (i.e. cracks, severe scratches, distortion, optical defects). If deficiencies are noted, the equipment should be cleaned, repaired, or replaced before use.

- Store in a clean, dry place away from chemical exposure.

- Clean before use if soiled or dirty.

- Clean and disinfect before each use if used by other individuals.

- Clean and sanitize if they become contaminated.

- Before putting on or removing, do not touch or adjust with wet or contaminated hands and gloves.

- Eye and face protection devices that have been subject to an impact should not be used and should be discarded.

- Store clean eyewear in a closed container protected from dust, moisture, or damage.

Safety Glasses are impact resistant eyeglasses with side shields, which meet ANSI Standard Z87.1. This form of eye protection provides protection against small flying particles and limited protection against chemical splashes. When a splash hazard exists, other protective eye equipment should be worn. Safety glasses should be worn if an impact hazard exists, when working with low hazard chemicals, or when a low probability of splash exists.

Goggles are protective eyewear that encloses or protects the eye, eye sockets, and the facial area immediately surrounding the eyes from impact, dust, and splashes. They are generally stronger than safety glasses and are used for particle and chemical splash protection and where there is concern for higher impact. Goggles should fit snuggly on the face and be worn squarely on the head. Goggles with direct venting (a mesh of small holes around the sides) tend to fog less, but should not be used with liquid or fine dust hazards.

Impact goggles offer adequate protection against flying particles. These should be worn when working with glassware under reduced or elevated pressure, or with drill presses or other similar conditions.

Chemical splash goggles (acid goggles) have indirect venting for splash proof sides, which provide adequate protection against splashes. Chemical splash goggles offer the best eye protection from chemical splashes. Impact goggles should not be worn when danger of a splash exists. When work involves chemical vapors, non-vented goggles should be worn.

Face shields are devices designed to protect the face and neck against impact and chemical splashes. They are generally made of a rigid, transparent plastic sheet that covers the person’s entire face. Face shields do not protect against impacts. When impact hazard is a potential, a face shield must always be worn with safety glasses or goggles. Use of a face shield is not a substitute for eye protection, and it may be necessary to utilize both means of protection.

Laboratory and research processes that include work with lasers, ultraviolet (UV) lamps, welding, or other sources of light radiation require special eye and face protection with filtered lenses designed to protect against light radiation. This type of eye and face protection usually meets both ANSI Z87.1 and Z136.1. Select the appropriate lens shade or filter for the operation performed. UV light face shields should be worn when working with UV light sources.

Contact lenses are generally safe to wear in some, but not all, hazardous environments. However, they do not offer any eye protection. If an exposure to a hazardous substance occurs while wearing contact lenses, remove the lens immediately while rinsing the eye(s) and seek medical attention. Contact lenses that have been contaminated with a chemical must be discarded.

Prescription safety glasses and goggles are also an option for those who require both eye protection and prescription lenses. Additional information about how to purchase prescription safety glasses can be found on the general PPE program resources page.

#### Protective Clothing

Aprons, laboratory coats, and other protective clothing, preferably made of chemically inert material, shall be readily available and used. Lab coats are essential to protect skin and street clothing from biological agent or chemical splashes and spills, vapors, or dusts.

In general, protective clothing, including lab coats, should not be used as a substitute for engineering controls such as a fume hood, a glove box, etc., or as a substitute for good work practices and personal hygiene. For significant chemical handling, it may be necessary to supplement a lab coat with additional protective clothing, such as a rubber or vinyl apron for handling large quantities of corrosives or hydrofluoric acid, or it may be preferable to use chemical resistant coveralls for full body protection. Conversely, use of engineering controls such as fume hoods does not preclude the need for wearing the proper PPE, including lab coats. See Table 6.2 and Table 6.3 for some additional information about properties of different clothe types and associated notes.

Aprons cover and protect the front part of the body from splash contact. They are often made of material that repels liquid.

Table 6.2	Common Lab Coat Fabric Information

| Fabric | Hazards | Notes |
| --- | --- | --- |
| 20%-60% cotton - polyester blends | Appropriate for biological materials, powders, and small volume liquid chemical manipulation. | Burns more readily than 100% cotton or FR. Not appropriate for use with flammable liquids, pyrophoric materials, or near open flame. |
| 100% cotton | Appropriate for hazards above plus light flammable liquids use and can be used around open flames (such as alcohol burners). | Burns less readily than polyester blends. Not appropriate for use with pyrophoric materials. |
| Flame Resistant (FR) materials | Appropriate for hazards above. Flame resistant (FR) material is required for handling pyrophoric materials and for heavy use of flammable liquids. | FR fabrics can be made of Nomex, FR treated cotton, or Tecasafe Plus. Some of these materials have special washing instructions. |

Lab coats protect clothing and exposed skin. Lab coats should be worn buttoned and with the sleeves rolled down. Lab coats come in many styles with varied protective properties, some of which are further discussed below. Select a size that is appropriate to fit your body, not too tight that it restricts movement, but not too loose that the extra fabric could become an additional hazard.

Disposable lab coats may be preferred for work involving carcinogens. However, standard disposable lab coats generally do not provide good protection in the event of a fire.

Chemical Protective (CP) lab coats may be appropriate where protection from chemical splashes is important, such as working with mineral acids.

Flame Resistant (FR) lab coats should be considered when the potential for fire exists. These lab coats are specifically designed to be flame retardant. This type of lab coat can provide increased protection against flash fires, or while working with flammable chemicals, pyrophoric, air, or water reactive chemicals. Persons required to wear a FR lab coat should also be mindful of the composition of their normal street clothes.

A lower cost option for FR lab coats are disposable cotton coats that have been treated with a flame-resistant material. The treatment slows combustion and provides an additional level of protection from fire and heat. However, repeated washing degrades the chemical treatment and compromises fire protection. More durable flame-resistant cotton laboratory coats are also available.

Nomex lab coats provide the best protection against flame hazards. This material has a structure that thickens and carbonizes when exposed to heat. This unique characteristic gives Nomex lab coats excellent thermal protection. Because the characteristics of the material are inherent to the fiber, repeated laundering does not change the thermal protection capabilities.

FR/CP lab coats have the properties of being both chemically protective and flame resistant. These may be necessary when there is the potential for splash hazards AND fire or heat.

Fluid-Resistant lab coats provide increased protection against organic materials, blood, bodily fluids, and other potentially infectious materials in the event of an accidental spill/splash.

Table 6.3	Properties of Protective Clothing Materials

| MATERIAL | STRENGTH | CHEMICAL RESISTANCE | FLAMMABILITY | STATIC PROPERTIES | COMFORT | USES |
| --- | --- | --- | --- | --- | --- | --- |
| Cotton | Fair durability | Degraded by acids; binds | Special treatment for flame | No static problems | Comfortable, lightweight | Lab coats |
| Modacrylic | Resistant to rips and tears but less so than polyamide fibers; abrasion- resistant but less so than nylon or polyester | Resistant to most chemicals | In direct flame, fabric shrinks to resist flame penetration; will not melt or drip; self-extinguishing; rapidly dissipates when source of ignition is removed | Has antistatic properties | Comfortable, soft, and resilient; easy to clean; has soil release properties | Lab coats |
| Nylon | Exceptionally strong and abrasion resistant | Not water absorbent | Melts when heated; requires flame retardant | Static buildup possible; requires antistatic agent. | Lightweight | Lab coats |
| Plastic | Usually reinforced at points of strain; will not stick together, peel, crack, or stiffen | Resistant to corrosive chemicals | Can be ignited by flammable solvents and others in event of static discharge | Accumulates considerable charge of static electricity | Lightweight | Aprons, sleeve protectors, boots |
| Polyolefin | Resistant to rips and tears | Excellent chemical resistance; low binding for chemicals | High melting point; flame-resistant | Good static dissociation | Lightweight; good permeability; limited moisture absorbency; wearer perspiration may cause discomfort | Bouffant caps |
| Polypropylene | Strong | Resistant to most chemicals; oxygen and light-sensitive | Low melting point; requires flame retardant | Static buildup requires antistatic agent | Lightweight | Aprons |
| Rayon | Fairly durable | Degraded by acids; binds some chemicals |  |  |  | Lab coats |

Based on manufacturer's claims.

From Chemical Safety Manual for Small Businesses, American Chemical Society, third edition, 2007.

#### Footwear and Foot Protection

Wear substantial shoes in the laboratory or research area to protect against chemical splashes or broken glass. Do not wear sandals, cloth sport shoes, perforated shoes, or open-toe shoes. If you clean up a spill from the floor, you may need the added protection of rubber boots or plastic shoe covers. Steel-toe shoes are required for handling heavy items, such as gas cylinders or heavy equipment components.

#### Gloves

Gloves are worn to prevent contact with hazardous chemicals, biological agents, burns from hot or extremely cold surfaces or corrosives, or cuts from sharp objects. Skin contact is a source of exposure to infectious agents and hazardous chemicals, including carcinogens. Many gloves are made for specific uses. For adequate protection, select the correct glove for the hazard in question. For chemicals, the SDS may aid in selecting the correct glove type or provide important information on appropriate glove material.

Glove Selection Procedures – Gloves shall be chosen based on appropriateness for a specific hazard. There are three prime performance factors used to evaluate the chemical compatibility of a glove material with the agents to be handled.

- Degradation rating – the change in one or more of the physical properties of a glove caused by contact with a chemical. Degradation typically appears as hardening, stiffening, swelling, shrinking, or cracking of a glove.

- Breakthrough time – the elapsed time between the initial contact of the test chemical on the surface of the glove and the analytical detection of the chemical on the inside of the glove.

- Permeation rate – the rate at which the test chemical passes through the glove material once breakthrough has occurred and equilibrium is reached (based on absorption of the chemical on the surface of the glove, diffusion through the glove, and desorption of the chemical on the inside surface of the glove).

These characteristics change with each glove manufacturer’s product. A neoprene glove from Ansell Edmont may show different performance results than a Baxter neoprene glove, despite the apparent similarity in composition. Glove efficiency may even vary within a manufacturer’s product line, depending on thickness and coating. For instance, Ansell neoprene unsupported gloves are suitable only for splash protection against cyclohexanone with a “poor” rating, while the supported neoprene gloves are rated for medium protection with a “fair” rating. Chemicals can eventually permeate all glove materials. Select glove materials resistant to the chemical being used, and change gloves periodically to minimize penetration.

Contact the manufacturer to verify that a particular glove is suitable for the chemical in use.

To arrive at the best glove for your specific operations, consider the points below in the selection process:

- the performance characteristics of the glove relative to the task being performed

- glove thickness versus needs for dexterity

- conditions present

- duration of use

- the potential hazards identified for the operation.

Offer proper hand sizes and length options (wrist/forearm, elbow, shoulder). Cuffs are discouraged since they may inadvertently capture chemicals in the folds.

Do not underestimate the importance of careful glove selection. Inadequate prior inquiry may have serious repercussions, as illustrated by the death of a researcher who suffered from mercury poisoning after contaminating her latex glove with dimethylmercury. Latex was not the correct type of glove to use with this highly toxic agent.

A leather glove provides good protection for picking up broken glass, handling objects with sharp edges, and inserting glass tubing into stoppers. However, because they absorb liquid, leather gloves do not provide protection from chemicals, nor are they adequate for handling extremely hot surfaces. Gloves designed to insulate against hot surfaces and dry ice are not suitable for handling chemicals.

Inspect gloves for punctures or tears before putting them on. To prevent contamination of your hands or work surfaces, wash rubber or plastic gloves thoroughly with water before removing them. Pull off disposable gloves inside out and dispose of them according to the contamination hazard. Always remove contaminated gloves before leaving the laboratory. Always wash your hands after handling chemicals or biological agents, before leaving the work area, and before eating, drinking, smoking, applying cosmetics, or handling contact lenses.

#### Respiratory Protection

Persons required, or desiring, to use a respirator for the purpose of conducting research shall inform EHS and obtain information on the requirements of the Respiratory Protection Program. The formal written respiratory protection program for the University is available on the EHS website. Respirator wearers must read the respiratory protection program document in its entirety.

When feasible, engineering controls shall be provided to minimize airborne hazards. If accepted engineering control measures are not available to prevent or protect against airborne contaminants, employers are required to provide respirators at no cost to employees and employees are required to wear them. EHS must evaluate processes to determine hazards and appropriate controls. Respirators are considered a last resort of protection against exposure to inhalation hazards after all practicable engineering options have been exhausted.

Many kinds of respirators are available. The PI or supervisor, after consultation with EHS, is responsible for selecting an appropriate respirator for protection against a given contaminant and for evaluating it in terms of the range of contaminants to which an employee is exposed during a particular procedure.

An employee or student must meet certain qualifications before being allowed to wear a respirator. The individual shall be examined by a licensed physician to determine whether they are in sufficiently good health to wear the respirator. A medical history of respiratory or heart disease could preclude the use of a respirator.

Annual fit testing is required to establish that the chosen respirator seals to the face properly to prevent inward leakage of contaminants. Respirator wearers shall receive interactive training in respirator use, limitations, and care. The respirator shall be cleaned and disinfected on a regular basis and inspected before and after each use.

Respirators shall not be worn when conditions prevent a good facepiece-to-face seal, as with beard growth, sideburns, or dentures. With full-face respirators, temple bars on eyeglasses interfere with the sealing edge of the facepiece. Prescription inserts can be purchased.

#### Hearing Protection

Hearing protection is rarely required during laboratory operations. If a laboratory operation generates noise conditions in which researchers have to raise their voices to be heard, contact EHS for an assessment.

General advice for “noisy” areas or equipment: If you must raise your voice to communicate clearly with someone 3 feet away, you need hearing protection.

Hearing protectors such as earmuffs or earplugs are required when sound levels exceed 85 decibels. EHS conducts noise monitoring to determine which job tasks may expose employees to excessive noise. Employees who perform tasks where noise may be excessive are enrolled in the EHS Hearing Conservation Program, which includes regular audiograms to monitor their hearing as well as mandatory annual training and the use of hearing protection during those tasks.

## General Laboratory Protocols

### Personal Hygiene

Personal hygiene is extremely important for persons working in a laboratory. Contamination of food, beverages, smoking materials, or contact lenses is a potential route of exposure to hazardous chemicals or biological agents.

Laboratory personnel shall not prepare, store, or consume food or beverages; pipette by mouth; smoke; apply lip balm or cosmetics; or handle contact lenses in the work area. This familiar elementary safety rule shall be followed by everyone working in or visiting a laboratory.

Handwashing is a primary safeguard against inadvertent exposure to hazardous chemicals or biological materials. Always wash your hands before leaving the laboratory, even if you use gloves. Wash your hands after removing soiled protective clothing, before leaving the laboratory, and before eating, drinking, smoking, or using the rest room.

Wash your hands periodically during the day at intervals dictated by the nature of your work. Wash with soap and running water, with hands held downward to flush any contamination off your hands. Turn the tap off with a clean paper towel to prevent recontamination, and dry your hands with clean paper towels.

Confine long hair and loose clothing when in the laboratory to keep them from catching fire, dipping into chemicals, or becoming entangled in moving machinery. Avoid wearing finger rings and wristwatches, which may become contaminated, react with chemicals, or be caught in the moving parts of equipment.

Remove laboratory coats and gloves before you leave the laboratory to prevent spreading contamination to other areas. Never wear contaminated or potentially contaminated gloves outside the laboratory. Change gloves often and whenever contaminated.

### Procedures for Working Alone

No one should work alone in a laboratory. More specifically, this means that someone else should be in close proximity (down the hall) and check in periodically on the individual. When it is not possible to have someone close by, the individual should arrange to contact someone periodically to provide updates on their status. Likewise, new research that includes particularly hazardous work should never be done alone, especially for the first time.

If faced with a situation where you feel it is necessary to work alone in a laboratory:

- Reconsider the need. Is the work really that critical?

- Reconsider the timing and setup of the work. Can the task be accomplished another time when others will be present?

- If the timing of the task cannot be changed and you still feel it must be accomplished is there any other person trained in laboratory procedures who can accompany you?

- If not, is there anyone else within the building who could act as a “buddy” to check on you periodically during the time that you feel you must work alone?

- If no one can accompany you and you cannot find a “buddy,” do not proceed with the work. Speak to your PI/supervisor to make arrangements to complete the work in a safe manner.

### Unattended/Overnight Operations

An unattended procedure is a process or piece of equipment that is left operating when no one is in the lab. If at all possible, avoid this practice.

Reactions that are left unattended for long periods of time or overnight are prime sources of fires, floods, and explosions. Do not run equipment such as power stirrers, hot plates, heating mantles, and water condensers overnight without fail-safe provisions such as flow monitors that will shut down equipment in case of water supply failure, temperature monitors interlocked into the system, or fail-safe hose connectors.

Remember that at night, emergency personnel are entirely dependent on accurate instructions and information available at the laboratory. The "Laboratory Information" posting on the outside of the laboratory shall have current emergency contact information. If an experiment, reaction, or process must be left alone for a long period of time, or overnight, hang a label or sign on the hood or outer lab door that includes information about the hazards of the operation, when it was started, the anticipated finish time, and complete contact information of knowledgeable individuals.

### Housekeeping

In the laboratory and elsewhere, keeping things clean and organized helps provide a safer environment. Cleaning duties that are the specific responsibility of laboratory personnel shall be conducted on a regular basis to prevent accidental contact with hazards and to reduce clutter in the lab space. Laboratory equipment, including refrigerators, freezers, and work surfaces, shall be cleaned by laboratory personnel. In laboratories using large amounts of powdered carcinogens, reproductive toxins, or acutely toxic materials, lab workers should avoid dry mopping or sweeping with a broom if this could cause the materials to become airborne.

Keep drawers and cabinet doors closed and electrical cords off the floor to avoid tripping hazards. Keep aisles clear of obstacles such as boxes, chemical containers, and other storage items that might be put there even temporarily. Avoid slipping hazards by cleaning up spilled liquids promptly and keep the floor free of stirring rods, glass beads, stoppers, and other such hazards. Never block or even partially block the path to an exit or to safety equipment, such as a fire extinguisher, sprinkler, safety shower, or eyewash.

### Cleaning Glassware

When cleaning laboratory glassware, wear appropriate gloves that have been checked for tears or holes. Avoid accumulating too many items in the cleanup area around the sink; space is usually limited, and piling up glassware can lead to breakage. Do not clean food containers in a sink that is used for cleaning contaminated glassware.

Many fingers have been badly cut by broken glass from glassware that was intact when put into a sink full of water. Handle glassware carefully, and watch out for broken glass at the bottom of the sink. A rubber or plastic mat in the sink can help minimize breakage.

Avoid using strong cleaning agents such as nitric acid, chromic acid, sulfuric acid, strong oxidizers, or any chemical with "per" in its name including perchloric acid, ammonium persulfate, etc. If you must use these substances for cleaning, you should be thoroughly familiar with their hazardous characteristics, use appropriate PPE, and follow appropriate disposal practices.

Flammable solvents such as acetone should be used in minimum quantities for cleaning and with appropriate precautions taken during their use. Acids and solvents, except those covered by Safety Policy SY40: Disposal of Pollutants in University Sanitary Systems, shall not be rinsed down the drain during cleaning, but shall be collected for proper disposal.

### Minors in Laboratory and Research Areas

Laboratory and research areas contain many physical, chemical, biological, or other potential health and safety hazards. Children are likely to have a limited understanding of these hazards and must be kept away from areas where known hazardous conditions exist. Laboratory and research areas should never be utilized as a substitute for day care or other childcare options due to the hazards present in these areas and a child’s general inability to recognize hazards.

Penn State allows children in laboratory and research areas under specific conditions.

High school students that wish to work in Penn State laboratories must have parental or guardian consent and provide documentation to the University by filling out the form High School Students Working in a Penn State Laboratory and submitting it to the appropriate offices.

Personnel working in laboratory and research areas that will be toured by groups including children should ensure that hazardous materials are properly stored and secured. Tours should always be conducted with supervision and any room based PPE observed.

Officially sanctioned educational programs or other supervised educational activities should take into account hazards present in areas where these activities will take place. A person who is trained and knowledgeable of the area’s hazards should be included in planning and supervision.

## General Laboratory Safety Equipment

### Safety Showers

Safety showers shall be installed in all areas where personnel may be exposed to splashes or spills of materials that may be injurious to the eyes and body. New shower installations shall adhere to the recommendations for shower location and minimum performance requirements established in ANSI Z-358.1. Showers shall be placed as close to the hazard as possible, but in no case more than 10 seconds travel time from the hazard. Department heads shall ensure that safety showers are installed in the department where needed.

All laboratory personnel shall be instructed in the location(s) and use of a safety shower. Ideally, a person should be able to find the shower with their eyes closed, if the shower is within reasonable distance. Safety showers shall provide a minimum of 20 gallons of water per minute and deliver the volume at low velocity; a high-velocity shower could further damage injured tissue.

Ideally, the water temperature of the shower should be between 60 and 95 °F to prevent pain or shock to a person standing under it for 10 to 15 minutes. Safety showers shall have quick-opening valves requiring manual closing so that a person does not have to hold the valve open while trying to undress or wash off. The pull handle shall be a delta bar or large ring within easy reach but not so low as to be in the way.

Access to the shower or the activating handle shall not be impeded. The floor shall be clear in a 36-inch-diameter area under the shower.

Showers shall be evaluated for performance regularly by OPP or Campus Maintenance, who also maintain and inspects the plumbing. Any problems with water flow or shower operation should be reported to EHS, OPP, or Campus Maintenance for inspection and evaluation.

### Eyewashes

New eyewash installations shall adhere to the recommendations for minimum performance requirements established in ANSI Z-358.1. Eyewash fountains shall supply 0.4 gallons of water per minute. The two basic kinds of eyewash fountains are the fixed-base type, much like a drinking fountain, with arm or foot-pedal operation, and the handheld-hose type, with an aerating nozzle and lever-operated valve.

The fixed-base type has the advantage of multistream, cross-flow washing that can flush the face and eyes at the same time. Faucet-mounted cross-flow eyewash fountains are also available. The hose type has the advantage of also serving as a mini-shower for splashes on the arms, hands, and other limited areas of the body. Contact EHS for information on the types of eyewashes available. In older laboratories where eyewashes were not originally provided, faucet-mounted models may be appropriate.

Gravity-feed eyewash devices (wall-mounted or on mobile carts) are not recommended unless they provide adequate water supply for 15 minutes of eye washing and the stored water is treated so that it does not become microbially contaminated. For such units, a documented monthly maintenance program shall be established to ensure that the water supply remains in satisfactory and usable condition. Bottle-type portable eyewashes are not acceptable, as they do not have the capacity to deliver 0.4 gallons of water per minute nor enough quantity to last 15 minutes.

PIs are responsible for ensuring that eyewash fountains are flushed weekly to ensure that the valves operate properly, the required volume and aerated stream are available, and the pipes or hose are cleared of sediment that might collect. A form for tracking weekly flushing is available on the EHS website.

Eyewashes shall be evaluated for performance regularly by OPP or Campus Maintenance, who also maintain and inspects the plumbing. Any problems with water flow or operation should be reported to EHS, OPP, or Campus Maintenance for inspection and evaluation.

### Fire Extinguisher Policy

Fire extinguishers are provided by Penn State in corridors, public areas, and other locations as required by building and life safety codes as described in Safety Policy SY09: Fire Extinguisher Provisions. It is the responsibility of the PI or the department head to ensure that appropriate fire extinguishers are purchased and installed in laboratories. Contact the Fire Safety Specialist within EHS for assistance in selecting fire extinguishers. Fire extinguishers may be purchased through OPP. OPP will inspect and maintain all fire extinguishers, both inside and outside laboratories. When fire extinguishers are installed or moved to a new location, OPP must be contacted.

Basic fire prevention, fire safety training, and fire extinguisher training can be provided by EHS upon request.

## General Laboratory Facilities

### Facility Cleaning and Maintenance

Custodial Operations wet-mop floors (including laboratory space) on a regular basis. However, building services and custodial workers are prohibited from cleaning up chemical and biological materials (including spills), and they shall not be expected to mop any floors that have not been properly decontaminated after a spill.

In preparation for the cleaning service, laboratory personnel shall remove hazards that custodial workers might encounter during their activities. Chemical containers on the floor and all containers of biohazardous waste shall be moved by laboratory occupants to a safe and secure location before custodial workers enter the lab. In the event that a PI or supervisor does not wish the floors in a particular laboratory to be cleaned, contact Area Services to have mopping discontinued and post a sign on the lab door.

If maintenance is required on any component of the laboratory, such as a sink or piece of equipment, the same principles of preparation apply. The PI or supervisor shall ensure that the immediate area is decontaminated and any infectious agents or chemicals are removed to another secure area prior to initiation of work. Further, the laboratory supervisor shall inform maintenance personnel of the presence of any hazardous materials to which they might become exposed. A Laboratory/ Equipment Safety Clearance Form must be completed, taped to the area, and a copy sent to EHS.

Facility maintenance and custodial workers shall not handle or remove hazardous waste bags or other hazardous containers.

#### Asbestos Containing Materials

Asbestos-containing building materials (ACM) are found in many facilities at Penn State (e.g. labs, barns, mechanical rooms, etc.). Examples of possible ACM include, but are not limited to: pipe/duct insulations and sealants; flooring; plasters; drywall; joint compounds; and ceiling tiles and adhesives. ACM are managed in-place and are only removed when they will be affected by renovations or they are damaged. All damaged building materials, regardless of whether it is ACM, shall be reported to safety officers or facility managers. Researchers are not responsible for determining whether a material is ACM. Only PA licensed Asbestos Workers/Supervisors or Inspectors may handle ACM.

Asbestos-containing lab equipment may also be present. Examples may include, but are not limited to: lab bench tops, shelves, drying racks, or adhesives; fume hood and cabinet liners; oven insulations, liners, or gaskets; wire insulations; course woven cloth lab oven mitts or gloves; course woven cloth heat mantle or lab clamp insulations; and table or cart tops and shelves. All damaged or worn equipment known or suspected of containing ACM shall be reported to EHS. Researchers are not responsible for determining whether a material is ACM. Old course woven gloves, mitts, and insulations should be taken out of service when found. Contact EHS to confirm if asbestos could be present.

### Laboratory Ventilation

Laboratories shall be provided with general ventilation adequate for personnel comfort and sufficient to supply air for hoods and other local ventilation devices. Because the general air supply is not adequate for manipulating hazardous materials in the open, volatile or toxic chemicals shall be handled in a chemical fume hood or other appropriate containment device.

Problems with general ventilation shall be reported promptly to OPP. Adjustments or alterations to the general ventilation equipment of a laboratory shall be performed only under the supervision of OPP.

On occasion, OPP will issue notices of intent to perform maintenance work on the ventilation system. These notices shall be heeded and chemical fume hoods shall not be used when OPP is involved in repairing or adjusting the ventilation system. In the event that a hood in a particular laboratory is being repaired, the PI or supervisor of the laboratory is responsible for ensuring that the OPP crew is informed of the hazards in the area. The hood shall be cleared of hazardous materials and properly decontaminated before the work begins. A Laboratory/Equipment Safety Clearance Form must be completed, taped to the area, and submitted to EHS.

Consider ventilation needs prior to purchasing new laboratory equipment such as laser cutters, 3D printers, solvent baths, etc. These and many other types of equipment may require special ventilation hooks ups. Consult with EHS prior to purchasing equipment with specific ventilation requirements.

### Laboratory Sinks and Drain Traps

Every laboratory using chemical or biological agents shall have at least one sink, preferably located near the room exit, available for handwashing. The sink shall be cleaned regularly to eliminate contamination, and soap shall be supplied for handwashing.

Drain traps in sinks, floors, and other places will dry out if they are not used regularly, allowing odors and contamination to back up into the room. Drain traps shall be kept filled with water to prevent backup. Cup sinks on benches and in hoods should also be kept filled with water.

Safety Policy SY40: Disposal of Pollutants in University Sanitary Systems covers what may be disposed of down the drain. In short, many lab wastes shall not be disposed of by rinsing down the drain.

### Laboratory Storage and Sprinklers

Regulatory requirements and fire code require that sufficient clearance be maintained between storage, sprinkler heads, and ceilings.

In Penn State buildings, or areas of buildings, that do not have sprinklers, do not store anything within 24” of the ceiling.

In buildings, or areas of buildings, with sprinklers, maintain at least 18” of clearance around sprinkler heads. Fire code requires sufficient clearance for proper sprinkler head operation. Obstructions to clearance will disrupt the pattern of water flow. This includes inappropriate storage of cardboard boxes above wall cabinets.

Sprinklers are intended to release water to cool the environment in the event of a fire thereby potentially decreasing the impact and severity of a fire. For sprinklers to work properly, certain rules must be followed:

- Never tamper with or disable sprinkler heads. This can make the laboratory less safe and has the potential to flood the lab.

- Do not hang anything from sprinkler heads or pipes. They are not designed to bear any load.

- Do not store any items within 18” of a sprinkler head. Anything closer than this will change the water dispersal pattern of the sprinkler thus limiting their effectiveness.

- Do not store combustible items within 18” of the ceiling. If items catch fire within 18” of the ceiling, the water from the sprinkler head may not be able to reach that item to help extinguish the fire.

### Relocating or Closing a Laboratory

Laboratories that are relocating within Penn State, moving to other institutions, or closing completely, shall complete the processes of laboratory close out notification and laboratory close out certification. These guidelines are available from the EHS website, under the Laboratory and Research Safety forms section, to assist research groups in safely relocating hazardous materials and ensure their former space is left in a safe and clean condition.

A chemical waste pick up request shall be submitted for all chemicals that will not be relocated. The pick up request shall be completed before the PI relinquishes possession of the vacated laboratory. Disposition of all unwanted chemicals is the responsibility of the PI. All biological materials shall be autoclaved or chemically disinfected and disposed of before the laboratory is vacated. The department of record is responsible for the safe and lawful cleanup and disposition of all materials that are abandoned.

Surfaces and equipment potentially contaminated with hazardous materials shall be decontaminated before the laboratory is vacated. The PI or supervisor is responsible for ensuring that the equipment is properly decontaminated. Accessible surfaces (chemical fume hoods, sinks, and benchtops) should be cleaned, when practical, by lab personnel. If this is not possible, an outside contractor specializing in the industrial testing and cleaning of contaminated laboratory equipment should be contacted. The PI shall provide the contractor with thorough and accurate information pertaining to the past uses of the equipment.

### Laboratory Doors

Fire and life safety codes as well as Penn State policy require that laboratory doors be kept closed at all times. Keeping doors closed also helps ensure that ventilation systems work properly. This is especially important in newer buildings with energy conservation systems.

### Signs and Labels for Laboratories

Various signs and labels are required by regulations and Penn State policy. The PI shall obtain and post the signs and labels required for the laboratory. Most required signs and labels may be obtained from EHS. The following signs and labels are required for all laboratories, unless exempted in writing by EHS, in Penn State facilities.

A Laboratory Information Door Sign shall be posted outside all laboratories on the outside of the door. This sign is meant for emergency contact of individuals associated with the lab and should have appropriate contact information should an emergency arise. This sign includes blank areas that must be filled out by laboratory personnel with information about specific hazards in the laboratory, and telephone numbers of responsible faculty, staff, and emergency contacts. The information provided on these signs shall be updated as necessary. If monitoring devices, such as gas alarms, are located within a laboratory, that information must be included in the laboratory safety door posting on the outside door to the area.

A Laboratory Emergency Contact Information sign shall be posted in a prominent location inside the laboratory, near the door or telephone. This sign is meant for those working in laboratories and lists who to call and their telephone numbers in the event of an emergency. This sign shall include information about how to contact both the college and department safety officers associated with the lab, along with other phone numbers that might be helpful in the event of an emergency in the lab.

Additional signage may be needed for groups working with biohazardous materials, lasers, radioactive materials, and for rooms that contain large and/or strong magnets.

## General Laboratory Equipment

This section provides some general guidance for common laboratory equipment. Lab and research groups should perform a hazard assessment and develop SOPs specific to the equipment they will use, ideally prior to purchase and use. Selecting and properly maintaining equipment must be part of standard laboratory procedures.

Equipment should be set up well back from the edge of the work area, be it a bench or a hood. When assembled in a fume hood or BSC, equipment should not obstruct ventilation or airflow.

Choose containers (glassware, flasks, beakers, etc.) with at least 20% more capacity than would normally accommodate the volume of chemical planned for an operation. A pan under a reaction vessel or container will confine spilled liquids in the event of glass breakage.

Ensure all parts of the setup are firmly balanced and supported. Tubing shall be fastened with wire or appropriate clamps.

Stirrer motors and vessels shall be positioned and secured to ensure proper alignment. Magnetic stirring is preferable, and non-sparking motors or air motors shall be used in any laboratory that might contain flammable vapors.

Funnels and other equipment with stopcocks shall be firmly supported and oriented so that gravity will not loosen the stopcock plug. Use a retainer on the stopcock plug, and lubricate glass stopcocks. Do not lubricate Teflon stopcocks.

Include a vent for chemicals that are to be heated and place boiling stones in unstirred vessels. If a burner is to be used, distribute the heat with a ceramic-centered wire gauze. Insert a thermometer in heated liquids if dangerous exothermic decomposition is possible. This will provide a warning and may allow time to remove the heat and apply external cooling.

### Centrifuges

Always follow manufacturer guidance when setting up and operating centrifuges. Tabletop centrifuges should be secured so that vibration will not cause bottles or equipment to fall. More modern tabletop centrifuges may do this by design, while some may need to be anchored to its location. Centrifuge rotors shall be balanced each time they are used. Shielding against flying rotors is required. Regularly clean rotors and buckets with non-corrosive cleaning solutions.

Always close the centrifuge lid during operation, and do not leave the centrifuge until full operating speed is attained and the machine appears to be running safely without vibration. If vibration occurs, stop the centrifuge immediately and check the load balance. Check swing-out buckets for clearance and support.

Section 8.0 – Biological Agents, includes additional information about centrifuging biological agents. For some biological agents and certain procedures, sealed rotor heads or centrifuge safety cups may be required.

### Sonicators

Sonicators are high-frequency sound generators used to disrupt cells or shear nucleic acids. Two major hazards are associated with sonicators. The first hazard is hearing damage caused by high frequency sound. The second hazard is the generation of aerosols from the sonication process.

Sonicators generate sound waves in the 20,000 Hz range. These sonicator-generated sound waves are outside the normal range of hearing. Often the sound heard while using a sonicator is produced by cavitations of the liquid in the sample container or vibrations from loose equipment. These actions can reduce the hazards of using sonicators:

- Ear muffs are required to protect your hearing while sonicating

- If possible, have the sonicator located in a "sound-proof" cabinet while sonicating

- Do not sonicate in a room containing people not wearing hearing protection

- Shut doors of the room where sonication is taking place

- Do not place hands in sonicator while it is turned on

- Wear appropriate PPE, including safety glasses, which protect against splashes.

### Vacuum Pumps

Vacuum pumps are used in a wide variety of experimental set ups. If vacuum pumps are not properly installed, trapped, and exhausted they may expose room occupants to hazardous chemicals and vapors. Proper set up of vacuum pumps includes consideration and planning for physical AND chemical hazards.

Wear eye protection when working with a vacuum pump or setting up a cold trap assembly.

Before using a vacuum pump, ensure that the moving parts are properly guarded and that there are no exposed points of operation (i.e., exposed belt) that could catch a finger, hair, or clothing. Like all electrical equipment, cords and plugs must be free of defects. Always plug vacuum pumps directly into an outlet. Connect the pump inlet and outlet properly. Pump connections might look the same. Reversing the flow direction can pressurize apparatus leading to rupture, failure of vessel, or oil contamination.

Oil containing vacuum pumps of a certain age are notorious for leaking. Oil containing vacuum pumps should be placed in secondary containment. Leaking pumps should also be serviced and leaks must be cleaned up promptly.

Perform a hazard assessment prior to using a vacuum pump. This hazard assessment should consider the use of cold traps to minimize the amount of volatiles that enter the pump and may dissolve in the pump oil. Pump oil must be compatible (i.e. do not use hydrocarbon pump oil with oxidizing gases or vapors) with the vapors that will pass through the pump. Use a cold trap to prevent the degradation and contamination of pump oil. If pump oil becomes contaminated with hazardous chemicals, it will exhaust the chemicals into the room air during future use. Pump oil shall be changed if it becomes contaminated. Dispose of used pump oil as chemical waste with EHS. The hazard assessment should also include the requirement for ventilation beyond standard room air changes. If available, vacuum pumps should be located inside a vacuum pump cabinet or other ventilated cabinet. The exhaust from evacuation of volatile, toxic, or corrosive materials shall be vented to an air exhaust system and may also require a scrubber or trap. Consult EHS for assistance with this hazard assessment.

Use an oil mist separator (purchased from the pump vendor) to prevent oil loss. Note that some oil mist separators may not fit into your vacuum pump cabinet. Measure before you order.

Pumps for rotary evaporators must be located in a fume hood, vented to dedicated lab exhaust, or be equipped with adequate condensers and traps to prevent emission of solvent vapors into the lab.

Any container connected to a vacuum pump, including vacuum or suction flasks, shall be designed with heavy walls. Large vacuum vessels shall be taped or otherwise screened or contained to prevent glass from flying if they should implode. Glassware under vacuum must be shielded.

#### Vacuum Pump Cold Trap

A cold trap should be placed between the pump and the experiment to minimize the amount of volatile chemicals from reaching the pump oil. Pump oil will break down if exposed to high concentrations of solvents from the vacuum line. This can result in pump damage. EHS recommends using a second cold trap between the pump and the experiment for added protection.

The trap must be adequately sized and cold enough to condense vapors in the experiment. Extreme care must be exercised to prevent the introduction of room air into a trap containing liquid nitrogen. Liquid Nitrogen condenses oxygen and this may cause an explosion.

Maintain the trap during the experiment. Check it frequently for blockage. Empty the condenser trap immediately after evaporation is complete to eliminate the possibility that solvent will evaporate as the condenser warms to room temperature.

#### Vacuum Pump Maintenance

Follow this general guidance for vacuum pump maintenance:

- Vacuum pumps should be serviced by an authorized vendor on the schedule recommended by the pump manufacturer.

- Keep detailed records of all pump maintenance including routine maintenance and vendor-provided services.

- Routine maintenance such as pump-oil changes may be performed by lab personnel. Follow all manufacturer recommendations for oil changes and routine maintenance.

- Never service a pump that is connected to power. Allow the pump to cool completely before venting or servicing, and disconnect it from power completely. Pumps may start automatically if connected to a power source. If the pump cannot be unplugged directly, contact EHS for information about lock-out/tag-out before attempting to service the equipment.

### Temperature Control Devices

Working at both high and low temperatures is an integral part of many research projects. Researchers must be aware of safe handling procedures when working at either extreme. Any research that involves temperature control, not just chemical reactions, carries risk.

Temperature control devices, especially heating devices, can present many hazards in a laboratory setting. Conducting experiments at elevated temperatures increases the risk of fire, explosion, over-pressurization, burns, and chemical exposure. Heating chemicals above their flash point can lead to catastrophic events while cooling others can cause them to form extremely unstable and explosive forms. Likewise, cooling setups that include dry ice and liquid nitrogen can pose significant hazards to researchers if not handled carefully.

#### Heating Systems

Many types of laboratory devices supply heat. Improper use of heating apparatus, particularly gas burners, is a common source of laboratory accidents and incidents.

Heat producing devices include, but are not limited to:

- open flame burners

- water, oil, sand, or air baths

- furnaces

- hot plates

- hot air guns

- ashing systems

- heating mantles

- ovens

- microwave ovens

Common hazards associated with laboratory heating devices include electrical hazards, fire hazards, and hot surfaces.

Boiling points, flashpoints, and the potential for thermal decomposition must be taken into account when heating chemicals. These factors will help determine the safe temperature range that they can be heated to. Likewise, take into account the reactivity between materials and determine if there is a potential for runaway reaction, production of gas, or explosion. Some chemicals should never be heated, including pyrophoric compounds, strong oxidizers, and peroxides.

When temperatures of 100 °C (212 °F) or less are required, it is generally safer to use a steam-heated device than an electrically heated device because they do not present a shock or spark hazard and they can be left unattended with the assurance that their temperature will never exceed 100 °C (212 °F).

If a hot plate is used to heat chemicals, be sure that the temperature is less than the autoignition temperature of the chemicals likely to be released and that the temperature control device does not spark. Whenever possible, use controlled electrical heaters or steam in place of gas or alcohol burners.

Follow these guidelines when using heating devices:

- Eliminate or minimize the use of open flames.

- Heat producing sources should never be used near exhausts that include flammable materials.

- Before using any electrical heating device ensure that the heating unit has an automatic shutoff to protect against overheating and that all connecting components are in good working condition.

- Heated chemicals can cause more damage quicker than would the same chemical at a lower temperature.

- Heating baths should be equipped with timers to ensure that they turn on and off at appropriate times.

- Use an appropriate chemical fume hood when heating flammable or combustible solvents. Acid hoods constructed of plastic, such as those use for perchloric acid, are generally not appropriate.

- Arrange equipment so that escaping vapors do not contact heated or sparking surfaces.

- Use heat resistant gloves to handle heated materials and equipment.

- Do not leave oil baths unattended. Oil baths should be placed within a plastic or metal tray to contain any spills.

- Perchloric acid digestions must be conducted in a perchloric fume hood.

- All exit ports from gas chromatographs (GC), atomic absorption (AA) spectrometers, and other analytical instruments should be connected to an exhaust ventilation system to exhaust toxic contaminants from the laboratory. Generally speaking, emission from a GC is not significant, but an AA that uses a flame should be installed with a chimney.

##### Flame Producing Devices

Flame producing devices including Bunsen burners, alcohol lamps, and other types of burners can present particular hazards in research.

Never leave an open flame unattended.

The use of open flame producing devices and flammable liquids at the same time can be particularly dangerous. Minimize the volume of flammable liquids, including ethanol, in use to 50 ml or less. Ensure flammable liquids are in a suitable glass or metal container that has a tight fitting slip on lid. In the event of a fire, slip the lid over the container to quickly extinguish the flames. Also ensure that flammable liquids are not near the open flame, keep them at least 12” apart and ensure other flammable liquids or hazardous materials that are not in use are not also in the area. Never use absorbent paper under an operation that includes flammable liquids and an open flame.

The use of flame producing devices in BSCs is strongly discouraged at Penn State. If a research project is strictly reliant on use of an open flame in a BSC, contact EHS for review and to discuss options.

##### Drying Ovens and Furnaces

Volatile organics shall not be dried in ovens that vent to the room air. Drying ovens used with volatile chemicals must be properly vented. Consult with EHS and your department safety officer to determine proper ventilation.

Glassware rinsed with organics should not be oven dried unless it is first re-rinsed with water. Non-mercury thermometers shall be used for measuring oven temperatures. Nothing should be stored on top of ovens. Careful attention should be used when using ovens to dry plastic pipette tips to ensure the temperature is properly maintained.

Wear heat-resistant gloves and appropriate eye protection when working at ovens or furnaces. ANSI-approved eyewear (i.e., heat-absorbing, reflective goggles) offers protection against projectiles and infrared radiation.

##### Heat Blocks, Heat Mantles, Oil, Air, and Sand Baths

Most oil baths are good for heating reactions <200 °C; however, for reactions requiring higher temperatures heating mantles and sand or salt baths must be used. Table 6.4 provides some guidance on appropriate temperature range for different heating bath materials.

Small heating blocks designed to hold microcentrifuge or culture/test tubes should have, at minimum, a 3-prong plug with proper grounding, a non-mercury thermometer to verify the temperature, and be in good condition. These heating blocks should not be used to heat materials whose flash point is below the set point of the heating block.

Bead baths are newer devices that use conductive metal beads (usually aluminum) instead of water or oil. These can be placed on a hot plate or used in a heating bath or heating block. These also should not be used to heat materials whose flash point is below the set point of the bath. Cleaning and decontamination should be performed according to the manufacturer’s guidance.

Heat blocks, specifically sized for round bottom flasks, can be placed directly on a stirring hotplate. Heat blocks are a good replacement for oil baths or heating mantles. Improper use of a hot oil or a sand bath may create serious hazards such as an overturned bath, spatter from water falling into the bath, smoke caused by decomposition of the oil or organic materials in the oil, and fire from overheating the oil. Baths shall not be left unattended without a high-temperature shutoff. The oil shall be properly labeled, including information on its safe working temperature.

Table 6.4	Common Heat Bath Materials and Properties

| Bath Material | Flash Point (°C) | Useful Range (°C) |
| --- | --- | --- |
| Water | n/a | 0 – 70 |
| Mineral Oil | 113 | 25 – 100 |
| Silicone Oil | 300 | 25 – 230 |
| Sand | n/a | 25 – 500+ |
| Bead bath (aluminum) | n/a | -80 – 180 |

#### Cooling Baths

Ice with salt may be used when ice water is not cool enough for use as a bath. Dry ice may be used with an organic liquid. A cooling liquid ideal for use with dry ice should have nontoxic vapors, low viscosity, no flammability, and low volatility. Although no substance is likely to meet all these criteria, some of the better liquids are:

- Ethylene glycol or propylene glycol in a 3:2 ratio with water and thinned with isopropyl alcohol

- Isopropyl alcohol (less flammable than other common solvents such as acetone or butanone)

- Some glycol ethers

Either add the dry ice to the liquid or the liquid to the dry ice in small increments. Wait for the foaming to stop before proceeding with the addition. The rate of addition can be increased gradually as the liquid cools. Do not handle dry ice with bare hands; if skin is even slightly moist, severe burns can result. Use dry leather gloves or suitable cryo-gloves. Wear goggles when chipping ice.

Other cooling baths such as metal bead baths, Strata-Coolers, and other coolant-filled containers, may be safer alternatives to liquid baths.

Cryogenic coolants carry additional risks; see Section 7.3.9.10 for further information.

### Sharps, Needles, Syringes, and Scalpel Blades

Sharps, including needles, syringes, razor blades, Pasteur pipettes, scalpel blades, slides, and cover slips present a very serious risk to everyone who handles them. Sharps are capable of puncturing or lacerating skin, which can lead to exposure to hazardous materials.

Never dispose of sharps in the regular trash. Custodial workers, waste handlers, and landfill operators have been injured from loose and improperly contained waste sharps. Proper disposal of uncontaminated sharps is discussed in section 11.2.4, chemically contaminated sharps in section 11.3.12, and sharps contaminated with regulate medical waste in section 11.4.4. Sharps disposal containers shall be easily accessible to personnel in the immediate area of use.

Syringes used with hazardous agents shall have needle-locking or equivalent tips to assure that the needles cannot separate during use. Do not recap needles after use. Recapping of needles potentially contaminated with human blood, blood products, or other potentially infectious materials is prohibited.

Use these general techniques to safely handle sharps:

- Dispose of sharps in a sharps container as soon as possible after use.

- Never leave an uncapped needle on the lab bench with the tip exposed. Use a needle holder.

- Never leave reusable sharps such as razor blades out on the bench. Use a labeled storage container such as a bucket, tray, or magnet to contain the sharp item.

- Only uncap a needle when it is about to be used.

- Ensure the needle is pointed away from the user, and maintain visual contact with the sharp at all times.

- Use disposable safety scalpels with a fixed blade when possible so that the need to remove and replace the blade is eliminated.

- Never use blades without a handle. The handle serves as a barrier between your hand and the sharp.

### Glassware

Borosilicate glassware, such as Pyrex 7740, is the type preferred for most laboratory experimentation. Exceptions include special experiments involving UV or other light sources, or hydrofluoric acid, for which polypropylene containers are most appropriate. Measuring glassware, stirring rods, tubing, and reagent bottles may be ordinary soft glass. Vacuum or suction flasks shall be designed with heavy walls. Dewar flasks and large vacuum vessels shall be taped or otherwise screened or contained in metal to prevent glass from flying if they should implode. An ordinary thin-walled thermos bottle is not an acceptable replacement for a Dewar flask.

Because damage can occur during shipping, handling, or storage, inspect glassware carefully before using it to be sure it does not have hairline cracks or chips. Even the smallest flaw renders glassware unacceptable and possibly dangerous. Flawed glassware shall be discarded in a broken glass box. Where the integrity of glassware is especially important, it can be examined in polarized light for strains.

## Electrical Safety in Laboratories

Electrical safety is important for all researchers, not just those working directly with electricity. The presence of electricity presents the risk of electrical shock. Shock occurs when the human body becomes a part of an electrical circuit either by touching two wires and completing an electrical circuit or by becoming the path of electricity in an energized circuit to the electrical ground. The extent of effects from electricity on the body depends on the amount of current (measured in amps), the path of the current through the body, and the length of time the body has the current running through it.

Follow these general electrical safety practices while working in the laboratory:

- Maintain cords on electrical equipment in good condition.

- Periodically inspect cords and insulation to ensure nothing is cracked or frayed.

- Damaged, tattered, or cracked cords shall not be used.

- Never place cords where they can be pinched, like in doors or under heavy equipment.

- Keep all cords out of high-traffic areas, like doorways or walkways, where they may pose a tripping hazard.

- Plugs should not be bent or damaged.

- When removing the plug from the electrical outlet, do not pull on the electrical cord. Firmly grasp the end of the plug and pull the plug directly out of the outlet.

- Do not remove plugs with wet hands or operate equipment in wet conditions.

- Keep areas around electricity clean and dry.

For equipment designed to be used with water, the design should minimize or prevent water from entering sections containing electrical devices or the outlet the equipment is plugged into. Depending on the equipment, this can be achieved with a ring or seal around the cord that prevents water from dripping down, or by using a drip loop. A drip loop will allow water and moisture gathering on the cord to flow downward to the bottom of the loop where it can drip off harmlessly off rather than into the outlet.

All changes or installation to building electricity wiring and repairs to any kind of electrical equipment that is hard wired into the building must be done by qualified electricians by contacting OPP or facilities management. Laboratory and research groups are prohibited from doing this type of work themselves. Electrical equipment that is built by labs must follow the procedure outlined in the Safety Risk Assessment for Lab Electrical Equipment Document, further discussed below in section 6.8.2.

Do not block access to electrical panels. Electrical panels must be kept clear within 36”. Chemicals and other materials shall not be stored in front of or under electrical panels.

Any outlet within 6 feet of a water source should have ground-fault circuit interrupters (GFCI). GFCIs can be used to control electrical hazards. These devices automatically shut off the power supply to a circuit when a ground-fault is detected. GFCIs are typically incorporated into some wall electrical receptacles, some breaker switches, and they may also be incorporated into some extension cords. GFCIs are often found where appliances could potentially come in contact with water.

### Extension Cords, Power Strips, and Surge Protectors

Extension cords shall not be a substitute for permanent wiring. Use of extension cords is also restricted to portable appliances and must NOT be used with major appliances or equipment, such as refrigerators, which are obviously not portable. Electrical extension cords should be avoided, where practical, by having additional electrical outlets or dropdowns installed. Only electricians from OPP or facilities management are permitted to make electrical modifications in Penn State buildings and properties.

Follow these general safety practices while using extension cords, power strips, and surge protectors:

- Extension cords are meant for temporary use only (90 days or less).

- Extension cords, power strips, and surge protectors shall NOT be daisy chained, plugging one into another.

- Never overload an extension cord, power strip, or surge protector.

- Extension cords, power strips, and surge protectors shall not create a trip hazard while in use.

- The length and size of extension cords should be determined by the amount of amperage that will be drawn by the items being plugged into it.

- Extension cords, power strips, and surge protectors should not be run through walls or ceilings, or over drop ceilings.

- Never nail or staple electrical cords to walls or baseboards.

- Select the most appropriately rated extension cord or power strips based on the amperage needs of the equipment that you are using.

- Always inspect cords before using them. Pay particular attention to the condition of the plugs.

- Never use an extension cord as a rope or tie down. They should be used only for their intended purpose.

- Extension cords, power strips, and surge protectors should be supported while in use, and not left hanging or dangling.

### Electrical Equipment

All laboratory personnel shall know how to shut off equipment in case of fire, emergencies, or other accidents. Only persons who have completed Electrical Disconnect/Circuit Breaker Safety Training may operate breakers and disconnects. Any electrical equipment that is not operating properly shall be inspected by a qualified technician.

Electrical equipment should be inspected periodically to confirm that the cords and plugs are in safe condition. Circuit diagrams, operating instructions, descriptions of hazards, and safety devices are usually provided by the manufacturer and should be kept on file for reference.

Electrical extension cords should be avoided where practical by installing additional electrical outlets. When they are used, the wire gauge shall be equal to or larger than the size of the cord being plugged into them. Electrical cords on equipment shall be discarded or repaired by a qualified electrician if frayed or damaged. Cords should be kept as short as practical to avoid tripping hazards and tangles.

Place electrical equipment so as to minimize the possibility that water or chemicals could spill on it or that water could condense and enter the motor or controls. In particular, place such equipment away from safety showers and eyewashes. In cold rooms, minimize condensation by mounting electrical equipment on walls or vertical panels.

Electrical equipment shall be de-energized, locked and tagged out, all safety work practices adhered to, and PPE utilized as required by the Penn State Energized Electrical Safety Program and Lockout Tagout Program before repairs are made.

If someone receives an electrical shock and is in contact with the energized device, use non-conductive voltage rated gloves or a non-conducting device to pull or push the victim free from the current source. Help victims only if you are certain that you will not endanger your own safety. Turn off the current if possible. Call 911. If a trained person is available, start cardiopulmonary resuscitation (CPR) if necessary.

There are additional requirements for labs and research areas pertaining to electrical equipment, experiments, and equipment that include “homemade” or lab fabricated electrical apparatuses. A safety risk assessment is required. See the document titled Penn State Safety Risk Assessment for Lab Electrical Equipment Document for more information.

### Static Electricity

Static electricity may be generated whenever two surfaces are in contact with one another. Examples are processes such as evaporation, agitation, pumping, pouring of liquids, or grinding of solids or powders. Equipment used in these operations shall be bonded and grounded to prevent static charges from accumulating on the containers. Blanketing with inert gas may also prevent sparks in equipment where flammable vapors are present. Static electricity is increased by low absolute humidity, as is likely in cold weather. Some common potential sources of electrostatic discharges are ungrounded metal tanks and containers; metal-based clamps, nipples, or wire used with non-conducting hoses; high-pressure gas cylinders upon discharge; and clothing or containers made of plastic or synthetic materials.

## Fire Prevention and Protection

The goal of the University’s fire prevention and protection program is to provide a fire safe environment for students, faculty, staff, and visitors to Penn State. Many sections of this document include information about fire prevention and protection in research settings, including some many may not think about, such as keeping doors closed to help prevent the spread of smoke and fire (section 6.6.6), ensuring that building sprinklers are kept free from obstruction (section 6.6.4), and knowing where to find the closest fire extinguisher in the event of a fire (section 6.5.3). Knowing what to do in a building emergency, and how to evacuate safely, can also help save lives (section 5.3).

Section 7.0, Chemical Hazards and Chemical Hygiene, includes many aspects of chemical safety that are also pertinent for fire prevention and protection. Safe handling of hazardous materials, including flammable and combustible materials, starts with hazard identification (section 7.2), includes knowing what chemical inventory is on hand (section 7.4), and proper storage of chemicals and waste (section 7.5). Additional safe guards are necessary to ensure appropriate temperature control of chemical reactions that include the use of flammable or combustible materials (section 6.7.4). Likewise, proper selection of PPE for work with flammable or explosive materials, such as flame resistant PPE discussed in section 6.3.3.4, should be included in all applicable SOPs (section 6.3.2.2).

### Hot Work

For additional information, see Safety Policy SY30: Open Flame Devices and the Hot Work Program.

Hot work is defined as any activity that can produce flame, sparks, or heat that could ignite materials in the area. This includes, but is not limited to, torch soldering, welding, grinding, cutting, brazing, or the use of heat guns. Research groups that require the use of acetylene, butane, or propane torches shall follow the Hot Work Program.

Hot work at Penn State falls into these three categories:

  - use that does not require a permit, such as the use of Bunsen burners in a lab

  - permanently permitted – Designated Hot Work Area

  - permit required

Some types of work that may produce flames, sparks, or heat that could ignite materials do not require a hot work permit. Work that will occur outside of buildings where the potential for fire development is minimal do not require hot work permits. While this work does not require a permit, basic fire prevention and protection practices must still be followed. Likewise, the use of Bunsen burners in laboratory and research settings do not require a hot work permit. However, users must maintain a fire safe area when using one. This includes the following:

- Never place a lit Bunsen burner under shelves.

- Ensure the work area is clear of flammable and combustible materials that could come in contact with flame.

- Use the appropriate type of tubing for the fuel source and ensure that the tubing has tight connections to both the burner and fuel source.

- Never leave an ignited burner unattended.

- After use, ensure that the burner has cooled and the fuel source is tightly closed.

- Know the location of nearest portable fire extinguisher.

Some areas may not require separate individual permits for hot work. Welding shops, maintenance shops, and some research areas may have Designated Hot Work Areas for hot work activities. These are areas that are specifically set up and approved for hot work processes that take place frequently. Additionally, research groups and laboratories that regularly perform glass blowing and shaping, sealing of glass test tubes, and shaping of glass spreaders from tubing may seek to set up and create a Designated Hot Work Area. Inspection and evaluation of these areas is required to ensure the requirements of hot work can be met.

All other hot work requires a permit to be completed prior to starting work. At University Park, discuss with your department safety officer the necessary steps to take to obtain a hot work permit. At Commonwealth Campuses, contact your department or laboratory safety officer, or EHS regional coordinator.

## Machine Shop Equipment

Penn State has a machine shop safety program that is intended to prevent injuries that may occur in a shop environment. The program is oriented towards work in student and employee shops, but many of the requirements also apply to work performed using shop equipment in labs that fall under the scope of the LRSP.

Shop equipment includes, but is not limited to, items such as band saws, belt sanders, drill presses, lathes, milling machines, miter saws, radial arm saws, routers, and table saws. Labs with this type of equipment must incorporate the necessary requirements contained in the Penn State Machine Shop Safety Program. The specific requirements that must be implemented and complied with include General Shop Safety Training, Equipment Specific Training, Monitoring, Room/Tool Access Control, and Machine Guarding.

Refer to section 9.0 of the Penn State Machine Shop Safety Program for more information.

## Transportation of Hazardous Materials

The Department of Transportation (DOT) requires that any individual who offers a regulated material for transport by highway, rail, vessel, or air must be trained and certified to ensure that all applicable regulations, packaging, shipping documents, labeling, and packing marking requirements are followed.  Examples of regulated materials include dry ice, biological materials, and hazardous chemicals. In order to meet these requirements, any individual associated with the University with the need to ship regulated materials must do so by contacting EHS. Please refer to the Hazardous Material Shipping Guidelines on the EHS website.

A personal vehicle shall not be used to transport hazardous chemicals, including dry ice or liquid nitrogen. Biological materials shall be shipped in compliance with DOT and Centers for Disease Control and Prevention (CDC) regulations. Transport of regulated plant or animal pathogens shall comply with United State Department of Agriculture (USDA) regulations.

# Chemical Hazards and Chemical Hygiene

## Hazardous Chemicals

Chemicals used in research present numerous hazards in terms of handling, storage, and potential risks of exposure. A hazardous chemical is a substance or combination of substances that, because of its quantity, concentration, physical, chemical, or explosive characteristics, poses a substantial present or potential danger to humans or the environment. Generally, such chemicals are classified as explosives, compressed gases (flammable and nonflammable), flammable or combustible liquids, flammable solids, oxidizers, poisons, or corrosives. OSHA also defines a hazardous chemical as any chemical which is classified as a physical hazard or a health hazard, a simple asphyxiant, combustible dust, pyrophoric gas, or hazard not otherwise classified. These broad definitions mean that many chemicals, including many common to research laboratories, are designated hazardous.

Chemicals that are deemed health hazards pose at least one of the following hazardous effects: acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or irritation, respiratory or skin sensitization, germ cell mutagenicity, carcinogenity, reproductive toxicity, specific target organ toxicity (single or repeated exposure), or aspiration hazard. Health hazard means that exposure to the chemical can cause acute or chronic health effects.

Chemicals that are deemed physical hazards pose at least one of the following hazardous effects: explosive, flammable (gases, aerosols, liquids, or solids), oxidizer (gas, liquid, or solid), self reactive, pyrophoric (gas, liquid, or solid), self-heating, organic peroxide, corrosive to metal, gas under pressure, emits flammable gas in contact with water, or combustible dust. A physical hazard is associated with a chemical that is a combustible liquid, compressed gas, explosive, flammable, organic peroxide, oxidizer, pyrophoric, unstable, or water-reactive. All these can cause harm as a result of physical reaction.

## Hazard Communication

The US has adopted the United Nations’ Globally Harmonized System of Classification and Labeling of Chemicals (GHS). The GHS is a comprehensive approach to defining a chemical’s hazards and communicating those hazards and protective measures to workers.

Pictograms (Table 7.1) identify health, physical, and environmental hazards associated with a chemical.

### Safety Data Sheets

SDSs are the most basic source of chemical hazard information. The SDS summarizes the chemical’s properties, the health and physical hazards, including the type of toxicity information discussed in the sections below, and related safety information required for emergency responders.

PIs or supervisors shall provide personnel with easy access to SDSs for each of the chemicals in use or stored in their labs. The most expedient way to find an SDS is to search for it on the internet. However, if you have problems obtaining access, contact EHS.

SDSs have a GHS standardized format consisting of the following sections:

Section 1 – IDENTIFICATION

This section provides the following information:

- Product identifier used on the label

- Other means of identification

- Recommended use of the chemical and restrictions on use

- Name, address, and information telephone number of the chemical manufacturer, importer, or other responsible party

- Emergency phone number

The information telephone number is provided to allow the user to obtain information about the substance. The emergency telephone number is intended for use by emergency response and medical personnel.

Section 2 – HAZARD IDENTIFICATION

This section provides the following information:

- Classification of the chemical in accordance with paragraph (d) of §1910.1200

- Signal word, hazard statement(s), symbol(s) and precautionary statement(s) in accordance with paragraph (f) of §1910.1200

- Describe any hazards not otherwise classified that have been identified during the classification process

Table 7.1	GHS Pictograms and Their Corresponding Chemical Hazards.

| Name | Hazard |  | Name | Hazard |
| --- | --- | --- | --- | --- |
| Exploding Bomb | Explosive (Unstable, Divisions 1.1, 1.2, 1.3, and 1.4), Self Reactive (Type A and B), Organic Peroxide (Type A and B) |  | Corrosive | Corrosive (Skin Corrosion Categories 1A, 1B, and 1C, Eye Corrosion Category 1), Corrosive to metals |
| Flame | Flammable (Solids Categories 1 and 2, Liquids Categories 1, 2, and 3, Gases Category 1, Flammable Aerosols Categories 1 and 2), Self Reactive (Type B, C, D, E, and F), Pyrophoric, Self-heating, Emits Flammable Gas, Organic Peroxide (Type B, C, D, and F) |  | Skull and Crossbones | Acute toxicity (Categories 1, 2, and 3) |
| Flame over Circle | Oxidizer |  | Exclamation Mark | Irritant (Skin Irritation Category 2 and Eye Irritation Category 2A), Skin Sensitizer (Category 1), Acute Toxicity (Category 4, harmful), Target Organ Toxicity/ STOT Category 3 = Narcotic Effects, Respiratory Tract Irritant |
| Gas Cylinder | Gas under pressure |  | Health Hazard | Carcinogen (Categories 1A, 1B, and 2), Respiratory Sensitizer (Category 1), Reproductive Toxicity (Categories 1A, 1B, and 2), Target Organ Toxicity/STOT (Categories 1 and 2), Mutagenicity (Categories 1A, 1B, and 2), Aspiration Toxicity (Categories 1 and 2) |
| Environment | Aquatic Toxicity |  |

Section 3 – COMPOSITION/INFORMATION ON INGREDIENTS

This section provides the following information for substances:

- Chemical name

- Common name and synonyms

- CAS number and other unique identifiers

- Impurities and stabilizing additives which are themselves classified and which contribute to the classification of the substance

This section provides the following information for mixtures:

- The information listed for substances

- The chemical name and concentration (exact percentage unless trade secret) or concentration ranges of all ingredients

Section 4 – FIRST-AID MEASURES

This section contains the following:

- Description of necessary measures, subdivided according to the first aid instructions for different routes of exposure, i.e., inhalation, skin and eye contact, and ingestion

- Most important symptoms/effects, acute and delayed

- Indication of immediate medical attention and special treatment needed, if necessary

Section 5 – FIRE FIGHTING MEASURES

This section provides the following information:

- Suitable (and unsuitable) extinguishing media

- Specific hazards arising from the chemical (e.g., nature of any hazardous combustion products)

- Precautions to be observed when fighting the fire

- Appropriate protective equipment for fire-fighters

Section 6 – ACCIDENTAL RELEASES MEASURES

This section provides the following information:

- Personal precautions, protective equipment, and emergency procedures

- Methods and materials for containment and cleaning up

Section 7 – HANDLING AND STORAGE

This section provides the following information:

- Precautions for safe handling

- Conditions for safe storage, including any incompatibilities

Section 8 – EXPOSURE CONTROLS/PERSONAL PROTECTION

This section provides the following information:

- OSHA permissible exposure limit (PEL)

- American Conference of Governmental Industrial Hygienists (ACGIH) Threshold Limit Value (TLV) and any other exposure limit used or recommended by the chemical manufacturer, importer, or employer preparing the safety data sheet, where available

- Appropriate engineering controls

- Individual protection measures such as personal protective equipment

- Recommended work and personal hygiene practices

Section 9 – PHYSICAL AND CHEMICAL PROPERTIES

This section provides the following information:

- Appearance (physical state, color, etc.)

- Odor

- Odor threshold

- pH

- Melting point/freezing point

- Initial boiling point and boiling range

- Flash point

- Evaporation rate

- Flammability (solid, gas)

- Upper/lower flammability or explosive limits

- Vapor pressure

- Vapor density

- Solubility(ies)

- Partition coefficient: n-octanol/water

- Auto-ignition temperature

- Decomposition temperature

- Viscosity

Section 10 – STABILITY AND REACTIVITY

This section provides the following:

- Reactivity

- Chemical stability (under normal conditions)

- Possibility of hazardous reactions

- Conditions to avoid (e.g., static discharge, shock, or vibration)

- Incompatible materials

- Hazardous decomposition products

Section 11 – TOXICOLOGICAL INFORMATION

This section provides the following description of the various toxicological (health) effects and the available data used to identify those effects, including:

- Information on the likely routes of exposure

- Symptoms related to the physical, chemical and toxicological characteristics

- Delayed and immediate effects and also chronic effects from short- and long-term exposure

- Numerical measures of toxicity (such as acute toxicity estimates)

- Carcinogenicity data; Whether the hazardous chemical is listed in the National Toxicology Program (NTP) Report on Carcinogens (latest edition) or has been found to be a potential carcinogen in the International Agency for Research on Cancer (IARC) Monographs (latest edition) or by OSHA

Section 12- ECOLOGICAL INFORMATION

This section provides the following information:

- Ecotoxicity (aquatic and terrestrial, where available)

- Persistence and degradability

- Bioaccumulative potential

- Mobility in soil

- Other adverse effects (e.g., hazardous to the ozone layer)

Section 13 – DISPOSAL CONSIDERATIONS

Description of waste residues and information on their safe handling and methods of disposal, including the disposal of any contaminated packaging

Section 14 – TRANSPORT INFORMATION

This section provides the following information:

- UN number

- UN proper shipping name

- Transport hazard class(es)

- Packing group, if applicable

- Special precautions a user needs to be aware of, or needs to comply with, in connection with transport or conveyance either within or outside their premises

Section 15 – REGULATORY INFORMATION

Safety, health, and environmental regulations specific for the product in question

Section 16 – OTHER INFORMATION

The date when the SDS was prepared or the last change was made to it

### Chemical Labels and Labeling

All containers of chemicals in the laboratory or research area shall be labeled.

Containers of hazardous chemicals purchased from a manufacturer must have labels that include:

- Product identifier: name or number used for a hazardous chemical on the label or SDS.

- Signal word: a word used to indicate the relative severity of the hazard and alert the reader to a potential hazard on the label. “Danger” is used for the more severe hazards, while “warning” is used for the less severe hazards.

- Pictogram: a graphic symbol intended to convey specific information about the hazards of a chemical.

- Hazard statement: describes the nature of the hazard(s) of a chemical, including, where appropriate, the degree of hazard. Includes hazard class, which describes the nature of the physical or health hazard (e.g., flammable solid, carcinogen).

See Figure 7.1 for an example of a standard hazard warning label used by manufacturers and others throughout the country.

Figure 7.1	Standard Hazard Warning Label.

Ensure containers are properly labeled when transferring chemicals to a new or different container, such as squirt bottles or to make working stock solutions. Research groups have some leeway in how this labeling requirement is met. It is acceptable to use standard labels such Hazardous Materials Identification System (HMIS) (Figure 7.2) or NFPA 704 diamond (Figure 7.3). Copying the manufacturer’s label and applying it to the container is also an option. In either case, researchers must be fully aware of the hazards of the chemicals used.

For additional information about proper labeling of chemical bottles, see the Chemical Container Labeling Guide.

Figure 7.2	Alternate Labeling Using HMIS Is Allowed for Workplace Chemical Bottles.

Figure 7.3	Alternate Labeling Using the NFPA Diamond Is Also Allowed.

### Additional Sources of Chemical Hazard Information

Penn State Libraries can provide assistance in selecting a number of databases and websites that can provide additional information on chemical hazards.

#### Various Texts

There are several toxicology texts available, which are helpful in the evaluation of health hazards of chemicals, including the following:

- Annual Report on Carcinogens: published by The National Toxicology Program (NTP), U.S. Public Health Service.

- IARC Working Group Monographs: A series of monographs published by The International Agency for Research on Cancer (IARC) covering specific agents, groups of agents or selected industries in which cancer has been caused or a suspected relationship exists with the chemicals under study.

- The Merck Index: A Compendium of Chemical Information.

- The Chemical Abstracts: A serial collection providing detailed bibliographies and abstracts on original research papers on hazards, toxicity, and related topics. These citations are based on the Chemical Abstracts Services registry number (CAS number).

#### Manufacturers and Suppliers

In addition to providing the SDS, many manufacturers/suppliers have telephone numbers that access customer service or technical representatives of the company, who may be able to provide additional information about the product. Additionally, many manufacturers or suppliers have websites that will allow you to access information regarding their chemicals.

#### NIOSH and Other Governmental Sources

The National Institute of Occupational Safety and Health (NIOSH), CDC, and OSHA all have published information related to chemical hazards/exposures, which are available on their websites, or can be requested there.

## Hazards and Handling of Chemical Groups

Chemicals are classified into hazard classes that include both physical and health hazards. It is important to remember that chemicals can exhibit more than one hazard or combinations of several hazards. Likewise, several factors can influence how a chemical will behave and the hazards the chemical presents. Concentration of the chemical, its physical state (solid, liquid, gas), the processes involved (cutting, grinding, heating, cooling, etc.), what other chemicals are present (mixing, purification, distillation, etc.), and other factors (storage, moisture, temperature, etc.) can all alter how a chemical should be handled. Always read the SDS prior to working with a new chemical.

The chemical handling guidelines described in this section are founded on several basic principles:

- Minimize chemical exposures,

- Avoid underestimating risk, and

- Provide adequate ventilation.

Since many chemicals are hazardous to some degree, it is prudent to minimize exposure to chemicals as a general rule, rather than implementing safety protocols only for specific compounds. Avoid skin contact with chemicals. Assume that mixtures are more toxic than their components and that all substances of unknown toxicity are toxic. Do not work with a volatile or aerosolizing material without adequate ventilation from chemical fume hoods or other protective devices. Remember: Prepare yourself, then protect yourself.

### General Chemical Handling Guidelines

The guidelines in Box 7.1 are applicable to nearly all uses of chemicals. They apply to most hazardous chemicals, such as acids, bases, and flammable liquids. They are also applicable to chemicals that display low carcinogenic potency in animals and are not considered carcinogens.

The general guidelines are not, by themselves, adequate for chemicals that are highly reactive or explosive, or have high acute toxicity or high chronic toxicity such as heavy metals, chemical carcinogens, or reproductive toxins.

Box 7.1	General Guidelines for Chemical Handling

- Wear gloves selected based on the hazard. Inspect them before use. Wash reusable gloves before removal. Turn disposable gloves inside out carefully to avoid contaminating hands. - Always wash hands, and possibly arms and face, before leaving the laboratory, eating, smoking, drinking, chewing gum, applying lip balm or cosmetics, or handling contact lenses. - Do not store or prepare food, eat, drink, chew gum, apply lip balm or cosmetics, or handle contact lenses in areas where hazardous chemicals are present. - Wear eye protection at all times when handling, working with, or transporting hazardous chemicals. - Never pipette or start a siphon by mouth. - Never smell or taste chemicals. - Vent into local exhaust devices any apparatus that may discharge toxic vapors, fumes, mists, dusts, or gases. Never release toxic chemicals into cold rooms or warm rooms that have recirculating atmospheres. - Use chemical fume hoods or other engineering controls to minimize exposure to airborne contaminants. Use a respirator ONLY if engineering controls are not adequate, AND you have been granted medical clearance and completed the associated training. - Keep work areas clean and uncluttered. - Label all chemical containers, following section 7.2.2. - Obtain an SDS for each chemical and consult the SDS before you use a chemical. - Confine long hair and loose clothing. - Wear long pants and sturdy shoes that cover feet completely. - Wear a laboratory coat or other protective clothing. Remove protective clothing immediately if it becomes significantly contaminated. - Know the emergency procedures for the building, the department, and the chemicals being used. - Keep personal belongings away from chemicals.

### Chemical Emergency Procedures

Research groups should know, based on the chemicals they use and have in storage, what type of chemical spills and releases they are comfortable handling themselves, and which require outside assistance. Never hesitate to contact EHS with questions or to request assistance with spill clean up. Knowing appropriate chemical emergency procedures shall be an integral part of planning and conducting research. Likewise, every member of the lab should know where the nearest eyewash and safety shower are located.

#### Preparing for Chemical Spills and Releases

The best preparation for a chemical emergency in your research area is to be familiar with the chemicals in the space and their properties. Keep appropriate spill-containment material on hand for emergencies. This should include appropriate PPE to handle all chemicals in the lab along with absorbent materials. While there are certain principles that apply to cleaning up all spills, the specific characteristics of some chemicals will determine the most appropriate materials to use in a clean up. Consult with EHS to determine which materials are suitable in a particular lab.

The second best time to prepare for a chemical spill clean up is after one occurs by performing a post incident investigation. Assess if the right materials were on hand, consider what else would have been useful to have, and ensure that any materials that were used are replenished so you are ready for the next emergency. Use this information to enhance associated SOPs.

#### Detecting a Chemical Spill or Release

The ability to detect the release or presence of hazardous chemicals is an important skill for safely working in a lab. The methods and techniques of observation used to determine if a hazardous chemical is present or has been released vary widely based on the specific chemical.

- Odor: Some chemicals are vaporized into the air easily and emit a strong odor. Ex: solvents such as isoamyl acetate, which smell like bananas. NOTE: Odor is not necessarily directly related to the toxicity of a chemical. Some chemicals have a strong odor that can be smelled at levels well below their harmful limits while others may produce no odor even at levels that are harmful.

- Visual appearance: Release of some chemicals may be observed by the visible appearance of the chemical.

- Air monitoring: In areas where flammable or highly toxic substances are present, there may be air monitoring devices that alarm when the concentration of the substances reaches a certain value, such as 50% of the exposure limit. Examples: arsine air monitors or oxygen monitors in liquid nitrogen areas.

- Physical and health symptoms: Release of some chemicals may have no odor or visual cues, but may still make people feel unwell if exposed. Research groups should be aware of the symptoms that may be caused by the chemicals they work with, especially for chemicals with no or poor warning signs.

Sensory clues are the least dependable and potentially most dangerous method for identifying the presence of hazardous chemicals. Many hazardous chemicals do not have warning signs such as smell. Moreover, in cases of hazardous gas releases, you may not be able to see or notice any changes in the air.

Spills can be grouped into three categories in order of increasing risk:

- Simple spills – These spills are of small quantities, fully contained within a small area, have not entered floor or sink drains, require no evacuation, and are easily cleaned up by the laboratory. They present minimal risk and do not require outside assistance to clean up. Simple spills are not required to be reported to EHS.

- Moderate spills – These spills may be larger in quantity, may require outside assistance to contain, may involve room or local evacuation. Moderate spills must be reported to EHS as soon as possible as they may require regulatory reporting. Spills that enter floor or sink drains are likely at least moderate spills, depending on the material.

- Large, high-hazard, or emergency spills – These spills are defined as large quantity spills, spills of high hazard materials, or releases that create an emergency situation due to possible explosion, fire, etc. They may spread rapidly, involve injury or could endanger people, present an inhalation hazard, or could endanger the environment. These are emergency spills that will likely involve either Hazardous Materials team or contractor assistance for clean-up and possibly require regulatory reporting.

Spills/releases are dynamic, and a spill that begins as a simple or moderate spill may escalate to a large, high-hazard, or emergency spill. Therefore, these categories should be viewed as providing general guidelines of the response and notification requirements. For simple and some moderate spills, lab personnel may be the only responders needed while large, high-hazard, or emergency spills require outside assistance. Some spills and releases have reporting requirements and it is better to err on the side of caution in reporting spills to EHS. As discussed in section 5.5, chemical spills and releases that require an evacuation (even small local ones) or cause injuries shall be reported to EHS. Researchers and facility managers are encouraged to call EHS or the Emergency Coordinator if they have any questions regarding a spill/release event.

#### Cleaning Up a Chemical Spill or Release

Before attempting to clean up a chemical spill, evaluate the toxicity, flammability, and other hazardous properties of the chemical as well as the size and location of the spill (for example, chemical fume hood, elevator, or on a person) to determine whether evacuation or additional assistance is necessary. Never hesitate to call EHS for assistance. Simple spills should be handled by the research group. EHS can assist in cleaning up some spills the lab may not be comfortable handling. For larger spills, spills of particularly hazardous chemicals, or spills beyond the ability of the lab to control, call 911.

Box 7.2 provides general guidance for cleaning up spills, particularly those that are small, low-toxicity chemical spills. Procedures for how to clean up spills of specific hazard classes of chemicals are included within their respective sections below.

Box 7.2	Procedure for Simple Low-Toxicity Chemical Spills

- Identify the problem and hazards of the materials. - Alert persons in the area that a spill has occurred. - Contain any volatile material within a room by keeping doors closed. Increase exhaust efficiency by minimizing sash height of chemical fume hood. - Consult the SDS, which has specific information on spill procedures, your laboratory’s Unit Specific Plan, procedures in this document, or call EHS for correct cleaning procedures. - Put on appropriate PPE for the chemical, such as goggles, apron, laboratory coat, or gloves. Base the selection of PPE on the hazard(s) present. - Stop the source of the spill or release and contain it using absorbent. - Absorb liquid spills using paper towels, spill pillows, vermiculite, sand, or other appropriate absorbent materials. Place the material over the spill and draw the free liquid in. Sprinkle vermiculite or sand over the surface of the free liquid, beginning at the edges and working towards the center. - Place the used pillows or absorbent materials in plastic bags for disposal along with contaminated disposable PPE, such as gloves. - Wipe area with wet cloth or paper towels. Place material into container for disposal. - All spill clean up materials shall be treated as chemical waste. Label the container as chemical waste with a completed green tag. The contents section should list “spill clean up materials contaminated with (name of spilled material).” - For disposal of spill clean up materials at University Park, submit a Chemical Waste Pickup Request on the EHS website, ehs.psu.edu. Other Penn State locations should follow standard chemical waste procedures for their location. - Complete an incident investigation to determine cause and preventive measures for reoccurrence.

Box 7.3 details procedures for handling chemical spills on a person. In the event of a spill on a person, getting the person appropriate assistance is generally more important than trying to clean up other areas of the spill. Never hesitate to ask for assistance. If a chemical spills on you, try not to panic. Inform those around you as soon as possible and do not assume that you will be able to take care of the spill yourself.

Box 7.3	Procedure for Chemical Spill on a Person

- For small spills on the skin, flush immediately under running water for at least 15 minutes, removing any jewelry or clothing that might contain residue. If there is no sign of a burn, wash the area with soap under warm running water. - If pain returns after the 15-minute flooding, resume flooding the area. When providing assistance to a victim of chemical contamination, use appropriate PPE. - For a chemical splash in the eyes, immediately flush the eyes under running potable water for 15 minutes, holding the eyes open and rotating the eyeballs. This is preferably done at an eyewash with tepid water and properly controlled flow. Hold the eyelids open and move the eye up, down, and sideways to ensure complete coverage. If no eyewash is available, put the victim on their back and gently pour water into the eyes for 15 minutes or until medical personnel arrive. Seek medical attention as soon as possible after the immediate situation has been handled. - For spills on clothing, immediately remove contaminated clothing, including shoes and jewelry, while standing under running water or the safety shower. When removing shirts or pullover sweaters, be careful not to contaminate the eyes. Cutting off such clothing will help prevent spreading the contamination. - Consult the SDS to see if any delayed effects should be expected, and keep the SDS with the victim. Have the victim taken to the emergency room for medical attention. Be sure to inform emergency personnel of the decontamination procedures used prior to their arrival (for example, washing for 15 minutes with water). Be certain that emergency room personnel are told exactly what the victim was contaminated with so they can treat the victim accordingly. - Accidental injection of chemicals, especially toxics, should be taken very seriously and action should be taken immediately. It is imperative that medical assessment and treatment is sought rapidly.

### Transporting Chemicals

The precautions that should be followed to protect laboratory and non-laboratory personnel and facilities when you transport chemicals in University buildings are listed in Box 7.4.

Box 7.4	Procedure for Transport of Chemicals

- Use secondary containers. The container-within-a-container concept will protect the primary containers from shock during any sudden change of movement. Secondary containment is especially important when chemicals are moved in public areas, such as hallways or elevators, where the effects of a spill would be more severe. - Always use a sturdy cart, and make sure the cart has a low center of gravity. Carts with large wheels are best for negotiating irregularities in floors and at elevator doors. - Do not transport incompatible chemicals together on the same cart unless separated by secondary containment. - All chemical containers being transported shall have labels identifying the contents. - Transport large containers of corrosives in a chemically resistant bucket or other container designed for this purpose. - Anticipate sudden backing up or changes in direction from others. If you stumble or fall while carrying glassware or chemicals, try to project them away from yourself and others. - The transportation of pesticides between facilities or from agriculture suppliers must be done by a licensed pesticide applicator. In addition, the facility’s business license number assigned by the Pennsylvania Department of Agriculture (PDA) must be displayed on the vehicle.

These precautions are also required when transporting chemicals between buildings. When walking chemicals between buildings, a sturdy cart and chemically resistant secondary containment can help prevent spills outside where they may be even more problematic than inside.

DOT regulations apply to all transport of chemicals in a vehicle. Chemicals shall not be transported in non-University owned vehicles for any reason or distance. Personal vehicles are never allowed for transport of chemicals. Chemicals may only be transported in a university owned vehicle. When transporting chemicals by vehicle, containers must be secured to prevent them from spilling during transport. See Section 6.11 for further information about shipping of hazardous materials. Contact EHS to discuss other situations that require transport of chemicals.

Transport of liquid nitrogen is further detailed in Section 7.3.9.10.

### Corrosive Materials

Gases, liquids, and solids can exhibit the hazardous property of corrosivity. Materials with corrosive properties can be either acidic (low pH) or basic (high pH).

Corrosive materials can burn, irritate, or destructively attack skin. When inhaled or ingested, lung and stomach tissue are affected. Corrosive gases are readily absorbed into the body through skin contact and inhalation. Corrosive liquids are frequently used in the laboratory and have a high potential to cause external injury to the body. Corrosive solids often cause delayed injury. Because corrosive solids dissolve rapidly in moisture on the skin and in the respiratory system, the effects of corrosive solids depend largely on the duration of contact. Corrosives attack the skin and can cause permanent damage to the eyes.

A chemical that is corrosive to metals means a chemical, which by chemical action will materially damage, or even destroy, metals. Containers and equipment used for storage and processing of corrosive materials should be corrosion resistant.

Likewise, corrosives can damage PPE such as gloves, lab coats, and eye protection. Ensure PPE is rated to withstand use of corrosives when working with these chemicals.

Box 7.5 	General Guidelines for Handling Corrosive Materials

- When preparing solutions, always add acid to water and remember that the heat of solution may produce a large increase in temperature. - Have a plastic or rubber apron available for working with strong corrosives. - Be aware that vinyl and latex gloves offer no protection from many corrosives. - Eye protection that forms a complete seal around the eyes (goggles) should be used when handling corrosive materials. A face shield over safety glasses may also be appropriate.

Corrosives are generally divided into two categories, acids and bases. However, other materials may be corrosive that do not fall neatly into acid or base, such as phenol. Aqueous solutions of acids with a pH less than 2 and bases with a pH greater than 12 are especially dangerous and require special precautions. While pH describes the hydrogen ion concentration, it is not an absolute measurement of potential hazard. Weak acids at high concentration can be more destructive to tissue than strong acids at lower concentrations. Phenol is not a strong acid, but it will readily penetrate skin and cause destruction.

#### Acids

Glacial acetic acid, as its name suggests, is an acid, and should generally be handled as such. However, for storage purposes, glacial acetic acid should be treated as a flammable and stored accordingly.

Oxyacids such as sulfuric and nitric acids have widely differing properties. Sulfuric acid is a very strong dehydrating agent. Nitric acid is a strong oxidizing agent that acts rapidly and turns exposed skin yellow to brown as a denaturing reaction occurs. Oxyacids can react with organics, like paper towels, and can cause fires in some cases.

All the hydrogen halide acids are serious respiratory irritants. Hydrogen fluoride (HF) is an example of a chemical that falls under two hazard classes, corrosive and high acute toxicity (further discussed in section 7.3.8.3). It poses a special danger because it is rapidly absorbed through the skin, penetrating deeply into the body tissues. It can be destructive to both skin and bone tissue along with potential cardiac effects. Contact with dilute solutions of HF may cause no pain for several hours but result in serious burns. In all cases, immediate and thorough flushing with water and attention by a physician are necessary. Working with HF carries particular hazards. Labs should follow the Hydrofluoric Acid Guidelines.

Chromic acid is generally prepared as a cleaning solution. EHS recommends the use of replacement cleaners without chromium, which is carcinogenic. All chromic acid waste must be collected and disposed of through EHS. For information regarding chromic acid substitutes, contact EHS.

Perchloric acid is a powerful oxidizing agent that may react explosively with organic compounds and other reducing agents. It shall be used only in a perchloric-acid, water-wash-down fume hood of noncombustible construction. Perchloric acid should be handled with extreme care and kept from organic matter to prevent a serious explosion. Beakers of fuming perchloric acid shall be handled with tongs rather than rubber gloves. Perchloric acid hoods shall be washed down after every perchloric acid digestion.

Perchloric acid containers shall be stored in glass outer containers and shall not be stored on wood shelving, as drips or leaks may render the wood shock-sensitive. Keep perchloric acid bottles on glass or ceramic trays that are large enough to hold all the acid if the bottle breaks. Storage of perchloric acid containers should not exceed one year. Digest organic matter with nitric acid before addition of perchloric acid. Never heat perchloric acid with sulfuric acid because dehydration may produce anhydrous perchloric acid, which is explosive.

Inorganic acids, such as hydrochloric acid, nitric acid, phosphoric acid, and sulfuric acid, may be neutralized as part of a SOP and then drain disposed, following the procedure in Box 7.6. These solutions must not have other contaminants such as heavy metals or alcohols. This neutralization step must occur as part of the process generating the material. This process is NOT permitted for use with hydrofluoric acid, chromic acid, or any acid of high concentration.

Box 7.6	Procedure for Inorganic Acid Neutralization

DOES NOT apply to chromic, hydrofluoric, or perchloric acids. Applicable Acids: Hydrochloric, nitric, phosphoric, and sulfuric Equipment: Chemical fume hood, sash pulled down as far as possible Goggles Gloves Lab coat, either acid resistant or with impermeable apron pH paper, wide range CAUTION: Wear PPE and work in a hood Beware of heat and fumes generated by neutralizing acid Add acid to water Keep containers cool while neutralizing, using ice in the water or in baths Dilute concentrated acids before neutralization 1. Prepare a large amount of an ice-water-and-base solution of one of the following: Sodium carbonate (soda ash) Calcium hydroxide (slaked lime) Sodium hydroxide, 5 to 10%; one-molar solution is about 4% (4 g per 100 ml) 2. Slowly stir acid (which has been diluted to about 5%) into the base solution until the pH reaches between 5 to 10. 3. Slowly pour the neutralized solution down the drain with large amounts of water. NOTE: The pH of solutions poured down the drain shall be between 5 and 10 to avoid violating waste water regulations. Reference: Prudent Practices for Disposal of Chemicals from Laboratories, Committee on Hazardous Substances in the Laboratory, et al., National Academy Press, 1983.

#### Bases

Strong bases are all corrosive and can cause serious chemical burns. Bases generally have good warning properties: they typically have a slippery feeling on the skin. However, if it is not completely removed by rinsing, a solution of a strong base may not cause pain until the corrosive damage is quite severe.

The most common bases found in laboratories include the alkali metal hydroxides (e.g. ammonium hydroxide, potassium hydroxide, and sodium hydroxide) and aqueous solutions of ammonia. Sodium and potassium hydroxides are extremely destructive to both skin and eye tissues. The heat released when preparing concentrated solutions can raise the temperature to dangerous levels. Because ammonia solution vapors are such strong irritants, they should be used only in a chemical fume hood.

Many common organic bases have characteristics of multiple hazard classes in addition to being corrosive, such as diethylamine (flammable and toxic), methylamine (flammable compressed gas), piperidine (flammable and toxic), and pyridine (flammable). In some cases, the other hazard classes may present more pressing hazards. For example, piperidine has a flashpoint < 100 °F, and it may be more appropriate to follow the guidance for flammable liquids to prevent potential fires.

Tetramethylammonium hydroxide (TMAH) is a nerve agent. Its hydroxide form can rapidly penetrate skin through corrosive damage. Deaths have resulted from accidents where 25% TMAH spilled onto workers even though they rinsed within a minute of exposure. PPE must be worn, including for lower concentrations.

Some bases may be neutralized as part of a SOP and then drain disposed, following the procedure in Box 7.7. These solutions must not have other contaminants such as heavy metals or alcohols. This neutralization step must occur as part of the process generating the material. This process is NOT permitted for use with TMAH or amines.

Box 7.7	Procedure for Base Neutralization

DOES NOT apply to TMAH or amines. Applicable Bases: potassium hydroxide, sodium hydroxide Equipment: Chemical fume hood, sash pulled down as far as possible Goggles Gloves Lab coat, either chemical resistant or with impermeable apron pH paper, wide range CAUTION: Wear protective clothing and work in a hood Beware of heat and fumes generated by neutralizing base Add base to water Keep containers cool while neutralizing, using ice in the water or in baths Dilute concentrated bases before neutralization 1. Prepare a large amount of an ice-water-and-acid solution using citric acid, or another acid from a base neutralization kit. 2. Slowly stir base (which has been diluted to about 5%) into the acid solution until the pH reaches between 5 to 10. 3. Slowly pour the neutralized solution down the drain with large amounts of water. NOTE: The pH of solutions poured down the drain shall be between 5 and 10 to avoid violating waste water regulations.

#### Other Common Corrosives

Formaldehyde, formalin, paraformaldehyde, and phenol are corrosives that do not fall into the acid and bases categories discussed above.

Formaldehyde is a colorless gas with a pungent odor and is most commonly used as a saturated aqueous solution called formalin. Formaldehyde is a suspected carcinogen, and thus requires further precautions, further discussed in section 7.3.8.2. Formalin is usually supplied as 37-40% by weight of formaldehyde and 6-13% by volume of methanol in water. This solution is combustible. Paraformaldehyde is a white crystalline powder of polymerized formaldehyde, a flammable solid that can emit formaldehyde gas when heated or mixed with water. The terms formaldehyde and formalin are often used interchangeably, but there are important differences in their concentrations. The most commonly used formaldehyde containing solution at Penn State is 10% buffered formalin, which is actually a 4% solution of formaldehyde (i.e., a 10% solution made from a 37-40% solution of formaldehyde). It is always important to know specifically what you are handling. Consider using alternatives to formalin if possible. Information about formalin alternatives can be found on the EHS webpage.

Phenol is a colorless or pink crystalline solid or viscous liquid with a characteristic sweet, medicinal odor. It is corrosive and considered moderately toxic. Phenol is capable of rapidly penetrating the skin and causing severe burns. It is toxic and even fatal amounts of phenol can be absorbed through relatively small areas of skin. Due to its local anesthetizing properties, skin burns may initially be painless. Phenol can even penetrate leather on shoes or clothing.

#### Procedure for Spills Involving Corrosive Materials

Spills of corrosive materials may require special PPE or clean up materials. Never hesitate to contact EHS or emergency services for assistance if you are unsure of how to handle a spill involving corrosive materials. Spills of some corrosive materials may be major or emergency spills, regardless of volume. Any spills of more than a few milliliters of concentrated hydrofluoric acid should be considered a major spill that requires assistance. Box 7.8 provides information about how to handle spills of corrosive materials.

Box 7.8	Procedure for Spills of Corrosive Materials

Major or emergency spills: - Warn all persons nearby. - Only if it is safe to do so, stop or contain the spill. - Leave the room and close the door if possible. - Call 911 and EHS, and go to a safe location to wait for help. Simple Acid Spills: Note: Certain acids may pose unique health or physical hazards. The following guidance is for standard laboratory acids, such as acetic acid, carbonic acid, formic acid, hydrochloric acid, oxalic acid, phosphoric acid, sulfuric acid, etc. Many simple spills of acids can be absorbed with paper towels or other absorbents. However, consult the SDS to ensure that any absorbent materials are compatible with the chemical. Nitric and perchloric acids can ignite paper towels and other paper products. - Absorb free liquid (being careful of any broken glass) and place absorbent into container for disposal. A small pail or drum are appropriate waste containers for spill clean up of these types of materials. - Apply acid neutralizer, such as sodium bicarbonate, to the spill area if residual free liquid remains, sweep up material and place in container for disposal. - Wipe area with wet cloth or paper towels. Place material into container for disposal. - Label the container as chemical waste with a completed green tag. The contents section should list “spill clean up materials contaminated with (name of spilled material).” Contact EHS for pick up. - Do a final clean up with soap and water to ensure no residue remains on the surface. Simple Base Spills: Note: Certain bases may pose unique health or physical hazards. The following guidance is for standard laboratory bases, such as ammonium hydroxide, potassium hydroxide, sodium hydroxide, etc. Many simple spills of bases can be absorbed with paper towels or other absorbents. However, consult the SDS to ensure that any absorbent materials are compatible with the chemical. Oxidizing bases, such as hypochlorates, can make absorbent material flammable. - Absorb free liquid (being careful of any broken glass) and place absorbent into container for disposal. A small pail or drum are appropriate waste containers for spill clean up of these types of materials. - Apply base neutralizer, such as citric acid, to the spill area if residual free liquid remains, sweep up material and place in container for disposal. - Wipe area with wet cloth or paper towels. Place material into container for disposal. - Label the container as chemical waste with a completed green tag. The contents section should list “spill clean up materials contaminated with (name of spilled material).” Contact EHS for pick up. - Do a final clean up with soap and water to ensure no residue remains on the surface.

### Flammable and Combustible Materials

For reference, see: Safety Policies SY08: Storage, Dispensing, and Use of Flammable and Combustible Liquids and SY11: Refrigerators – Explosion-Proof.

Flammable materials can include flammable liquids, solids, gases, and aerosols. When working with flammable materials, ensure that ignition sources have been eliminated, including open flames, hot surfaces, sparks from welding or cutting, operation of electrical equipment, and static electricity. Flammable materials may not be stored in ordinary household-type refrigerators, freezers, or cold rooms. Use laboratory-safe refrigerators and freezers specifically designed for the storage of flammable materials.

#### Flammable and Combustible Liquids

A flammable liquid is a liquid with a flash point below 100 °F and a vapor pressure not exceeding 40 psi (absolute) at 100 °F. These are categorized as Class I liquids. A liquid with a flash point of 100 °F or greater is classified as a combustible liquid and may be referred to as a Class II or Class III liquid (Table 7.2).

Table 7.2	Flammable and Combustible Liquid Classification

| CLASS | FLASH POINT (°F) | BOILING POINT (°F) |
| --- | --- | --- |
| IA | Below 73 | Below 100 |
| IB | Below 73 | At or above 100 |
| IC | At or above 73, below 100 | NA |
| II | At or above 100, below 140 | NA |
| IIIA | At or above 140, below 200 | NA |
| IIIB | At or above 200 | NA |

Flash point is the minimum temperature at which a liquid gives off vapors in sufficient concentration to form an ignitable mixture with air. The classes of liquids are further divided into subclasses, depending on the flash points and boiling points of the liquids. The classifications are important because regulations governing storage and use of a liquid are largely based on the liquid's flash point. Many solvents commonly used in research are classified as flammable or combustible liquids based on their flash and boiling points. Common solvents, their properties, and flammability class can be found in Table 7.3.

Handling – Flammable liquids shall be handled only in areas with no ignition sources and shall not be heated with open flames. If flammable liquids in metal containers or equipment are transferred, the equipment and containers shall be bonded to avoid static-generated sparks.

Storage – Flammable liquids shall not be stored in ordinary refrigerators, freezers, or cold rooms. If it is necessary to refrigerate flammable materials, explosion-proof or flammable-storage refrigerators shall be used. Combustible liquids are less of a fire hazard, although a rise in temperature increases their evaporation rate and the potential for ignition. If the quantity of flammable liquids in storage exceeds 10 gallons (including liquid waste), flammable storage cabinets must be used. Containers greater than 5 gallons of flammable liquids are not permitted in laboratories unless the quantity is necessary for daily use and is approved by EHS. Always store oxidizers and flammables separately.

Table 7.3	Characteristics of Common Solvents

| Chemical | Flash Point |  | Boiling Point |  | Flammability Class |
| --- | --- | --- | --- | --- | --- |
|  | °C | °F | °C | °F |  |
| Acetaldehyde | -40 | -40 | 20.1 | 68.18 | IA |
| Acetic acid, glacial | 39 | 102.2 | 118 | 244.4 | II |
| Acetone | -18 | -0.4 | 56.2 | 133.16 | IB |
| Acetonitrile | 2 | 35.6 | 82 | 179.6 | IB |
| Acrylonitrile | 2 | 35.6 | 82 | 179.6 | IB |
| Benzene | -11 | 12.2 | 80.1 | 176.18 | IB |
| Chloroform | none | none | 61.2 | 142.16 | none |
| Cyclohexane | -18.3 | -0.94 | 80.7 | 177.26 | IB |
| Dimethylformamide | 71 | 159.8 | 152.8 | 307.04 | IIIA |
| Dioxane | 12 | 53.6 | 102 | 215.6 | IB |
| Ethanol | 16 | 60.8 | 78.3 | 172.94 | IB |
| Ethyl acetate | -4.4 | 24.08 | 77 | 170.6 | IB |
| Ethyl ether | -45 | -49 | 34.5 | 94.1 | IA |
| Gasoline | -30 | -22 | 85 | 185 | IB |
| Heptane | 3.89 | 39.002 | 98.4 | 209.12 | IB |
| Hexane | -26 | -14.8 | 68.7 | 155.66 | IB |
| Isopropanol | 12 | 53.6 | 83 | 181.4 | IB |
| n-Propyl ether | -18 | -0.4 | 90 | 194 | IB |
| Methanol | 12.2 | 53.96 | 64.5 | 148.1 | IB |
| Methylene chloride | -14 | 6.8 | 40.1 | 104.18 | none |
| Methyl ethyl ketone | -9 | 15.8 | 79.6 | 175.28 | IB |
| m-Xylene | 25 | 77 | 138.8 | 281.84 | IC |
| p-Dioxane | 12 | 53.6 | 101 | 213.8 | IB |
| Pentane | -49 | -56.2 | 36.1 | 96.98 | IA |
| Petroleum ether | -9 | 15.8 | 90 | 194 | IB |
| Propyl alcohol | 22 | 71.6 | 97.2 | 206.96 | IB |
| Pyridine | 20 | 68 | 115.5 | 239.9 | IB |
| tert-Butyl alcohol | 11.1 | 51.98 | 82.9 | 181.22 | IB |
| Tetrahydrofuran | -15 | 5 | 66 | 150.8 | IB |
| Triethylamine | -15 | 5 | 8937 | 16118.6 | IB |
| Toluene | 6 | 42.8 | 110.7 | 231.26 | IB |
| Xylenes | 30 | 86 | 135 | 275 | IC |

Lewis, Richard J., and Gessner G. Hawley. Hawley's Condensed Chemical Dictionary / Richard J. Lewis, Sr. 14th ed. New York: John Wiley and Sons, 2011. Print.

Allowable Quantities – The maximum allowable size of containers and portable tanks for flammable and combustible liquids is shown in Table 7.4. Although the table indicates that the maximum allowable size of glass containers for Class IA and Class IB are one pint and one quart respectively, the liquids may be stored in glass containers of not more than one-gallon capacity if the required liquid purity (such as ACS analytical reagent grade or higher) would be affected by storage in metal containers or if the liquid would cause excessive corrosion of the metal container.

Table 7.4	Maximum Allowable Size of Flammable and Combustible Liquid Containers in Laboratories

|  | FLAMMABLE LIQUIDS |  |  | COMBUSTIBLE LIQUIDS |  |
| --- | --- | --- | --- | --- | --- |
| Container Type | Class IA | Class IB | Class IC | Class II | Class IIIA |
| Glass | 500 ml (1 pt)a | 1 L (1 qt)a | 4 L (1 gal) | 4 L (1 gal) | 20 L (5 gal) |
| Metal (other than DOT drums) or approved plastic | 4 L (1 gal) | 20 L (5 gal)b | 20 L (5 gal)b | 20 L (5 gal)b | 20 L (5 gal) |
| Safety cans | 10 L (2.6 gal) | 20 L (5 gal)b | 20 L (5 gal)b | 20 L (5 gal)b | 20 L (5 gal) |
| Metal (DOT spec.) | 4 L (1 gal) | 20 L (5 gal)b | 20 L (5 gal)b | 227 L (60 gal)b | 227 L (60 gal) |
| aGlass containers of not more than one gallon capacity are acceptable if the required purity would be affected by storage in metal or if excessive corrosion would result from storage in metal. bIn instructional laboratory work areas, no container for Class I or II liquids shall exceed a capacity of one gallon, other than safety cans, which may be of two-gallon capacity. |  |  |  |  |  |

Reference: NFPA 45, Fire Protection for Laboratories Using Chemicals, National Fire Protection Association, 2019.

Bonding and Grounding – When a flammable liquid is poured into or withdrawn from a metal drum, the drum and the secondary container shall be electrically bonded to each other and to the ground to avoid the possible buildup of a static charge. Only small quantities, 1 gallon or less, should be transferred to a glass container. If the liquid is transferred from a metal container to glass, the metal container should be grounded.

#### Flammable Solids

OSHA defines flammable solids as powdered, granular, or pasty chemicals which are dangerous if they can be easily ignited by brief contact with an ignition source, such as a burning match, and if the flame spreads rapidly, or which may cause or contribute to fire through friction. Flammable solids also include materials that, in contact with water, emit flammable gases.

Flammable solids often encountered in the laboratory include alkali metals, magnesium metal, metallic hydrides, some organometallic compounds, elemental phosphorus, sulfur, and powdered metals. Many flammable solids are also considered highly reactive chemicals, further discussed in section 7.3.7.

Like other hazardous chemicals, work with flammable solids should be well documented in a thorough SOP. Use of flammable solids should be conducted in a glove box or properly functioning chemical fume hood. Depending upon the level of flammability involved with specific chemicals, engineering control requirements may increase (e.g., use of inert atmospheres, glove boxes, special detection and/or extinguishing systems, etc.). SOPs for work with flammable solids should also include specific information about fire prevention and what to do in the event of a fire.

Fires that include flammable solids carry many additional hazards beyond a typical fire. This includes:

- Many flammable solids may react violently or explosively on contact with water and may also be ignited with friction, heat, sparks, or flame.

- Dousing metallic fires with water may generate hydrogen gas, an extremely dangerous explosion hazard, particularly if fire is in a confined environment.

- Fires that include flammable solids may also not be extinguishable using conventional dry chemical or carbon dioxide extinguishers.

- Fires involving flammable metals (lithium, potassium, sodium, etc.) or flammable metal compounds (butyllithium, diethylzinc, etc.) can be fueled by using water or carbon dioxide fire extinguishers.

- Some of these materials will burn with intense heat.

- Dusts or fumes, including finely divided metal powders, may form explosive mixtures in air.

- If heated or involved in a fire, flammable solids may melt into a flammable liquid (e.g., neopentyl alcohol, m.p. 52-56 °C).

- Materials may re-ignite after the fire is extinguished.

- Fires may produce irritating, corrosive, and/or toxic gases.

- Some of these materials may also be pyrophoric – spontaneously reacting with oxygen in air to ignite.

This is some general guidance to consider during SOP development for work with flammable solids:

- Ensure Class D extinguishers, e.g., Met-L-X, are available where flammable solids are used or stored.

- Sand can usually be used to smother a fire involving flammable solids. Keep a container of sand near the work area.

- For metallic flammable solids (e.g., lithium, magnesium, phosphorus, sodium) do not use water, foam, or carbon dioxide as a fire suppressant.

- If a flammable, water-reactive solid is spilled onto skin, brush off as much as possible, then flush with copious amounts of water and seek medical care.

- NEVER use a carbon dioxide fire extinguisher for fires involving lithium aluminum hydride. Lithium aluminum hydride reacts explosively with carbon dioxide.

#### Flammable Aerosols

Flammable aerosols as a category are flammable gases compressed, liquefied, or dissolved under pressure, and fitted with a release device allowing the contents to be ejected as particles in suspension in a gas, or as a foam, paste, powder, liquid, or gas. They present multiple hazards including the flammability of the compressed material and hazards associated with compressed gases. Depending on the compressed material, they may also present health hazards or other physical hazards than just flammability, such as corrosivity or reactivity. Examples of flammable aerosols may include spray paints, adhesives, etc.

An SOP should be developed for the use of flammable aerosols that includes PPE appropriate to all the hazards presented by the materials in use.

#### Procedure for Spills Involving Flammable Materials

Box 7.9 provides information about how to handle spills of flammable materials.

Box 7.9	Procedure for Spills of Flammable or Volatile Materials

Major or emergency spills: - Warn all persons nearby. - Turn off any ignition sources such as burners, motors, and other spark-producing equipment. - Only if it is safe to do so, stop or contain the spill. - Leave the room and close the door if possible. - Call EHS and 911, and go to a safe location to wait for help. Simple spills: Simple spills can be absorbed with paper towels or other absorbents. However, these materials can increase the surface area and evaporation rate, increasing the potential fire hazard if the material is flammable and airborne concentration reaches the flammability level. - Absorb free liquid (being careful of any broken glass) and place used absorbent into a plastic bag (if compatible with plastic). - Wipe area with wet cloth or paper towels. Place material into container for disposal. - Place the open bag in a chemical fume hood. - Label the container as chemical waste with a completed green tag. The contents section should list “spill clean up materials contaminated with (name of spilled material).” Contact EHS for pick up. - Do a final clean up with soap and water to ensure no residue remains on the surface. - Bags that are not picked up within a day can be closed for safe storage as chemical waste.

### Oxidizers

An oxidizing agent is a chemical that has the ability to oxidize other substances, in other words, to cause them to lose electrons. Some oxidizers can spontaneously evolve oxygen at room or slightly elevated temperatures, and can explode violently when shocked or heated. Because they possess varying degrees of chemical instability, oxidizing agents can be explosively unpredictable and, therefore, can be particularly hazardous.

Examples of oxidizing agents includes peroxides, hyperperoxides, and peroxyesters.

Oxidizers can react violently when in contact with organic material. For this reason, avoid interactions between oxidizers and organic materials. Examples of organic-reactive oxidizers include chromic acid, nitric acid, permanganates, and sulfuric acid.

Perchlorates shall not be used without prior consultation with EHS. Perchlorate esters are known to react violently and transition metal perchlorates are capable of exploding.

Always store oxidizers and flammables separately.

#### Piranha Etch

Piranha etch is a mixture of sulfuric acid and hydrogen peroxide that is used to clean off organic residues. It is a strong oxidizer that must be prepared fresh and may not be kept in storage. Always add hydrogen peroxide slowly to sulfuric acid, never in reverse. Mixing of piranha etch is an exothermic reaction, and if the components are combined too fast, may release large amounts of corrosive fumes. Always use glass containers, preferably Pyrex. Piranha etch will melt plastic.

The primary hazard from storage of piranha etch waste is the potential for gas generation and over pressurization of the container when the solution is still hot. Leave hot piranha etch in an open container in a fume hood until it is cooled. Once it is cooled, place the waste solution in a cleaned and dried container with a vented lid. Vented lids should not be placed on the container until the solution is fully cooled.

Research processes using piranha etch require careful attention to PPE and full protection of street clothing. Piranha etch will eat through organic fibers, especially cotton. Appropriate PPE should be detailed in an SOP specific to the usage of this chemical.

### Highly Reactive Chemicals

Always read the SDS prior to working with chemicals that may fall into these hazard classes. Explosive and reactive (unstable) chemicals can be identified a few different ways. The label or SDS may include the pictograms show above, the SDS may include the H codes and statements discussed below, or they may fall into one of the categories discussed further in this section. Some common examples are listed in Table 7.5. H codes and statements are generally found in section 2 of the SDS.

Table 7.5	Examples of Explosive and Reactive (Unstable) Chemicals

| Alkali metals | Metal and non-metal hydrides (borane, LiAlH4) |
| --- | --- |
| Alkali metal hydrides | Metal azides |
| Alkali metal nitrides | Non-metal halides (BCl3, BF3, BPCl3, SiCl4) |
| Anhydrous metal halides (AlCl3, TiCl4) | Perchloric and Picric acid (dry) |
| Calcium hydride (H260) | Sodium Borohydride (H260) |
| 2,4-Dinitropheylhydrazine (H228) | Sodium hydride (H228, 260) |
| Hydrazine (H226) | t-Butyllithium (H225, 250, 260) |
| Inorganic acid halides (POCl3, SOCl2, SO2Cl2) | White Phosphorous |
| Lithium aluminum hydride (H260) | Zinc and zinc nitrate |

- Explosives (GHS #H200, H201, H202, H203, H204, H205) – An explosive substance (or mixture) is a solid or liquid which is in itself capable by chemical reaction of producing gas at such a temperature and pressure and at such a speed as to cause damage to the surroundings.

- Flammable Gases (GHS #H220, H221) – Flammable gas means a gas having a flammable range in air at 20°C and a standard pressure of 101.3 kPa.

- Organic Peroxides (GHS #H242) – Organic peroxides are defined as any organic compound that contains the bivalent –O–O– structure and which may be considered to be a structural derivative of hydrogen peroxide where one or both of the hydrogen atoms have been replaced by an organic radical.

- Pyrophoric Liquids and Solids (GHS #H250) – A pyrophoric is a material which, even in small quantities, is liable to ignite within five minutes after coming into contact with air.

- Self-Reactive Substances (Type A) (GHS #H251) – Self-reactive substances are thermally unstable liquids or solids liable to undergo a strongly exothermic thermal decomposition even without participation of oxygen (air).

- Water Reactive Chemicals (which emit flammable gases on contact with water) (Category 1) (GHS #H260) – Substances that, in contact with water, emit flammable gases are solids or liquids which, by interaction with water, are liable to become spontaneously flammable or to give off flammable gases in dangerous quantities.

#### Explosive Materials in Research

Various activities at Penn State that involve the research or use of energetic materials considered “explosives” by the Bureau of Alcohol, Tobacco, Firearms and Explosives (ATF) must follow the guidelines set down in the ATF Explosives Materials Management Program. Federal and state licenses MUST be in place prior to acquisition, possession, storage, and use of any explosive material that falls under this program.

##### Applicability Assessment

The list of Explosive Materials is a comprehensive, but not exhaustive, list of the chemicals that fall under this program. An applicability assessment shall be performed prior to the application for an ATF License/Permit, or purchase, possession, storage, or use of explosive material. The license/permit may only be applied for once this applicability assessment is complete and indicates that the proposed activity is covered by this program. Contact EHS for further guidance if the research and chemicals used in your research fall under this program.

#### Exposure Control Methods for Work with Highly Reactive Chemicals

Work with highly reactive chemicals requires special planning and care.

Work involving explosives, as defined by the ATF, requires a license and prior approval as discussed in section 7.3.7.1.

Administrative controls and work practices for research with highly reactive chemicals are particularly important. These materials shall only be handled by those with experience in their hazards and properties or under close, direct supervision by those with experience in their hazards and properties. Another individual shall always be present for work with these types of chemicals. This person must know how to summon emergency assistance should it be needed. Never work alone with these types of chemicals.

Development of appropriate SOPs for research involving highly reactive chemicals is required. These SOPs should detail the appropriate engineering controls to perform the work safely, what specific PPE to wear while doing the work, and how to become sufficiently trained to perform the work. The SOP must also include information about proper waste disposal and the measures necessary to handle a spill.

Required engineering controls will vary depending on the level of reactivity associated with specific chemicals. For some research, working in a chemical fume hood with a blast shield may be sufficient for some chemicals while other reactions may require an inert atmosphere in a glove box. Conventional chemical fume hoods should not be relied upon to provide explosion (blast) protection unless specifically designed to do so.

Researchers working with highly reactive chemicals should choose their PPE with extreme care. FR lab coats should be worn when working with these chemicals, regardless of where the research is being performed. FR gloves should also be worn whenever possible, especially if highly reactive chemicals are used outside the inert atmosphere of a glovebox. Additionally, natural fiber clothing should be worn underneath FR lab coats. Natural fibers include cotton, wool, linen, or silk. Never wear synthetic fibers, such as polyester, rayon, nylon, fleece, or acrylic while working with highly reactive chemicals. In the event of a fire, synthetic fibers may actually melt to your skin.

#### Organic Peroxides

Organic peroxides are among the most hazardous chemicals normally handled in laboratories. As a group, they are flammable, low-power explosives, and oxidizers that are sensitive to shock, heat, sparks, friction, impact, and light. Many of them are much more shock-sensitive than typical explosives such as TNT.

Purchase and use of organic peroxides shall be kept to a minimum. Unused organic peroxides shall not be returned to the container. Glass containers with screw caps or glass stoppers shall not be used. Polyethylene bottles with screw caps are acceptable. Liquid peroxides or solutions shall be stored so that the peroxide will not freeze or precipitate. Organic peroxides that have frozen or precipitated are even more sensitive to heat or shock than their original form. Consistent with this precaution, they shall be kept as cold as practical to avoid decomposition. Organic peroxides that require cold storage must be stored in an explosion-proof or flammable-storage refrigerator or freezer.

The sensitivity of organic peroxides to heat and shock may be reduced by diluting them with inert solvents (such as aliphatic hydrocarbons or mineral oil). However, not all solvents are appropriate to mix with peroxides. Toluene, in particular, is known to induce the decomposition of diacyl peroxides. Do not use acetone or other oxidizable materials for dilution of organic peroxides.

Ceramic, Teflon, or wood spatulas shall be used. Metal spatulas will contaminate the peroxide, which can lead to explosive decomposition. Friction, grinding, and other forms of impact shall be avoided.

#### Peroxide-Forming Chemicals

Peroxide-forming chemicals are chemicals that can “auto-oxidize” with atmospheric oxygen under ambient conditions to form organic peroxides (contains an –O–O– bond). Peroxide formation can be initiated by exposure to air, self-polymerization, or solvent impurities. Once formed, organic peroxides are sensitive to thermal or mechanical shock and can be violently explosive in concentrated solutions or as solids, as discussed above.

As a rule, peroxide-forming chemicals should not be stored longer than a year. Certain chemicals are known to form peroxides on exposure to air or light. Peroxide concentrations may accumulate over long periods of time. The distillation of solvents contaminated with peroxides may lead to violent explosions as the peroxides become concentrated during the process. A peroxide present as a contaminating reagent in a solvent can change the course of a planned reaction.

Some peroxide-forming chemicals are listed in Table 7.6. More common examples include dioxane, ethyl ether, and tetrahydrofuran (THF). Peroxide forming chemicals shall be discarded by the expiration date on the label, or within a year of opening, whichever comes first.

Keep all stored chemicals, especially flammable liquids, away from heat and direct sunlight. Peroxide-forming chemicals call for special consideration at all times and particularly in storage. They should be stored in dark bottles; UV light and elevated temperature accelerate peroxide formation.

Peroxide forming chemicals in active use shall be dated when opened. A test for peroxides should only be attempted if it is clear that no danger will result from moving or opening the container. Solids in the liquid or around the cap can indicate dangerous peroxide buildup. These containers should not be opened and must be promptly submitted for chemical waste pick up.

Peroxide forming chemicals that are not being actively used for a research project should be submitted for chemical waste pick up. Contact EHS to have it removed. Generally, if you are taking a peroxide forming chemical from storage and think you should test it for the presence of peroxides prior to use, then you probably have kept the material too long and should dispose of it immediately.

If old containers of peroxide-forming chemicals are found, do not move them without consulting EHS first. This is especially true if they contain precipitate. If they are to be moved, handle them only by the bottom of the container and never by the cap or lid, as friction may cause a violent explosion.

In general, do not attempt to dilute the concentration of peroxides in peroxide-forming solvents by adding additional solvent. Increasing the total volume may dilute the peroxide concentration, but it will also create a larger quantity of waste for disposal. The higher volume of waste may require stabilization because of the presence of the peroxides.

Table 7.6	Common Peroxide Forming Chemicals

| 9,10-Dihydroanthracene | Furan |
| --- | --- |
| Acetaldehyde diethyl acetal (acetal) | Indene |
| Butadiene | Methyl i-butyl ketone |
| Chloroprene (2-chloro-1,3-butadiene) | Methylacetylene |
| Chlorotrifluoroethylene | Methylcyclopentane |
| Cumene (isopropyl benzene) | Potassium amide |
| Cyclohexene | Potassium metal |
| Cyclopentene | Sodium amide (sodamide) |
| Decalin (decahydronaphthalene) | Styrene |
| Diacetylene (butadiene) | t-Butyl alcohol |
| Dibenzocyclopentadiene | Tetrafluoroethylene (TFE) |
| Dicyclopentadiene | Tetrahydrofuran (THF) |
| Diethyl ether (Ethyl ether) | Tetralin (tetrahydronaphthalene) |
| Diethylene glycol dimethyl ether (diglyme) | Vinyl acetate |
| Diisopropyl ether (isopropyl ether) | Vinyl chloride |
| Dioxane | Vinyl ethers |
| Divinylacetylene (DVA) | Vinylacetylene (MVA) |
| Ethylene glycol dimethyl ether (glyme) | Vinylidene chloride (1,1-di-chloroethylene) |
| Ethylene glycol ether acetates | Vinylpyridine |
| Ethylene glycol monoethers (cellosolves) |  |

**Bolded items in this table are particularly hazardous and present a severe peroxide hazard on storage with exposure to air.

#### Polynitro Compounds

Many polynitroaromatic compounds are shock-sensitive, as are some aliphatic compounds containing more than one nitro group. Many of these compounds are sold and stored with 10 to 20% water, which desensitizes their reaction to shock, although they are still flammable solids.

Storage. Polynitro compounds shall be stored separately from most chemicals and labeled so they are easily identified as reactive. They shall not be placed in long-term storage without special posting indicating their presence and required removal date. Long-term storage without checking for proper water content may allow the compounds to dehydrate sufficiently to make them highly reactive.

Surplus and waste polynitro compounds shall be given to EHS promptly for proper disposal or recycling and not left on a shelf to be forgotten.

If old containers of polynitro compounds are found, including dinitrophenyl hydrazine or picric acid, do not move them without consulting EHS first. If they are moved, handle them only by the bottom of the container and never by the cap or lid, as friction may cause a violent explosion.

Picric Acid. Dry picric acid is highly explosive and should be brought into the laboratory only when specifically required. Research groups should purchase premixed solutions wherever possible. Researchers should have a thorough understanding of the hazards of picric acid prior to using it. Although not explosive when wetted, picric acid solutions may evaporate and leave a hazardous solid. Picric acid should be stored away from combustible materials and should not be kept for extended periods. Picric acid that is dry or older than a year shall be handled only by EHS or an approved chemical waste vendor.

Methyl nitronitrosoguanidine. Methyl nitronitrosoguanidine is a carcinogenic agent that is also shock-sensitive. It shall be stored in a separate area, preferably locked.

#### Catalysts

Hydrogenated catalysts such as Raney nickel, platinum oxide, and palladium on carbon shall be filtered from catalytic hydrogenation reaction mixtures with care. They may become saturated with hydrogen and present a fire or explosion hazard.

#### Sodium Azide

Sodium azide is a toxic, highly reactive, heat-sensitive, and potentially shock-sensitive material. Because it reacts with metals, Teflon or other nonmetal spatulas should be used with the material. It shall be used in a fume hood with appropriate PPE, including eye protection, gloves, and a lab coat.

Sodium azide should only be purchased in small quantities, ideally the minimum amount needed in the laboratory. Storage of solid sodium azide is strongly discouraged. Prepare stock solutions as soon as the material is delivered to the laboratory.

#### Organometallics

Organometallics are organic compounds that contain a carbon-metal bond. Examples are Grignard compounds and metallic alkyls such as alkyl lithiums, triethylaluminum, and trimethylindium. Many organometallics are highly toxic or flammable. Many are also water-reactive and spontaneously combustible in air. Trialkyltins are the most toxic as a group. Most are highly reactive chemically. Special firefighting equipment may be needed where organometallics are handled. In some cases, a class D fire extinguisher may be appropriate and sufficient. Consult EHS and the SDS for each specific chemical for applicable information.

#### Procedure for Spills Involving Highly Reactive Materials

Spills involving highly reactive materials are almost always major or emergency spills due to the nature of these chemicals and what could go wrong in the course of clean up. Box 7.10 provides information about how to handle spills of highly reactive materials.

Box 7.10	Procedure for Spills of Highly Reactive Materials

Major or emergency spills: - Warn all persons nearby. - Turn off any ignition sources such as burners, motors, and other spark-producing equipment. - Only if it is safe to do so, stop or contain the spill. - Leave the room and close the door if possible. - Call EHS and 911, and go to a safe location to wait for help.

### Toxic Chemicals

Toxicity is the measure of a poisonous material's adverse effect on the human body or its ability to damage or interfere with the metabolism of living tissue. Generally, toxicity is divided into two types, acute and chronic. Many chemicals may cause both types of toxicity, depending on the pattern of exposure.

Always read the SDS prior to working with chemicals that fall into this hazard class. Toxic chemicals can be identified a few different ways. The label or SDS may include the pictograms show above, the SDS may include the H codes and statements discussed below, or they may fall into one of the categories discussed further in this section. H codes and statements are generally found in section 2 of the SDS.

With substances in combination, such as exposure to two or more hazardous materials at the same time, the resulting effect can be greater than the combined effect of the individual substances. This is called a synergistic or potentiating effect. One example is concurrent exposure to alcohols (both ethanol and isopropanol) and chlorinated solvents, such as carbon tetrachloride.

The published toxicity information for a given substance is general – human data may not be available – and the actual effects can vary greatly from one person to another. Do not underestimate the risk of toxicity. All substances of unknown toxicity should be handled as if they are toxic, with the understanding that any mixture may be more toxic than its most toxic component.

When working with toxic chemicals, the guidelines in Box 7.11 should be followed in addition to the general guidelines for handling chemicals.

Box 7.11	Guidelines for Handling Toxic Chemicals

- Wear laboratory coats and have them cleaned frequently. Laboratory coats shall be removed before leaving the laboratory; they shall not be worn outside the laboratory in hallways, offices, conference rooms, or eating areas. The PI shall decide whether chemically resistant aprons over a lab coat or disposable laboratory coats are required. - Wear gloves that are selected based on the hazard being handled. Remove gloves before leaving the work area. Turn disposable gloves inside out when removing them. Wash reusable gloves before removing them. - Wash hands and arms immediately after working with chemicals in this group, even though you wore gloves. - Wear appropriate eyewear, which may include a face shield in addition to safety glasses or googles. - When performing procedures that may result in the release of airborne contaminants, use a properly functioning chemical fume hood or other protective ventilation devices, such as snorkels or hard-piped cabinet or equipment-exhaust ventilation. - Trap or treat effluents to remove gases, fumes, vapors, and particulates before discharging them to facility exhaust. - Perform transfers of these substances in a controlled area, such as a chemical fume hood or glovebox. Weigh materials on a balance only in closed containers. Procedures generating either solid or liquid airborne contaminants or involving volatile chemicals are always to be performed in a hood. - Restrict access to the laboratory or work area. - Use plastic-backed paper or trays under work areas. Replace the paper when contaminated. - Develop and know specific emergency procedures for the chemicals in use. Keep emergency supplies at hand for immediate use. - Be sure to include in the SOP how to properly store and dispose of chemical wastes. - Transport materials in this group through public areas, such as hallways, in closed containers within unbreakable outer containers. Sealed plastic bags may be used as secondary containment in many cases. - In the event that someone is exposed to a known chemical, the researcher shall follow general or chemical-specific first aid procedures for chemical spills. Wash the affected area or take a shower as soon as possible and notify EHS. See the emergency information section of the SDS. In the event of an accidental injection, seek medical care immediately.

Spills of toxic materials present particular challenges in cleaning up. These are generally considered at minimum moderate or large spills because of the potential they have to cause injury. Follow the general guidance in Box 7.12 to clean up most toxic material spills. Mercury spills shall NOT be cleaned up by researchers. Follow the guidance in Box 7.13 if a mercury spill occurs or is identified.

Box 7.12	Procedure for Spills of Toxic Chemicals

Major or emergency spills: - Warn all persons nearby. - Leave the room and close the door if possible. - Call EHS and 911, and go to a safe location to wait for help. Simple spills: - Absorb free liquid (being careful of any broken glass) and place used absorbent into a plastic bag (if compatible with plastic). - Wipe area with wet cloth or paper towels. Place material into container for disposal. - Seal the bag and place it in a chemical fume hood. - Label the bag as chemical waste with a green tag. The contents section should list “spill clean up materials contaminated with (name of spilled material).” Contact EHS for pick up. - Do a final clean up with soap and water to ensure no residue remains on the surface.

Box 7.13	Procedure for Mercury Spills

Spills of liquid mercury are always emergency spills, regardless of volume or location. Contact EHS immediately. Never clean up a mercury spill! This includes broken mercury thermometers. Mercury is a high-density, low-viscosity liquid at room temperature. During a spill, it can form tiny droplets that adhere to surfaces and enter cracks and crevices. At University Park, EHS has the training and equipment to handle clean up of mercury spills. At other Penn State locations, contact EHS and follow instructions given. To minimize the spill hazard, place a splash plate beneath all mercury-containing equipment. All mercury should be stored in secondary containment.

#### Acute Toxicity

Chemicals of acute toxicity are defined by OSHA as those that cause rapid effects as a result of a short-term exposure, are often of short duration, and are generally sudden and severe. Acute toxic effects include irritation, corrosion, sensitization, narcosis, and death. Substances are assigned to one of the five toxicity categories based on median lethal dose (LD50) (oral, dermal) or lethal concentration (LC50) (inhalation). Chemicals that are category 1 and 2 acute toxicity include those that are fatal if swallowed (H300), fatal in contact with skin (H310), and fatal if inhaled (H330). Examples of acutely toxic chemicals are listed in Table 7.7.

Table 7.7 	Examples of Acute Toxicity Compounds

| Acrolein | Hydrogen cyanide | Osmium tetroxide |
| --- | --- | --- |
| Arsine | Hydrogen fluoride | Ozone |
| Chlorine | Methyl fluorosulfonate | Phosgene |
| Diazomethane | Nickel carbonyl | Sodium azide |
| Diborane (gas) | Nitrogen dioxide | Sodium cyanide (and other cyanide salts) |

To illustrate, hydrofluoric acid (HF) is a chemical of high acute toxicity because of its destructive effect on skin and bone tissue along with potential cardiac effects. Arsine and other hydrides may be lethal at low concentrations because of red blood cell hemolysis. Inhalation of high concentrations of carbon monoxide can cause immediate poisoning and death, as the gas directly interferes with oxygen transport in the body by preferentially binding with hemoglobin. Hydrogen cyanide inhalation inhibits enzyme systems vital to cellular uptake of oxygen.

#### Chronic Toxicity

Chronic toxicity is an adverse effect with symptoms that develop slowly over a long period of time as a result of frequent exposure. The dose during each exposure period may frequently be small enough that no effects are noticed at the time of exposure. Chronic effects are the result of long-term exposure and are of long duration. Carcinogens as well as many metals and their derivatives exhibit chronic toxicity.

Cumulative poisons are chemicals that tend to build up in the body as a result of numerous chronic exposures, leading to chronic toxicity. The effects are not seen until a critical body burden is reached. Examples of cumulative poisons are lead and mercury.

##### Carcinogens

Carcinogens are substances or a mixture of substances that induce cancer or increase its incidence. Select carcinogens are any substance that is:

- regulated by OSHA as a carcinogen

- listed under the category, "known to be carcinogens," in the Annual Report on Carcinogens published by the National Toxicology Program (NTP)

- listed under Group 1 ("carcinogenic to humans") by the International Agency for Research on Cancer Monographs (IARC)

- listed in either Group 2A or 2B by IARC or under the category, "reasonably anticipated to be carcinogens" by NTP.

The chemicals regulated by OSHA as carcinogens are listed in Table 7.8 along with the associated OSHA standard and the CAS number. The lists of chemicals covered by NTP and IARC are updated on a more regular basis than the OSHA list. For additional information, refer to the EHS Industrial Hygiene webpage for additional information, the NIOSH Carcinogen List, or the IARC Monographs on the Identification of Carcinogenic Hazards to Humans.

Table 7.8	OSHA Carcinogen List

| Initial Agent Listing | CAS No. | OSHA Vertical Standard |
| --- | --- | --- |
| 2-Acetylaminofluorene | 53-96-3 | 1910.1003, 1910.1014 |
| Acrylonitrile | 107-13-1 | 1910.1045 |
| Alpha-, or 1-Naphthylamine | 134-32-7 | 1910.1003, 1910.1004 |
| 4-Aminobiphenyl | 92-67-1 | 1910.1003, 1910.1011 |
| Arsenic/compounds | 7440-38-2 | 1910.1018 |
| Asbestos (personnel work in research) | 1332-21-4 |  |
| Benzene | 71-43-2 |  |
| Benzidine | 92-87-5 | 1910.1003, 1910.1010 |
| Benzo-a-pyrene (see Coal tar volatiles) |  |  |
| Beryllium | 7440-41-7 |  |
| Beta-, or 2-Naphthylamine | 91-59-8 | 1910.1003, 1910.1009 |
| Beta-Propiolactone | 57-57-8 | 1910.1003, 1910.1013 |
| Busulfan | 55-98-1 |  |
| 1,3 Butadiene | 106-99-0 | 1910.1051 |
| Cadmium | 7440-43-9 | 1910.1027 |
| Bis-chloromethyl ether/ (chloromethyl-methyl ether)/ methyl chloromethyl ether | 542-88-1; 107-30-2 | 1910.1003, 1910.1006, 1910.1008 |
| Chromium (VI) compounds | 1333-82-0; 18540-29-9 | 1910.1026 |
| Coal tar pitch volatiles (acridine, anthracene, benzo(a)pyrene, chrysene, coal tar, phenanthrene, pyrene, coal tar pitch, creosote) | 8007-45-2; 65996-93-2 |  |
| Cobalt and cobalt compounds (sulfate) | 10124-43-3 | NA |
| Cobalt carbonyl, hydrocarbonyl | 10210-68-1; 16842-03-8 | NA |
| Cobalt metal with tungsten carbide | 7440-48-4 | NA |
| Coke oven emissions | multiple | 1910.1029 |
| Cotton dust | NA | 1910.1043 |
| Cyanide (or hydrogen cyanide) | 74-90-8 | NA |
| 1,2-dibromo-3-chloropropane | 96-12-8 | 1910.1044 |
| 3,3-Dichlorobenzidine (and salts) | 91-94-1; 612-83-9 | 1910.1003, 1910.1007 |
| Diethylstilbestrol | 56-53-1 |  |
| 4-Dimethylaminoazobenzene, xylidine isomers, dimethylaniline | 1300-73-8; 60-11-7 | 1910.1003, 1910.1015 |
| Ethleneimine, Aziridine, Aminoethylene | 151-56-4 | 1910.1003, 1910.1012 |
| Ethylene dibromide | 106-93-4 | NA |
| Ethylene dichloride (1,2-dichloromethane) | 107-06-2 | NA |
| Ethylene oxide | 75-21-8 | 1910.1047 |
| Formaldehyde | 50-00-0 | 1910.1048 |
| Hydrogen fluoride | 7664-39-3 | NA |
| Lead, metallic | 7439-92-1 | 1910.1025 |
| Lead, organic (tetramethyl, ethyl) | 75-74-1, 78-00-2 | 1910.1025 |
| Lead compounds, inorganic |  | 1910.1025 |
| Mercury/ inorganic compounds | 7439-97-6 |  |
| Mercury/ organic compounds | varies |  |
| Methyl chloromethyl ether, OR bis (chloromethyl) ether, OR chloromethyl methyl ether | 107-30-2 | 1910.1003, 1910.1006, 1926.1106 |
| Methylene chloride | 75-09-2 | 1910.1052 |
| Methylene diamine (dihydrochloride); 4-4’ methylenedianiline | 57166-92-4; 101-77-9; 13552-44-8 | 1910.1050* |
| Nickel (2B) and Nickel compounds | 7440-02-0 | NA |
| Nickel tetracarbonyl | 13463-39-3 | NA |
| 4-Nitrobiphenyl | 92-93-3 | 1910.1003 |
| N-Nitrosodimethylamine | 62-75-9; others | 1910.1003, 1910.1016 |
| Poly arom hydro (ex. Benzo-a-pyrene, see coal tar volatiles) | 50-32-8; others |  |
| Polychlorinated biphenyls | 11097-69-1 |  |
| Silica, respirable crystalline | 14808-60-7 | 1910.1053 |
| Tetrachloroethylene | 127-18-4 |  |
| Vinyl chloride (also vinyl bromide, vinyl fluoride) | 75-01-4, 593-60-2, 75-02-5 | 1910.1017 |

##### Reproductive Toxins

Reproductive toxins include chemicals such as mutagens, teratogens, or embryotoxins, which can affect reproductive capabilities, cause chromosomal damage, and/or effects on fetuses. These chemicals may affect a developing fertilized ovum, embryo, or fetus through exposure to the mother (teratogenic effects). They may also affect sperm, or sperm production, in the father, which may affect future offspring. Examples of embryotoxins are listed in Table 7.9. Reproductive hazards affect people in a number of ways, including mental disorders, loss of sexual drive, impotence, infertility, sterility, mutagenic effects on cells, teratogenic effects on the fetus, and transplacental carcinogenesis. Consult the SDS for information on possible reproductive hazards.

Pregnant personnel, or those attempting to become pregnant, should talk to their immediate supervisor, Human Resources Representative, or the Americans with Disabilities Act (ADA) Coordinator in the Affirmative Action Office about reasonable accommodations if they work with reproductive toxins.

Table 7.9	Examples of Embryotoxins

| Arsenic and certain arsenic compounds | Lead compounds |
| --- | --- |
| Cadmium and certain cadmium compounds | Mercury compounds |
| Carbon disulfide | Toluene |
| Ethylene glycol monomethyl and ethyl ethers | Vinyl chloride |
| Ethylene oxide | Xylene |

#### Guidelines for Handling Chemicals of Acute or Chronic Toxicity

When working with chemicals in these hazard classes, the aim is to minimize exposure to the material in use and to minimize the effects of a potential exposure, as discussed in Section 6.2 about exposure to hazardous substances. Special care should be taken in the selection of PPE to ensure it is appropriate for the hazard. Personal hygiene and work practices should also be carefully evaluated to minimize exposure. The guidelines in Box 7.14 should be followed in addition to the general guidelines for handling chemicals AND the guidelines in Box 7.11 for handling toxic chemicals. These combined guidelines are especially important when handling chemicals with high chronic toxicity, which include most heavy metals, chemicals displaying moderate to high carcinogenic potency in animals, and reproductive toxins.

Box 7.14	Additional Guidelines for Handling Chemicals of Acute or Chronic Toxicity

- Restrict access to the laboratory or work area. - Establish and label a "designated area" for work with acutely toxic chemicals. Keep materials within the designated area. - Use plastic-backed paper or trays under work areas. Replace the paper when contaminated. - Perform work in containment devices such as chemical fume hoods or glove boxes. - To avoid potential inhalation hazards, handle powdered carcinogens and toxins in a chemical fume hood or glovebox, even during weighing procedures. Inside the hood, measure the powder with a spatula into a preweighed vessel. Then seal or cover the vessel, remove it from the hood, and take it to the balance to be weighed. If more or less material is needed, return the container to the hood for addition or subtraction of material. Close the container again and reweigh it. Repeat these steps until the desired amount is obtained. This procedure eliminates contamination of the air, the workbench, and the scale. - Transport materials in this group through public areas, such as hallways, in closed containers within unbreakable outer containers. Sealed plastic bags may be used as secondary containment in many cases. - Cupboards, cabinets, hoods, and refrigerators used to store or handle carcinogens shall be labeled "Chemical Carcinogen.” If they are used for chemicals with high chronic toxicity or reproductive toxins, they shall be labeled "Toxic Chemical" or "Toxic Substance." - Access to areas where carcinogens or chemicals with high chronic toxicity are used shall be restricted, and entry doors shall be kept closed. Doors shall be labeled "Cancer-Suspect Agent: Authorized Personnel Only" or "Toxic Chemical (or Toxic Substance): Authorized Personnel Only." - Vacuum pumps shall be protected against contamination (e.g., traps and filters in lines) and vented into direct exhaust ventilation. Pumps and other equipment and glassware shall be decontaminated before they are removed from the designated area. The designated area shall be decontaminated before other normal work is conducted. Vacuum pump oil shall be collected as a contaminated waste and disposed of through EHS. - Water vacuum lines shall be equipped with traps to prevent vapors from entering the wastewater stream. - Floors shall be wet-mopped or cleaned with a HEPA filtered vacuum cleaner if powdered materials are used. - Include in the SOP how to properly store and dispose of chemical wastes. Wastes, potentially contaminated gloves and other protective equipment, glassware, and equipment used with material of high chronic toxicity shall be kept within the designated area to the extent possible. Decontaminate materials and equipment to the extent possible before moving them out of the designated area. - Develop and know specific emergency and decontamination procedures for the chemicals in use. Keep emergency supplies at hand for immediate use.

### Compressed and Liquified Gases and Cryogenic Liquids

For reference, see: Safety Policy SY25: Compressed Gas Cylinders, Liquid Nitrogen and Cryogen SOP, and the Gas Monitoring Program.

Compressed gases, liquified gases, and cryogenic liquids have many uses in research. They should always be considered hazardous due to properties unique to compressed gases, like pressure, low flash points for flammable gases, and low boiling points, in addition to the hazards of the chemicals themselves. Compressed gases can be toxic, corrosive, flammable, asphyxiating, oxidizing, pyrophoric, and/or reactive. Some have no visual and/or odor detection properties. Improper pressure control can cause unsafe reaction rates due to poor flow control. The flash point of flammable gases under pressure is always lower than ambient or room temperature. And low boiling points can cause frostbite upon contact, especially for cryogenic liquids (nitrogen) or liquid phase of liquified gases (carbon dioxide, fluorocarbons, propylene). All of these factors will impact the design of SOPs and how gases are utilized.

Possibly the greatest hazard to a user of compressed gases – and especially users of cryogenic liquids – is asphyxiation. Ambient air normally contains 20.9% oxygen. OSHA defines an oxygen-deficient atmosphere as one with less than 19.5% oxygen. Any gas that has the potential to displace oxygen can cause asphyxiation. Vent gas only into safe and properly ventilated locations outside the building or in a fume hood. Exposure to an atmosphere that has 12% or less oxygen will bring about unconsciousness without warning and so quickly that individuals cannot help or protect themselves.

Just like all research involving chemicals, those using compressed gases must be familiar with their hazards. They should read the SDS and develop an SOP appropriate for their specific research with compressed gases. A response plan should also be in place for what to do in the event of an exposure or leak (see Section 7.3.9.11 for guidance). Damaged or leaking cylinders must be reported to EHS immediately for proper handling and disposal.

Box 7.15 provides some general guidelines for the handling of all compressed gases.

Box 7.15	Guidelines for Handling Compressed Gases

- Like all chemicals, compressed gases must be included in CHIMS. - Compressed gases should only be used and handled by properly trained people. - Never deface or remove any markings, labels, decals, tags, or marks used for identification of cylinder contents. - Never rely on the color of the cylinder to identify the contents, as color codes vary from supplier to supplier. - Never modify, repair, or alter compressed gas cylinders, valves, or safety relief devices. - Never try to repair, pry, hammer, or “unstick” any valves, regulators, or pressure-relief devices. If it does not open easily by hand, call the gas distributor, even if this means a delay of research. - Wear appropriate PPE while working with compressed gases. PPE should be selected based on the hazards of the gas and the work being performed. At a minimum, this includes safety glasses or other appropriate eye protection, compatible gloves, long pants, and closed toe shoes. - Use the correct regulator for the gas and cylinder. It should have the appropriate pressure range for the work being performed. Ideally the regulator should be twice as high as the required pressure. - Use pressure regulators that are equipped with pressure relief devices and vent them if appropriate based on the type of gas being used. - Prior to initial cylinder use, leak checks shall be conducted at all connections. In addition, periodic leak checks at a set frequency should be conducted throughout the year. - Use “just-in-time” ordering and delivery practices to eliminate or at least minimize storage of cylinders. - Do not expose cylinders to temperatures higher than 52 °C (125 °F). - Do not refrigerate or otherwise subject cylinders to cold temperatures below any limits set by the supplier. - Do not store cylinders where they may become part of an electric circuit. - If a cylinder or any part of the valve is corroded, cut, damaged, dented, or involved in an incident, notify the vendor and follow provided instructions. - Adapters that can change the cylinder’s Compressed Gas Association (CGA) connection from one type of gas to another are not permitted. - Use Restrictive Flow Orifices (RFO) to limit the potential danger of an uncontrolled release. - Only use the appropriate compatible materials of construction throughout the entire gas delivery system – integrity should be managed all the way to the final connection.

#### Storing and Securing Cylinders

Cylinders shall be secured in the upright position to the wall or bench with chains or straps to prevent them from falling or being knocked over using a two-point restraint system. This means that the chain or strap should be secured to the wall or bench at two different locations and not simply looped back around and secured to the same hook. The chain or strap should also be above the midpoint of the cylinder, but below the shoulder. Likewise, locate cylinders where they will be protected from physical damage by striking or falling objects, corrosion, or damage from public tampering. Never store cylinders in exits or egress routes. Full and empty cylinders should be stored separately.

Large standard size cylinders of liquid nitrogen that are designed to be freestanding do not need to be secured by straps or chains to a wall or bench. However, they should still be stored in a location where they will not be bumped or knocked over, out of egress routes, and they should never block an exit.

Regardless of the type of gas or its associated hazards, cylinders have the potential for accidental pressure release; a cylinder with the valve broken off can turn into a rocket. Caps must be kept on when cylinders are not in use. When a cylinder is not in use, close the main cylinder valve tightly. Promptly remove the regulator from the cylinder, replace the protective cap, and properly store the cylinder. Likewise, if the cylinder is empty close the main cylinder valve tightly, promptly remove the regulator from the cylinder, replace the protective cap, and label the cylinder by using an "empty" tag or write on the side of the cylinder with chalk. Never bleed cylinders completely empty; leave a slight pressure to keep contaminants out.

Cylinders, like all other chemicals, must stored based on chemical compatibility. See Section 7.5 for additional information about chemical storage. Cylinders containing flammable chemicals must be stored at least 20 feet from cylinders of oxygen or other oxidizers, or have a solid fire resistant barrier in between them. A fire resistant barrier interrupts the line of sight between cylinders, extends at least 18” above and to the sides of the cylinders, and have a fire resistance rating of at least 30 minutes. Ventilated gas cabinets may also serve this purpose.

#### Transport

When transporting a cylinder, use a wheeled cylinder cart with the capped cylinder strapped to the cart. Avoid dragging, rolling, or sliding cylinders. Do not lift cylinders by the cap.

#### Connections

Threads on cylinder-valve outlet connections have been standardized by the CGA and are not the same on all cylinders. This prevents accidental mixing of incompatible gases from an interchange of connections. Never lubricate, modify, force, or tamper with cylinder valves. Especially do not put oil or grease on the high-pressure side of a cylinder containing oxygen, chlorine, or another oxidizing agent. An autoignition or explosion could result.

#### Flammable Gases

Compressed flammable gases are defined as gases that have a flammable range in air at 68 °F (20 °C) and a standard pressure of 101.3 kPa (14.7 psi). When referring to the SDS, they are often listed as DOT class 2.1 flammable or with a NFPA flammability rating of 4. Some common examples of flammable gases include acetylene, hydrogen, isobutane, methane, and propane. Additional information about hot work, including work with acetylene, butane, or propane torches, can be found in section 6.9.1.

The following information applies to the use and handling of flammable gases.

- Flammable gases shall not be used near ignition sources. Ignition sources include open flames and sparks, sources of heat, oxidizing agents, and ungrounded or non-intrinsically safe electrical or electronic equipment.

- Portable fire extinguishers shall be available for fire emergencies. The fire extinguisher must be compatible with the apparatus and the materials in use.

- If an emergency occurs involving a flammable gas such as a gas leak, fire, or explosion, personnel should immediately evacuate the area. Do not attempt to extinguish burning gas if the flow of gas cannot be shut off immediately and without risk.

- Flames shall not be used for detecting leaks. A compatible leak detection solution or gas detector shall be used for leak detection.

- Spark proof tools shall be used when working with or on a flammable compressed gas cylinder or system.

- Manifold systems shall be designed and constructed by competent personnel who are thoroughly familiar with the requirements for piping of flammable gases.

##### Acetylene

The following special rules apply to work with cylinders of acetylene in the laboratory.

- Acetylene cylinders are partially filled with acetone and should always be kept upright. If a cylinder has been handled in a nonupright position, do not use it until it has sat upright for at least 30 minutes.

- When connecting an acetylene cylinder, be sure to use a flash arrester at the outlet of the cylinder and the correct kind of tubing to transfer the gas. Some tubing materials, such as copper and lead solder, will form explosive acetylides if used with acetylene.

- Never exceed the pressure limit indicated by the warning red line of an acetylene pressure gauge.

#### Toxic Gases

Toxic gases, also known as gases that are poisonous by inhalation, are gases that are known to be so toxic to humans as to pose a hazard to health during transportation. More specifically, they are categorized as follows:

Toxic Gas – A gas that includes:

- A chemical that has a median lethal concentration (LC50) in air of more than 200 ppm, but not more than 2000 ppm by volume of gas or vapor when administered by continuous inhalation for one hour (or less if death occurs within one hour) to albino rats weighing between 200-300 g each.

- A chemical that has a median lethal dose (LD50) of more than 50 mg per kilogram, but not more than 500 mg per kilogram of body weight when administered orally to albino rats weighing between 200-300 g each.

- A Threshold Limit Value (TLV) as established by American Conference of Governmental Industrial Hygienists (ACGIH) or a PEL as established by OSHA, greater than 1 ppm but less than or equal to 50 ppm.

Highly Toxic Gas – A gas that includes:

    - A chemical that has a LC50 in air of 200 ppm by volume or less of gas or vapor when administered by continuous inhalation for one hour (or less if death occurs within one hour) to albino rats weighing between 200-300 g each.

    - A chemical that has a LD50 of 50 mg or less per kilogram of body weight when administered orally to albino rats weighing between 200-300 g each.

    - A TLV as established by ACGIH or a PEL as established by OSHA, less than or equal to 1 ppm.

    - Designated as a "Toxic – Inhalation Hazard” (poisonous material) by the DOT, and defined as poisonous gases or liquids of such nature that a very small amount of the gas or vapor of the liquid, mixed with air is dangerous to life.

When referring to the SDS, toxic gases are often listed as DOT class 2.3 poison or with a NFPA health rating of 3 or 4.

Some toxic gases may be supplied in mixtures. Purchase of diluted toxic gas, if feasible, can help to reduce risk.

Depending on the specific application, toxic and highly toxic gases may be required to be treated by absorption, wet or dry scrubbing, combustion, or condensation via refrigeration, before being vented to hoods or other local exhaust arrangements. Contact EHS for additional guidance relating to discharging these types of gases without pre-treatment. Pressure-relief devices on cylinders shall be vented to a safe place.

Toxic and highly toxic gases shall only be used within a gas cabinet or within a similar enclosed direct exhaust air system and a RFO or similar flow-limiting device unless authorized by EHS. Contact EHS for additional guidance relating to use of toxic or highly toxic gases. In addition, further guidance on storage and use of these types of gases are located in NFPA 55, Section 7.9.

Thorough emergency planning for accidental releases shall be in place when such toxic or highly toxic gases are used in the laboratory. This plan should be documented in the Laboratory and Research Safety binder as part of the Unit Specific Plan.

#### Pyrophoric Gases

Pyrophoric gases are gases that will ignite spontaneously in air at a temperature of 54.4 °C (130 °F) or below. When referring to the SDS, they are often listed as DOT class 2.1 flammable or with a NFPA reactivity rating of 3.

Common examples of pyrophoric gases used in laboratory work include hydrides. Hydrides are inorganic compounds composed of hydrogen and another element, often a metal. Examples include arsine (AsH3), diborane (B2H6), germane (GeH4), phosphine (PH3), silane (SiH4), and stibine (SbH3). These hydrides are highly toxic and flammable. They react violently with water and oxidizing agents, and pose a dangerous fire risk. Diborane, phosphine, and silane are spontaneously flammable in air. Hydride gases shall be stored in gas cabinets. Systems for gas monitoring should be installed.

Certain hydride gases, notably arsine and phosphine, are commonly used as dopants in semiconductor research applications. Arsine is one of the most toxic gases known. It is a potent hemolytic agent (symptoms: red discoloration of the urine and sclera). Phosphine is extremely toxic to organs of high oxygen flow and demand. Thorough emergency planning for accidental releases shall be in place when such gases are to be used in the laboratory. This plan should be documented in the Laboratory and Research Safety binder as part of the Unit Specific Plan.

Depending on the specific application, pyrophoric gas exhaust streams of hydride gases shall be treated (e.g., scrubbing or thermal decomposition) before release. Contact EHS for additional guidance relating to use of pyrophoric gases.

#### Corrosive Gases

Corrosive gases are gases that in contact with living tissue cause destruction of the tissue by chemical action. They cause visible destruction of or irreversible alterations in living tissue by chemical action at the site of contact. A corrosive gas is generally a DOT Class 2.3 poison with a NFPA health rating of 3 or 4. Common examples include ammonia, hydrogen chloride, and sulfur dioxide.

#### Oxidizing Gases

Oxidizing gases are gases that can support and accelerate combustion of other materials more than air does. An oxidizing gas is generally a DOT Class 2.2 oxidizer. Common examples of oxidizing gases include chlorine, fluorine, nitrous oxide, and oxygen.

It is important that equipment used for oxygen and nitrous oxide be cleaned with oxygen-compatible materials free from oils, greases, and other contaminants.

#### Lecture Bottles

In addition to standard precautions, the following information applies to work with lecture bottles in the laboratory:

- Lecture bottles may be stored in a horizontal position.

- Lecture bottles all have identical valve threads, irrespective of the gas contained within. They must be clearly labeled.

- If labels and valve tags do not agree or if there is any question as to the contents of a lecture bottle, return the unused bottle to the supplier or contact EHS.

- Lecture bottles do not have pressure-relief devices to prevent rupturing. They should be handled with this in mind.

- Whenever possible, purchase lecture bottles from suppliers who will accept the return of empty or partially empty bottles.

- When transporting lecture bottles, use a cart and block the bottles to prevent rolling and falling.

#### Cryogenic Liquids and Liquefied Gases

Additional information about working with cryogenic liquids can be found in the Liquid Nitrogen and Cryogen SOP.

Cryogenic liquids pose a number of hazards, including:

- death by asphyxiation where a spill or leakage depletes the atmospheric oxygen.

- cryogenic burns on contact with skin with cryogenic liquids (or even cold gas), the tissue damage that results is similar to that caused by frostbite or thermal burns.

- oxygen enrichment can significantly increase the chance of fire or an explosion.

Cryogenic liquids expand significantly when changing from liquid to gas at ambient temperature, and can rapidly displace oxygen. Ambient air normally contains 20.9% oxygen. Oxygen concentrations below 18% result in numerous health effects including loss of mental alertness and performance combined with distortion of judgment. Death by asphyxiation is rapid at less than 10% oxygen.

Fire or explosion may occur when the liquid form of flammable gases, such as hydrogen, are used without proper management of the gaseous phase. Liquid oxygen may produce an enriched oxygen atmosphere, which increases the flammability of ordinary combustible materials. Enriched oxygen levels may also cause some nonflammable materials, such as carbon steel, to burn readily.

Contact with cryogenic liquids generally causes tissue freezing and frostbite. Even brief contact may be intense and painful. Prolonged contact may result in blood clots. Appropriate PPE, including clothing, gloves, and eye protection, preferably a face shield, shall be worn when cryogenic liquids are handled. Do not use cloth gloves, as the cryogenic liquids can saturate them and cause more extensive cold damage to the skin. Follow the guidance in Box 7.16 if a cryogenic liquid spill occurs on a person.

Cryogenic coolants shall be handled in properly vented containers. Very-low-temperature coolants may condense oxygen and cause an explosion with combustible materials. Use gloves and a face shield; immerse the cooling object slowly to avoid too-vigorous boiling and overflowing the coolant.

Dewar flasks should be made of borosilicate glass and wrapped with cloth-backed friction or duct tape or put in a metal enclosure to contain flying pieces in the event of implosion. Dewar flasks should be equipped with safety necks. The flasks should be inspected periodically (at least once a day) to ensure that no air or ice plugs have collected in the neck opening.

Avoid pouring cold liquid onto the edge of a glass Dewar flask when filling because the flask may break and implode. For the same reason, do not pour liquid nitrogen out of a glass Dewar flask. Instead, use mild air pressure or a siphon. Metal or plastic Dewar-type flasks are preferable and eliminate this problem. Never use a household Thermos bottle in place of a Dewar flask.

Box 7.16	Procedure for Cryogenic Liquid Spill on a Person

Contact with cryogenic liquids may cause crystals to form in tissues under the spill area, either superficially or more deeply in the fluids and underlying soft tissues. The first aid procedure for contact with cryogenic liquids is identical to that for frostbite. Rewarm the affected area as quickly as possible by immersing it in warm, but not hot, water (between 102-105 °F). Do not rub the affected tissues. Do not apply heat lamps or hot water and do not break blisters. Cover the affected area with a sterile covering and seek medical assistance.

#### Handling Compressed Gas Cylinder Leaks and Emergencies

Accidents involving gases may occur in the laboratory despite strict adherence to laboratory safety practices. The amount of damage sustained by personnel and property from these accidents will be directly related to the quality of the laboratory's emergency plan and procedures. Users of compressed gas cylinders should be familiar with necessary safety precautions. SOPs for experiments using compressed gases should include a discussion of possible accident scenarios, appropriate responses, and should take into account the following factors:

- The nature of the operation (e.g., experimental design, equipment used, and type of injury that might be inflicted).

- The potential location of a release or spill (e.g., outdoors versus indoors, in a laboratory, corridor or storage area, on a table, in a hood, or on the floor).

- The quantities of material that might be released and the type of containment (i.e., compressed gas tank size, manifold systems, etc.).

- The chemical and physical properties of the compressed gas (e.g., its physical state, vapor pressure, and air or water reactivity).

- The hazardous properties of the compressed gas (e.g., its corrosivity, flammability, reactivity, and toxicity).

- The availability and locations of emergency supplies and equipment.

Penn State has established guidelines relating to life safety criteria associated with monitoring releases of certain gases. This guidance is outlined within the Gas Monitoring Program and EHS can assist with evaluating the applicability of these guidelines based on the specific gas, application, and operational factors. Contact EHS for additional guidance associated with gas monitoring system requirements. If gas monitoring systems or alarms are installed in laboratory and research areas, the alarm information must be included in the laboratory safety door posting on the outside door to the area. This must include information about the different alarm sounds and their significance. The operations manual for the device, instrument, or equipment must be available in an easily accessible location for authorized personnel who can address the alarm.

##### Minor Leaks

Occasionally a gas cylinder or one of its component parts may develop a leak. Most of these leaks occur at the top of the cylinder in areas such as the valve threads, pressure safety device, valve stem, and valve outlet. The following information applies to the remediation of minor leaks:

- If possible, verify suspected leaks using a gas detector or soapy water solution (a flame should NEVER be used for detection). If the leak cannot be stopped by tightening a valve gland or packing nut, emergency action procedures should be initiated and EHS should be notified.

- For flammable, inert, or oxidizing gases, move the cylinder to an isolated, well-ventilated area (e.g., within a fume hood) away from combustible materials. Post signs that describe the hazard.

- For corrosive and toxic gases, move the cylinder to an isolated, well-ventilated area (e.g., within a fume hood) and use suitable means to direct the gas into an appropriate chemical neutralizer. Post signs that describe the hazards.

- If it is necessary to move a leaking cylinder through populated portions of the building, place a plastic bag, rubber shroud, or similar device over the top and tape it (duct tape preferred) to the cylinder to confine the leaking gas.

##### Major Leaks

In the event of a large gas release or if an accident takes place in which readily available PPE is inadequate to ensure personnel safety, activate the following Emergency Procedures:

- Immediately call 911 and report the incident.

- Activate building and area fire alarms.

- Evacuate the area, securing entrances, and providing assistance to others on the way out.

- Provide emergency responders with details of the problem upon their arrival.

##### Accidents Involving Personnel Injury

- For medical emergencies, call 911.

- Assist persons involved and administer immediate first aid which may include:

  - Washing under a safety shower (in case of burning clothing or chemical exposures).

  - Removing contaminated clothing.

  - Irrigating the eyes at an eyewash.

  - Administering artificial respiration.

- Notify personnel in adjacent areas of any potential hazards (e.g., activate building or area alarms).

- Move injured personnel only if necessary to prevent their exposure to further harm.

##### Fire and Fire-Related Emergencies

Immediately call 911 for all fires involving compressed gases. Small isolated fires within the laboratory may be extinguished using the appropriate portable fire extinguisher if lab personnel are confident that they can safely extinguish the fire. For large or rapidly spreading fires, the following procedures should be followed:

- Call 911 to report the fire.

- Activate building alarms.

- Evacuate the building, shutting doors, and providing assistance to others on the way out.

- Provide emergency responders with the details of the problem upon their arrival.

### Pesticides

The term pesticide covers a wide range of compounds including insecticides, fungicides, herbicides, rodenticides, molluscicides, nematicides, plant growth regulators, and others. Because pesticides are poisons, their use can result in serious health implications to people as well as cause environmental impacts. The risks to humans include acute reactions, which occur a short time following exposure, to chronic reactions, which result from long-term pesticide exposure. Following pesticide label requirements is the best way to limit exposure.

Acute reactions to pesticides may be similar to those of the flu or food poisoning and include  headache, fatigue, weakness, dizziness, restlessness, nervousness, perspiration, nausea, diarrhea, loss of appetite, loss of weight, thirst, moodiness, soreness in joints, skin irritation, eye irritation, and irritation of the nose and throat from low level exposure. Acute severe reactions may include fever, intense thirst, increased rate of breathing, vomiting, uncontrollable muscle twitches, pinpoint pupils, convulsions, inability to breathe, and unconsciousness. These symptoms require immediate medical aid.

Chronic exposure can result in allergic reactions, sensitization, nervousness, irritability, and reproductive issues. Unfortunately, people react differently to pesticide exposure and what might affect one may not affect another person.

Environmental impacts include pesticide drift, which can affect air quality; pesticides in the food chain, which can threaten wildlife populations; and pesticide affects in the soil, which may no longer be suitable for optimal crop production. Pesticides are now also recognized to be non-point sources of water pollution.

#### Guidelines for Working with Pesticides in Research Settings

The use of pesticides in research generally falls into three broad categories at Penn State:

- the use of pesticides in bench work performed inside a lab,

- research applications of unregistered pesticides, or

- the use of pesticides in settings such as greenhouses, farms, and other agricultural areas.

Research that falls into the first category, pesticide research in laboratories, which does not involve pesticide applications to agricultural plants, does not require the researcher to be a certified pesticide applicator or to have a public applicator business license. In addition, since the pesticide is not being applied at an agricultural establishment, the Worker Protection Standard does not apply and there is no additional required training.

Likewise, research applications of unregistered pesticides and livestock pest control are not covered by the Worker Protection Standard.

Everyone in the third category, whether they apply pesticides or work in areas were pesticides are applied, must meet the requirements of the Penn State Pesticide Management Program, which includes requirements of the EPA’s Worker Protection Standard. Anyone who receives compensation from Penn State, and who performs tasks relating to the production of agricultural plants at a facility that is covered by the Worker Protection Standard (farms, forests, nurseries, or greenhouses) within 30 days of a pesticide application or the end of a restricted entry interval for a pesticide application of a registered pesticides is required to take the “Worker Protection Standard – Worker Training”. This training is an annual requirement.

Penn State requires that anyone who is making a pesticide application (of registered and unregistered pesticides) in these settings be a Pennsylvania certified applicator. The facility or department must have a Pesticide Business License, and the applicator must be listed on the area’s license. Typically for research areas, the pesticide applicator will be certified in category 18, research and demonstration. The Worker Protection Standard also defines a category of employees called handlers. These are generally people who are involved with pesticide applications. The “Worker Protection Standard – Handler Training” however, is not required for Pennsylvania certified pesticide applicators, as their training is considered by EPA to be sufficient. The only employees at Penn State that need to take the handler training would be those who are not certified applicators but who are working with equipment that has been in contact with pesticides, such as repairing tractors. This is unlikely to be needed for most researchers, however an example where it might be required would be for someone in agricultural engineering who is working at designing/manufacturing tractors in the field.

In addition to the general guidelines for working with chemicals, the guidelines in Box 7.17 are specific to pesticide use.

#### Pesticide Decontamination Supplies

For field and greenhouse applications, decontamination supplies are required to be located at all pesticide mixing and loading sites, at areas within ¼ mile of areas where pesticides are being applied, and at areas where applicators remove their PPE.

At the required locations, there must be sufficient water to wash the entire body in the case of an emergency, which shall be at a minimum, three gallons for each pesticide applicator that may be mixing or loading at any one time. A clean hose with running water meets this requirement. In addition, soap and single-use towels must be supplied in sufficient quantities to meet the needs of all of these applicators. There must also be clean clothes, such as one size fits all coveralls, in case the pesticide applicator needs to change.

Eyeflush is also required at all pesticide mixing and loading sites and at areas within ¼ mile of areas where pesticides are being applied. However, if a pesticide label requires eye protection, the eyeflush must be immediately available. This has been defined to mean within 10 seconds reach. In order to meet this requirement for outdoor applications, a sealed pint bottle of water or saline solution is allowed. This type of eyeflush should be discarded if partially used, out of date, or if the seal has been broken. At other locations, such as greenhouses and laboratories, an emergency eyewash station or running water meets this requirement. If pesticide applicators are mixing pesticide solutions from concentrates, there must be a flowing eyewash at the mixing and loading site.

Box 7.17	Guidelines for Handling Pesticides

- Pesticide applications to plants or other pests shall only be made at licensed facilities by certified applicators. For the rare exceptions to this requirement, please contact EHS. - Pesticides used in a laboratory, where there is not an application made to a plant or other pest, do not require the user to be a certified pesticide applicator. Non-certified persons will be restricted to purchasing pesticides that are not classified as Restricted Use. - Properly store pesticides. Liquid pesticides are required to have secondary containment. The storage of pesticides should be kept to a minimum. Pesticide storage areas must be posted with this warning sign: - Provide a spill kit, fire extinguisher, and first aid kit near all pesticide storage facilities. - Provide all label required PPE for all of the pesticides within the storage area. Keep this PPE separate from the pesticides. - Provide decontamination supplies as described in the section 7.3.10.2. - The label is the law! - Ensure notification of hypersensitive persons within 500 feet of the application site. The PDA provides a listing of these persons to all certified applicators through their website. - Use Integrated Pest Management (IPM). - Transport of pesticides requires that they not be in the passenger compartment and that the vehicle must be posted with the business license number. - Ensure that Worker Protection Standards are followed for applications used in the production of agricultural plants on farms, forests, nurseries, and greenhouses. Agricultural plants include those grown or maintained for commercial or research purposes. - Training of workers/handlers every year - Central posting location (worker safety poster, application records, emergency information) - Restricted entry intervals followed - Post pesticide applications for 30 days – keep application records for a minimum of three years

## Chemical Inventory Management

For reference, see Safety Policy SY39: Hazardous Chemical Inventory Management.

All laboratory and research groups must use the Chemical Inventory Management System (CHIMS) to maintain an inventory of all hazardous chemicals used in, or stored for, research. The individual with primary responsibility for hazardous chemicals in research labs is the chemical owner. This is usually the PI/supervisor of a unit, or other designated individuals in shared spaces. Chemicals owners shall ensure that the chemical inventory in CHIMS is updated at least annually. Research groups that use particular chemicals must ensure that they are entered into CHIMS immediately upon receipt, see section 7.4.3. A dated hardcopy of the inventory must be maintained in the Laboratory and Research Safety binder.

### Chemicals That Shall Be Inventoried in CHIMS

Chemicals that fall into the following categories are required to be inventoried in CHIMS:

- Chemicals of Interest (COI) as defined in the Department of Homeland Security (DHS) Chemical Facility Anti Terrorism Standard (CFATS)

- Compressed gases (including liquefied gases, and empty cylinders that are still pressurized)

- Controlled substances (e.g., Schedule I or Schedule II substances as listed by the DEA)

- Corrosive acids which are corrosive to the skin and other materials having a pH of < 5.5

- Corrosive bases which are corrosive to the skin and other materials having a pH of > 11.0

- Dangerous When Wet (e.g., alkaline earth metal alloys, aluminum powder, barium, calcium hydride)

- Explosives

- Flammable or combustible liquids (e.g., alcohols, lubricants, oil based paints, solvents)

- Flammable solids (e.g., magnesium powder, sodium metal)

- Organic peroxides (e.g., hydrogen peroxide >8%, benzoyl peroxide)

- Oxidizers (e.g., concentrated mineral acids, bromates, chlorates, permanganates)

- Poisons not included in the above categories, e.g.,

  - Adhesives

  - Biological toxins

  - Dyes

  - Pesticides

  - Specimen solutions

- Spontaneously combustibles (e.g., activated carbon, lithium alkyds, phosphorus)

- Miscellaneous hazardous materials (e.g., dry ice, marine pollutants, listed hazardous substances, asbestos)

### Chemicals Not Required to Be Inventoried in CHIMS

Chemicals in the categories below are not required to be inventoried in CHIMS, but may be:

- Biohazardous materials

- Non-hazardous buffer solutions

- Non-hazardous enzyme preparations

- Non-hazardous microbiological growth media

- Radioactive materials

- Retail products used for routine household activities (e.g., common cleansers, dish soap)

- Working solutions that will be used within 1-2 days

### Chemicals of Interest

Some chemicals have additional regulations associated with them in terms of allowable quantities and storage areas. The full list from the DHS can be found in Appendix A of the CFATS and is available on the EHS webpage. Examples of chemicals of interest that fall under this regulation include germane, hydrogen sulfide, and nitric oxide. As required by Safety Policy SY39: Hazardous Chemical Inventory Management, chemicals on this list must be entered immediately into CHIMS upon receipt.

## Chemical Storage

The guidelines that follow present one method of chemical storage. There are several appropriate chemical storage group methods available. Though each are slightly different, they have many overlapping similarities. Within any scheme for compatible storage, there may be exceptions or extra steps that need to be taken to assure safe storage.

Proper chemical storage controls health or physical hazards posed by chemical compounds during storage in the lab. It is designed to:

- protect flammables from ignition;

- minimize the potential of exposure to poisons; and

- segregate incompatible compounds to prevent accidental mixing (via spills, residues, earthquakes, fires, or human error).

### General Principles of Chemical Storage

Some general principles apply to storage of chemicals in laboratories.

Each chemical container should have a designated storage place, and should be returned to that same location after each use. Storage locations can be marked on containers.

Do not store chemicals on benchtops where they are unprotected from ignition sources and are more easily knocked over. Only chemicals in use should be on the benchtop. Do not store any chemicals except bleach and compatible cleaning agents under the sink.

Do not keep chemicals in chemical fume hoods where they clutter space, interfere with the hood's airflow, and may increase the risk of a fire in the laboratory.

All chemical containers must be closed except when actively being used.

Do not store chemicals in alphabetical order except within a storage group. Alphabetical arrangement of randomly collected chemicals often increases the likelihood of dangerous reactions by bringing incompatible materials into close proximity.

Storage areas should not be exposed to extremes of heat or sunlight.

Storage of liquid chemicals is generally more hazardous than storage of solids and is subject to numerous and varied storage requirements. Liquids should be stored below shoulder height.

#### Receiving Chemicals

All chemicals received by the laboratory must be inspected prior to unpacking. It should be noted if there appears to be any leakage on the outside of the box or on the packing material. Even if the outer container is in good condition, it is good practice to don appropriate PPE prior to opening any of the shipping materials, boxes, or containers. If the contents appear to be damaged, contact EHS and the company from whom the chemical was ordered. All damaged chemical containers must be considered as spilled material and disposed of as chemical waste. Additionally ensure the chemical label is legible and secure on the container of the chemical. If the container label has been defaced, it should be relabeled. CHIMS should also be updated to include the chemical.

#### Chemical Dating

Chemicals shall be dated on receipt in the laboratory and again on opening. This information provides a history of the chemicals in each container and guides future researchers as to potential quality of the chemicals stored in the laboratory.

##### Date Labeling Requirements for Reactive Chemicals

Chemicals that might become hazardous during prolonged storage (i.e. time sensitive) shall be dated upon receipt, when first opened, and properly managed. Proper management means defining those materials present that are time sensitive; defining each time-sensitive material’s inspection frequency; defining proper or approved inspection methodologies to determine the relative hazard of the time-sensitive material; and defining pass/fail criteria for inspection results.

Chemicals in this category include:

- Picrics

- Perchlorates

- Peroxides

- Peroxidizable materials (aldehydes, ethers, and compounds containing benzylic hydrogen atoms)

- Chemicals with polymerization hazards

- Other unstable or reactive chemicals

Dates of receipt must be written on the containers of chemicals in these groups. The date the chemical is opened shall also be written on the container. These chemicals shall not be held past their recommended expiration dates or in the specific amount of time from the date of its receipt. Section 7.3.7.4 has additional information about expiration timelines for common peroxide forming chemicals.

### Chemical Storage Groups

Chemicals should be stored in the groups and corresponding facilities described in the sections below. In this plan, there are ten storage groups. Seven of these groups cover storage of liquids based on the variety of hazards posed by these classes of chemicals. Specific instructions must be followed for reactives, metal hydrides, and pyrophorics (Group 8) and certain individual compounds. In addition to proper storage segregation, some chemicals such as compressed liquids and gases, present particular hazards that have additional handling and storage requirements, detailed in Sections 7.3.9 and 7.3.9.10.

#### How to Determine the Correct Storage Group for a Chemical

Use the SDS to find information specific to particular chemicals, such as the flash point (in section 9) for flammable liquids. More detailed information about incompatible materials can be found in section 10 of the SDS. Determine the correct storage group by the hazard information on the container label, SDS, or contact EHS.

If incompatible materials must be stored in the same cabinet, provide secondary containment for segregation.

##### Multi-Hazard Chemicals

Many chemicals pose hazards that correspond to more than one storage group. In the following, storage groups are shown in descending order of hazard. The correct storage group for a multi-hazard chemical is the group that represents the greatest storage hazard, or the group appearing highest in the list. The physical hazards of a chemical (ex: flammable) usually takes precedent over the health hazard (ex: highly toxic) for storage considerations.

#### Ranking Chemical Storage Groups

- Group 1: Flammable Liquids				Most Hazardous

- Group 2: Volatile Poisons

- Group 3: Oxidizing Acids

- Group 4: Organic and Mineral Acids

- Group 5: Liquid Inorganic Bases

- Group 6: Liquid Oxidizers

- Group 7: Non-Volatile Poisons

- Group 8: Reactives/Metal Hydrides

- Group 9: Hazardous, not otherwise specified

- Group 10: Nonhazardous				Least Hazardous

### Storage Group Definitions

#### Group 1: Flammable Liquids

Includes liquids with flashpoints < 100 °F (38 °C), organic peroxides, and peroxide formers. Examples include all alcohols, acetone, acetaldehyde, acetonitrile, amyl acetate, benzene, cyclohexane, dimethyldichlorosilane, dioxane, ether (diethyl and isopropyl), ethyl acetate, glacial acetic acid, histoclad, hexane, hydrazine, methyl butane, picolene, piperidine, propanol, pyridine, some scintillation liquids, all silanes, tetrahydrofuran, toluene, triethylamine, and xylene.

Primary Storage Concern: Protect flammable liquids from ignition.

Acceptable Storage Facilities/Methods:

- Store in a flammable cabinet, or

- Store in a flammable-storage refrigerator or freezer (see Safety Policy SY11: Refrigerators - Explosion-Proof and section 7.5.6).

- Store oxidizers away from flammables, separate shelf/bin/unit

Flammable liquids shall be stored in flammable-liquid cabinets if the laboratory contains a total of 10 gallons or more, including flammable liquid wastes.

Do not store flammables in cold rooms, which have limited or no ventilation, and are not explosion proof.

Compatible Storage Groups: Flammables may be stored with either Group 2: Volatile Poisons, or Group 5: Liquid Bases, but not with both.

Note: Despite being an organic acid, glacial acetic acid should be stored as a flammable, but still stored separate from bases or other incompatible materials.

#### Group 2: Volatile Poisons

Includes poisons, toxics, and select and suspected carcinogens with strong odor or an evaporation rate greater than 1 (as compared to butyl acetate). Examples include carbon tetrachloride, chloroform, dimethylformamide, dimethyl sulfate, formamide, formaldehyde, halothane, mercaptoethanol, methylene chloride (dichloromethane), and phenol.

Primary Storage Concern: Prevent volatile poison inhalation exposures.

Recommended Storage Facilities/Methods:

- Store in a properly vented storage cabinet; or

- Store containers of less than one liter in a refrigerator.

Compatible Storage Groups: Volatile poisons may be stored with flammables if bases are not present. Note: many flammable cabinets are not vented, so if there are a lot of volatile toxics, venting of the cabinet may need to be added.

#### Group 3: Oxidizing Acids

All oxidizing acids are highly reactive with most substances and each other. Examples include chromic, nitric, perchloric, and sulfuric acids.

Primary Storage Concern: Prevent contact and reaction between oxidizing acids and other substances and prevent corrosive action on surfaces.

Recommended Storage Facilities/Methods:

- Store in a ventilated corrosion resistant safety cabinet.

- Each oxidizing acid must be in secondary containment (i.e., the primary container must be kept inside a canister, tray, or tub).

Compatible Storage Groups: Oxidizing acids must be double-contained and should be segregated in their own compartment in a safety cabinet. When quantities are small (e.g., 1 or 2 bottles) they do not warrant a separate compartment. Small quantities may be double-contained and stored with Group 4: Organic and Mineral Acids. Store oxidizing acids on the bottom shelf, below Group 4. However, nitric acid and chromic acid shall not be stored together.

#### Group 4: Organic and Mineral Acids

Organic and mineral acid examples include acetic (based on percentage), butyric, formic, hydrochloric, hydrofluoric, isobutyric, mercaptoproprionic, phosphoric, proprionic, and trifluoroacetic acids.

Primary Storage Concern: Prevent contact and reaction with bases and oxidizing acids, and prevent corrosive action on surfaces.

Recommended Storage Facilities/Methods:

- Store in a ventilated corrosion resistant safety cabinet.

Compatible Storage Groups: Small amounts of oxidizing acids in secondary containment can be stored in the same compartment with organic acids if the oxidizing acids are stored on the bottom shelf.

Exceptions: Acetic anhydride and trichloroacetic anhydride are very reactive with other acids and should not be stored in this group. It is better to store them with organic compounds in Group 7: Non-Volatile Liquid Poisons.

#### Group 5: Liquid Inorganic Bases

Liquid base examples include ammonium hydroxide, aqueous ammonia, calcium hydroxide, glutaraldehyde, potassium hydroxide, and sodium hydroxide.

Primary Storage Concern: Prevent contact and reaction with acids.

Recommended Storage Facilities/Methods:

- In a ventilated corrosion resistant safety cabinet; or

- In tubs or trays in normal cabinet.

Compatible Storage Groups: Liquid bases may be stored with flammables in the flammable cabinet if volatile poisons are not stored there.

#### Group 6: Liquid Oxidizers

Oxidizing liquids react with everything, potentially causing explosions or corrosion of surfaces. Examples include ammonium persulfate and hydrogen peroxide (≥ 30%).

Primary Storage Concern: Isolate liquid oxidizers from other substances. Never store oxidizers with flammables.

Recommended Storage Facilities/Methods:

- Smaller quantities must be in secondary containment when stored near other chemicals (e.g., in a refrigerator).

Note: Oxidizers should not be stored directly on wooden shelves or on paper shelf liners. Spills may react and ignite spontaneously.

Compatible Storage Groups: None.

#### Group 7: Non-Volatile Liquid Poisons

Includes highly toxic (LD50 oral rat < 50 mg/kg) and toxic chemicals (LD50 oral rat < 500 mg/kg), select carcinogens, suspected carcinogens, and mutagens. Examples include acrylamide solutions, Coomassie blue stain, diethylpyrocarbonate, diisopropyl fluorophosphate, uncured epoxy resins, ethidium bromide, and triethanolamine.

Primary Storage Concern: Prevent contact and reaction between non-volatile liquid poisons and other substances.

Recommended Storage Facilities/Methods:

- Store in a cabinet or refrigerator (i.e., non-volatile liquid poisons must be enclosed).

- Do not store on open shelves in the lab or cold room.

- Liquid poisons in containers larger than one liter must be stored below bench level on shelves closest to the floor.

Compatible Storage Group: Store non-volatile liquid poisons with non-hazardous liquids (e.g., buffer solutions).

Exceptions: Anhydrides (e.g., acetic and trichloroacetic) are organic acids; however, it is better to store them with this group, since they are highly reactive with other acids.

#### Group 8: Metal Hydrides, Pyrophorics, and Reactives

Most metal hydrides react violently with water, some ignite spontaneously in air (pyrophoric). Examples of metal hydrides are calcium hydride, lithium aluminum hydride, and sodium borohydride. Other pyrophorics are boron, diborane, dichloroborane, diethyl aluminum chloride, 2-furaldehyde, lithium, white or yellow phosphorus, and trimethyl aluminum. Other water reactives include acetyl chloride, aluminum chloride-anhydrous, aluminum tribromide, calcium carbide, calcium oxide, chlorosulonic acid, phosphorous pentachloride calcium, potassium, sodium, and acid anhydrides. Powdered metals may also fall into this category.

Primary Storage Concern: Prevent contact and reaction with liquids and, in some cases, air.

Acceptable Storage Facilities/Methods:

- Store using secure, waterproof double-containment according to label instructions.

- Isolate from other storage groups.

- Store in inert compatible atmosphere, such as in a glove box or desiccator jar.

Compatible Storage Groups: If securely double-contained to prevent contact with water or air, metal hydrides may be stored in the same area as Group 9: Hazardous chemicals not otherwise specified.

#### Group 9: Hazardous Chemicals not otherwise specified

Includes all other hazardous chemicals not already specified above. Examples include benzidine, bromide, cyanogens, ethylmaleimide, oxalic acid, potassium cyanide, and sodium cyanide.

Primary Storage Concern: Prevent contact and potential reaction with liquids.

Recommended Storage Facilities/Methods:

- Reference SDS for manufacturer guidelines.

- Cabinets are recommended, but if not available, open shelves are acceptable.

- Store powders above liquids, but not above eye level.

- Warning labels on highly toxic powders should be inspected and highlighted or amended to stand out against less toxic substances in this group.

- It is recommended that the most hazardous substances in this group be segregated.

- It is particularly important to keep liquid poisons below cyanide-containing or sulfide-containing poisons (solids); a spill of aqueous liquid onto cyanide-containing or sulfide-containing poisons would cause a reaction that would release poisonous gas.

Compatible Storage Groups: Metal hydrides, if properly double-contained, may be stored in the same area as dry hazardous solids.

Exceptions: Solid picric or picric sulfonic acid can be stored with this group, but should be checked regularly for dryness. When completely dry, picric acid is explosive and may detonate upon shock or friction. See section 7.3.7.5 for more detailed chemical safety information on picric acid.

#### Group 10: Nonhazardous Chemicals

Includes all other nonhazardous chemicals not already specified above. Always consult the SDS first, but many agars, buffers, dyes, growth media salts and salt solutions, and sugars are considered nonhazardous.

Primary Storage Concern: Prevent reactions with non-compatible materials.

Recommended Storage Facilities/Methods:

- Chemical storage cabinets

- Shelves not above eye level

Compatible Storage Groups: Compatible with many other materials. Avoid liquid (water based) materials being stored with water reactive materials.

### Storage Facilities

Peroxide-forming chemicals and those that may become shock-sensitive with long-term storage shall be stored separately and shall be labeled and dated. Peroxide-forming chemicals shall be stored in a cool, dark, dry place. Examples of peroxide forming chemicals include acetaldehyde, ether (diethyl and isopropyl), and tetrahydrofuran. Additional information about peroxide forming chemicals can be found in section 7.3.7.4.

Volatile or highly odorous chemicals shall be stored in a well-ventilated area; a ventilated cabinet is preferable. Chemical fume hoods should not be used for storage, as containers block proper air flow in the hood and take up work space.

Carcinogen storage areas shall be labeled "Chemical Carcinogen.” This requirement for cancer-warning labels applies even to chemicals that exhibit more than one hazard (e.g., carcinogenic and flammable).

### Inspection of Stored Chemicals

Storage Area. Chemical storage areas shall be inspected at least annually, and any unwanted or expired chemicals shall be removed. During this inspection, the list of chemicals present in the laboratory shall be updated or verified.

Inspections. Although the deterioration in storage of a specific compound cannot be predicted in detail, generalization can often be made about the reaction characteristics of groups of compounds. Some general conclusions about the stability of classes of chemicals can be reached, and corresponding storage time spans can be identified. Visual inspection of stored chemicals is important in the disposal decision.

Chemicals showing any of the indications listed below shall be turned over to EHS for safe disposal:

- accumulation of material on the outside of the lid or bottle

- slightly cloudy liquids

- darkening or change in color

- spotting on solids

- caking of anhydrous materials

- existence of solids in liquids or liquids in solids

- pressure buildup in containers

- evidence of reaction with water

- corrosion or damage to the container

### Refrigerator and Freezer Storage

For reference, see: Safety Policy SY11: Refrigerators – Explosion-Proof.

Flammable materials (flash point < 100 °F/38 °C) shall not be stored in ordinary domestic refrigerators or freezers. Refrigerator temperatures are almost universally higher than the flash points of many flammable liquids most often stored in the units, and ignition sources are readily available inside the storage compartment. Furthermore, the compressor and its circuits are typically located at the bottom of the units, where vapors from flammable liquid spills or leaks may easily accumulate. Refrigerators and freezers not rated for flammables storage shall be labeled "No Flammables Allowed.”

Flammable materials that require cold storage must be stored in a unit that is designed for flammable or explosion proof storage. These units should be labeled “Flammable Storage Allowed.”

Flammable material cold storage units, including refrigerators and freezers, are designed to have the necessary electrical components outside the unit, separate from the inside compartment where a spark could cause a catastrophic fire. These types of units are generally sufficient for use in Penn State research areas that require cold storage of flammable materials.

Explosion proof cold storage units are designed to function safely in an explosive environment. The electrical components in these units are completely sealed from both the storage compartment and the room to eliminate any potential sparks. If you think your lab requires this type of unit, contact EHS prior to purchase.

Flammable liquids shall not be stored in cold rooms that do not have explosion-proof wiring and fixtures. Such storage facilities pose explosion hazards because the various control switches and defroster heaters can spark and ignite flammable vapors.

Chemicals stored in refrigerators, freezers, or cold rooms shall be sealed and labeled with the name of the material and the person who stored the material. Old chemicals shall be disposed of after a specified storage period.

Food shall not be stored in a refrigerator or freezer used for chemical storage. These refrigerators and freezers shall be labeled "No Food Allowed" or equivalent. Refrigerators and freezers used for food shall be marked "Food Only" or equivalent and shall not be near the work area.

### Tanks and Drums

All planned chemical and oil storage tanks and drums that hold 55 gallons or more must be identified to EHS in order to assess the potential for spills and releases, and to incorporate these tanks and drums into the various safety and training requirements of the Environmental Emergency Plans and, if they are tanks, the Storage Tank Management Program.

Chemicals and oils that are stored improperly could accidentally be released into the environment. Good practices, such as training, storage, and inspections can be used to help reduce the risk of spills and releases, and to mitigate the environmental impacts of spills and releases. In addition, there are regulatory requirements that must be satisfied.

Facilities that have storage tanks or drums (55 gallons or more) must have secondary containment if a spill or release from the tank or drum could enter the environment (surface water, soil, drainage ways) or flow down a drain. A double-walled tank or a spill containment pallet that holds 110% of the single largest container meets the secondary containment requirement. Facilities that store materials in tank and drum quantities are also required to have a spill kit, first aid kit, and an appropriate fire extinguisher.

Annual training is required at locations that are covered in Penn State’s Environmental Emergency Plans. In addition, these plans require inspections of tanks and drums on a monthly basis to ensure that they are in good condition and are not causing a release.

## Safety for Specific Chemical Operations

Many factors must be taken into account to safely perform chemical operations. Extractions, distillations, and reactions at reduced or elevated pressure can pose particular hazards to researchers. This type of work requires careful planning through the process of a thorough hazard assessment that is documented in a SOP. This includes proper use of a chemical fume hood or other appropriate engineering controls, wearing the appropriate PPE, and ensuring proper waste disposal.

Operations that may generate airborne contaminants or that use flammable liquids or toxic, reactive, or odoriferous materials shall be conducted in a chemical fume hood or other appropriate containment enclosure. When using a chemical fume hood, ensure that the sash is at the lowest reasonable working height. Whenever hazardous gases or fumes are likely to evolve, an appropriate trap, condenser, or scrubber may be required to be used to minimize release of material to the environment.

For information on temperature control of research procedures, including heating and cooling, see section 6.7.4.

### Extractions

Extractions can present a hazard because of the potential buildup of pressure from a volatile solvent and an immiscible aqueous phase. Glass separatory funnels used in laboratory operations are particularly susceptible to problems because their stoppers or stopcocks can be forced out, resulting in a spill of the contained liquid. It is even possible for pressure to burst the vessel.

Typical extractions in the laboratory are done in a separatory funnel, while microscale extractions may be done in a conical vial. To use a separatory funnel correctly, do not attempt to extract a solution until it is cooler than the boiling point of the extractant. When a volatile solvent is used, the unstoppered separatory funnel should first be swirled to allow some solvent to vaporize and expel some air. Close the funnel and invert it with the stopper held in place and immediately open the stopcock to release more air plus vapor. Do this with the hand extended around the barrel to keep the stopcock plug securely seated.

Point the barrel of the separatory funnel away from yourself and others and vent it to the fume hood. Do not vent the funnel near a flame or other ignition source. Close the stopcock, shake with a swirl, and immediately open the stopcock with the funnel in the inverted position to vent the vapors again. If it is necessary to use a separatory funnel larger than one liter for an extraction with a volatile solvent, the force on the stopper may be too great, causing the stopper to be expelled. Consider performing the extraction in several smaller batches.

### Distillations

Distillation processes can sometimes be avoided by purchasing smaller quantities and high-purity solvents. Where possible, distillation should be replaced by column purification.

Potential hazards present during distillation include pressure buildup, commonly used flammable materials, and the use of heat to vaporize the chemicals involved. Careful design and construction of the distillation system is required to accomplish effective separation and avoid leaks that can lead to fires or contamination of the work area. Be aware when distilling chemicals that certain types may autoxidize and accumulate peroxides. Peroxides can explode when heated and concentrated during a distillation. For more information on peroxide forming chemicals, see section 7.3.7.4.

The chemicals listed below in Table 7.10 present a peroxide hazard on concentration (distillation/ evaporation).

It is necessary to ensure smooth boiling during the separation process and avoid bumping, which can blow apart the distillation apparatus. Stirring the distillation mixture is the best method to avoid bumping. Boiling stones are only effective for distillations at atmospheric pressure. Use fresh boiling stones when a liquid is boiled without stirring. Do not add boiling stones or any other solid material to a liquid that is near its boiling point, because this may cause it to boil over spontaneously.

Table 7.10	Chemicals That Form Peroxides Upon Concentration

| Acetal | Dioxane (p-dioxane) |
| --- | --- |
| Cumene | Ethylene glycol dimethyl ether (glyme) |
| Cyclohexene | Furan |
| Cyclooctene | Methyl acetylene |
| Cyclopentene | Methyl cyclopentane |
| Diacetylene | Methyl-isobutyl ketone |
| Dicyclopentadiene | Tetrahydrofuran (THF) |
| Diethyl ether | Tetrahydronaphthalene (Tetralin) |
| Diethylene glycol dimethyl ether (diglyme) | Vinyl ethers |

An electric mantle heater, a ceramic cavity heater, steam coils, or a nonflammable liquid bath are best at providing even heating. Silicone oil or another suitable high-boiling-temperature oil can be used on a hot plate. Hot water or steam may also be used in some cases. An extra thermometer inserted at the center bottom of the distilling flask will warn of dangerously high temperatures that could indicate exothermic decomposition. Do not distill or evaporate organic compounds to dryness unless they are known to be free of peroxides.

Because superheating and bumping occur frequently during distillation using reduced pressure, it is important that the distillation assembly is secure and the heat distributed more evenly than is possible with a flame. Evacuate the assembly gradually to minimize the possibility of bumping. Stirring, or using an air or nitrogen bleed tube, provides good vaporization without overheating and decomposition.

Put a standing shield in place for protection in the event of an implosion. After finishing a reduced pressure distillation, cool the system, and then slowly bleed in air so as not to induce an explosion in a hot system. Pure nitrogen is preferred to air and can be used even before cooling the system.

In a steam distillation, minimize the accumulation of condensate in the distillation flask. The heat of steam condensation is very high, and overfilling the flask is less likely if condensation from the entering steam line is trapped and the flask heated or insulated to prevent excessive condensation.

#### Column Purification Systems or “Push Stills”

Column purification systems offer a safer, more environmentally friendly process for providing dry, oxygen-free, high-purity solvents as compared with thermal distillation. The level of impurity (water, oxygen, peroxides) is comparable to thermal distillation. The system is usually composed of refillable stainless steel “kegs” that hold high-purity solvent and act as a solvent reservoir. Inert gas (nitrogen, argon) is used to maintain an inert atmosphere as well as to force solvent through the packed columns that contain activated alumina (for water scavenging) and copper catalyst (for oxygen scavenging). For those solvents that are incompatible with copper (e.g., tetrahydrofuran, methylene chloride, acetonitrile), a second column of alumina is used along with a dry nitrogen or argon purge to facilitate oxygen removal. The solvent product is dispensed from the columns into a variety of specialized containers for use in the laboratory (glass, stainless steel, etc.).

Column purification systems present much less of a fire risk compared with thermal distillation, because they do not employ heating devices or reactive metals. Because glass containers are not needed, the potential for injury or spill related to breakage is also eliminated.

There is no need for heating mantles when solvent is present, and the intrinsically safe properties of the system allow it to be set up virtually anywhere in the laboratory, thus eliminating the need to place the apparatus in a chemical hood. As a result, there is a significant savings in electricity usage, although heating jackets may be required for installations where the water and oxygen scavengers are activated or regenerated. When using a column purification system, it is important not to draw down the column completely empty. Bubbling or splattering as the product is drawn from the column is an indication of breakthrough of argon. For the column to be functional again, a lengthy priming operation may be needed.

#### Solvent Stills

Most high-purity solvents are commercially available in specialized kegs or may be obtained from column purification systems; thus, thermal distillation processes should be a last resort. There have been numerous fires attributed to solvent stills, some resulting in serious injuries and extensive damage to the laboratory spaces.

Solvent stills are used to produce dry, oxygen-free, high-purity solvents. The process involves reflux and distillation of organic solvents (many of which are flammable liquids) over drying materials, under nitrogen or argon gas. The most commonly used drying agents involve potentially pyrophoric metals: sodium metal/benzophenone and magnesium metal/iodine. The stills must be periodically quenched to prepare the still bottoms for disposal. This usually involves adding solvent to consume the scavenging agents. The process itself poses a risk of reactive metal adhering to the bottom of the flask, with the potential for exposure to air causing a spontaneous fire. Most thermal stills rely on electric heating mantles to heat the flammable solvents upward of 82 °C (180 °F), presenting a fire risk and potential ignition source.

Always set up stills in a chemical hood. Although many procedures suggest allowing the process to run overnight, it is prudent to ensure that it is not left completely unattended. Start the process at the beginning of the day and let it run as long as laboratory members are present. Place shields around the still to protect members in the event of a serious incident. Deactivate the still under argon or nitrogen, never air. Do not add fresh solvent, drying agent, or indicator while the still is hot. Ensure that water cooling lines are in good condition. Do not allow material to accumulate at the bottom of the still; quench the still at the end of every procedure and clean thoroughly. Use caution when collecting the reactive materials as waste.

### Reduced Pressure Operations

Protect vacuum desiccators by covering them with cloth-backed friction or duct tape or shielding them for protection in case of implosion. Prior to use, inspect vacuum desiccators for chips, cracks, and defects. Vacuum lines shall be trapped and shielding used whenever apparatus is under reduced pressure. Only chemicals being dehydrated should be stored in a vacuum desiccator. Before opening a desiccator that is under reduced pressure, make sure that atmospheric pressure has been restored.

Water aspirators for reduced pressure are used mainly for filtration purposes, and only equipment that is approved for this purpose should be used. Never apply reduced pressure to a flat-bottomed flask unless it is a heavy-walled filter flask designed for that purpose. Place a trap and a check valve between the aspirator and the apparatus so that water cannot be sucked back into the system if the water pressure falls unexpectedly during filtering. This also applies to rotary evaporation equipment that use water aspirators for reduced pressure.

If vacuum pumps are used, place a cold trap between the apparatus and the vacuum pump so that volatiles from a reaction or distillation do not get into the pump oil or out into the atmosphere. Exhausts from pumps shall be vented to a hood or ventilation system. Pumps with belt drives must be equipped with belt guards to prevent hands or loose clothing from being caught in the belt pulley.

### Cold Traps

Cold traps used in reduced-pressure systems should be placed in vermiculite-filled metal cans. If this option is not possible, the cold traps should be wrapped with cloth-backed friction or duct tape. In the event of an implosion, the tape will reduce the amount of flying glass.

Users of cold traps should be aware of the boiling points of the components and the possible products of materials in the reduced-pressure system. For instance, argon, a common inert gas, may condense into traps cooled with liquid nitrogen. When the cooling bath is removed, the argon rapidly vaporizes, and the rate of pressure buildup may be too great for the gas to be vented or pumped down. A serious explosion could occur.

### Laboratory Reactor Pressure Vessels

As with other hazardous research processes, detailed SOPs should be written for work with laboratory reactor pressure vessels, including intended operating pressures and temperatures. Novice users must be directly supervised in experimental design, vessel assembly, and heating mode selection until they exhibit full understanding and proficiency.

Laboratory reactor pressure vessels may also be referred to as sample preparation bombs, acid digestion bombs, hydrothermal reactors, or chemical digestion autoclaves. Heating chemicals inside a closed vessel can result in some of the highest gas or super critical fluid pressures encountered in a laboratory space.

If you use laboratory reactor pressure vessels in your experiments, it is important to understand what conditions increase the hazards associated with use so you can prevent dangerous ruptures or explosions from occurring. All laboratory reactor pressure vessels shall be equipped with a form of overpressure relief to protect the vessel from the hazards of unexpected or dangerously high internal pressures. Appropriate over pressure relief through a safety rupture disk or safety relief valve must be part of the laboratory reactor pressure vessel design.

- DO NOT use a laboratory reactor pressure vessel without overpressure relief.

- DO NOT use laboratory reactor pressure vessels without manufacturer’s documentation of maximum pressure and temperature.

- DO NOT assemble or maintain pressure vessels without manufacturer’s literature.

- DO NOT exceed temperature limits for reactions or pressure vessels specifications.

- DO NOT exceed vessel loading limits.

- DO NOT form explosive materials inside a pressure vessel.

Some chemicals and mixtures are prohibited in laboratory reactor pressure vessels.

- DO NOT treat fats, fatty acids, glycerin, and similar materials with nitric acid in pressure vessels.

- DO NOT treat cellulosic materials with mixed nitric and sulfuric acids.

- DO NOT use perchloric acid, picric acid, or concentrated hydrazine in these vessels.

- AVOID reactions which are highly exothermic or which may be expected to release large volumes of gas.

Overloading of a pressure vessel is a significant hazard. Where available, identify the charging limits for each chemical and vessel size in the manufacturer’s literature. Always evaluate the stoichiometry and chemistry that you are trying to achieve with special considerations for catalysts and gaseous by-products that may affect pressure build up inside the vessel. Assess any intermediates, side-products, and products that may form and their behavior within the vessel, including their corrosive nature and their tendency to violently decompose at elevated temperature and pressure. Determine maximum temperature and pressure limits expected, taking into account the energetics of the reaction being conducted and any pathways that might cause the reaction to run out of control. A formal written risk assessment is strongly encouraged.

Defective temperature controls or operator inattention can be the cause of dangerous overheating. In order to prevent dangerous overheating, the best practice is to:

- Avoid leaving laboratory reactor pressure vessels unattended, especially overnight.

- Use ovens or heating devices with high temperature limit controllers.

- Heat general purpose metal body laboratory reactor pressure vessels only in an oven.

- Heat polymer body laboratory reactor pressure vessels only in a microwave oven.

- Heat other laboratory reactor pressure apparatus behind a blast shield or suitable barrier.

- If laboratory reactor pressure vessels must be left unattended overnight, as discussed in section 6.4.3, ensure that a label or sign is posted that includes information about the hazards of the operation, when it was started, the anticipated finish time, and complete contact information of knowledgeable personnel.

Some pressure vessels are equipped with a polytetrafluoroethylene (PTFE) cup and lid liner. Due to PTFE flow, once a PTFE cup and lid is pressurized it becomes a uniquely matching pair. Using unmatched pairs of cups and lids will cause leaks. Store all the parts of a pressure vessel together to avoid mismatches. Periodically conduct a leak check in accordance with the manufacturer’s guidance.

Not all pressure vessels use a PTFE insert. Internal wetted parts of a pressure vessel have to be constructed resistant to corrosive materials at the expected operating pressure. Each alloy has its own physical strength and temperature characteristics as well as its own unique resistance to certain corrosive materials. All of these factors must be considered when making a selection. Dedicate pressure vessels for either acid or base service. Do not interchange the use of acids and bases in the same pressure vessel.

#### Calorimeters

Calorimeters, commonly known as Parr bombs, are pressure reactors designed for handling chemical reactions and tests at elevated temperatures and pressures. They are intended for the development of new formulations, the study of reaction parameters, or the production of fine chemicals in small quantities.

Calorimeters shall be handled behind a blast shield. The operator shall wear goggles and preferably a face shield. The reactor shall never be filled to more than three-fourths of its available free space. Reactors shall be selected based on the prescribed ratings for maximum temperature and pressure. The user may not attempt to increase the working limits by altering the reactor or substituting components not recommended by the manufacturer. In addition, the rating of the burst disc must not exceed the range of the pressure gauge.

Calorimeters shall be constructed of metals or alloys that provide appropriate corrosion resistance properties. If necessary, the reactor’s stirrer motor and heater assembly may need to be explosion-proof.

## Nanomaterials

Exposure standards have been proposed for only a limited number of engineered nanomaterials (e.g. carbon nanofiber, silver, titanium dioxide) in the US. However, none have been adopted as regulatory standards. Until more definitive standards are developed based on the understanding of nanomaterial toxicology, and the potential health risks associated with handling nanomaterials, researchers should take a conservative approach when planning to work with nanomaterials, and where applicable, implement a combination of advisory engineering controls, work practices, and PPE to minimize potential workplace exposures. For a quick guide to the exposure risks and prudent control measures to be used for common laboratory operations involving nanomaterials, refer to Table 7.11. It is important to consider if the engineered nanomaterials are in an agglomerated or aggregated form, functionalized, suspended in liquid, or bound, as these conditions may affect the exposure potential. The activity types discussed in the following table are generalized as to relative risk of exposure; however, exposure risk is dependent on process control and other factors.

Table 7.11	Exposure Risks and Control Measures for Nanomaterials

| Type of Activity, by Risk of Exposure | Primary Control Measures |
| --- | --- |
| Low Risk: - Non-destructive handling of solid composites or permanently bonded engineered nanomaterials. | - Disposable nitrile or PVC gloves. Do not reuse gloves. - Wet cleaning procedures and/or HEPA vacuum for surfaces and equipment. - Other controls such as fume hoods or respiratory protection may be required. |
| Moderate Risk: - Pouring or mixing nanomaterials suspended in liquid media (may also contribute to dried residues on work surfaces). - Working with liquid suspended nanomaterials involving a high degree of agitation (e.g., sonication or ultra-sonication). - Handling nanostructured powders*. - Maintenance on equipment used to produce nanomaterials. - Cleaning of dust collection systems used to capture nanomaterials. | - Conduct task within a fully enclosed system (e.g., glovebox) or fume hood. - Disposable gloves appropriate for the solvent in which the particles are suspended. Do not reuse gloves. - Safety eyewear (plus face shield if splash potential exists). - Wet cleaning procedures for surfaces and equipment. - Other specialized controls such as HEPA or ULPA vacuums or respiratory protection may be required. |
| High Risk: - High speed abrading/grinding nano-composite materials. - Generating or depositing nanomaterials in the gas phase or generating as aerosol. - Chemical or physical manipulation of nanomaterials in gas or liquid phase. | - Work in enclosed systems only (e.g., glovebox, glovebag, properly designed local exhaust or fume hood, or in a sealed chamber). |

*EHS recognizes that low-density nanomaterials (e.g., cellulose or carbon-based) become readily aerosolized and may not be practical to be weighed or handled in standard chemical fume hoods. Consult with EHS on alternative types of controls.

### Planning Engineered Nanomaterial Research

Research that will include nanomaterials should be planned well in advance and discussed with the unit’s safety officer and EHS. EHS will conduct a process review of the research application to ensure pertinent controls are in place prior to research start-up. If the research is associated with design and construction of a new facility, or a facility renovation, EHS should be consulted to ensure all appropriate ventilation and/or engineering controls are integrated with the facility design, as well as any pertinent ventilation commissioning.

Depending on process requirements, EHS may advise or arrange in cooperation with the safety officer to conduct an exposure evaluation to measure airborne levels of nanomaterials, as part of verifying effectiveness of the selected controls and work process(es).

### Engineering Controls

Use glovebags, gloveboxes, properly-designed fume hoods, or other containment or exhaust enclosures designed for nanomaterial processing when there is a potential for aerosolization, such as during: handling powders, creating nanomaterials in gas or liquid phase, wherever leakage or residues may be formed, or pouring or mixing liquid media that involves a high degree of agitation. DO NOT use horizontal laminar flow hoods (clean benches) or BSCs, as these devices are not designed for proper containment of airborne nanomaterials. Consult with EHS to assist or verify engineering control options, or wherever engineering controls are not feasible.

Use fume hoods or other local exhaust or containment devices to exhaust sealed tube furnaces and chemical reaction vessels.

Perform any maintenance activities, such as repair to equipment used to create nanomaterials or cleaning or replacement of dust collection systems, in properly-designed fume hoods or under appropriate local exhaust.

Required engineering controls should be documented in the SOP for the work being performed.

### Work Practices

Handling of Nanomaterials: Whenever possible, handle nanomaterials in solutions or attached to substrates to minimize airborne release.

Consult the SDS, if available, or other appropriate reference information prior to using a nanomaterial with which you are unfamiliar. Note that, depending on the intended nanomaterial processing, SDS information may not fully address the hazards associated with the intended use. The properties and hazards of bulk material may be different from the hazards of nanomaterials during processing.

Hygiene: Wash hands frequently to minimize potential chemical or nanomaterial exposure through ingestion and dermal contact.

Remove gloves when leaving the laboratory, so as not to contaminate doorknobs, or when handling common use objects such as phones, multiuser computers, etc.

Labeling and Signage: Store nanomaterials in a well-sealed container, preferably one that can be opened with minimal agitation of the contents.

Label all containers with the identity of the contents, including the term "nano" in the descriptor (e.g., "nano-zinc oxide particles" rather than just "zinc oxide"). Hazard warning and chemical concentration information should also be included, if known.

Use cautious judgment when leaving operations unattended: i) post signs to communicate appropriate warnings and precautions, ii) anticipate potential equipment and facility failures, and iii) provide appropriate containment for accidental release of hazardous chemicals.

Cleaning: Wet-wipe and/or HEPA-vacuum work surfaces regularly to collect and remove nanomaterial residues.

Transporting: Use secondary containment, such as sealed, double-contained containers, when transporting nanomaterials inside or outside of the fume hood or control device, or outside of the building.

### Standard Operating Procedures

Prepare a SOP for operations involving nanomaterials. The SOP should be tailored to be specific to the proposed experimental procedure. Consider the hazards of the precursor materials in evaluating the process. Special consideration should be given to the high reactivity of some nanopowders with regard to potential fire and explosion.

### Training

Ensure that researchers have both general safety training and lab-specific training relevant to the nanomaterials and associated hazardous chemicals used in the process or experiment. Lab-specific training can include a review of this section, the relevant SDS or hazard information (if available), and the lab's SOP for the experiment.

### Personal Protective Equipment

In addition to standard lab attire, such as long pants and closed toe shoes, researchers working with nanomaterials should wear gloves, lab coats, safety goggles, and face shields, as appropriate dependent on the nature of the materials and procedure. PPE requirements should be documented in the SOP. Depending on specific process operations and EHS review, respiratory protection may be advised. If work cannot be conducted inside a fume hood or other ventilated enclosure, consult with EHS regarding the need for respiratory protection or other alternative controls.

### Consultation

Consult with your PI prior to procuring or working with nanomaterials. For clarification of program requirements or for additional assistance, contact EHS. Numerous references are available in support of safe nanomaterial use in laboratory research and are listed in section 13.4.

# BIOLOGICAL AGENTS

## General

For reference, see Research Protections Policy RP11: Use of Regulated and Biohazardous Materials in Research and Instruction.

Many of the same best practices and requirements are common to laboratories using chemicals and those handling biological agents. The laboratory procedures described in section 6.0, "General Laboratory and Research Safety," and Section 7.0, "Chemical Hazards and Chemical Hygiene," also apply to laboratories using biological agents. Most of the information in this section is taken from the book Biosafety in Microbiological and Biomedical Laboratories (BMBL). Recombinant or synthetic nucleic acid research, further discussed in section 8.6, shall comply with the "NIH Guidelines for Research Involving Recombinant or Synthetic Nucleic Acid Molecules" and Research Protections Policy RP11: Use of Regulated and Biohazardous Materials in Research and Instruction.

Biological agent hazards in the laboratory are often relatively well defined, especially in the case of conventional disease-causing agents. Major exceptions to this general observation are oncogenic agents and "slow virus" infections.

Broadly speaking, two major risk situations can be identified. In the first, known agents are used and are integral to scientific research or teaching; in the second, potentially harmful biological agents are endogenous to humans or laboratory animals or to animal tissues or fluids. Examples of these are zoonotic infections in animal handlers, viral contaminants in human tissues and cell cultures, and lymphocytic or choriomeningitis-infected animal tumor lines.

Other issues that do not relate specifically to personal safety but should be considered include work with agents that infect animals and plants, especially if an accident could seriously jeopardize the agricultural sector of the economy. The possibility of cross-contamination by infectious agents in laboratory animals and media preparation areas can also be a significant problem, especially in common resource facilities.

## Responsibilities

The responsibilities of the department head, PI, and others working with biological hazards include all those described in Section 3.0 of this document. Additional responsibilities specific to the handling of biological agents include selecting safety practices based on awareness of the particular hazard and training all personnel accordingly.

### Institutional Biosafety Committee Application

For reference, see Research Protections Policy RP11: Use of Regulated and Biohazardous Materials in Research and Instruction.

Research using regulated or biohazard material, as discussed in sections 3.6.1.2 and 6.3.2.1, requires prior approval. A PI wishing to conduct this research shall complete an IBC Application form, which may be obtained from the ORP. ORP determines the biosafety level of the agent, notifies the PI of the biosafety level, and then the laboratory space is inspected for compliance.

## Containment Methods

The term containment is used to describe safe methods for managing infectious agents in the laboratory environment. The purpose of containment is to reduce exposure of laboratory workers and others to potentially hazardous agents and to prevent their escape into the outside environment. The three elements of containment are laboratory practice and technique, safety equipment, and facility design.

### Laboratory Practice and Technique

The most important element of containment is strict adherence to standard microbiological practices and techniques. Persons working with infectious agents or infected materials shall be aware of potential hazards and shall be trained and proficient in the practices and techniques required for safely handling such material. When standard laboratory practices are not sufficient to control the hazard associated with a particular agent or laboratory procedure, additional measures may be needed involving safety equipment and facility design.

### Safety Equipment: Primary Barriers

Primary barrier or primary containment is defined as physical containment measure(s) placed directly at the level of the hazard. Safety equipment such as BSCs, enclosed containers, and other biosafety controls are designed to protect personnel, the surrounding community, and the environment from possible exposure to hazardous biological agents and toxins. The use of vaccines may in some cases provide an increased level of personal protection.

#### Biological Safety Cabinets

The BSC is the principal device used to provide containment of infectious splashes or aerosols. There are three general types of BSCs: Class I, Class II, and Class III, each briefly described below. A more detailed overview of BSCs can be found on the EHS webpage.

Class I is an open-fronted, negative-pressure, vented cabinet with HEPA-filtered exhaust. It may be equipped with a front closure and gloves for use as a glove box. The inward face velocity is 75 feet per minute. Suitable for work with low- or moderate-risk biological agents, it provides protection for personnel and the environment but not for the product.

Class II cabinets are open-fronted laminar-flow cabinets with an inward face velocity of 75 linear feet per minute. Class II design resembles that of a fume hood but with HEPA-filtered, recirculated mass airflow within the workspace. Exhaust air is also filtered. Class II cabinets provide protection for personnel, product, and the environment. They are designed for work with low- or moderate-risk biological agents, and are the most common class of BSCs found in Penn State laboratories.

Class III cabinets provide the highest level of protection. Class III is a totally enclosed glove-box cabinet of gas-tight construction. The cabinet is maintained under negative air pressure of at least 0.5 inches of water gauge. Supply air is drawn into the cabinet through HEPA filters, and the exhaust air is filtered by two HEPA filters in series before it is discharged to the outside. Generally, the ventilation system is separate from the facility's ventilation system. Class III cabinets are suitable for high-risk biological agents.

BSCs used to protect personnel from hazardous biological agents shall be tested and certified after installation and before use, any time they are moved, and at least annually. The department head shall provide annual certification and maintain certification records for the department. Testing shall meet the criteria in National Sanitation Foundation Standard Number 49. A list of companies qualified to certify BSCs can be found on the EHS webpage.

#### Other Safety Equipment

Other safety equipment includes enclosed containers. An example of an enclosed container is a safety centrifuge cap, designed to prevent release of aerosols during centrifugation.

Safety equipment also includes PPE such as gloves, coats, gowns, shoe covers, boots, respirators, face shields, and safety glasses or goggles. This equipment is generally used in combination with BSCs and other devices that contain the agents, animals, or materials being worked with.

In some situations in which it is impractical to work in a BSC, PPE may form the primary barrier between personnel and the infectious materials. Examples of such situations include certain animal studies, animal necropsy, and activities relating to maintenance, service, or support of the laboratory facility. Consult with EHS to develop specific safety procedures.

### Facility Design and Construction: Secondary Barriers

Secondary barriers protect the environment within the facility and outside the laboratory from exposure to infectious materials. The design of the facility provides the secondary barrier. The three facility designs are the basic laboratory, the containment laboratory, and the maximum containment laboratory.

The Basic Laboratory provides general space where work is done with viable agents that are not associated with disease in healthy adults; it includes BSL-1 and -2 facilities. This laboratory is appropriate for work with infectious agents or potentially infectious materials when the hazard levels are low and laboratory personnel can be adequately protected by standard laboratory practices. While work is commonly conducted on the open bench, certain operations are confined to BSCs. Conventional laboratory designs are adequate.

The Containment Laboratory has special engineering features that enable laboratory personnel to handle hazardous materials without endangering themselves, the community, or the environment. The containment laboratory is described as a BSL-3 facility. Some of the features that distinguish this laboratory from the basic laboratory are the provisions for access control and a specialized ventilation system. In all cases, a controlled access zone separates the laboratory from areas open to the public.

The Maximum Containment Laboratory has special engineering and containment features that allow laboratory personnel to safely conduct activities involving infectious agents that are extremely hazardous to humans or capable of causing serious epidemic disease. The maximum containment laboratory is described as a BSL-4 facility; it is not applicable to activities at Penn State.

## Biosafety Levels

The following guidelines are recommended by the CDC and the National Institutes of Health (NIH) and have been adopted as required procedures at Penn State.

### Biosafety Level 1

BSL-1 is suitable for work involving well-characterized agents not known to consistently cause disease in immunocompetent adult humans, and present minimal potential hazard to laboratory personnel and the environment. BSL-1 laboratories are not necessarily separated from the general traffic patterns in the building. Work is typically conducted on open bench tops using standard microbiological practices. Special containment equipment or facility design is not required, but may be used as determined by appropriate risk assessment. Laboratory personnel must have specific training in the procedures conducted in the laboratory and must be supervised by a scientist with training in microbiology or a related science.

The following standard practices, safety equipment, and facility requirements apply to BSL-1.

#### Standard Microbiological Practices

- The laboratory supervisor must control access to the laboratory to authorized individuals.

- Persons must wash their hands after working with potentially hazardous materials and before leaving the laboratory.

- Eating, drinking, smoking, handling contact lenses, applying cosmetics, and storing food for human consumption must not be permitted in laboratory areas. Food must be stored outside the laboratory area in cabinets or refrigerators designated and used for this purpose.

- Mouth pipetting is prohibited; mechanical pipetting devices must be used.

- Policies for the safe handling of sharps, such as needles, scalpels, pipettes, and broken glassware must be developed and implemented. Whenever practical, laboratory supervisors should adopt improved engineering and work practice controls that reduce risk of sharps injuries. Precautions, including those listed below, must always be taken with sharp items. These include:

  - Careful management of needles and other sharps are of primary importance. Needles must not be bent, sheared, broken, recapped, removed from disposable syringes, or otherwise manipulated by hand before disposal.

- Used disposable needles and syringes must be carefully placed in conveniently located puncture-resistant containers used for sharps disposal.

- Non-disposable sharps must be placed in a hard walled container for transport to a processing area for decontamination, preferably by autoclaving.

- Broken glassware must not be handled directly. Instead, it must be removed using a brush and dustpan, tongs, or forceps. Plastic ware should be substituted for glassware whenever possible.

- Perform all procedures to minimize the creation of splashes and/or aerosols.

- Decontaminate work surfaces after completion of work and after any spill or splash of potentially infectious material with appropriate disinfectant.

- Decontaminate all cultures, stocks, and other potentially infectious materials before disposal using an effective method. Depending on where the decontamination will be performed, the following methods should be used prior to transport.

  - Materials to be decontaminated outside of the immediate laboratory must be placed in a durable, leak proof container and secured for transport.

  - Materials to be removed from the facility for decontamination must be packed in accordance with Penn State policies. See Section 11.4 for additional details or contact EHS if waste cannot be decontaminated in your facility.

- A sign incorporating the universal biohazard symbol must be posted at the entrance to the laboratory when infectious agents are present. The sign should include the name of the agent(s) in use, and the name and phone number of the laboratory supervisor or other responsible personnel.

- An effective IPM program is required.

- The laboratory supervisor must ensure that laboratory personnel receive appropriate training regarding their duties, the necessary precautions to prevent exposures, and exposure evaluation procedures. Personnel must receive annual updates or additional training when procedural or policy changes occur. Personal health status may impact an individual’s susceptibility to infection, ability to receive immunizations, or prophylactic interventions. Therefore, all laboratory personnel, and particularly women of childbearing age, should be provided with information regarding immune competence and conditions that may predispose them to infection. Individuals having these conditions should be encouraged to self-identify to Occupational Medicine for appropriate counseling and guidance.

#### Special Practices

None required.

#### Safety Equipment (Primary Barriers and Personal Protective Equipment)

  - Special containment devices or equipment, such as BSCs, are not generally required.

  - Protective laboratory coats, gowns, or uniforms are recommended to prevent contamination of personal clothing.

  - Wear protective eyewear when conducting procedures that have the potential to create splashes of microorganisms or other hazardous materials. Persons who wear contact lenses in laboratories should also wear eye protection.

  - Gloves must be worn to protect hands from exposure to hazardous materials. Glove selection should be based on an appropriate risk assessment. Alternatives to latex gloves should be available. Wash hands prior to leaving the laboratory. In addition, BSL-1 personnel should:

  - Change gloves when contaminated, glove integrity is compromised, or when otherwise necessary.

  - Remove gloves and wash hands when work with hazardous materials has been completed and before leaving the laboratory.

  - Not wash or reuse disposable gloves. Dispose of used gloves with other contaminated laboratory waste. Hand washing protocols must be rigorously followed.

#### Laboratory Facilities (Secondary Barriers)

  - Laboratories should have doors for access control.

  - Laboratories must have a sink for hand washing.

  - The laboratory should be designed so that it can be easily cleaned. Carpets and rugs in laboratories are not appropriate.

  - Laboratory furniture must be capable of supporting anticipated loads and uses. Spaces between benches, cabinets, and equipment should be accessible for cleaning.

  - Bench tops must be impervious to water and resistant to heat, organic solvents, acids, alkalis, and other chemicals.

  - Chairs used in laboratory work must be covered with a non-porous material that can be easily cleaned and decontaminated with appropriate disinfectant.

- Laboratory windows that open to the exterior should be fitted with screens.

### Biosafety Level 2

BSL-2 builds upon BSL-1. BSL-2 is suitable for work involving agents that pose moderate hazards to personnel and the environment. It differs from BSL-1 in that: 1) laboratory personnel have specific training in handling pathogenic agents and are supervised by scientists competent in handling infectious agents and associated procedures; 2) access to the laboratory is restricted when work is being conducted; and 3) all procedures in which infectious aerosols or splashes may be created are conducted in BSCs or other physical containment equipment. The following standard and special practices, safety equipment, and facility requirements apply to BSL-2.

#### Standard Microbiological Practices

- The laboratory supervisor must control access to the laboratory to authorized individuals.

- Persons must wash their hands after working with potentially hazardous materials and before leaving the laboratory.

- Eating, drinking, smoking, handling contact lenses, applying cosmetics, and storing food for human consumption must not be permitted in laboratory areas. Food must be stored outside the laboratory area in cabinets or refrigerators designated and used for this purpose.

- Mouth pipetting is prohibited; mechanical pipetting devices must be used.

- Policies for the safe handling of sharps, such as needles, scalpels, pipettes, and broken glassware must be developed and implemented. Whenever practical, laboratory supervisors should adopt improved engineering and work practice controls that reduce risk of sharps injuries. Precautions, including those listed below, must always be taken with sharp items. These include:

  - Careful management of needles and other sharps are of primary importance. Needles must not be bent, sheared, broken, recapped, removed from disposable syringes, or otherwise manipulated by hand before disposal.

  - Used disposable needles and syringes must be carefully placed in conveniently located puncture-resistant containers used for sharps disposal.

  - Non-disposable sharps must be placed in a hard walled container for transport to a processing area for decontamination, preferably by autoclaving.

  - Broken glassware must not be handled directly. Instead, it must be removed using a brush and dustpan, tongs, or forceps. Plastic ware should be substituted for glassware whenever possible.

- Perform all procedures to minimize the creation of splashes and/or aerosols.

- Decontaminate work surfaces after completion of work and after any spill or splash of potentially infectious material with appropriate disinfectant.

- Decontaminate all cultures, stocks, and other potentially infectious materials before disposal using an effective method. Depending on where the decontamination will be performed, the following methods should be used prior to transport:

  - Materials to be decontaminated outside of the immediate laboratory must be placed in a durable, leak proof container and secured for transport.

  - Materials to be removed from the facility for decontamination must be packed in accordance with Penn State policies. See Section 11.4 for additional details or contact EHS if waste cannot be decontaminated in your facility.

- A sign incorporating the universal biohazard symbol must be posted at the entrance to the laboratory when infectious agents are present. Posted information must include: the laboratory’s biosafety level, the supervisor’s name (or other responsible personnel), telephone number, and required procedures for entering and exiting the laboratory.

- An effective IPM program is required.

- The laboratory supervisor must ensure that laboratory personnel receive appropriate training regarding their duties, the necessary precautions to prevent exposures, and exposure evaluation procedures. Personnel must receive annual updates or additional training when procedural or policy changes occur. Personal health status may impact an individual’s susceptibility to infection, ability to receive immunizations or prophylactic interventions. Therefore, all laboratory personnel, and particularly women of childbearing age, should be provided with information regarding immune competence and conditions that may predispose them to infection. Individuals having these conditions should be encouraged to self-identify to Occupational Medicine for appropriate counseling and guidance.

#### Special Practices

- All persons entering the laboratory must be advised of the potential hazards and meet specific entry/exit requirements.

- Laboratory personnel must be provided medical surveillance, as appropriate, and offered available immunizations for agents handled or potentially present in the laboratory.

- BMBL recommends that each institution should consider the need for collection and storage of serum samples from at-risk personnel. In consultation with Occupational Medicine, Penn State has decided that this practice is not necessary at this time.

- A laboratory-specific biosafety manual must be prepared and adopted as policy. The biosafety manual must be available and accessible. At Penn State, completion of the Unit Specific Plan serves this function.

- The laboratory supervisor must ensure that laboratory personnel demonstrate proficiency in standard and special microbiological practices before working with BSL-2 agents.

- Potentially infectious materials must be placed in a durable, leak proof container during collection, handling, processing, storage, or transport within a facility.

- Laboratory equipment should be routinely decontaminated, as well as after spills, splashes, or other potential contamination.

  - Spills involving infectious materials must be contained, decontaminated, and cleaned up by lab personnel properly trained and equipped to work with infectious material.

- Equipment must be decontaminated before repair, maintenance, or removal from the laboratory.

- Incidents that may result in exposure to infectious materials must be immediately evaluated by Occupational Medicine or another appropriate medical professional. All such incidents must be reported to the laboratory supervisor and a First Report of Injury completed. Medical evaluation, surveillance, and treatment should be provided as appropriate, and appropriate records maintained.

- Animals and plants not associated with the work being performed must not be permitted in the laboratory.

- All procedures involving the manipulation of infectious materials that may generate an aerosol should be conducted within a BSC or other physical containment devices.

#### Safety Equipment (Primary Barriers and Personal Protective Equipment)

    - Properly maintained BSCs, other appropriate PPE, or other physical containment devices must be used whenever:

  - Procedures with a potential for creating infectious aerosols or splashes are conducted. These may include pipetting, centrifuging, grinding, blending, shaking, mixing, sonicating, opening containers of infectious materials, inoculating animals intranasally, and harvesting infected tissues from animals or eggs.

  - High concentrations or large volumes of infectious agents are used. Such materials may be centrifuged in the open laboratory using sealed rotor heads or centrifuge safety cups.

    - Protective laboratory coats, gowns, smocks, or uniforms designated for laboratory use must be worn while working with hazardous materials. Remove protective clothing before leaving the laboratory. Dispose of protective clothing appropriately, or deposit it for laundering. Laboratory clothing must not be taken home.

    - Eye and face protection (goggles, mask, face shield or other splatter guard) is used for anticipated splashes or sprays of infectious or other hazardous materials when the microorganisms must be handled outside the BSC or containment device. Eye and face protection must be disposed of with other contaminated laboratory waste or decontaminated before reuse. Persons who wear contact lenses in laboratories should also wear eye protection.

    - Gloves must be worn to protect hands from exposure to hazardous materials. Glove selection should be based on an appropriate risk assessment. Alternatives to latex gloves should be available. Gloves must not be worn outside the laboratory. In addition, BSL-2 laboratory personnel should:

  - Change gloves when contaminated, glove integrity is compromised, or when otherwise necessary.

  - Remove gloves and wash hands when work with hazardous materials has been completed and before leaving the laboratory.

  - Not wash or reuse disposable gloves. Dispose of used gloves with other contaminated laboratory waste. Hand washing protocols must be rigorously followed.

- Eye, face, and respiratory protection should be used in rooms containing infected animals as determined by an Animal Biohazard Protocol approved by EHS and ARP.

#### Laboratory Facilities (Secondary Barriers)

- Laboratory doors should be self-closing and secured.

- Laboratories must have a sink for hand washing. The sink may be manual, hands-free, or automatically operated. It should be located near the exit door.

- The laboratory should be designed so that it can be easily cleaned and decontaminated. Carpets and rugs in laboratories are not permitted.

- Laboratory furniture must be capable of supporting anticipated loads and uses. Spaces between benches, cabinets, and equipment should be accessible for cleaning.

  - Bench tops must be impervious to water and resistant to heat, organic solvents, acids, alkalis, and other chemicals.

  - Chairs used in laboratory work must be covered with a non-porous material that can be easily cleaned and decontaminated with appropriate disinfectant.

- Laboratory windows that open to the exterior are not recommended. However, if a laboratory does have windows that open to the exterior, they must be fitted with screens.

- BSCs must be installed so that fluctuations of the room air supply and exhaust do not interfere with proper operations. BSCs should be located away from doors, windows that can be opened, heavily traveled laboratory areas, and other possible airflow disruptions.

- Vacuum lines should be protected with liquid disinfectant traps.

- An eyewash station must be readily available.

- There are no specific requirements for ventilation systems. However, planning of new facilities should consider mechanical ventilation systems that provide an inward flow of air without recirculation to spaces outside of the laboratory.

- HEPA filtered exhaust air from a Class II BSC can be safely recirculation back into the laboratory environment if the cabinet is tested and certified at least annually and operated according to manufacturer’s recommendations. BSCs can also be connected to the laboratory exhaust system by either a thimble (canopy) connection or directly exhausted to the outside through a hard connection. Provisions to assure proper BSC performance and air system operation must be verified.

- A method for decontaminating all laboratory wastes should be available in the facility (e.g., autoclave, chemical disinfection, incineration, or other validated decontamination method), as per Safety Policy SY29: Infectious Waste Disposal, discussed further in Section 11.4.

### Biosafety Level 3

BSL-3 work must be conducted in accordance with the facility safeguards, standard microbiological practices, special practices, and safety equipment described in BMBL.

BSL-3 is applicable to clinical, diagnostic, teaching, research, or production facilities in which work is done with indigenous or exotic agents that may cause serious or potentially lethal disease as a result of exposure by inhalation. Laboratory personnel have specific training in handling pathogenic and potentially lethal agents, and are supervised by scientists experienced in working with these agents.

All procedures involving the manipulation of infectious materials are conducted within BSCs or other physical containment devices, and by personnel wearing appropriate PPE. The laboratory has special engineering and design features such as access zones, sealed penetrations, and directional airflow.

Many laboratories may not have all the facility safeguards recommended for BSL-3. In these circumstances, acceptable safety may be achieved for routine or repetitive operations (e.g., diagnostic procedures involving the propagation of an agent for identification, typing, and susceptibility testing) in BSL-2 facilities. However, the recommended standard microbiological practices, special practices, and safety equipment for BSL-3 must be rigorously followed.

### Biosafety Level 4

Use of biological agents requiring BSL-4 containment practices at Penn State is not currently permitted.

## Human Blood, Blood Products, and Other Potentially Infectious Materials

Penn State complies with the OSHA Occupational Exposure to Bloodborne Pathogens Standard found in 29 CFR 1910.1030. The information in this section summarizes the requirements of the standard, as they apply to laboratory and research groups. The full Bloodborne Pathogen Program is available from EHS.

The standard applies to personnel who, during the performance of their duties, could be “reasonably anticipated” to come into contact with blood or other potentially infectious material (OPIM) including:

- Blood (human blood, human blood components, and products made from human blood)

- The following human body fluids:

- amniotic fluid

- cerebrospinal fluid

- pericardial fluid

- peritoneal fluid

- pleural fluid

- saliva (in dental procedures)

- semen

- synovial fluid

- vaginal secretions

- any body fluid that is visibly contaminated with blood

- all body fluids in situations where it is difficult or impossible to differentiate between body fluids

- Any unfixed tissue or organ (other than intact skin) from a human, living or dead.

- Human Immunodeficiency Virus (HIV)-containing cell, tissue, or organ cultures; HIV or Hepatitis B virus (HBV) containing culture medium or other solutions; and blood, organs, or other tissues from experimental animals infected with HIV or HBV.

As the list above demonstrates, many fluids from humans, not just blood, fall under the Bloodborne Pathogen Program. OPIM is assumed to present the same hazards as blood. They must be handled safely and research groups are required to follow Penn State’s Exposure Control Plan, discussed below.

Occupational exposure means reasonably anticipated skin, eye, mucous membrane, or parenteral contact with blood or OPIM that may result from the performance of a person’s duties.

While the Bloodborne Pathogens Standard references HIV and HBV specifically, blood and OPIM can contain multiple other bloodborne pathogens. Appropriate safe handling of blood and OPIM can help prevent exposure to a number of potential bloodborne pathogens, including HIV and HBV.

### Exposure Control Plan

Penn State has an Exposure Control Plan, which aids in identifying and controlling exposures to blood and OPIM. The Exposure Control Plan defines the scope of the program, provides definitions, explains the exposure determination process, lists methods of compliance with the standard, and provides information on post-exposure evaluation and training. The Exposure Control Plan is reviewed and updated at least annually as well as whenever necessary to reflect new or modified tasks and procedures that affect occupational exposure and new or revised personnel positions with occupational exposure.

The Exposure Control Plan is not a substitute for, nor does it replace the requirement for a Unit Specific Plan.

### HIV and HBV Research Laboratories

In the Bloodborne Pathogen standard, a research laboratory is defined as a laboratory using research-laboratory-scale amounts of HIV or HBV. Research laboratories may use high concentrations of HIV or HBV but not in the volume found in production facilities. A laboratory working with human blood or other potentially infectious materials containing clinical levels of HIV or HBV is not considered an HIV/HBV research laboratory. Although compliance with most of the standard is required, most laboratories will not be subject to the additional requirements for HIV/HBV research laboratories.

HIV and HBV research laboratories are subject to regulations that are more stringent. Contact EHS if you are unsure whether your research falls into this category and for information about additional requirements for these facilities.

### Universal Precautions

The practice of universal precautions is an approach to infection control in which all human blood and OPIM are treated as if known to be infectious for HIV, HBV, and other bloodborne pathogens.

Universal precautions shall be observed to prevent contact with blood or OPIM. When it is difficult or impossible to differentiate between fluid types, universal precautions shall be observed.

### Engineering Controls and Work Practices

Engineering controls are controls that isolate or remove the bloodborne pathogens hazard from the workplace. Examples are sharps containers and self-sheathing needles. Work practices are controls that reduce the likelihood of exposure by altering the manner in which a task is performed. If a likelihood of occupational exposure remains even when engineering and work practice controls are in place, then PPE shall also be used. Human blood, blood products, and OPIM shall be used with BSL-2 work practices, containment, and facilities.

- Handwashing. The department shall provide readily accessible handwashing facilities or, if this is not feasible, an appropriate antiseptic hand cleanser and clean cloth or paper towels. In either case, personnel shall wash hands with soap and running water as soon as feasible after possible exposure.

The PI shall ensure that personnel wash hands immediately or as soon as feasible after removing gloves or other PPE and that personnel wash hands and any other skin with soap and water, or flush mucous membranes with water, immediately or as soon as feasible following contact of such body areas with potentially infectious materials.

- Needles and Sharps. Immediately after use, contaminated sharps shall be placed in sharps containers that are puncture-resistant, labeled and color coded, and leakproof.

Immediately or as soon as possible after use, contaminated reusable sharps shall be placed in appropriate containers until properly reprocessed. Reusable sharps that are contaminated with blood or OPIM shall not be stored or processed in a manner that requires personnel to reach by hand into the containers where these sharps have been placed.

Contaminated needles and other contaminated sharps shall not be bent, recapped, or removed except as noted below. Shearing or breaking contaminated needles is prohibited.

Recapping or removal of contaminated sharps carries a high potential risk of injection. Exceptions to the ban on recapping or removal of needles and sharps shall be discussed with EHS prior to work being performed. Any recapping or removal must be accomplished using a mechanical device or a one-handed technique.

- Eating, Drinking, Smoking, etc. Eating, drinking, smoking, applying cosmetics or lip balm, and handling contact lenses are prohibited in work areas with a reasonable likelihood of occupational exposure. Food and drink shall not be kept in refrigerators, freezers, shelves, or cabinets or on countertops or benchtops where blood or OPIM are present.

- Splashing, Spraying, Spattering. All procedures involving blood or OPIM shall be performed so as to minimize splashing, spraying, spattering, and generation of droplets.

- Mouth Pipetting. Mouth pipetting is strictly prohibited.

- Specimen Containers. The standard includes detailed requirements for specimen containers. In general, specimens of blood or OPIM shall be placed in a container that prevents leakage during collection, handling, processing, storage, transport, or shipping. Secondary containers are used when the outside of the primary container may be contaminated and when puncture of the primary container is possible. Storage, transport, or shipping containers are closed and labeled; the label should include the biohazard symbol. Color-coded containers should be red or orange.

- Potentially Contaminated Equipment. Any equipment to be serviced or shipped that may be contaminated shall be examined prior to servicing or shipping and decontaminated as necessary. If decontamination is not feasible, then the equipment shall be clearly labeled as to which portions remain contaminated. The department is obligated to communicate this information clearly to lab personnel, service personnel, and manufacturers as appropriate.

- Other Engineering Controls. Other engineering controls include BSCs (e.g., tissue culture hoods). Engineering controls shall be examined and maintained on a regular schedule.

BSCs shall be certified on installation, whenever they are moved, and annually thereafter. Certification shall be in accordance with National Sanitation Foundation Standard Number 49 or manufacturers specifications.

### Personal Protective Equipment

- Responsibility. The PI shall provide or ensure provision of appropriate PPE to all lab personnel who are subject to occupational exposure to human blood or OPIM. PPE is provided at no cost to personnel. Appropriate PPE does not permit blood or OPIM to pass through to or reach street clothes. Examples of such PPE include gloves, gowns, laboratory coats, head and foot coverings, face shields, masks, eye protection, and other ventilation devices.

The PI shall either directly or by delegation ensure that all personnel use PPE when warranted.

- Availability. PPE in appropriate sizes shall be available in the work area or issued to personnel. Hypoallergenic gloves or similar alternatives shall be readily available to those allergic to the gloves normally provided.

- Maintenance. The PI shall ensure that PPE be cleaned, laundered, or disposed of at no cost to the personnel. PPE shall be repaired or replaced as needed to maintain its effectiveness.

- Gloves. Gloves shall be worn when it is reasonably anticipated that personnel may have hand contact with blood, OPIM, mucous membranes, or nonintact skin as well as when personnel perform vascular access procedures and handle or touch contaminated items or surfaces.

Disposable gloves shall be replaced as soon as practical when contaminated or when torn, punctured, or otherwise compromised in their ability to function as a barrier.

Utility gloves (nondisposable gloves) may be decontaminated for reuse provided the integrity of the glove is not compromised. They must be discarded if they are cracked, peeling, torn, or punctured, or exhibit other signs of deterioration.

Gloves shall be removed prior to leaving the work area.

For specific regulations related to phlebotomy, see the OSHA standard or contact EHS.

- Masks, Eye Protection, and Face Shields. Masks in combination with eye protection (such as goggles or glasses with solid side shields) or chin-length face shields shall be worn whenever splashes, spray, spatter, or droplets of blood or OPIM may be generated and eye, nose, or mouth contamination can be reasonably anticipated.

- Gowns, Aprons, and Other Protective Body Clothing. Appropriate protective body clothing shall be worn in occupational exposure situations. When gross contamination can be anticipated, surgical caps or hoods and shoe covers should be worn. Contaminated clothing shall not be worn outside the work area.

### Housekeeping

  - Responsibility. The PI is responsible for ensuring that the work area shall be maintained in a clean and sanitary condition.

  - Cleaning. All equipment and environmental and working surfaces shall be cleaned and decontaminated with an appropriate disinfectant after contact with blood or OPIM. Contaminated work surfaces shall be decontaminated after completion of procedures, immediately or as soon as feasible after any contamination of surfaces or any spill of blood or OPIM, and at the end of the work shift if the surface may have become contaminated since the last cleaning.

Protective coverings such as plastic-backed absorbent paper shall be removed and replaced as soon as feasible when they become overtly contaminated or at the end of the work shift if they may have become contaminated during the shift.

All bins, pails, cans, and similar receptacles intended for reuse that have a reasonable likelihood of becoming contaminated shall be inspected and decontaminated on a regularly scheduled basis. They shall be cleaned or decontaminated immediately or as soon as feasible if there is visible contamination.

Chemical disinfectants are listed in Table 8.1 with their usage parameters, applications, and the organisms for which they are effective. Any of the disinfectants listed are effective for bloodborne pathogens. Purchased disinfectants are recommended if their parameters meet those described. If other disinfectant materials are used, they are to be listed in the Unit Specific Plan.

  - Broken Glassware. Broken glassware shall not be picked up directly with the hands. It shall be cleaned up using mechanical means, such as a brush or dustpan, vacuum cleaner, tongs, or forceps.

### Laundry

a.	Instructions. Contaminated laundry shall be handled as little as possible and with a minimum of agitation. It shall be placed in bags or containers at the point of use. It shall not be sorted or rinsed at the location of use. The bags or containers shall be labeled with the biohazard symbol and color-coded (red or orange). The bag or container shall be constructed to prevent soak-through or leakage.

The PI shall ensure that personnel who handle contaminated laundry shall wear protective gloves and other appropriate PPE.

Whenever possible, contaminated laundry is disinfected or sterilized prior to submission to the laundry service for cleaning. Contaminated sharps shall never be included with laundry. Contaminated laundry is never washed with an individual's personal belongings or sent to a laundry service without notice of the hazards. See section 6.3.3.3 for more information.

### Hepatitis B Vaccination and Postexposure Evaluation and Follow-up

- Responsibility. Penn State is responsible for making the HBV vaccine and vaccination series available to all personnel who have occupational exposure and for making post-exposure evaluation and follow-up available to all personnel who have sustained an exposure incident. All laboratory tests shall be conducted by an accredited laboratory at no cost to the individual.

- Hepatitis B Vaccination. HBV vaccination shall be made available after personnel have received the training required in this document section and within 10 working days of initial assignment to all personnel who have occupational exposure, unless they have previously received the complete HBV vaccination series, antibody testing has revealed that the person is immune, or the vaccine is contraindicated for medical reasons. Participation by personnel in a prescreening program shall not be a prerequisite for receiving HBV vaccination.

Vaccinations are provided through Occupational Medicine. HBV vaccination programs have been established on each campus. Contact EHS for specific instructions.

- Postexposure Evaluation and Follow-up. Following a report of an exposure incident, the PI shall ensure that a confidential medical evaluation and follow-up are made available to the exposed individual.

- Medical Records. Occupational Medicine shall ensure that an accurate record is maintained for each person with occupational exposure. Medical records shall be kept confidential and shall not be disclosed or reported to any person without the person’s express written consent except as required by the OSHA standard and by law. These medical records shall be maintained for at least the duration of employment plus 30 years.

### Communication of Hazard: Labels

Warning labels are required on refrigerators and freezers containing blood or OPIM, other containers used to store, transport, or ship blood or OPIM, and containers of biohazardous waste (including red or orange biohazardous waste bags). The labels shall include the biohazard symbol and the word "biohazard."

### Communication of Hazard: Information and Training

  - Responsibility. The PI is responsible for ensuring that all personnel with potential occupational exposure participate in Penn State’s Bloodborne Pathogens training program, which must be provided during working hours at no cost to the employee.

  - Schedule. Training shall be provided at the time of initial assignment to tasks where occupational exposure may take place and at least annually thereafter. The annual training shall be provided within one year of previous training.

  - Content. Penn State’s Bloodborne Pathogens training program meets the requirements of the Bloodborne Pathogens Standard.

  - Additional Training. The PI shall ensure that personnel receive additional training when changes, such as modifications of tasks and procedures or institution of new tasks or procedures, affect the person’s occupational exposure.

  - Records. EHS shall maintain training records that shall be kept in the department for three years from the date on which the training occurred. Training records shall be provided to employees and to employee representatives on request for examination and copying.

## Recombinant or Synthetic Nucleic Acid Activities

Research using recombinant or synthetic nucleic acids shall comply with the NIH’s "Guidelines for Research Involving Recombinant DNA Molecules" (NIH Guidelines) and Research Protections Policy RP11: Use of Regulated and Biohazardous Materials in Research and Instruction. The NIH Guidelines are applicable to all recombinant DNA research conducted at or sponsored by an institution that receives any support from NIH for recombinant DNA research. The purpose of the NIH Guidelines is to specify practices for constructing and handling recombinant DNA molecules, and organisms and viruses containing recombinant DNA molecules. The IBC is responsible for implementing the NIH Guidelines and overseeing recombinant DNA research.

NIH defines recombinant DNA molecules as:

- molecules that are constructed outside living cells by joining natural or synthetic DNA segments to DNA molecules that can replicate in a living cell

- molecules that result from the replication of those described above.

PIs planning research that will use recombinant or synthetic nucleic acids shall contact ORP for information and appropriate registration forms. The PI shall prepare registration documents according to the nature of the research.

In general, the containment and handling practices to be used for recombinant DNA research shall follow those described for biosafety levels in BMBL. However, the NIH Guidelines take precedence.

Synthetic DNA segments which are likely to yield a potentially harmful polynucleotide or polypeptide (e.g., a toxin or a pharmacologically active agent) are considered as equivalent to their natural DNA counterpart. If the synthetic DNA segment is not expressed in vivo as a biologically active polynucleotide or polypeptide product, it is exempt from the NIH Guidelines. Genomic DNA of plants and bacteria that have acquired a transposable element, even if the latter was donated from a recombinant vector no longer present, are not subject to the NIH Guidelines unless the transposon itself contains recombinant DNA.

## Biological Spills

A spill of biological material shall be followed by prompt action to contain and clean up the spill. When a spill occurs, warn everyone in the area and call for assistance as needed. The degree of risk involved in the spill depends on the volume of material spilled, the potential concentration of organisms in the material spilled, the hazard of the organisms involved, the route of infection of the organisms, and the diseases caused by the organisms.

Spills of biological agents can contaminate areas and lead to infection of personnel. Prevention of exposure is the primary goal in biological spill containment and cleanup, exactly as in chemical spills. In evaluating the risks of spill response, generation of aerosols or droplets is a major consideration.

Like chemical spills, as discussed in section 7.3.2.2, biological spills can be categorized into three broad categories: simple spills, moderate spills, and large or emergency spills. Regardless of size or details of a spill, never hesitate to call for assistance if you are unsure of how to handle or clean up a spill.

- Simple spills – These spills are of small quantities, fully contained within a small area, have not entered floor drains, require no evacuation, and are easily cleaned up by trained lab personnel. They present minimal risk and do not require outside assistance to clean up. Simple spills are not required to be reported to EHS. Labs should have on hand an appropriate disinfectant to clean up small spills of material they generally work with.

- Moderate spills – These spills may be larger in quantity, may require outside assistance to contain, or may involve room or local evacuation. Moderate spills must be reported to EHS as soon as possible as they may require regulatory reporting.

- Large, high-hazard, or emergency spills – These spills are defined as large quantity spills, spills of high hazard materials, or releases that create an emergency situation due to possible explosion, fire, etc. They may spread rapidly, involve injury or could endanger people, present an inhalation hazard, or could endanger the environment. These are emergency spills that will likely involve either HazMat or contractor assistance for clean-up and possibly require regulatory reporting.

If an incident generates droplets or aerosols in the laboratory, especially if the agent involved requires containment at BSL-2 or higher, the room shall be evacuated immediately. These types of spills are considered either moderate or large or emergency spills. Doors shall be closed and clothing decontaminated. Contact EHS to supervise the cleanup. In general, a 30-minute wait is sufficient for the droplets to settle and aerosols to be reduced by air changes. Longer waiting periods may be imposed depending on the specifics of the situation. Laboratory personnel and/or EHS must exercise judgment as to the need for outside emergency help in evacuation.

If a spill of a biological agent requiring containment at BSL-2 or higher occurs in a public area, evacuation of the area shall be immediate. The PI shall be responsible for designating the extent of evacuation until EHS or emergency personnel arrive. Prevention of exposure to hazardous aerosols is of primary importance.

Anyone cleaning a spill shall wear appropriate PPE to prevent exposure to organisms. PPE may include a laboratory coat, shoe covers, gloves, and possibly respiratory protection. An air-purifying negative-pressure respirator with HEPA filter cartridges is generally adequate protection against inhalation of most biological agents. However, spill clean up that requires respiratory protection is generally considered an emergency spill that requires assistance from EHS or emergency responders to handle.

### Sterilization, Disinfection, and Decontamination

An appropriate chemical disinfectant should be chosen that is effective against the organisms involved in the spill (Table 8.1). The EPA recognizes the following categories of chemical germicides (a germicide is an agent that kills pathogenic organisms). The information in this section is drawn from Protection of Laboratory Workers from Infectious Disease Transmitted by Blood, Body Fluids, and Tissue, Tentative Guideline, NCCLS Document M29-T, Vol. 9, No.1 (National Committee for Clinical Laboratory Standards, November, 1988).

- Sterilizer or Sterilant: An agent intended to destroy all microorganisms and their spores on inanimate surfaces.

- Disinfectant: An agent intended to destroy or irreversibly inactivate specific viruses, bacteria, or pathogenic fungi, but not necessarily their spores, on inanimate surfaces. Most disinfectants are not effective sterilizers.

- Hospital Disinfectant: An agent shown to be effective against specific organisms such as Pseudomonas aeruginosa, Salmonella choleraesuis, and Staphylococcus aureus. It may also be effective against other organisms and some viruses. The labels of all commercially available hospital disinfectants contain a claim (which must be documented) of effectiveness for specific agents.

- Antiseptic:  A chemical germicide formulated for use on skin or tissue. Antiseptics should not be used as disinfectants.

- Decontamination: A procedure that eliminates or reduces microbial contamination to a safe level with respect to the transmission of infection. Sterilization and disinfection procedures are often used for decontamination.

The OSHA Bloodborne Pathogens Standard requires that all equipment and environmental and working surfaces shall be cleaned and decontaminated after contact with blood or OPIM. The standard also requires decontamination of contaminated work surfaces after completion of procedures, immediately or as soon as feasible after any overt contamination of surfaces or any spill of potentially infectious material, and at the end of the work shift if the work surface has become contaminated. All reusable equipment shall be decontaminated immediately or as soon as feasible upon visible contamination.

A few things should be noted prior to attempting to sterilize, disinfect, or decontaminate any items or surfaces.

- A higher organic load will make decontamination, disinfection, or sterilization considerably more difficult. Adequate pre-cleaning is important and should be done prior to applying any germicide.

- Due to their very nature, many germicides are also hazardous chemicals. They must be handled appropriately, used in a safe manner, with appropriate engineering controls, work practices, and PPE. For many of these chemicals, ensure appropriate and adequate ventilation.

- The properties of the item or surface being cleaned are just as important as the properties of the germicide being used. For example, ten minutes of exposure to a disinfectant may not be adequate to disinfect objects that have narrow channels or other areas that can harbor microorganisms.

- As with all chemical safety, always ensure that the germicide you choose to use is compatible with what it is being added to. For example, NEVER use bleach (or other chlorine containing compounds) to disinfect ammonia containing solutions.

In general, alcohols are effective at killing HBV but are not recommended for this purpose because of their rapid evaporation and the consequent difficulty of maintaining proper contact times.

Chlorine compounds are probably the most widely used disinfectants in the laboratory. An inexpensive, broad-spectrum disinfectant for use on bench tops and similar surfaces can be prepared by diluting common household bleach (which is a 5.25% sodium hypochlorite solution) to obtain at least 500 ppm of free available chlorine. A 1:100 dilution of commercial bleach produces a solution containing 500 ppm free chlorine (approximately 1% bleach solution). Subject to the judgment of lab personnel, large spills of cultured or concentrated infectious agents should first be flooded or mixed with a more concentrated disinfectant. In this case, use a 1:10 dilution of commercial bleach, which produces a solution containing 5000 ppm of free chlorine.

Make bleach solutions fresh each day. Be aware that chlorine compounds may corrode metals, especially aluminum. While a 10% household bleach solution is a commonly used decontaminant concentration, it is probably stronger than necessary for ordinary uses. Therefore, the use of higher concentrations of bleach in chemical fume hoods should be reserved for significant contamination.

Formaldehyde is an OSHA-regulated chemical that is a suspect carcinogen. Its use as a disinfectant is not recommended.

Iodophors that are registered with the EPA may be effective hard-surface decontaminants when used per the manufacturer's instructions. Iodophors formulated as antiseptics are not suitable for use as disinfectants.

Quaternary ammonium compounds are low-level disinfectants and are not recommended for spills of human blood, blood products, or OPIM.

Table 8.1	Summary of Practical Disinfectants

Note: 	+ denotes applicable or effective

blank denotes not applicable

NE – Not Effective

a. Available halogen.

b. Variable results dependent on virus.

c. Protected from light and air.

d. Neither flammable nor explosive in 90% CO2 or fluorinate hydrocarbon, the usual use form.

e. At concentrations of 7-73% by volume in air, solid-exposure to open flame.

f. Usually compatible, but consider interferences from residues and effects on associated materials, such as mounting adhesives.

g. By skin or mouth or both – refer to manufacturer’s literature and/or Merck Index.

h. Space limitations preclude listing all products available. Individual listings (or omissions) do not imply endorsement or rejection of any product by NIH.

Examples of Proprietary Disinfectants h

Quaternary Ammonia Compounds: A-33, CDQ, End-Bac, Hi-Tor, Mikro-Quat

Phenolic Compounds: Hi-Phene, Matar, Mikro-Bac, O-Syl

Chlorine Compounds: Choramine T, Clorox, Purex

Iodophor: Hy-sine, Ioprep, Mikroklene, Wescodyne

Formaldehyde: Sterac

Glutaraldehyde: Cidex

Ethylene Oxide: Carboxide, Cryoxicide, Steroxcide

* Must be preapproved by EHS prior to use or hiring a contractor to perform the work.

Adapted from “Safety by Design” 2015 Biosafety Monograph, NIH.

|  |  | DISINFECTANTS |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LIQUID |  |  |  |  |  |  | GAS* |  |
|  |  | Quaternary Ammonia Compounds | Phenolic Compounds | Chlorine Compounds | Iodophor | Alcohol, Ethyl & Isopropyl | Formal-dehyde | Glutaral-dehyde | Ethylene Oxide | Paraformal-dehyde |
| Practical Requirements | Use Dilution | 0.1-2.0% | 1.0%-5.0% | 500 ppm a | 25-1600 ppm a | 70 -85% | 0.2-8.0% | 2% | 8 – 23 g/ft3 | 0.3 g/ft3 |
|  | Contact time (min) – Lipovirus | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 60 | 60 |
|  | Contact time (min) – Broad Spectrum | NE | NE | 30 | 30 | NE | 30 | 30 | 60 | 60 |
|  | Temperature (°C) |  |  |  |  |  |  |  | 37 | 30 |
|  | Relative Humidity, % |  |  |  |  |  |  |  | > 23 | > 60 |
| Inactivates | Vegetative Bacteria | + | + | + | + | + | + | + | + | + |
|  | Lipoviruses | + | + | + | + | + | + | + | + | + |
|  | Nonlipid Viruses |  | b | + | + | b | + | + | + | + |
|  | Bacterial Spores |  |  | + | + |  | + | + | + | + |
| Important Characteristics | Effective Shelf Life > 1 week c | + | + |  | + | + | + | + |  |  |
|  | Corrosive |  | + | + | + |  |  |  |  |  |
|  | Flammable |  |  |  |  | + |  |  | + d | + e |
|  | Explosion Potential |  |  |  |  |  |  |  | + d | + e |
|  | Residue |  | + | + | + |  | + | + |  |  |
|  | Inactivated by Organic Matter | + |  | + | + |  |  |  |  |  |
|  | Compatible for Optics f | + |  |  |  |  |  | + | + | + |
|  | Compatible for Electronics |  |  |  |  |  |  |  | + | + |
|  | Skin Irritant | + | + | + | + |  | + | + | + | + |
|  | Eye Irritant | + | + | + | + | + | + | + | + | + |
|  | Respiratory Irritant |  |  | + |  |  |  |  | + | + |
|  | Toxic g | + | + | + | + | + | + | + | + | + |
| Potential Applications | Work Surfaces | + | + | + | + | + | + | + |  |  |
|  | Dirty Glassware | + | + | + | + | + | + | + |  |  |
|  | Large Area Decontamination |  |  |  |  |  |  |  |  | + |
|  | Air Handling Systems |  |  |  |  |  |  |  |  | + |
|  | Portable Equipment Surface Decontamination | + | + | + | + | + | + | + |  |  |
|  | Portable Equipment Penetrating Decontamination |  |  |  |  |  |  |  | + | + |
|  | Fixed Equipment Surface Decontamination | + | + | + | + | + | + | + |  |  |
|  | Fixed Equipment Penetrating Decontamination |  |  |  |  |  |  |  |  | + |
|  | Optical and Electronic Instruments |  |  |  |  |  |  |  | + | + |
|  | Liquids for Discard |  |  | + |  |  |  |  |  |  |
|  | Books, Papers |  |  |  |  |  |  |  | + |  |

### Decontamination of Spills

The following procedure is recommended for decontaminating spills of agents used at BSL-2 and for human blood, body fluids, and OPIM.

  - Wear gloves and a laboratory coat or gown. Heavyweight, puncture-resistant utility gloves, such as those used for housecleaning and dishwashing, are recommended.

  - Do not handle sharps with the hands. Clean up broken glass or other sharp objects with sheets of cardboard or other rigid, disposable material. If a broom and dustpan are used, they must be decontaminated later.

  - Avoid generating aerosols by sweeping.

  - Absorb the spill. Most disinfectants are less effective in the presence of high concentrations of protein or other organic material, so absorb the bulk of the liquid before applying disinfectants. Use disposable absorbent material such as paper towels. After absorption of the liquid, dispose of all contaminated materials as regulated medical waste, discussed in Section 11.4.

  - Clean the spill site of all visible spilled material using an aqueous detergent solution (e.g., any household detergent). Absorb the bulk of the liquid to prevent dilution of the disinfectant.

  - Disinfect the spill site using an appropriate disinfectant, such as a household bleach solution. Flood the spill site or wipe it down with disposable towels soaked in the disinfectant. Allow the disinfectant to sit for the appropriate contact time.

  - Absorb the disinfectant or allow it to dry.

  - Perform final cleaning of the spill site. Residue of some disinfectants can be hazardous in contact with skin. Clean up any remaining disinfectant residue with soap and water, or rinse the spill site with water.

  - Dispose of all contaminated materials properly. Place them in a biohazard bag or other leakproof, labeled biohazard container for sterilization.

### Biological Spill in the Open Laboratory

For a spill in the open laboratory outside a BSC, the spill response depends on the size of the spill and hazard of the material. A minimally hazardous material spilled without generating appreciable aerosols can be cleaned with a paper towel soaked in a disinfectant.

If a spill of a larger volume of hazardous material that could generate an aerosol occurs, evacuate the room and contact EHS.

### Biological Spill Within a Biological Safety Cabinet

A spill that is confined within a BSC generally presents little or no hazard to personnel in the area. However, chemical disinfection procedures are to be initiated at once while the cabinet continues to operate. The disinfectant shall be one that is active against the organisms of potential hazard. Flammable liquids, such as ethanol or isopropanol, shall not be used, even if effective, because of the fire hazard of generating dangerous vapor concentrations within the cabinet that could be ignited by an electrical spark or other source.

Spray or wipe the walls, work surfaces, and equipment with the chosen disinfectant. Allow the disinfectant to remain on the surface for the appropriate contact time (refer to Table 8.1 for recommended contact times). Minimize the generation of aerosols and use sufficient disinfectant to ensure that drain pans and catch basins below the work surface contain disinfectant. The front exhaust shall also be wiped and the disinfectant drained into a container.

### Biological Spill in a Centrifuge or Other Equipment

A biological spill in a centrifuge has the potential for producing large volumes of aerosols. Centrifuging certain biological agents requires additional engineering controls, such as aerosol tight lids, during operation of the centrifuge. SOPs for the use of these agents should include appropriate measures for normal centrifuge use, appropriate centrifuge safety precautions, and how to assess for the potential of broken tubes after centrifuging. Self sealing rotor heads or centrifuge safety cups help prevent the release of aerosols into the laboratory should a tube break during operation of the centrifuge.

On becoming aware that a spill may have occurred within a centrifuge, or other piece of equipment, turn off the equipment, warn others in the area, and notify the PI. Depending on the biological material, if a spill is found upon opening a centrifuge a room evacuation may be necessary to allow aerosols to settle first before following the decontamination principles described above. If a spill is evident without opening the centrifuge, keep the lid closed to allow aerosols to settle before opening. Consult the manufacturer’s guidance or owners manual to determine compatible disinfectants for the rotor that are also appropriate for the biological material in use.

### Biological Spill on a Person

If a biological material is spilled on a person, emergency response is based on the hazard of the material spilled, the amount spilled, and whether significant aerosols were generated. If aerosol formation is believed to have been associated with the spill, a contaminated person shall leave the contaminated area immediately. If possible, they should go to another laboratory area so that hallways and other public areas do not become contaminated.

Contaminated clothing should be removed and placed in red or orange biohazard bags for disinfecting. Contaminated skin shall be flushed with water and thoroughly washed with soap. Showering may be appropriate, depending on the extent of the spill. Seek medical care and follow the reporting requirements detailed in section 5.5.1.

# Research Involving Animals

Research involving animals introduces unique hazards, in addition to the biological, chemical, physical, and radiological hazards previously discussed. Information specific to the humane and ethical handling of laboratory animals is available through IACUC and Animal Resource Program (ARP), and is not duplicated here.

## Oversight of Research Involving Animals

Federal regulations require that the IACUC (section 3.6.1.1) review and approve, prior to the initiation of work, the use of vertebrate animals in research, testing, and teaching. At Penn State, this also includes work involving animals with vertebrate-like central nervous systems and higher-level invertebrates, including those in the Class Cephalopoda. ARP provides support and veterinary care services for animals at University Park and Commonwealth Campuses, excluding the College of Medicine.

At Penn State, work with lower invertebrate species, like brine fish, fruit flies, nematodes, mosquitos, etc., are generally not covered by the IACUC and ARP. However, many of the same safety principles still apply to the use of invertebrate animals.

## Hazards of Working with Animals

The hazards associated with the care and use of many common research animals includes physical hazards (bites, scratches, and kicks), allergens, zoonoses, and protocol related hazards (chemical, biological, and radiological).

### Physical Hazards

The most common hazard associated with the care and use of research animals are physical hazards such as:

- Bites

- Scratches

- Kicks

- Crushing or pinning injuries (large animals)

Researchers must be properly trained in animal handling, general restraint techniques, and environmental factors for the species they will work with. In addition, personnel should be familiar with first aid procedures specific to each species and the incident reporting process. For example, if working with venomous spiders, a procedure for treating a bite should be worked out well in advance of handling.

### Allergens

Allergic reactions to animals are among the most common conditions that adversely affect the health of personnel involved in the care and use of animals. The estimated prevalence of allergic symptoms in the general population of regularly exposed animal-care personnel ranges from 10% to 44%. An estimated 10% of personnel eventually develop occupation-related asthma, in some cases requiring them to find a new vocation. The risk of developing an allergy depends on many factors such as animal species contact, facility and ventilation design, and the researcher’s personal health status. Persons with pre-existing allergies such as allergic rhinitis (hay fever) are more likely to develop allergy to animals. These allergies usually manifest as nasal symptoms, itchy eyes, and rashes, but can be more severe in some cases.

Symptoms of an allergic reaction may vary and can include any of the following:

- Contact urticaria with symptoms such as skin redness, itchiness, welts, or “hives.”

- Allergic conjunctivitis with symptoms such as sneezing, eye itchiness, clear nasal drainage, or nasal congestion.

- Allergic rhinitis with symptoms such as sneezing, nose itchiness, clear nasal drainage, or nasal congestion.

- Asthma with symptoms such as cough, wheezing, chest tightness, or shortness of breath.

- Anaphylaxis with symptoms such as generalized itching, hives, throat tightness, eye or lip swelling, difficulty swallowing, hoarseness, shortness of breath, dizziness, fainting, nausea, vomiting, abdominal cramps, or diarrhea.

People may be allergic to any animal species. Animal allergens are proteins that are excreted in animals’ saliva, urine, and from various glands associated with the skin. The proteins tend to be sticky and become associated with the animal’s hair and with particles of dander. The allergens are unique to each species of animal, so it is possible to be allergic to one species but not another. It is also possible to be allergic to multiple species.

The most effective way to control and prevent allergies is to eliminate or minimize exposure to the allergens by:

- Using engineering controls, such as Individually Ventilated Caging (IVC), Animal Transfer Stations (ATS), BSCs, or downdraft or backdraft tables.

- Following established work practices, such as opening cages in ATSs or BSCs, wearing facility dedicated clothing, handwashing and showering after handling animals, and keeping cage and work areas clean.

- Wearing PPE such gloves, gowns, hair covers, shoe covers, respirators, and eye protection.

Personnel handling animals should contact Occupational Medicine (814-863-8492) if they experience shortness of breath; coughing; wheezing; skin problems; or eye burning, scratching or irritation when around animals. If personnel handling animals experience acute shortness of breath, call 911.

### Zoonoses

Zoonoses refer to any infectious disease that can be transmitted from animals (wild or domestic) to humans, or from humans to animals. People can be exposed to zoonoses in laboratories, farms, zoos, aquariums, veterinary hospitals, the field (wild), as well as from pets at home. The transmission of zoonotic disease in the laboratory-animal environment is generally uncommon because many laboratory species today are bred to be free of zoonoses and there is also ongoing veterinary screening of animals in the research setting which rapidly identifies any disease occurrence. However, laboratory and farm animals still can be infected with zoonotic agents, some of which can be life-threatening to humans. Field research with wild species remains an important source of exposure to zoonotic agents.

Learning about zoonotic diseases is an important part of working safely with research animals. Being aware of the potential zoonotic disease risks for the animals you will work with helps you to understand and implement safe work practices and procedures that can help prevent transmission of infectious agents between animals and humans. In addition, if you experience an illness that may be related to your animal work, it is important to be aware of zoonotic disease risk so you can notify medical professionals of your potential exposure to assist with proper diagnosis and treatment.

Although a normal, healthy adult may have only mild symptoms of a zoonotic disease, that person may unknowingly spread the disease to others, including family members, who may be susceptible to more serious consequences of infection, such as severe illness or death.

Some individuals may be at increased risk for zoonotic infection due to personal health status, such as during pregnancy or with immune compromised conditions (e.g., long-term steroid use, cancer or cancer therapies, kidney or liver disease, removal of spleen, diabetes, AIDS/HIV infection).

Symptoms and physiological effects may range from non-existent to life-threatening. Knowing the zoonoses associated with any given animal species, the route of exposure, and symptoms is beneficial in identifying and controlling potential exposure to these agents. Many biologic agents can cause zoonotic disease, including:

- Viruses: Hanta virus, Herpes B, Herpes simplex, Lymphocytic choriomeningitis virus (LCMV), measles, pox viruses, rabies

- Bacteria: Brucella, Campylobacter (gastrointestinal diseases), Chlamydia psittaci (psittacosis; a bird disease), Clostridium tetani (tetanus), Coxiella burnetti (Q fever), Erysipelothrix rhusiopathiae (a marine animal infection), Mycobacterium marinum (an aquatic infection), Mycobacterium tuberculosis, Rochalimaea henselae (cat scratch disease), Salmonella, Shigella, Streptobacillus moniliformis (rat bit fever)

- Fungi: dermatophytes (ringworm)

- Protozoans: Cryptosporidium, Entomaeba (gastrointestinal diseases), Giardia, Toxoplasma gondii (toxoplasmosis)

- Worms: Hymenolepis spp (tape worm)

- Arthropods: mites, mosquitos

Infectious agents may be present in body fluids and secretions such as blood, saliva, urine, feces, respiratory secretions, and in animal tissues. Exposure routes include:

- Respiratory (inhalation)

- Fecal/Oral (ingestion)

- Mucous membrane (eyes, nose, mouth)

- Parenteral (through breaks in the skin via cuts, bites, scratches, needle sticks, etc.)

If you are exposed through a bite, scratch, needle stick, aerosol droplet, mucosal secretion, feces, or urine, you should immediately notify your supervisor or PI and seek medical evaluation.

### Chemical Hazards

Laboratory animals may be potential sources of hazardous chemical exposure from metabolic products, wastes, cage litter, and contaminated cages. The preparation of food and water containing toxic substances under investigation shall be done with all precautions ordinarily taken to protect the health and safety of personnel. Precautions in administration of toxic substances, aerosol suppression, personal protection, and waste disposal shall be taken.

Anaesthetic agents used in laboratory animals may also pose hazards to researchers. These agents should be treated as hazardous chemicals. They may also present an increased risk to pregnant or nursing women.

Additionally, cage cleaning, disinfecting, and general care may introduction additional chemical hazards. As with all chemicals used in laboratory and research settings, personnel must be trained on the hazards of materials they may encounter in the course of animal care and handling. That training, like all laboratory and research safety training, should include measures personnel can take to eliminate or minimize exposure to hazards.

### Biological Hazards

Animal studies involving the use of hazardous biological agents represent special problems in containment. Policies and operational practices governing the use of animal containment facilities are under the direction of the IACUC and the ARP. In general, the practices for Animal Biosafety Levels (ABSL) presented in BMBL are followed.

Experiments involving the use of infectious biological agents in animals are generally conducted in containment facilities. Research in laboratory facilities shall be reviewed and approved, prior to the initiation of work, by both IBC and IACUC.

### Radiological Hazards

Research with animals that includes any radiological hazards such as radioisotopes, X-rays, lasers, etc., may require approval from IBC, IUC, and IACUC prior to the initiation of work.

## Guidelines for Use of Invertebrate Animals

Much like other animal work, work with invertebrates can pose not only hazards from handling the invertebrates themselves, but also hazards from field collections, and chemicals and biologicals used in the course of research.

When planning research that will involve the use of invertebrate animals, planning must include measures to protect human health, especially when working with venomous species, disease vectors, or parasitic organisms. Appropriate tools for handling and PPE can help to mitigate these hazards.

When planning experiments using invertebrate animals, consider the following:

- how to properly train research personnel

- what appropriate husbandry practices exist

- health monitoring and record keeping

- species interactions

- facility provisions and requirements

- occupational health and safety risks

- appropriate containment to prevent escape

- PPE

- Engineering controls

Genetic modification of invertebrates is covered by programs, policies, and procedures dictated by the ORP. These must be taken into account prior to starting work with invertebrates.

### Permits and Approvals for Collection and Maintenance of Invertebrate Collections

All federal, state, and local laws must be followed when obtaining and maintaining invertebrate animals. All appropriate permits must be obtained prior to obtaining animals from wild sources. In the US, Fish and Wildlife regulatory authorities in each state typically enforce requirements for collection permits and annual reports of animals collected from the wild. For at-risk, threatened, or endangered invertebrates or those listed by the Convention on International Trade in Endangered Species of Wild Fauna and Flora (CITES) there may be additional layers of permitting required.

Additionally, depending on the species and transport of organisms, APHIS permits may be required.

### Housing and Containment of Invertebrate Animals

Housing and appropriate containment must be included in the planning process. Research that includes the use of species exotic to the region where they are being used, where they may represent a threat to biodiversity or a direct disease or pest threat not only to other laboratory animals but also to agriculture and aquaculture, must include thorough containment planning to prevent escape. Many of these requirements are part of the APHIS permitting process.

### Hazards of Collecting Invertebrates

Field safety practices are important for anyone working outside, including those collecting invertebrates for research or teaching purposes. General field safety precautions include:

- Wearing appropriate attire for the weather and collection activities, including minimizing exposure to sun or wind burn

- Alerting others about travel plans and collection locations

- Developing a communications plan that takes into account location and availability of services

Anyone performing research work outside should also be aware of the hazards of local flora and fauna. In Pennsylvania, this may include measures to prevent tick bites, what to do if you encounter bears, how to avoid venomous snakes, and how to identify poison ivy. Collection activities in other areas may need to take into account other hazards specific to those locations, such as scorpions, fire ants, dangerous animals, insects, or spiders.

Personal health information may also be important to consider prior to outdoor collection activities. Allergies to common hazards, including poison ivy and bee stings, should be taken into account. Similarly, you may want to talk to your health care provider about ensuring that your tetanus booster is up to date (every 10 years).

### Beekeeping Safety

Research groups interested in beekeeping should contact EHS for proper handling and maintenance protocols and practices. Additionally, Pennsylvania Department of Agriculture regulations may apply.

The hazards of working with bees can include allergic reactions to bee stings, respiratory sensitivity, and burns/fire hazard from smoke, and heavy lifting from moving hives and hive components. People with known bee venom allergies must seek medical guidance about appropriate practices to follow if they must work with bees. If hive work and maintenance requires the use of a smoker, contact EHS to ensure proper practices are followed to prevent a fire. Fire extinguisher training may also be required. As with all other research work, accidents and incidents must properly be reported. This includes bee stings, bites and stings from other hazardous insects while working, other injuries, fires, or other events that cause physical damage to Penn State property. Depending on the location of hives, first aid training may be necessary and required.

When working with bees, recommended precautions include, but are not limited to:

- wearing light colored clothing with a smooth finish (though there are cautions against wearing yellow specifically) and covering as much of the body as possible

- avoiding perfume/cologne and perfumed body care products, especially banana-scented items, and avoiding eating bananas

- wearing clean clothing and bathing daily, as sweat can anger bees

- inspecting and shaking out clothing and equipment before use and after working in insectariums or enclosures.

### Cone Snail Safety

Work with cone snails and their associated conotoxins presents particular life safety challenges and potentially extra regulatory requirements. All cone snails are capable of envenomation, though some are more toxic to humans than others. Additionally, some conotoxins fall under the Federal Select Agent Program.

Research groups planning to work with cone snails and/or their conotoxins must consult with ORP to ensure regulatory requirements are met for the specific work that will be conducted. That work should also be detailed in a thorough SOP that is reviewed by EHS.

## Preserved Animals and Specimens

Laboratory and research work that uses preserved animals and specimens presents some different hazards than use of living organisms. While working with these types of materials eliminates some hazards of working with live animals, such as bites, scratches, or kicks, it introduces others.

Likewise, work with animal tissue or preserved specimens may require IACUC approval. See section 3.6.1.1 for information about IACUC approval.

### Modern Preservation of Animals and Specimens

Formaldehyde and formalin (37% solution of formaldehyde in water) have traditionally been used in the biological sciences for the fixation and preservation of tissues and whole specimens. However, these hazardous chemicals present particular problems when handling preserved specimens. Labs or research groups that will regularly handle large numbers of specimens preserved in this way may fall under the requirements of the OSHA standard for formaldehyde, further discussed in section 7.3.8.2.

When possible, preserved specimens that will be handled, especially by students (e.g. dissection specimens for anatomy lab) should be purchased and maintained in an alternative preservative such as Carosafe™, Wardsafe™, or 1-2% phenoxyethanol. See the Formalin Alternatives document on the EHS webpage for more information.

### Historically Preserved Specimen Hazards

Historically, and particularly since the late 18th century, institutions with preserved specimens commonly relied on chemical-based pesticides and preservatives to prevent pest infestation, rot, and damage, prior to advances in environmentally-controlled spaces and preferred IPM techniques. Pesticides and preservatives are likely to be present in many collections at Penn State. Museums and universities such as Penn State often contain extensive collections containing vertebrate animals, insects, invertebrates, skeletal tissues, skins/furs, plant tissues, and various textiles and paper specimens, which are especially vulnerable to pest activity.

Health and safety concerns have led institutions, including Penn State, to move away from these approaches in favor of IPM for pest management, where feasible. Though IPM measures are preferred, handling of historically-preserved specimens continues to be an active practice, and these can still pose a risk of exposure to chemical hazards.

### Commonly Preserved Specimens

Typical preserved specimens in Mammalogy and Ornithology collections may include whole birds, embalmed specimens, taxidermied animals, animal skins or hides, bone, or feathers. Entomology collections (insect and other invertebrate), as well as storage cabinets and exhibition spaces, may have been treated with hazardous pesticides and preservatives, particularly those prepared prior to the mid 1980’s. Historical and archaeological artifacts that were constructed with animal skin, feathers, bone, or other organic materials may also have been treated when they were initially added to museum or collector inventories. Botany collections may include historically preserved plant material or seeds. In addition, conservators may clean, restore, and preserve historic documents using various solvents and treatments to remove mold growth and stains associated with mold growth. Human and animal specimens preserved for anatomical or histological study have historically been preserved with formaldehyde to prevent decay.

### Hazardous Pesticides and Preservatives

Chemical pesticide/ preservative applications have included:

- brushing or rubbing onto the object

- submersion of the object into a liquid or powder

- fumigating a storage or exhibit area

- placing solid chemical in a storage or exhibit area for sustained-release fumigation

Certain chemicals (e.g. “mothballs”), were available historically, found to be effective, and remain in use today, though they continue to pose some health risk to humans, depending on how they are used and applied. Individuals working with preserved specimens, or in spaces that have been treated with pesticides and preservatives, are at risk of exposing themselves by accidental contact or inhalation.

The following hazardous chemicals were frequently used as pesticides and preservatives in preserved specimen collections, and in some cases are still in use. Some of these chemicals are specifically regulated by OSHA as carcinogens, as noted below. Consult EHS for assistance, particularly where exposure to such chemicals may occur, or if you may be working with other preservatives not listed in these guidelines.

Arsenic – May be present in both powdered and liquid forms, also known as arsenic soap. Historically prevalent in taxidermy preservation, and often remains on the surfaces of bird feathers, animal fur, etc. Arsenic can dissociate from the preserved item as a powder or fine dust that can easily contaminate the handler of the specimen. Arsenic was also frequently impregnated into felt linings or wood of storage cabinetry. Arsenic is highly toxic, and is regulated by OSHA as a carcinogen at the general industry standards under Subpart Z – Toxic and Hazardous Substances. Arsenic is regulated by OSHA substance-specific standard 29 CFR 1910.1018.

Borax – Typically found in granular form as sodium borate or disodium tetraborate; frequently used in soaps and as an ant repellent. Borax has been primarily classified by OSHA as a moderate to strong irritant of the eyes, skin, and respiratory tract, and it is recognized as a moderate reproductive toxin.

Camphor – A plant-derived terpenoid with a strong fragrance, often used in mothballs or as an ingredient in solid fumigants. Camphor is a respiratory irritant.

Cedar dust/shavings – Historically and currently used in taxidermy both for its insect-repelling qualities and as taxidermic stuffing. Cedar particles can be a simple respiratory irritant, but it can also cause allergic reactions and hypersensitivity pneumonitis, and can aggravate asthma and other respiratory conditions. Chronic exposure to certain types of wood dust without adequate respiratory protection are associated with cancers of the respiratory tract.

Dichloro-diphenyl-trichloroethane (DDT) – During the 1940-1970s, DDT was at times applied as a pesticide or disinfectant to biological and animal specimens as well as library materials. The use of DDT is now heavily restricted both for its environmental impacts and effects on human health. DDT is moderately toxic and it is classified as a suspected human carcinogen (Category 2).

Dichlorovos (aka Vapona; 2,2-dichlorovinyl dimethyl phosphate) – An organophosphate pesticide typically released from strips impregnated with the pesticide, but also sometimes used in liquid form. Dichlorvos was introduced in 1960 and is still commercially available. It is a central nervous system toxin with both acute and chronic effects.

Ethanol – The hazards of ethanol are primarily associated with its property of being a flammable liquid (and, in high concentrations, a skin irritant). Wet specimens are often preserved in solutions prepared from ethanol and formaldehyde (and at times isopropanol and/or glycerol). Liquid preservatives should not be assumed to contain ethanol only. Additionally, the formaldehyde-containing solution used to initially “fix” a specimen can leach into the alcohol-based storage solution.

Ethylene Oxide (EtO) – This gas has been used as a fumigant in preserving specimens, and can slowly off-gas from preserved specimens, especially those kept in closed containers. Ethylene oxide is highly toxic, flammable, and explosive. During fumigation, ethylene oxide is usually mixed with carbon dioxide to reduce the fire/explosion hazard, but ethylene oxide off-gassing from a preserved specimen in a tightly closed container may produce a more reactive atmosphere. Ethylene oxide is an oxidizer and causes acute respiratory irritation, headaches, and other symptoms. Ethylene oxide is also a carcinogen regulated by OSHA substance-specific standard 29 CFR 1910.1047.

Formaldehyde – Formaldehyde is a gas, though it is most commonly supplied as a 30-37% solution in water. Formaldehyde is classified as a known human carcinogen (Category 1A), and is also listed as acutely toxic, corrosive to eyes and skin, and is classified as a skin sensitizer (Category 1A). Formaldehyde is also flammable. Formaldehyde is a carcinogen regulated by OSHA substance-specific standard 29 CFR 1910.1048.

Formalin – A mixture of formaldehyde, an alcohol, and water that has been used to preserve specimens. Formalin has the same health hazards of its components (formaldehyde and the pertinent alcohol). Formalin solutions may be flammable, depending on concentration.

Glutaraldehyde – Reacts quickly to crosslink proteins and thus has been used as a biological fixative, as well as in the leather-tanning industry and some taxidermy processes. Like formaldehyde, glutaraldehyde is also corrosive to human tissue and is classified as a Category 1 skin and respiratory sensitizer, though it is not currently classified as a carcinogen by GHS.

Larvex (sodium aluminum fluorosilicate) – For a brief time in the 1930s-1940s, this was sold as a solution to be sprayed on items, and it dried to solid white crystals. As this is a silicate chemical, it presents an inhalation hazard.

NOTE: A separate solvent-based product “Larvex Neothane” was a petroleum distillate containing methylene chloride and diethyl diphenyl dichloroethane. Hazards of such solutions are expected to include skin and eye irritation, target organ toxicity, and is a chemical asphyxiant. Methylene chloride is a Category 2 carcinogen regulated by OSHA substance-specific standard 29 CFR 1910.1052.

Lead – Though not used in the preservation of taxidermic specimens, colored lead salts may be found on and in objects of anthropological interest. Lead is a toxin that can affect many bodily systems, especially the kidneys and liver, and chronic lead exposure can lead to neurological damage. Lead is a carcinogen regulated by OSHA substance-specific standard 29 CFR 1910.1025.

Mercury – Mercuric chloride or “corrosive sublimate” was commonly used as a preservative for a wide range of animal specimens, furs and skins, plant specimens, and anthropological objects such as baskets or textiles. Mercuric chloride was also sprinkled in drawers and cabinets containing preserved specimens. Mercury causes acute and chronic neurological damage.

Methyl bromide – Used as a gaseous fumigant, especially for plant specimens. Methyl bromide is a neurotoxin.

Naphthalene – In either flake or ball form remains in use, most commonly known as ‘mothballs’ and commonly used as a fumigant in cabinets containing preserved specimens. Naphthalene is toxic and carcinogenic.

Paradichlorobenzene (PDB) – In either cake or crystal form also remains in use, also commonly known as ‘mothballs’ and commonly used as a fumigant in cabinets containing preserved specimens. PDB is toxic and may be a carcinogen.

Paraformaldehyde – Is a polymer of formaldehyde, which upon treatment with sodium hydroxide forms formaldehyde. Paraformaldehyde formulations may include residual formaldehyde.

Strychnine – Is a highly toxic plant alkaloid used in mixtures with other pesticides and preservatives. Strychnine was also often used historically to obtain specimens (especially carnivorous animals) by lacing bait with strychnine, then allowing the strychnine to kill the animal without damage to the hide or skeleton. Strychnine is a neurotoxin, and exposure causes convulsions and seizures that can eventually lead to death by asphyxiation due to spastic paralysis of the breathing muscles.

Sulfuryl fluoride (aka Vikane) – Used as a gaseous fumigant. Sulfuryl fluoride is a respiratory irritant.

Tobacco leaves – In the 1800s, whole dried leaves were sometimes used as a temporary pesticide/fumigant during specimen collection and, less frequently, storage. Tobacco is a respiratory irritant and contains numerous carcinogens and other toxins.

### Rodent Related Hazards

Specimens that have suffered recent damage or even visitation from rodents may be contaminated with Hantavirus, which causes a potentially deadly respiratory infection. Hantavirus is released in the urine and feces of several species of mice. While it only persists for hours to days outside the body, a preserved specimen that has been recently visited by rodents could potentially harbor infectious Hantavirus. While Hantavirus is rare in Pennsylvania, it is still a concern in collections that may have mouse urine or feces. The risk of exposure to Hantavirus can be reduced by using IPM techniques to exclude rodents, and by minimizing activities that create dust – for example, instead of dry-sweeping a floor, use a damp mop to reduce dust.

### Other Potential Hazards

Vertebrate fossils (e.g. dinosaur bones) may also leach radon, which can seep out of the fossil and enter the air around the fossil. Fossils in sealed (e.g. glass) enclosures may release a significant amount of radon over time which could be trapped in that enclosure. Working in an adequately ventilated space when opening the enclosure will mitigate this hazard.

### Detection

Many pesticides and preservatives do not break down easily and therefore have a long residual life. Or, for chemicals such as arsenic and mercury, they may not break down at all. There are several ways to investigate the history of pesticide use in preserved specimen collections:

- Research records – Often clues to pesticide use can be found in acquisition records, correspondence and, when they exist, early treatment reports. Collectors generally treated all their materials in the same way even if they were supplying specimens to multiple institutions. Contact other institutions that might have shared the same personnel.

- Interview personnel to discover past preservation practices – The institutional memory of long-time personnel can be rich in information on past practices.

- Look through storage areas – There may be old containers or labels that indicate past use of a chemical in the institution or collection.

- Carefully inspect collection pieces for visible evidence of pesticide use – Although most chemicals leave no residue, some chemicals such as arsenic can sometimes be seen on the surface of a specimen as a white powdery substance.

- Spot analysis – Chemical spot tests or analytical techniques can be definitive in identifying the presence of pesticides.

### Hazard Assessment and Control

Generally, any preserved specimens and materials containing the chemicals discussed in section 9.4.4, or any other specimens prepared prior to 1990, should be considered hazardous and handled accordingly. Many of the chemicals discussed in the previous section were used in combination. Consequently, the presence or absence of any one of these chemicals does not necessarily mean that others are present or absent. Consult EHS to conduct any needed preliminary assessment supporting safe handling and processing.

Use the standard hierarchy of controls to handle any potential hazards and their associated risks, starting with engineering controls, then administrative controls, and last, PPE.

#### Hazard Assessment

Prior to beginning any work with, or even simply handling, any historically preserved items, a hazard assessment should be performed. Ultimately, an outcome of the assessment should include the development of an SOP specific for the work, and specify the use of engineering controls and PPE to prevent and minimize exposure to any potential hazardous chemicals. As noted prior, many of the preservatives used historically (arsenic, formaldehyde, lead, and mercury in particular) are regulated by OSHA, and work being done with specimens containing these substances may require exposure monitoring.

#### Engineering Controls and Local Exhaust Ventilation

Engineering controls such as chemical fume hoods or capture exhaust hoods (e.g., slot hoods, downdraft tables, and “snorkel” or “trunk” hoods), should be used whenever possible when conserving, sectioning, treating, or examining a hazardous collection object or specimen.

#### Administrative Controls

Prior to beginning work, determine if direct handling of the preserved specimen is necessary. Handling the preserved specimen should be considered chemical work. Such handling should be included as part of an SOP.

#### Personal Protective Equipment

Wear appropriate PPE for the preserved specimens being handled. If you know what chemicals are present, consult the SDS to determine the appropriate PPE. If you are not sure what chemicals may be present, err on the side of caution when choosing PPE. Nitrile gloves work well for dust (such as arsenic) and some liquid preservatives such as formalin and formaldehyde, but may provide little protection against other chemicals such as glutaraldehyde. Depending on the nature of work, more durable chemical protective gloves may be required. Consult a glove compatibility chart by the glove manufacturer to ensure your selection will provide the protection your work requires.

At a minimum, PPE must include long pants and sleeves and shoes that fully cover the feet. Appropriate PPE may also include gloves, protective clothing like a lab coat or apron, or eye protection if there is a risk of dust, splashing chemicals, or flying debris. A respirator may be required if there is a risk of dust, or an expectation of exposure to certain chemicals. Prior to beginning work, the use of a respirator must be discussed with EHS as discussed in section 6.3.3.8.

#### Personal Hygiene

Wash hands after handling specimens, even if you have worn gloves. Avoid touching your face, eyes, mouth, etc. when handling a specimen. Work in a ventilated area. Do not work with historically preserved specimens at your desk.

#### Symptoms of Exposure

Exposure may occur through inhalation, ingestion, or dermal contact. Symptoms of exposure can vary depending on the chemical, the dose, and the individual. Symptoms may be acute or chronic and will vary depending on the type and amount of pesticide or preservative introduced into the body. Symptoms may range from headache, dizziness, irritation, and nausea, to more serious medical issues including tremors, convulsions, and respiratory depression. Symptoms of toxicity of specific preservatives can be found in their SDS. Individual OSHA standards may also be consulted for hazard-specific information.

If you suspect you have been exposed to pesticides historically used in preservation, seek medical attention, and alert your PI or supervisor as soon as possible.

#### Training

In addition to Laboratory and Research Safety training, some OSHA vertical standards have specific training requirements. Likewise, training may also be required where respiratory protection is necessary.

#### Container Labeling

As with all containers used to store chemicals, containers used to store preserved specimens must be properly labeled. At a minimum, all containers used in laboratory and research areas must be labeled with the container contents and the hazards associated with the contents. For containers for which the preservatives are unknown, it is recommended to label as “May contain _____” where the blank is filled in using information from a reasonable assumption. Figure 9.1 includes examples of acceptable labels. For small containers, like conical tubes or microfuge tubes, abbreviations may be appropriate as long as the list of common abbreviations is posted in the lab. Depending on how samples are stored, it may also be appropriate to label any tube storage boxes with associated information.

Figure 9.1	Examples of acceptable container labels

Onchorhyncus mykiss (rainbow trout)

Specimen pre-1990. May contain formaldehyde.

Toxic, carcinogenic

Dendraster excentricus (Sand dollar)

Specimen pre-1990. May contain arsenic.

Toxic, carcinogenic

Salmo trutta (brown trout)

Specimen preserved 3/25/2017 in WardSafe

Contains methanol 1-5%, propane-1,2-diol 1-5%

### Transfer or Disposal of Contaminated or Potentially Contaminated Specimens

#### Transfer of Specimens

If a specimen is to be transferred, whether to another department of Penn State or to another institution, all known hazards must be disclosed, along with sufficient information on safe handling to enable the transfer to happen without putting people at either end of the transfer at risk. If the specimen is to be shipped, check with EHS to ensure if hazardous material shipping guidelines apply. Do not transport historically preserved items in personal vehicles.

#### Specimen Disposal

Do not dispose of preserved specimens in regular trash or pour any of the preservative liquid down the drain. If a specimen is known or suspected to be contaminated with any toxic pesticides or preservatives, it must be treated as hazardous waste at the time of disposal. Contact EHS for assistance with disposal, especially if the clean out includes a large number of specimens, such as those from teaching labs or from professors who retire or leave the university.

Unwanted specimens shall not be disposed of by being given away to private owners, with the exception of specimens that were loaned to Penn State and are being returned to their rightful owners.

# Radiation Protection

Radiation protection programs provide technical support to all radiation users at the University to ensure radioactive materials, radiation producing equipment, lasers, and other non-ionizing radiation sources are used safely and in a compliant manner. The goal of these programs is to minimize any potential hazardous exposure to the students, faculty, staff, and members of the public when radiation sources are applied for research and development at Penn State.

The EHS Radiation Protection Office manages the comprehensive radiation protection program at the University. Requirements and policies for the use of different type of radiations at the University are introduced below.

## Radioactive Materials

While radiation safety is covered under the purview of the LRSP, more extensive requirements for working with radioactive material can be found in Safety Policy SY14: Use of Radioactive Materials and the Rules and Procedures for the Use of Radioactive Material. This Safety Policy and the Rules and Procedures require all users of radioactive material to obtain prior authorization from the University Isotopes Committee (UIC) before acquiring any radioactive material. In addition, the Rules and Procedures covers the possession, use, and transfer of all licensed radioactive material on University-controlled property by University personnel or others and by University personnel at other locations. Users of radioactive material must be familiar with the contents of this document; the information contained in the Rules and Procedures document is not duplicated here. New faculty, staff, or researchers who plan to use radioactive materials should review the Information for New Radioactive Material Supervisors prior to submitting an application for authorization. Please contact the Radiation Protection Office for details on how to apply for this authorization.

## Lasers

Lasers are used for many applications on University property by university personnel. Their safe use is determined by Safety Policy SY17: Lasers and ANSI standard Z136.1, Safe Use of Lasers. The specific requirements for working with lasers can be found in the Laser Safety Program Document. These requirements shall be followed by any person who owns or uses a laser at any University location other than the Hershey Medical Center.

### Laser Registration and Setup

All class 3B, 4, and systems containing embedded class 3B and 4 lasers are required to be registered with the Radiation Safety Office. Registration instructions and the Registration form can be found on the Laser Safety Webpage.

Lasers must be registered after purchase and before use. The laser may be used before registration for set-up purposes if the personnel using it are properly trained in general laser safety and the specifics of that laser system.

Before official use, laser users must also submit a SOP to the Laser Safety Officer for approval for each laser they plan to use. A laser SOP outline and template can be found on the Laser Safety Webpage.

### Training

All persons who use registered lasers, or lasers that would require registration, shall complete the Penn State General Laser Safety Training and complete the associated quiz. The certificate of this training shall be kept with other laser records for either the lifetime of the laser or until the person no longer works with lasers at Penn State, whichever occurs first.

This training is onetime only and will only need to be re-taken if the person leaves Penn State and returns at a later date. Taking an extended break from laser use, but still being a part of the University team, will not require a re-take of the general laser safety training. The General Laser Safety Training can be found on the EHS Training Webpage.

All persons are also required to complete a laser specific training given by the PI or someone else knowledgeable in the laser. This training shall be documented with a date and signature on the form found on the Laser Safety Webpage. The signed form shall be kept with other laser documentation for the entire time that the laser is in the PI’s possession. This training shall be completed for each laser the person will be using and also at regular intervals determined by the PI.

### Laser Controlled Areas

Areas with registered lasers are classified as specific laser control areas. The type of laser control area is defined by the highest class of laser within that area. The boundary of the Laser Control Area is defined as the Nominal Hazard Zone. This is the area where levels of laser radiation are above Maximum Permissible Exposure levels and can cause biological harm. Laser Controlled Areas must be defined with Laser Warning Signage and follow all required guidelines for the hazard class of laser(s) within the area. Specific guidelines for certain laser classes can be found in the Laser Safety Program Document.

#### Laser Warning Signs

Laser Control Areas that contain class 3B, class 4, or laser systems with embedded class 3B and 4 lasers shall have a Laser Warning Sign at every accessible entrance. Laser Warning signs must contain all required information and be kept up to date with any changes to the lasers within the controlled area. A template for Laser Warning Signs can be found on the Laser Safety Webpage.

#### Entryway Controls

Laser Control Areas that contain a class 4 laser shall have entryway controls. Laser Control Areas that contain a class 3B laser should have entryway controls but they are not required. Entryway controls for Laser Control Areas should be non-defeatable or interlocked. If they are not, they must have a special warning light or sign that indicate when the laser is in operation. They must also either have a physical barrier between the doorway and the laser beam or offer Laser Eye Protection (LEP) at the entrance. For full details on entryway controls, please refer to the Laser Safety Program Document.

#### Control Measures

Laser Controlled Areas must have appropriate laser control measures in place for the hazard of laser present. These control measures may be either engineering controls, administrative controls, or PPE. Refer to the Laser Safety Program Document for the full list of laser control measures for the level of laser hazard.

#### Safety Requirements

Laser controlled Areas have general safety requirements depending on the hazard of the laser contained within. Refer to the Laser Safety Program Document for the full list of safety shoulds and shalls and general safe work practices with lasers.

Laser Controlled areas are also likely to contain non-beam hazards. These can include biological, chemical, cryogens, electrical, explosive, fire, or toxic gases as discussed elsewhere in this plan.

### Personal Protective Equipment

PPE for lasers shall only be used as a control measure as a last line of defense. If used, PPE shall be of the appropriate strength to protect from a stray beam of the maximum hazard in the Laser Control Area. PPE can include UV protective clothing and Laser Eye Protection (LEP). LEP may be required for labs even if appropriate engineering and administrative controls exist.

#### Laser Eye Protection

LEP is eyewear that is worn to protect from a specific laser hazard. Each pair of LEP is labeled with a wavelength and Optical Density value. Please refer to the Laser Protective Eyewear guide on the Laser Safety Webpage for assistance on selecting appropriate LEP.

LEP shall be used for any lab with an accessible class 4 laser hazard and should be used for any lab with an accessible class 3B laser hazard.

### Responsibilities

All persons using lasers at Penn State have responsibility for the safe use of lasers. The three main parties in ensuring the safe use of lasers are the Laser Safety Officer, the PI or Lab Safety Manager, and the user. For a full, detailed list of responsibilities please refer to the Laser Safety Program Document.

#### Laser Safety Officer

The Laser Safety Officer is responsible for creating and enforcing the requirements for safe laser use at Penn State. This individual creates and updates policies to reflect current standards. They also have the responsibility to conduct regular audits for all laser use labs. In addition, they shall review and approve all laser registrations and SOPs for new lasers.

The Laser Safety Officer is also a resource for any users who might have questions or concerns about laser set-up or safety.

#### Principal Investigators or Lab Managers

PIs or Lab Managers are responsible for ensuring safe use of lasers within their controlled space. They are the individual or individuals who train their users on the specifics of their lasers. They are also responsible for registering and creating SOPs for all of their lasers. In addition, PIs and Lab managers shall regularly inspect PPE for defects.

#### Laser Users

Laser users main responsibility is to follow all university and lab rules on the safe use of lasers. They shall also ensure they are properly trained before attempting to use a laser that they are unfamiliar with.

Laser users shall report any work conditions that they feel are unsafe to the Laser Safety Officer or EHS without fear of repercussions from the University.

### Laser Audits

Laser audits will be conducted on a yearly basis by the Laser Safety Officer. All lasers, active and inactive, will be checked during the audit.

Please keep the following documentation to present to the Laser Safety Officer during an audit:

- Purchase and receipt records

- Manuals for the laser or laser system

- Maintenance or service records

- User general laser safety training certificates

- Specific laser training signature forms

- SOPs

## Non-Ionizing Radiation

Devices and equipment designed to generate radiofrequency (RF), microwave, or magnetic fields (static or time varying) present potential non-ionizing radiation exposure hazards. Examples include radio transmitters, microwave sources for research, magnetic resonance imagining (MRI), superconducting quantum interface device (SQUID), particle accelerators, computer drive erasers, etc. To evaluate the risk and minimize the potential exposure from RF and magnetic field sources, follow the applicable Safety Guides found on the Non-Ionizing Radiation Safety webpage. You can also contact the Radiation Protection Office for assistance in radiation measurements and risk assessment.

## Radiation Producing Equipment

Radiation Producing Equipment (RPE) at Penn State includes analytical and radiographic X-ray machines, Electron Microscopes, and Accelerators. The RPE safety program managed by the Radiation Protection Office provides technical support to all equipment users to ensure that Penn State personnel work safely with machines that produce ionizing radiation and comply with all Federal and Commonwealth regulations and Penn State polices. The requirements for working with RPE can be found in Safety Policy SY15: Radiation-Producing Instruments. This Policy addresses the acquisition, installation, operation, control, disposal, and University compliance with state and federal regulations for RPE. Specific requirements for equipment registration, safety training, personal exposure monitoring, and equipment inspections are also specified in this policy. Requirements for safety controls, including engineering controls, shielding, and administrative controls vary with individual equipment and the facility. Contact the Radiation Protection Office for safety evaluation, safety control, and regulation compliance discussion prior to an acquisition of a RPE. The purchase requisition of RPE will be reviewed and approved by EHS.

## Special Precautions against Ultraviolet Light

Germicidal lamps using UV light are common fixtures in BSCs. These lamps are considered a high-level source of UV radiation. Other common lab equipment such as UV light transilluminators or UV light wands can also be significant sources of UV radiation exposure.

Exposure to the UV lamps without adequate engineering controls or PPE could result in skin or eye injury. Acute skin effects due to direct UV exposure vary with dose. Dermal effects include three types: erythema (sunburn), increase in pigmentation (sun tanning), and hyperplasia (increase in epidermal cell growth, resulting in enlargement of tissue). UV radiation may also increase the cutaneous effects of certain solvents and photosensitizing chemicals.

Eye injuries attributable to UV exposure are most prevalent among welders. Laboratory applications are unlikely to achieve doses comparable to those in industrial settings, but a small amount of UV light may produce temporary eye injury, such as corneal inflammation and "sand-in-the-eye" sensation.

A great concern with UV eye exposure is that the victim is often unaware that damage is occurring. Usually, no pain develops from the eye injury until 4-6 hours after the exposure. The only way to prevent injury is to minimize exposure to UV light.

Appropriate protection against UV exposure depends on the equipment, set up, and intended use. Many modern BSCs include interlocks that automatically turn the UV light off when the front panel is opened. Similarly, some UV light transilluminators will not function with the cover open. Interlocks found on these types of equipment are considered safety devices and should never be defeated. While many BSCs and transillumintors have interlocks, not ALL of them do. All personnel working with equipment that includes UV light should know the safety features that are already in place.

Appropriate attire for working with UV light includes ensuring that all potentially exposed skin is covered. Long sleeves, such as a lab coat, and laboratory gloves should be considered the minimum to cover exposed skin. Make sure that there are no gaps in coverage, such as between the cuff of the lab coat and the cuff of the glove, which could expose the wrists. If exposure to the face is unavoidable, a faceshield shall be worn. ANSI-approved shaded eye protection with side enclosures shall be worn in the vicinity of a UV light fixture not shielded by a physical barrier. Face shields made of polypropylene are generally sufficient for short term exposure to UV, but products with increased protection factors do exist.

# Laboratory and Research Waste

Research generates numerous types of waste. Federal and state regulations require Penn State to ensure the proper disposition of all wastes generated through Penn State activities. It is a federal and state offense to dispose of many of these unwanted materials improperly.

## Waste Minimization

The EPA's regulations and Safety Policy SY20: Hazardous Waste Disposal for hazardous waste management place the highest priority on waste minimization. Under current environmental laws, the University must certify that it has a waste minimization program in place. In addition, the University must annually report to the government on efforts it has made to reduce hazardous wastes.

Waste minimization as defined by the EPA means a reduction in both the volume and physical hazard or toxicity of the material. The benefits of waste minimization include reduced disposal costs, decreased liability, improved working conditions, and less impact on the environment at the time of disposal.

The waste minimization policy at Penn State requires researchers to make every effort to minimize the volume or the toxicity of their waste. Substitutions can be made to eliminate or reduce the amount of hazardous components. Wastes can be minimized by treatment in the lab to yield less toxic or hazardous materials. Experimental procedures can also be altered to reduce wastes. Finally, improved laboratory management can result in waste minimization.

It is the responsibility of every researcher who generates waste to incorporate the principles of waste minimization into experimental design. EHS can help evaluate procedures for potential waste minimization benefits.

## General Research Waste

Laboratory waste that is not contaminated with hazardous materials, whether they be biological, chemical, or radiological, may still require special handling. When discarding empty containers or boxes bearing hazardous materials labels, the labels shall be defaced or removed before disposal or recycling. Contaminated boxes or containers shall not be disposed of in the regular trash or recycling. Contaminated items must be disposed by following the respective sections below based on the contaminant.

When in doubt about whether an item should be considered contaminated or not, consider it contaminated and follow the associated guidance in the following sections for appropriate disposal.

### Trash

Uncontaminated solid waste can be disposed of in ordinary trash containers. Uncontaminated means no biological material, no radioactive materials, no chemical contamination, and no items that fall into the category of sharps. Items appropriate for ordinary trash disposal include gloves, pads, disposable PPE, and paper towels, amongst many other items. At many Penn State locations, pipette tip boxes can no longer be recycled. They too should be placed in the trash for disposal.

### Recycling

Penn State is committed to “closing the loop” on its solid waste through its recycling and composting programs. While most waste items from research are not appropriate for composting, some can be recycled. See the Penn State Sustainability Institute’s webpage for additional information about recycling, and the sections below for how these specifically apply to research waste.

#### Empty Chemical Container Guidelines

EHS supports the reuse or recycling of empty chemical containers. Properly rinsed chemical containers may be used as chemical waste containers (including sharps containers) or put into standard recycling. However, empty chemical containers can contain residual amounts of chemicals. To ensure that this residue is handled properly and to be able to reuse, recycle, or properly dispose of these containers, the Triple Rinse Procedure in the following section must be followed. All aspects of this procedure must be performed by the chemical user except for the emptying of the recycling bins and broken glass containers, which are performed by Custodial Operations.

Plastic or glass containers that meet recycling criteria should be placed into the appropriate recycling containers at the central recycling location for the building. Borosilicate and Pyrex type glass cannot be recycled but also cannot be disposed of in the regular trash; they should be placed into a broken glass box for disposal. Broken glass is also unacceptable for recycling and should be placed in broken glass boxes for disposal, as detailed in section 11.2.3.

Large empty metal chemical cans should NOT be placed in with traditional metals recycling. Submit a chemical waste pick up request to have these picked up and properly disposed.

##### Triple Rinse Procedure

Chemical containers that had liquid or solid chemicals must be rinsed 3 times before being discarded, following the information in the Chemical Container Disposal/ Recycling document. A rinse should consist of minimal water being used to rinse the container. The first rinse shall be collected as chemical waste, it can be put into any waste container of compatible chemicals, the second and third rinses can then go down the drain. If the chemical is an acutely hazardous waste, do not rinse the container. These containers should be disposed as chemical waste through EHS.

Ensure that plenty of water is used to flush the material down the drain. After the containers are rinsed they can be placed in recycling or discarded. All caps should be left off of the discarded containers and the chemical name should be crossed or blacked out prior to being discarded. Caps should be discarded into the regular trash.

### Uncontaminated Broken Glass

Broken glass should never be placed into the regular trash or recycling. Contaminated broken glass, including broken chemical containers, broken lab glassware, glass test tubes, glass reaction vessels, slides, coverslips, etc., should be disposed of by following the guidance for the contaminant discussed in the sections that follow: chemically contaminated broken glass (section 11.3.12), biologically contaminated broken glass (section 11.4.4), or radioisotope contaminated broken glass (section 11.5).

Clean broken glass should be placed into broken glass boxes for disposal. When the box is full, move it to an obvious location with a note that custodial operations should take the box for disposal. At University Park, custodial operations supplies replacement boxes. Research, lab, and instructional groups at other locations are responsible for purchasing broken glass boxes.

### Uncontaminated Sharps

Sharp waste includes items such as razor blades, scalpel blades, glass pipettes, plastic serological pipettes, needles, syringes, slides, and cover slips. Even uncontaminated or unopened sharps must be disposed of in a manner that ensures the safety of every individual who may handle the waste. NEVER place sharps directly into the regular trash.

Sharps such as razor blades, scalpel blades, glass pipettes, plastic serological pipettes, etc. that are not contaminated with chemicals, biological material, or radioactive materials should be disposed of by placing them in a rigid, puncture-resistant container that has a lid that can close securely. When the container is full and ready for disposal, secure the lid shut and place the container in the trash.

Needles and syringes, in the commonwealth of Pennsylvania, must be disposed of in a manner that renders them incapable of being reused. At Penn State, they are handled as either RMW or chemical waste, even if they have not been used or have been used with nonhazardous materials. Used needles and syringes that are not contaminated must be sealed in a rigid, puncture-resistant container. This outer container should NEVER be placed in the trash. Contact EHS for the most appropriate means of disposal based on your location. For Commonwealth Campus locations, contact your regional campus coordinator for appropriate disposal information.

Uncontaminated sharps may be placed with contaminated sharps and disposed of as if they were contaminated. The reverse however is NEVER appropriate. Never dispose of contaminated sharps as though they were uncontaminated. For example, you could place uncontaminated sharps in the same container as chemically contaminated sharps, and dispose of the entire container as chemical waste.

Disposal of unused, unopened, or expired sharps should also follow the guidance above. For example, expired needles that may no longer be used with animals should be kept in their box and sent for disposal as RMW.

## Chemical and Hazardous Waste

For reference, see: Safety Policy SY20: Hazardous Waste Disposal and the Laboratory Waste Management Plan.

All research groups and teaching labs that generate chemical waste shall be familiar with the Laboratory Waste Management Plan, colloquially known as Subpart K in reference to the associated EPA regulation. This regulation includes requirements for chemical waste container labeling, accumulation time limit, waste quantity limit, satellite accumulation area signage and inspection, secondary containment, and management of containers.

Proper handling of reaction byproducts, surplus and waste chemicals, and contaminated materials is an important part of safety procedures. Each researcher is responsible for ensuring that wastes are handled in a manner that minimizes personal exposure and the potential for environmental contamination.

Chemical waste and unwanted chemicals shall be disposed of promptly and not left to clutter a laboratory. As discussed in section 11.1, the first steps in managing chemical wastes are selecting the least hazardous chemicals for the task and ordering chemicals only in quantities needed to complete the task or experiment. Chemicals should not be kept in laboratories if they will not be needed, especially if they are peroxide-forming chemicals such as ethyl ether or dioxane, polynitro compounds such as picric acid or dinitrophenyl hydrazine, or chemicals that are air- or water-reactive.

Training for chemical waste generators is included in the standard Initial Laboratory and Research Safety Training and annual refresher training, both of which are required for all individuals working in laboratory and research areas, including PIs.

EHS is responsible for disposal of chemicals and shall be contacted to arrange the removal of chemical wastes. Normal hazardous waste disposal costs are funded through EHS.

### Definition of Hazardous Waste

Any unwanted or inherently waste-like material that can be considered hazardous by the EPA must be disposed of properly. A waste may be designated as a hazardous waste if it meets one of the following criteria:

- Acute hazardous waste is a waste which has been found to be fatal in humans in low doses or, in the absence of data on humans, has been found to have, in laboratory animals:

  - an oral LD50 of less than 50 mg/kg

  - an inhalation LC50 of less than 2 mg/l

  - a dermal LD50 of less than 200 mg/kg

- A waste is hazardous if it contains any of the toxic constituents listed in the regulations.

- A waste is hazardous if it exhibits any of the following characteristics:

- Ignitability

- Reactivity

- Corrosivity

- Toxicity

### Responsibilities

PIs, including teaching laboratory instructors, shall ensure that Penn State’s waste minimization plan (found in section 11.1) is in effect and that it is being adhered to.

Generators of chemical and hazardous waste are responsible for ensuring the appropriate storage, labeling, inspection, auditing, documentation, and segregation of waste. All generators of chemical and hazardous waste shall be trained in proper waste handling procedures, which is part of Initial Laboratory and Research Training along with the required annual refresher course. Individuals responsible for laboratories, such as PIs and teaching laboratory instructors, and other areas that handle and store chemical waste are required to:

- designate a location within the room for chemical waste accumulation. This area is referred to as the "Satellite Accumulation Area."

- designate an individual who is responsible to oversee the proper storage, labeling, and inspection of this Satellite Accumulation Area and who conducts weekly inspections of this area, documenting and maintaining the results of the inspection for three years.

- ensure all researchers involved in chemical and hazardous waste management are trained and documentation of training records is maintained.

- establish, implement, and document an annual review of all hazardous materials (see Chemical Inventory Management, section 7.4) to ensure those exceeding safe and practical usage are properly disposed of.

- incorporate waste disposal management practices into all procedures, including laboratory manuals used for instruction.

- conduct audits of waste management procedures as established in this plan to ensure compliance and implement the necessary changes.

The spill or discharge of any hazardous material, including chemical waste, must be reported. If the spill is an emergency, call 911. If the incident is not an emergency or after reporting to 911, contact EHS during regular working hours (8:00 a.m. to 5:00 p.m.) at 814-865-6391, or University Police at University Police and Public Safety at 814-863-1111. If possible and appropriate, EHS personnel will report to the site of the incident and provide guidance and direction in proper cleanup procedures. They will provide or recommend appropriate equipment for the cleanup, and arrange for the proper disposal of the hazardous waste. Individuals working at Commonwealth Campus locations should also contact their regional EHS coordinator.

### Handling of Chemical Waste

If there is any doubt or question about the stability or reactivity of a waste or its contents, do not touch the container! Contact EHS for guidance. Chemicals that have changed color, formed salts around the lid, formed crystals, solidified inside, or the container itself has become misshapen (imploding or bulging), are all signs that a container may not be safe to handle. Likewise, unopened containers of ether that are older than a year, or ethers that have not been opened within the past year, shall not be opened or moved under any circumstances. Contact EHS immediately when any of these are found.

### Satellite Accumulation Area Requirements

All chemical waste shall be stored in compatible containers within a satellite accumulation area near the point of generation. Near the point of generation means in the same room, in close proximity to where the waste is generated.

While research groups have wide latitude in where they locate their satellite accumulation areas, they shall never be located underneath sinks. In general, satellite accumulation areas should be in locations where the containers and secondary containment will not be knocked into or bumped, out of foot traffic areas, and that takes into consideration the hazards of waste stored. For research groups that generate a larger volume of flammable waste, putting a satellite accumulation area in a flammable storage cabinet may be appropriate.

Satellite accumulation areas shall be marked with a sign, provided on the EHS webpage. Before posting the sign, ensure that the location, PI, responsible person, and contact number sections are filled out.

Satellite accumulation areas shall be inspected every week there is waste present in the area. This inspection must be completed using the Laboratory Satellite Accumulation Area Weekly Inspection Form. The person completing the weekly inspection shall ensure that the required items are complete, by marking each respective column, including:

- all waste containers are labeled properly, with a filled out green tag attached,

- proper chemical segregation has been followed,

- all waste containers are in good condition and not leaking,

- all waste containers are in secondary containment,

- waste has not exceeded 11 months in the satellite accumulation area, and

- the waste has not exceeded 55 gallons total.

If any of these items are found to be incomplete or not done properly, they shall be fixed promptly.

When no waste is present, the satellite accumulation area does not need to be inspected. On the weekly inspection form, write the date and then “no waste.” Ensure that the weekly inspection process restarts promptly after waste is stored in the area.

### Chemical Waste Containers

Waste shall only be stored in compatible containers that are in good condition. Good condition includes, but is not limited to, no excess rust, no dents, and no waste on the outside of container. Food and drink containers are NEVER acceptable waste containers.

Acids should never be stored in metal containers. Acid waste can be stored in a glass or compatible plastic container. However, hydrofluoric acid (HF) should never be stored in a glass container. HF waste can be safely stored in polypropylene (plastic) containers.

The generator must ensure that all containers in the satellite accumulation area are closed properly, not leaking, and being stored in secondary containment. Any leaking containers must be replaced immediately, the spilled material cleaned up, and the compromised container must be disposed of properly.

Waste containers shall be capped at all times and uncapped only for addition of more waste.

Waste containers that require venting, such as those used for piranha etch, may be allowed to vent. This can be achieved by using a vented lid. However, vented lids are not failsafe and for some reactions may not supply sufficient pressure relief. Likewise, venting is allowed if it is necessary for the proper operation of lab equipment, such as with in-line collection of unwanted materials from high performance liquid chromatographs.

### Chemical Waste Labeling

It is the responsibility of chemical waste generators to ensure that all containers of chemical waste are properly labeled. All chemical waste containers shall be labeled with a green tag, supplied by EHS. Green tags shall be affixed to the container at the point of generation of the waste, meaning as soon as the first volume of waste goes into the container. Proper labeling is not only a regulatory requirement, but also aids in the safe handling and proper disposal of chemical and hazardous waste and ensures safety and environmental protection.

Waste tags must include the name of the person generating the waste, the location of the waste including building name and room number, the container start date (the date the first volume of material was added to the container), and the contents of the container. Abbreviations, trade names, or chemical formulas shall not be permitted. When materials are added, the amount and concentration of constituents must be listed on the tag. Figure 11.1 is an example of what a properly completed green tag should look like.

Figure 11.1	Example of a Properly Completed Green Tag

If the space on the green tag is not large enough to list all of the chemical constituents of the container, attach an additional list by using another green tag, or attach a sheet of paper with the required information.

### Storage of Chemical Waste

Secondary containment is required for the storage of all chemical and hazardous waste materials in the satellite accumulation area. Secondary containment is necessary to reduce and prevent leaks or spills, mixing of incompatible substances, and damage to materials. Storage of waste chemicals shall include separation of incompatible materials, as discussed in "Chemical Storage," section 7.5. Containers should be separated into different secondary containment based on compatibility. EHS can provide additional secondary containment.

When the amount of flammable liquid present in a laboratory is calculated, flammable waste volumes shall be included. If the quantity of flammable liquids in storage exceeds 10 gallons, flammable storage cabinets must be used.

Chemical waste shall not be stored in a lab or research area for longer than 12 months. Chemical waste should be submitted for pick up no later than 11 months after the container start date to ensure sufficient time for the pick up to be completed.

Chemical waste that must be stored in a temperature controlled environment to maintain stability should stay at the necessary temperature while awaiting pick up.

### Comingling and Mixing of Chemical Waste

Care must be taken before mixing or comingling chemical waste. Chemical compatibility shall be considered before mixing any chemical waste. If chemical waste constituents are compatible, it can be appropriate to combine them into one container. However, it is preferable to use smaller containers for each different waste generating process than to attempt to combine waste from many different processes into one container. Avoid mixing hazard classes, unless the waste generated is already a mixed waste (see section 11.6). Waste with certain characteristics or constituents should never be mixed unless they are generated from the same process. This particularly includes waste with chromium, lead, mercury, other heavy metals, etc. This type of waste should be kept separate as much as possible.

### Chemical Waste Pickup

Containers that are not sealed and properly labeled will not be picked up! Likewise, all containers that are ready for pickup must be in the satellite accumulation area or the designated pick up location.

Chemical wastes are removed by EHS or a contracted vendor. Chemicals shall not be brought directly to EHS. To request a pickup at University Park, submit a request using the EHS Waste Management System on the EHS website, ehs.psu.edu. Pickups at other locations are coordinated by regional campus coordinators.

Unused pesticides may be disposed of through the PDA program “CHEMSWEEP” or through EHS.

### Sanitary Sewer Disposal

For reference, see: Safety Policy SY40: Disposal of Pollutants in University Sanitary Systems.

The indiscriminate drain-disposal of chemicals or materials is a violation of both safety and environmental regulations. Drain disposal of chemical waste materials shall be permitted only with specific and explicit approval by EHS and the appropriate Penn State Wastewater Utility Engineer.

Inappropriate disposal of certain chemicals into the sanitary sewer system may create a variety of hazards including the following:

    - Fire and/or explosion hazards within the drain system.

    - Inadvertent mixing within the drain system of incompatible chemicals from different laboratories.

    - Corrosion of drainpipes.

    - Chemical exposure hazards to plumbers.

    - Escape of volatile, toxic, and/or malodorous substances.

    - Biocidal action on microorganisms that are necessary for the normal and effective operation of the waste water treatment plant.

    - Addition of unacceptable amounts of toxic substances (e.g., certain heavy metals) to sewage sludge and effluent.

### Treatment

To reduce chemical hazard, the last step of an experiment may involve chemical treatment. All methods of treatment require advance written approval by EHS. Generally, only neutralization of inorganic acids and bases is acceptable. Box 7.6 details acceptable neutralization of acids. Box 7.7 details acceptable neutralization of bases. Federal regulations and Penn State policy require researchers to make every effort to minimize the amount and toxicity of waste removed from University facilities.

### Chemically Contaminated Sharps

It is the responsibility of sharps users to ensure that the packaging of sharps waste is done properly and does not pose a hazard to providers of disposal services. Chemically contaminated sharps such as broken glass, syringes, serological pipettes, needles, syringes, scalpel blades, and razor blades shall be collected in sturdy, rigid, puncture-resistant containers for proper disposal. Properly rinsed (as described in section 11.2.2.1) old chemical containers can be appropriate sharps containers if they are in good condition, compatible with the chemical contaminants that will be placed in them, and have a lid that can close securely. Translucent wide mouth containers are ideal for reuse as sharps containers. Sharps containers can also be purchased from a number of different scientific or medical supply vendors. Biohazardous sharps containers should not be used for chemically contaminated sharps, but if they are, ensure the biohazard symbol is completely defaced.

Plastic bags and cardboard boxes are NOT suitable for the collection of chemically contaminated sharps as they do not provide those handling the containers with protection from needlesticks, cuts, or leakage of chemicals.

To guard against sharps injuries:

- Never dispose of sharps in the regular trash.

- Sharps containers with chemically contaminated sharps must be treated like all other chemical waste. Containers shall be labeled with a green tag with the phrase “sharps contaminated with ____” in the contents section, making note of what chemical contaminants are present.

- Sharps must be put into a rigid, puncture-resistant, leakproof container for disposal.

- Do not overfill sharps containers. The lid must be able to close.

- Never force a sharp into a sharps container.

- Keep the sharps container as close to where you are working as possible.

- Never recap needles prior to disposal.

- Handle sharps as little as possible. If cleaning up sharps such as broken glass, do not use your hands. Use a broom and dustpan, or forceps, to pick up the material.

### Disposal of Compressed Gas Cylinders

Gas cylinders for disposal must still meet the requirements discussed in section 7.3.9, including ensuring they are secured in place, capped, and segregated based on chemical compatibility.

For University Park, gas cylinders purchased through General Stores must be returned through General Stores when empty or no longer needed.

Cylinders purchased through other vendors, or at locations other than University Park, should be returned to the gas supplier whenever possible.

For unknown, or otherwise non-returnable gas cylinders, submit a chemical waste pick up request just like other chemical waste. These gas cylinders must have a green tag attached and follow the same chemical waste requirements discussed above. EHS will not accept cylinders with regulators still connected.

### Electrophoresis Gels

Electrophoresis gels are considered chemical waste at Penn State regardless of the matrix, including agarose or polyacrylamide, or nucleic acid staining solution, including ethidium bromide, propidium iodide, acridine orange, SYBR green, gel red, gel green, etc. Waste items from electrophoresis, including gels, contaminated gloves, tips, wipes, and paper towels, should be placed in a bag in a bucket, provided by EHS. The bucket must be labeled with a green tag and handled as chemical waste as discussed above. Do not put electrophoresis associated waste in red biohazardous bags.

Prior to disposal, ethidium bromide containing buffer should be filtered using an ethidium bromide extractor funnel, destaining bags, or activated charcoal. The material used to perform the filtering should be disposed of with the other materials discussed above. The filtrate may then be drain disposed.

Sharps, including razor blades and scalpel blades, contaminated with ethidium bromide may NOT be disposed of with the materials above. These sharps, like all others, must be collected in a sharps container for waste disposal.

### Disposal of Unknown Chemicals

If the identity of a chemical cannot be ascertained, this chemical must be handled by EHS as an unknown. Unknown chemicals are considered to be extremely dangerous because of the lack of information regarding reactivity, physical stability, and decomposition by-products. Since some chemicals can develop reactive moieties around caps or ground glass stoppers, NEVER open an unknown chemical container.

Submit unknowns as chemical waste, including any and all known information you may have regarding the material. Even an educated guess of contents can provide helpful information in determining the proper avenue for final disposal.

Unknown chemical waste must be handled like other chemical waste, as discussed above, including attaching a green tag. In this case, write “unknown” and any associated information in the contents section. If the integrity of the container is questionable, place it inside another sealable container. If you think the container is unsafe to handle, for example if there are crystals or salts around the lid, consider placing a green tag right next to the container, or gently taping it without moving the container. Never hesitate to contact EHS with questions if you feel unsafe handling a container with unknown contents.

## Regulated Medical Waste

For reference, see: Safety Policy SY29: Infectious Waste Disposal.

RMW, in the Commonwealth of Pennsylvania, includes many types of waste, not just those normally associated with medical care. Many researchers may also call this category of waste infectious waste, bio waste, or biohazardous waste. Additionally, Penn State follows the handling and disposal requirements of the NIH Guidelines for Research Involving Recombinant or Synthetic Nucleic Acid Molecules (NIH Guidelines).

RMW at Penn State includes:

- Cultures and stocks – Cultures and stocks of infectious agents and associated biologicals, including the following: cultures from medical and pathological laboratories; cultures and stocks of infectious agents from research and industrial laboratories; wastes from the production of biologicals; discarded live and attenuated vaccines except for residue in emptied containers; and the culture dishes, assemblies and devices used to conduct diagnostic tests or to transfer, inoculate and mix cultures.

- Pathological wastes – Human pathological wastes, including tissues, organs, body parts, and body fluids that are removed during surgery, autopsy, other medical procedures, or laboratory procedures. The term does not include hair, nails, or extracted teeth.

- Human blood and body fluid waste and items contaminated with the same.

- Animal wastes – Contaminated animal carcasses, body parts, blood, blood products, secretions, excretions and bedding of animals that were known to have been exposed to zoonotic infectious agents or nonzoonotic human pathogens during research (including research in veterinary schools and hospitals), production of biologicals or testing of pharmaceuticals.

- Isolation wastes – Biological wastes and waste contaminated with blood, excretion, exudates, or secretions from:

  - Humans who are isolated to protect others from highly virulent diseases.

  - Isolated animals known or suspected to be infected with highly virulent diseases.

- Used sharps – Sharps that have been in contact with infectious agents or that have been used in animal or human patient care or treatment, at medical, research, or industrial laboratories, including hypodermic needles, syringes (with or without the attached needle), Pasteur pipettes, scalpel blades, blood vials, needles with attached tubing, culture dishes, suture needles, slides, cover slips, and other broken or unbroken glass or plasticware.

At Penn State, RMW is any laboratory-generated waste that is or may be contaminated with disease-causing bacteria, viruses, fungi, or other pathogens; OR any item that has been used with recombinant or synthetic nucleic acids. RMW shall be treated properly to eliminate the potential hazard that these wastes pose to human health and the environment.

### Separation of Regulated Medical Waste

RMW shall be separated from general, noninfectious waste materials and from wastes containing radioactive, carcinogenic, flammable, or toxic materials wherever possible. Some wastes may contain multiple hazards. These shall be handled such that priority is given to the greatest hazard present. See section 11.6 for additional information on mixed waste. Contact EHS for information on handling mixed biological/radioactive or biological/chemical waste. In general, it is easier to inactivate the biohazard and then deal with the material as radioactive or chemical waste.

### Solid Regulated Medical Waste

Solid RMW shall be placed in red, red-orange, or orange biohazard labeled plastic bags. The bags shall be seamless, tear-resistant, and autoclavable. Single bags shall have a minimum thickness of 3.0 mils and double bags, 1.5 to 2.0 mils. Bags shall be closed by folding or tying when full, at the end of the day, or before transporting. Biohazard bags should only be used for disposal of RMW.

To minimize formation of aerosols, RMW shall not be compacted prior to decontamination.

Waste containers that contain blood or OPIM shall be sealable, large enough to contain all intended contents, leakproof, and closed securely prior to removal. If the primary waste container is contaminated on the outside, a closable, sturdy, leakproof, and labeled or color-coded secondary container shall be used and shall also be closed prior to removal.

Solid RMW, such as contaminated pipette tips, culture dishes, flasks, tubes, etc., shall be rendered noninfectious prior to disposal, further discussed in section 11.4.6.

### Liquid Regulated Medical Waste

Liquid RMW shall be stored in containers that are in good condition and compatible with the final sterilization method. For example, if liquid RMW will be autoclaved, it should be stored in a container that is suitable for autoclaving. Containers used to store liquid RMW must have a lid that is secured to the container when waste is not being added. Never store liquid RMW in food or beverage containers.

Liquid RMW, such as tissue culture media or growth media, shall be rendered noninfectious prior to disposal, further discussed in section 11.4.6.

### Sharps Contaminated with Regulated Medical Waste

Sharps contaminated with RMW, as defined above, including broken glass, syringes (with or without the attached needle), hypodermic needles, needles with attached tubing, Pasteur pipettes, scalpel blades, razor blades, blood vials, slides, or cover slips, shall be discarded immediately or as soon as feasible. They must be disposed of in red, red-orange, or orange biohazard sharps containers that are sturdy, rigid, and puncture-resistant. Plastic bags and cardboard boxes are never suitable for the collection of sharps as they do not provide those handling the containers with protection from needlesticks or cuts. Sharps containers shall be easily accessible to personnel and located close to the immediate area where sharps are used. They shall be maintained upright throughout use, be replaced routinely, and not be allowed to overfill.

Sharps containers are handled by a number of individuals before final disposal. It is the responsibility of the researchers using sharps to ensure that the packaging of the waste does not pose a hazard to providers of disposal services. Sharps containers for RMW can be purchased from a number of different scientific or medical supply vendors. EHS does not supply these containers to research groups.

Sharps become many times more dangerous when they have been in contact with a disease-causing microorganism, or if they have blood on them. Human blood can carry HBV, HIV, and many other serious pathogens. Used sharps have the potential to penetrate the skin and carry these organisms into the body, where infection can then occur.

To guard against sharps injuries:

- Never dispose of sharps in the regular trash.

- Sharps must be put into a red, red-orange, or orange container that is rigid, puncture-resistant, and leakproof for disposal.

- Do not overfill sharps containers. The lid must be able to close.

- Keep the sharps container as close to where you are working as possible.

- Never recap needles prior to disposal.

- Handle sharps as little as possible. If cleaning up sharps such as broken glass, do not use your hands. Use a broom and dustpan, or forceps, to pick up the material.

- Sharps containers that have sharps contaminated with regulated medical material must be treated like other RMW. They must be autoclaved prior to disposal.

Before sharps containers are removed from the work area, they shall be closed securely. If leakage is possible, a closable, sturdy, leakproof, and labeled or color-coded secondary container shall be used.

All wastes shall be appropriately decontaminated before disposal (e.g., wastes should be autoclaved). Once decontaminated, the waste shall be placed in the collection containers (“white barrels” at University Park) found in autoclave rooms. For sharps waste generated at other locations, contact your regional EHS coordinator.

As described under procedures for BSL-2 and -3 and procedures for human blood and related materials, syringes and needles shall be handled with extreme caution to avoid autoinoculation and the generation of aerosols. Needles shall not be bent, sheared, replaced in the sheath or guard, or removed from the syringe following use. The needle and syringe shall be promptly placed in a puncture-resistant container and decontaminated, preferably by autoclaving. Needles will be rendered unusable following decontamination.

### Storage and Transport of Regulated Medical Waste

Custodial workers will not remove RMW of any kind generated in the course of research.

RMW that are removed from a laboratory or stored temporarily shall be closed and double-bagged, or placed inside a covered, unbreakable outer container.

RMW shall never be transported in personal vehicles.

### Treatment of Regulated Medical Waste

RMW, including cultures and stocks of etiologic agents, shall be rendered noninfectious by steam sterilization or chemical inactivation.

All human blood, blood products, nonfixed human tissues, and OPIM are considered infectious and shall be disinfected by autoclaving.

Once autoclaved or bleached, sterilized liquid RMW that presents no additional hazards may be discarded by pouring down the drain.

#### Steam Sterilization

Most RMW are autoclaved based on the type of waste, load volume, packaging material, and load configuration. The efficacy of the autoclave should be monitored using a biological indicator, such as Geobacillus stearothermophilus. The frequency of monitoring depends on the hazards of the organisms being used and the frequency of waste sterilization. At University Park, OPP performs this monitoring quarterly. At Commonwealth Campuses generally the Laboratory Safety Officer or Campus Maintenance personnel performs the monitoring.

Solid RMW is generally autoclaved prior to disposal. Some liquid RMW may also be rendered noninfectious by autoclaving. Use autoclave indicator tape for each load to indicate that the load has reached the proper temperature. Note that autoclave tape does not indicate that the load was heated at the proper temperature or for the appropriate length of time.

Do not autoclave RMW that contains solvents, or chemicals that are volatile, corrosive, combustible, or flammable. EHS shall be contacted before steam sterilizing wastes containing carcinogens or radionuclides. Never autoclave RMW that contains any of the following:

- 5-fluorouracil

- acrylamide

- chloroform

- chloropyrifos

- diethylnitrosoamine

- formaldehyde

- oxidopamine

- paraformaldehyde

- phenol

- rotenone

- sodium azide

- trinitrobenzene sulfonic acid.

#### Chemical Disinfection

Chemical treatment is usually a disinfection rather than sterilization. Thus, it is usually intended as a temporary measure to control RMW until sterilization can treat the hazard. Disinfection may be used as final treatment on a case-by-case basis following a petition by the PI and approval by EHS.

Liquid RMW is generally rendered noninfectious by adding a sufficient amount of household bleach (5.25% sodium hypochlorite) to account for 10% of the final volume (i.e., 100 ml of bleach to 1000 ml of liquid waste and incubate for at least 30 min – 1 hour).

Some chemicals that may be used with materials that result in liquid RMW are incompatible with bleach. Never add bleach to solutions that contain chemicals such as:

- acetone

- acids including: hydrochloric acid, hydrofluoric acid, phosphoric acid, sulfuric acid,

- aldehydes including formaldehyde and formalin

- aluminum chloride

- aluminum sulfate

- ammonia

- DMSO

- ethanol

- hydrogen peroxide

- isopropanol

- 2-mercaptoethanol

- metals such as cobalt, copper, iron, and nickel

- urea (including urea broth test tubes)

If your lab will generate RMW with chemicals in the list above, consult EHS for proper handling and disposal prior to generating that waste.

Do not autoclave liquid RMW that has been bleached. Bleach will react with water to form hypochlorous acid (HOCl), which will decompose to chlorine (Cl2) and hydrogen chloride (HCl). Autoclaving bleached solutions will generate chlorine gas, which will corrode steel and present significant respiratory hazards when the autoclave is opened after a cycle completes.

## Radioactive Waste

Detailed requirements for the handling of common forms of radioactive waste produced at Penn State can be found on the EHS webpage, under Radioactive Waste Management.

## Mixed Waste

Mixed waste is waste that combines the hazardous waste groups discussed above. These can include biological/radioactive, chemical/radioactive, biological/chemical, and in rare cases, waste that combines all three categories. Special requirements govern the disposal of these types of waste.

Generators shall contact EHS prior to generating a mixed waste. Potential mixed-waste generation must be addressed in the planning stage of any experiment that will create mixed waste. Laboratory and research groups planning projects that will generate mixed waste must develop an SOP containing information regarding identification, collection, storage, labeling, and disposal of mixed waste.

Mixed waste should follow container, storage, and inspection documentation requirements in the following priority order: radioactive, then chemical, and finally biological. Laboratories that generate mixed wastes shall store this waste at the point of generation and ensure that each container is properly closed and labeled appropriately. These containers should be inspected and the inspection documented based on the presence of radioactive and/or chemical constituents.

Avoid mixing waste of different types and isotopes. Laboratories should use the smallest volume of hazardous materials to minimize the production of mixed waste. Do not add aqueous waste into the mixed waste as it will increase the volume and disposal cost of mixed waste. Eliminate hazardous characteristics when possible, including disinfecting biohazardous components when practical.

### Mixed Regulated Medical and Radioactive Waste

For details on handling, storage, labeling, and disposal of mixed regulated medical waste and radioactive waste, follow the information found in the Rules and Procedures for Use of Radioactive Material at The Pennsylvania State University. Additional information can be found on EHS’ Radioactive Waste Management page.

### Mixed Chemical and Radioactive Waste

For details on handling, storage, labeling, and disposal of mixed chemical and radioactive waste, follow the information found in the Rules and Procedures for Use of Radioactive Material at The Pennsylvania State University. Additional information can be found on EHS’ Radioactive Waste Management page.

If the mixed waste contains both radioactive and hazardous chemical waste components, both treatment and regulation can be complex. Mixed chemical and radioactive wastes are regulated by the Resource Conservation and Recovery Act (RCRA) and the Atomic Energy Act (AEA). In general, the requirements of RCRA and AEA are consistent and compatible; although, in cases where questions of waste identification comes into play, the AEA takes precedence. The Nuclear Regulatory Commission (NRC) and the Department of Energy (DOE) regulate the radioactive portion of mixed waste under AEA authority, while EPA regulates the hazardous waste portion of mixed waste under RCRA authority.

### Mixed Chemical and Regulated Medical Waste

This category of mixed waste is sometimes generated in the course of biological research where the use of certain chemicals means the waste is no longer safe to be rendered noninfectious using the accepted protocols of autoclaving or bleaching. As discussed in section 11.4.6.1, some chemicals should never be autoclaved. Likewise, section 11.4.6.2 lists chemicals that are incompatible with bleach.

Mixed chemical and RMW shall NOT be autoclaved. Chemical compatibility must be taken into account before adding bleach or any other chemical disinfectant. If chemical constituents are incompatible with bleach, contact EHS for guidance.

This type of material must be properly contained first based on the chemical constituents, and then the biohazardous material. They must also be labeled with a properly filled out green tag that lists both the chemical constituents of the waste along with the biohazard (organism, virus, rDNA, etc.). Keep different waste streams as separate as possible. If you have questions about what waste is appropriate to combine, contact EHS before combining any waste streams.

Collection containers must be chemically compatible with the waste and capable of containing the material. Follow these general guidelines to package this type of mixed waste:

- Solids – place in a red, red-orange, or orange biohazard labeled plastic bag. Complete and attach a green waste tag. Do not place in “white barrels” in autoclave room at University Park.

- Solids with free liquids – place in a red, red-orange, or orange biohazard labeled plastic bag placed inside a bucket to prevent the liquid from leaking should the bag develop a hole or tear. Complete and attach a green waste tag.

- Liquids – place in a compatible container with a lid. Complete and attach a green waste tag.

The waste must be stored as close to the point of generation as possible and the container must have a lid that is closed other than when waste is being added to the container. This waste must meet the same requirements as chemical waste as detailed in section 11.3.

Directions for how to properly complete a waste disposal pick up request for mixed waste can be found on the EHS Waste Disposal page under “How to create a chemical waste disposal request.”

Mixed hazardous chemical and biological waste containing animal tissues or samples should be identified as containing infectious or non-infectious animal tissues or samples. If the biological animal tissues or samples are non-infectious, EHS will provide and require you to fill out a Non-Infectious Certification for the vendor disposal. Both infectious and non-infectious mixed chemical and biological animal tissue or sample waste should be rendered biologically inactive before disposal as hazardous chemical waste if possible. Mixed chemical and biological animal tissue or samples shall NOT be autoclaved.

### Mixed Chemical, Radioactive, and Regulated Medical Waste

Waste generated in the course of research that includes components that are radioactive, chemical, and biological present multiple challenges for handling, storage, and disposal. Contact the Radiation Protection Office within EHS for guidance prior to generating this type of waste.

## Batteries

For reference and additional information, see the Battery Recycling webpage from the Sustainability Institute.

Only batteries used in the course of Penn State activities may be disposed of through Penn State. Never bring batteries from home for disposal on campus.

Non-rechargeable batteries, such as alkaline batteries, should be placed in the regular trash for disposal.

Acceptable Universal Waste Batteries for disposal through Penn State include rechargeable batteries, such as nickel cadmium, nickel metal hydride, lithium and lithium-ion, and lead acid. These batteries should never be placed in the trash for disposal.

Batteries for disposal at University Park are sent for recycling through the Battery Mailer Program hosted by EHS. To send out your waste batteries, contact your building’s Battery Collection Leader. Batteries sent through the Battery Mailer Program must be individually packaged to prevent terminals from short-circuiting and sent to EHS for appropriate disposal.

Lead acid batteries and batteries larger than three pounds, or those that cannot fit in the Battery Mailers, are handled as chemical waste. Submit these larger batteries for waste pick up using the online chemical waste disposal system.

Batteries for disposal at Commonwealth Campuses are coordinated with the respective EHS Regional Coordinator. Batteries held for disposal must have the terminals protected by either bagging each battery separately or taping the terminals with clear packaging tape. All batteries must have their terminals protected to minimize the risk of short-circuiting.

## Equipment Lamps and Bulbs

Equipment lamps and bulbs can sometimes contain hazardous chemicals. Regardless of their contents, all lamps and bulbs must be disposed of properly.

Incandescent bulbs can be disposed of by carefully wrapping them in cushioning material and placing them into the regular trash.

Compact fluorescent lights (CFL), fluorescent bulbs, and specialty lamps such as mercury lamps, UV lamps, or special microscope bulbs are considered chemical waste, and should be handled as such as discussed previously. At University Park, place these types of used bulbs or lamps in a box with padding and manage them as chemical waste including attaching a completed green tag, placing in the satellite accumulation area, and submitting a chemical waste pick up. At Commonwealth Campus locations, discuss the appropriate disposal avenues with your regional EHS coordinator or the campus maintenance supervisor.

For larger quantities or larger bulbs, contact EHS for assistance and guidance on disposal.

All other types of light bulbs must be recycled through EHS by using the Light Tubes and Ballasts link on the waste disposal page.​

## Equipment Disposal

For reference, see Business Services Policy BS15: Disposal and Purchase of Obsolete, Surplus or Scrap University-Owned Equipment, Supplies and/or Materials. Further information about the “Procedures for the Proper Disposition of Equipment and Materials Through Lion Surplus” can be found on the EHS webpage along with the “Laboratory/Research Equipment Clearance Form.”

Equipment and labware that has been used with hazardous materials including chemicals, petroleum products, oils, infectious agents, or radioactive materials must be properly cleaned and free of any harmful contaminants before being offered to Lion Surplus. All hazard labels must be defaced.

Special considerations must be taken when disposing of laser systems, gas chromatographs, liquid scintillation counters, radiation-producing equipment, and equipment containing coolants, oils, and refrigerants (including refrigerators, freezers, hydraulic presses, vacuum pumps, etc.).

Vacuum pumps must be drained of oil and checked for mercury contamination prior to being sold or sent for disposal. Research groups are responsible for arranging to have oil drained. EHS is responsible for checking for mercury contamination.

For each piece of equipment being sent for disposal, ensure that the checklist on the “Laboratory/ Research Equipment Clearance Form” is properly completed and attached to the equipment, and a copy sent to ehslabsafety@psu.edu.

## Waste Generated From Animal Research

Handling and disposal of animal carcasses, bedding, and wastes are specified by the Animal Resource Program (ARP).

## Disposal of Controlled Substances

As per Research Protections Policy RP13: Use of Controlled Substances in Research, controlled substances should be disposed promptly following their expiration, or when they are no longer required for research. In all instances, all controlled substances should be disposed of prior to vacating or decommissioning of a laboratory or termination of the applicable DEA registration, whichever occurs earlier. Registrants must work with EHS to transfer controlled substances to a licensed reverse distributor for disposal. The reverse distributor will render the substances non-retrievable. To start the disposal process, submit a chemical waste pick up request. EHS will contact the submitter and ORP for additional information.

For questions about the disposal of orphaned substances or substances without proper registrations, contact ORP.

# Abbreviations

The following are common abbreviations used in the LRSP and its associated attachments.

| ANSI | American National Standards Institute |
| --- | --- |
| ARP | Animal Resource Program |
| BMBL | Biosafety in Microbiological and Biomedical Laboratories |
| BSC | Biological Safety Cabinet |
| BSL | Biosafety Level |
| CAS | Chemical Abstracts Services |
| CDC | Centers for Disease Control and Prevention |
| CFR | Code of Federal Regulations |
| CHIMS | Chemical Inventory Management System |
| DEA | Drug Enforcement Administration |
| DEP | Department of Environmental Protection |
| DOT | Department of Transportation |
| EHS | Environmental Health and Safety |
| EPA | Environmental Protection Agency |
| FROI | first report of injury |
| FR | Flame Resistant |
| GHS | Globally Harmonized System |
| HBV | Hepatitis B virus |
| HEPA | High Efficiency Particulate Air |
| HIV | Human Immunodeficient Virus |
| IACUC | Institutional Animal Care and Use Committee |
| IBC | Institutional Biosafety Committee |
| IPM | Integrated Pest Management |
| LC50 | Lethal Concentration |
| LD50 | Lethal Dose |
| LRSP | Laboratory and Research Safety Plan |
| NFPA | National Fire Protection Association |
| NIH | National Institutes of Health |
| NRC | Nuclear Regulatory Commission |
| OPIM | other potentially infectious material |
| OPP | Office of Physical Plant |
| ORP | Office for Research Protections |
| OSHA | Occupational Safety and Health Administration |
| PDA | Pennsylvania Department of Agriculture |
| PEL | Permissible Exposure Limit |
| Penn State | The Pennsylvania State University |
| PI | Principal Investigator |
| PPE | Personal Protective Equipment |
| ppm | parts per million |
| RMW | Regulated Medical Waste |
| SDS | Safety Data Sheet |
| SOP | Standard Operating Procedure |
| UIC | University Isotopes Committee |
| UV | Ultraviolet |

# REFERENCES

Numerous laws and regulations govern materials used in research and the responsibilities of employers and employees. A thorough listing of laws and regulations that cover all activities performed in laboratory and research areas is well beyond the scope of this document. What follows is a brief overview and is meant to give interested individuals a starting point.

## Federal Laws and Regulations

### Environmental Protection Agency (EPA)

- Clean Water Act. Provides for surface water protection and results in many environmental regulations.

- Resource Conservation and Recovery Act of 1976. Governs hazardous waste disposal.

- Worker Protection Standard (WPS). Protects farm workers from pesticide exposure.

### National Institutes of Health (NIH)

While generally not thought of as a regulatory agency, certain guidelines and documents from the NIH can be enforced from a regulatory standpoint.

- Biosafety in Microbiological and Biomedical Laboratories. A joint publication from the CDC and NIH that serves as a cornerstone for biosafety practices.

- Guidelines for Research Involving Recombinant or Synthetic Nucleic Acid Molecules (NIH Guidelines). Covers the use of recombinant nucleic acids at any institution that receives any funding from the NIH for recombinant nucleic acid research.

### Occupational Health and Safety Administration (OSHA)

Occupational Safety and Health Act of 1970 and its many chapters and subparts contain numerous standards that apply in the workplace, including laboratory and research areas at Penn State. Some of the more pertinent ones for laboratory and research safety are listed below. The standards found in 1910 – Occupational Safety and Health Standards, are those mostly likely to be of interest to those referencing this document.

- 1910 Subpart I – Personal Protective Equipment. Covers the use of protective equipment wherever it is necessary by reason of hazards of processes or environment, chemical hazards, radiological hazards, or mechanical irritants could cause injury or impairment through absorption, inhalation, or physical contact.

  - 1910.132 General PPE Requirements

  - 1910.133 Eye and Face Protection Standard

  - 1910.133 Respiratory Protection Standard

  - 1910.135 Head Protection Standard

  - 1910.136 Foot Protection Standard

  - 1910.138 Hand Protection Standard

- 1910 Subpart Z – Toxic and Hazardous Substances

  - 1910.1200 Hazard Communication Standard. Governs chemical safety in the workplace.

  - 1910.1450 Occupational Exposure to Hazardous Chemicals in Laboratories Standard. Governs the use of chemicals in laboratories. In general, the Laboratory Standard adopts the guidelines found in Prudent Practices for Handling Hazardous Chemicals in Laboratories (published by the National Research Council) and incorporates some elements of the Hazard Communication Standard.

## State Laws

Pennsylvania Codes can be found on the PA Code and Bulletin webpage by searching for the associated title and then chapter in interest.

### PA Department of Agriculture

- Pennsylvania Pesticide Control Act of 1973. Title 7, Chapter 128. Governs the licensing of applicators and the application of pesticides.

### Department of Environmental Protection

- Hazardous Waste Management. Title 25, Article VII, Chapter 270.

- Municipal Waste. Title 25, Article VIII, Chapters 271, 283, 284, and 285.

## Penn State Policies and Programs

Many Penn State Policies and programs are referenced throughout this document. The Penn State policies most pertinent to laboratory and research areas are also listed below. They can be found on the Penn State policy webpage under the Safety tab.

- SY01 – Environmental Health and Safety

- SY08 – Storage, Dispensing and Use of Flammable Liquids on Pennsylvania State University Property

- SY11 – Refrigerators – Explosion Proof

- SY14 – Use of Radioactive Materials

- SY15 – Radiation-Producing Materials

- SY17 – Lasers

- SY20 – Hazardous Waste Disposal

- SY24 – Use of Regulated and Biohazardous Materials in Research and Instruction

- SY25 – Compressed Gas Cylinders

- SY29 – Infectious Waste Disposal

- SY40 – Disposal of Pollutants in University Sanitary Systems

- SY43 – Laboratory and Research Safety Plan

Likewise, many standalone EHS programs also apply to laboratory and research groups. While this document attempts to summarize many of the more pertinent parts for laboratory and research groups, and put them in the context of active research projects, these programs and their associated documents can also be found separately on the EHS webpage.

- Bloodborne Pathogens

- Energized Electrical Safety

- Hearing Conservation

- Industrial Hygiene

- Pesticide Management

- Respiratory Protection

## Nanomaterial References

These references are specific to section 7.7, Nanomaterials.

- Department of Health and Human Services (DHHS)/ Centers for Disease Control (CDC)/ The National Institute for Occupational Safety and Health (NIOSH). Current Intelligence Bulletin 65:  Occupational Exposure to Carbon Nanotubes and Nanofibers. DHHS/CDC/NIOSH (NIOSH) Publication 2013-145. April 2013. Available at: https://www.cdc.gov/niosh/docs/2013-145/pdfs/2013-145.pdf

- DHHS/CDC/NIOSH. Current Intelligence Bulletin 63: Occupational Exposure to Titanium Dioxide. DHHS (NIOSH) Publication 2011-160. April 2011. Available at: https://www.cdc.gov/niosh/docs/2011-160/pdfs/2011-160.pdf

- NIOSH. NIOSH Science Blog. The Art and Science of OEL’s for Nanomaterials. Verbeek, J., Mihalache, R. February 2017.  Available at: https://blogs.cdc.gov/niosh-science-blog/2017/02/01/nano-oels/

- DHHS/CDC/NIOSH. External Review Draft – Health Effects of Occupational Exposure to Silver Nanomaterials. December 2015.  Available at: https://www.cdc.gov/niosh/docket/review/docket260a/pdfs/draft--niosh-cib-on-silver-nanomaterials-1_8_16.pdf

- DHHS/CDC/NIOSH. Controlling Health Hazards When Working with Nanomaterials: Questions to Ask Before You Start. DHHS (NIOSH) Publication Number 2018-103. February 2018. Available at: https://www.cdc.gov/niosh/docs/2018-103/default.html

- DHHS/CDC/NIOSH. General Safe Practices for Working with Engineered Nanomaterials in Research Laboratories. DHHS (NIOSH) Publication 2012-147. May 2012. Available at: https://www.cdc.gov/niosh/docs/2012-147/pdfs/2012-147.pdf

- DHHS/CDC/NIOSH. Workplace Design Solutions: Protecting Workers during Nanomaterial Reactor Operations. DHHS (NIOSH) Publication No. 2018-120. March 2018. Available at: https://www.cdc.gov/niosh/docs/2018-120/default.html

- DHHS/CDC/NIOSH. Workplace Design Solutions: Protecting Workers during the Handling of Nanomaterials. DHHS (NIOSH) Publication No. 2018-121. March 2018. Available at: https://www.cdc.gov/niosh/docs/2018-121/default.html

- DHHS/CDC/NIOSH. Workplace Design Solutions: Protecting Workers during Intermediate and Downstream Processing of Nanomaterials. DHHS (NIOSH) Publication No. 2018-122.  Available at: https://www.cdc.gov/niosh/docs/2018-122/default.html

- DHHS/CDC/NIOSH. Current Strategies for Engineering Controls in Nanomaterial Production and Downstream Handling Processes. DHHS (NIOSH) Publication No. 2014–102. November 2013. Available at: https://www.cdc.gov/niosh/docs/2014-102/pdfs/2014-102.pdf

- National Research Council of the National Academies. Prudent Practices in the Laboratory. 2011. Chapter 6J: Working with Nanoparticles. pp. 141-146; Chapter 9E5: Special Systems/Nanoparticles and Nanomaterials. p 248.

- DHHS/CDC/NIOSH. NIOSH Science Blog: Respiratory Protection for Workers Handling Engineered Nanoparticles. Zhuang, Z., Viscusi, D., December 7, 2011. Available at: https://blogs.cdc.gov/niosh-science-blog/2011/12/07/resp-nano/

# REVISION SUMMARY TABLE

| Version No. | Doc. No. | Revision Summary | Issued Date | Revision Originator |
| --- | --- | --- | --- | --- |
| 1 |  | Plan developed | 2009 |  |
| 2 |  | Revised Plan to include updated Biosafety in Microbiological and Biomedical Laboratories 2009 information | Sep 2012 |  |
| 3 |  | Revised Plan to included Machine shop information | Jan 2013 |  |
| 4 |  | Added information regarding LRSP policy | Apr 2013 |  |
| 5 |  | NIOSH Carcinogen table updated Added information on Global Harmonization System | Jul 2013 |  |
| 6 |  | Updated ANSI shower flow requirements | Oct 2013 |  |
| 7 |  | Added link to Fisher Scientific chemical storage guidance | Jun 2014 |  |
| 8 | EHS-0004 | Significant revisions to content to align EHS programs and practices. Major formatting changes. | Jan 2019 | ASH |
| 9 | EHS-0004 | Substantial update to format, harmonization with EHS policies, and review by University Safety Council. | Sep 2021 | ASH |

# ATTACHMENTS

Appendix A	Unit Specific Plan

Appendix B	Standard Operating Procedures

Appendix C	Emergency Response Training Fact Sheet

Appendix D	Chemical Safety Fact Sheet

Appendix E	Compressed Gas Cylinders Fact Sheet

Appendix F	Highly Reactive Materials, High pressure Reactions, or Vacuum Systems Fact Sheet

Appendix G	Biological Safety Fact Sheet

## Appendix A – Unit Specific Plan

The Unit Specific Plan can be found on the EHS webpage, under the Laboratory and Research Safety forms page. Additional information about the Unit Specific Plan, who is required to complete one, and its required review cycle can be found in section 4.3 of the Laboratory and Research Safety Plan.

## Appendix B – Standard Operating Procedures

SOPs are a required supplement to the Laboratory and Research Safety Plan to reduce the risks involved in working with hazardous materials or performing other potentially hazardous operations in the laboratory. Directions and a template for writing SOPs can be found in the EHS webpage at: https://ehs.psu.edu/sops.

## Appendix C – Emergency Response Training Fact Sheet

Based on 29 CFR 1910.120, Hazardous waste operations and emergency response.

____________________________________________

CHEMICAL SPILLS YOU CAN HANDLE YOURSELF

PIs, employees, and students working in laboratory and research areas should be aware that required safety training for personnel includes emergency response training.

Emergency response training applies to building evacuation procedures during fires and explosions, recognition of system alarms, and appropriate action in the event of spills of hazardous materials in the lab. Lab personnel must receive training to distinguish between the types of spills they can handle on their own (simple spills) and those spills that are classified as major or emergency. Major or emergency spills dictate the need for outside help.

Lab personnel are qualified to clean-up simple spills. These are defined as spills that do not pose a significant safety or health hazard to people in the immediate vicinity nor does they have the potential to become emergencies within a short time frame. Lab personnel can handle simple spills because they are expected to be familiar with the hazards of the chemicals they routinely handle during an “average” workday. Lab personnel must be able to determine when outside help is necessary, such as when a spill exceeds the scope of their experience, training, or willingness to respond.

Depending on the circumstances, what begins as a simple spill could escalate into a major emergency. Responding lab personnel must monitor changing conditions. Again, lab-specific training must cover how to tell the difference!

EHS employees have received in-depth training qualifying them for emergency response beyond the level of simple spills. They are prepared to answer calls that exceed the training scope of lab personnel. Lab personnel are encouraged to play it safe and contact EHS for clean-up assistance when in doubt about the status of a spill. EHS assistance is available 24 hours a day, seven days a week.

EHS: 814-865-6391

____________________________________________

ALL SPILLS THAT REQUIRE EMERGENCY SERVICES INTERVENTION

Emergency Response Procedures. Call 911 to report fires, explosions, medical emergencies, and emergency hazardous material spills. Police dispatch will contact EHS and appropriate emergency response personnel at any time to respond to hazardous material spills.

Emergency assistance is provided by EHS and at University Park, the Centre County Hazardous Materials Response Team. Spills requiring the involvement of individuals outside the lab are those exceeding the exposure one would expect during the normal course of work. Spills in this category are those that have truly become emergency situations in that lab personnel are overwhelmed beyond their level of training or their response capability is compromised by the magnitude of the incident. Emergencies such as this involve:

- the need to evacuate people in the area

- the need for response from outside the immediate release area

- the release poses, or has potential to pose, conditions that are immediately dangerous to life and health

- the release poses a serious threat of fire and explosion

- the release requires immediate attention due to imminent danger

- the release may cause high levels of exposure to toxic substances

- there is uncertainty that lab personnel can handle the severity of the hazard with the PPE and equipment they have and the exposure limit could be exceeded easily

- the situation is unclear or data is lacking regarding important factors.

Following a “MAJOR” incident, EHS responders may determine, based on the circumstances of the spill or release, that clean-up of the site can be handled by lab personnel or other University employees (under the direction of the lab supervisor or EHS).

In the event that EHS is called to a simple spill (i.e., lab personnel have been conservative in assessing hazard and assumed worst case), EHS representatives will participate in or oversee the clean-up to support the lab personnel. In both of these cases where clean-up becomes a lab responsibility, EHS can provide clean-up supplies and equipment, PPE (to the level of training of the personnel), and safety instructions.

An Incident Report form must be completed for each emergency incident involving laboratories.

____________________________________________

GAS AND EQUIPMENT ALARMS

If gas and or equipment alarms are installed in laboratory and research areas, the alarm information must be included in the laboratory safety door posting on the outside door to the area.

The following requirements must be met:

- Alarm information detailing the different alarms’ sounds and significance must be included in the laboratory safety door posting on the outside door to the work area.

- The operations manual for the device, instrument, or equipment must be available in an easily accessible location for authorized workers who can address the alarm.

____________________________________________

GENERAL UNIVERSITY EMERGENCY INFORMATION

A.	Building Emergency and Evacuation. In the event of a fire, hazardous material release, or other hazardous situation requiring emergency response, the person who discovers the emergency will:

- evacuate the zone

- activate the fire alarm, if needed

- call 911 to report the incident

- assist emergency personnel by providing information regarding location of the incident, origin, and persons involved.

The person who discovers the emergency shall not be placed in imminent danger.

B. 	Incident and Accident Reporting. All laboratory incidents and accidents shall be reported to EHS, including major or emergency spills, fires, or injuries. Laboratory incidents and accidents shall be investigated. The PI or supervisor shall be responsible for implementing corrective action to prevent repeat incidents.

In the event of worker injury, the immediate supervisor of the injured person must work with their unit safety officer to fill out the First Report of Injury.

C.	Signs. The following signs and labels are required for all laboratories in Penn State facilities:

- A Laboratory Information Door sign shall be posted outside all laboratories, either on the outside of the door or on the wall beside the door. This sign provides information on specific hazards in the lab and telephone numbers of responsible faculty and staff. The information shall be updated as necessary and include after hours contact information.

- A Laboratory Emergency Contact Information sign shall be posted in a prominent location inside the lab, near the door or telephone. This sign provides emergency numbers in case of an emergency.

## Appendix D – Chemical Safety Fact Sheet

Safety Policies SY08: Storage, Dispensing and Use of Flammable Liquids and SY20: Hazardous Waste Disposal. Based on 29 CFR 1910.1450, Occupational exposure to hazardous chemicals in laboratories.

____________________________________________

EXPOSURE

This section describes responses for personal exposure to chemicals by inhalation, ingestion, inoculation, or dermal or eye contact. Additional first aid information for specific chemicals is available from EHS. When seeking medical assistance, bring the SDS.

POISON CONTROL  800-222-1222

In all cases, seek immediate medical assistance.

Inhalation: Get to a source of fresh air. Seek immediate medical assistance.

Ingestion:  Never give an unconscious person anything to drink. Do not neutralize acids or bases. Do not induce vomiting of acid or bases or other solvents unless advised by Poison Control.

Injection: Seek immediate medical assistance.

Dermal Contact: Remove the victim from the source of the contamination. Remove contaminated clothing, cutting it away if necessary. The first aid kit should contain scissors with blunted shear tips for this purpose. Immediately wash affected areas with water for at least 15 minutes, except in the event of hydrofluoric (HF) acid exposure. For HF spills, flush for a maximum of 5 minutes and use calcium gluconate as soon as possible.

Eye Contact: Wash eye(s) with water until medical help arrives. Keep the affected eye lower than the unaffected eye to prevent the spread of contamination. Sterile eyewash cups or irrigator loops are commercially available to assist in opening the eyelids without prying or traumatizing the injured eye and causing excess pain. These devices can augment washing of the central portion of the cornea and the superior cul-de-sac where particulate materials may become lodged (thus forming a solid mass).

____________________________________________

SPILLS

This section describes the procedures for decontamination in the event of a simple chemical spill onto surfaces, materials, instruments, or equipment. The LRSP contains general guidance for how to clean up spills of specific classes of materials. Refer to the SDS for chemical specific guidelines.

Lab personnel are responsible for the clean-up of simple spills, i.e., do not pose a significant safety or health hazard to people in the immediate vicinity or to the person cleaning the spill. Lab personnel should not handle spills that have the potential to become an emergency within a short time. EHS should be contacted for all spills of elemental mercury.

Simple spills are of limited quantity, exposure potential, or toxicity. 911 should be called in the event of a major or emergency spill. Lab personnel shall be properly trained to recognize emergency conditions and to notify appropriate responders for situations that are beyond their own capacity.

When a spill occurs, first cordon off the spill area to prevent inadvertently spreading the contamination over a much larger area. Select and wear the appropriate PPE during clean-up. Basic PPE includes lab coat, gloves, and eye protection. Thicker gloves or double layers may be necessary in some cases. EHS may provide spill equipment if none is present in the lab.

Pick up small spills of solids with paper towels wetted with water or an appropriate solvent. Solids may be swept up, if harmful aerosols will not be generated. Place wastes in compatible, sealable containers and dispose of through EHS. Clean instruments or large areas contaminated with solids with an HEPA filter vacuum cleaner to prevent aerosolization of the contaminant. EHS is available to provide information and equipment or supervise clean-up.

Wipe up small spills of liquids with paper towels or use loose absorbent or spill pillows.

____________________________________________

PROPER WORK AND HANDLING PRACTICES

The following practices are considered standard for use or storage of hazardous chemicals, including carcinogens and reproductive toxins.

A. Personnel Practices.

- Eye protection is worn.

- Gloves are worn for handling hazardous chemicals, including carcinogens or reproductive toxins.

- Gloves used are appropriate for the chemicals handled.

- Lab personnel wash their hands immediately after removing gloves, after handling chemicals, and before leaving the lab.

- Lab coats are worn fully fastened.

- Lab coats and gloves are worn only in the lab. They are not taken outside the lab, to lunchrooms or offices, nor are they worn outdoors.

- Eating, drinking, smoking, gum chewing, applying of cosmetics, or handling contact lenses are prohibited in the lab.

- Food storage is prohibited in the lab. Food is stored in cabinets or refrigerators designated for such use only.

- Mechanical pipetting devices are used; mouth pipetting is prohibited.

B. Operational Practices.

- Hazardous chemicals are used in a chemical fume hood to provide further protection to personnel.

- All containers of hazardous chemicals are labeled with the full name of chemical in English and hazard(s). Abbreviations and formulas are not allowed.

- Chemical storage is by hazard class. Chemicals are not stored merely in alphabetical order.

- Chemicals are dated on receipt and opening.

- Chemicals are removed when the expiration date is exceeded, especially in the case of peroxide-formers.

- Incompatible materials are physically separated.

- Flammable materials, including chemical waste, in amounts exceeding 10 gallons are stored in a flammables storage cabinet.

- Acids and bases are stored on low shelves or in an acid/base cabinet. Plastic-coated bottles and secondary containment are used to minimize the effects of leaks.

- Some chemicals, including shock-sensitive, detonable compounds (e.g. sodium azide, dry picric acid) or extremely poisonous materials (e.g. cacodylic acid, cyanides, osmium tetroxide, picrotoxin, ricin, tetrodotoxin) should be stored in locked cabinets. DEA controlled substances (e.g., pentobarbital, phenobarbital) are also locked in cabinets with keys accessible only to authorized lab workers.

- Designated work areas are established for handling materials with a high degree of acute or chronic toxicity (e.g. arsenic, carcinogens, cyanide, hydrofluoric acid, lead, mercury).

C. Waste Management.

- All personnel working with or supervising those working with chemicals or chemical waste must receive training within 90 days of hire and annually thereafter.

- A satellite accumulation area (SAA) must be designated near the point of waste generation and posted with a Satellite Accumulation Area sign.

- An individual working in the area must be assigned the responsibility for oversight of the SAA.

- Weekly, the SAA must be checked for the following and documented on the weekly inspection sheet:

- Containers are not leaking.

- Containers are labeled with green tags provided by EHS. Information on the tag is complete including generator name; container start date; chemical name(s), and concentration(s); and room and building where generated.

- All waste containers are in secondary containment.

- Chemicals are segregated so that incompatible chemicals are not next to each other.

- The total volume of waste in the SAA does not exceed 55 gallons.

- Waste is not kept in the SAA for longer than 11 months.

- Three years of weekly SAA inspection sheets are retained.

- Wastes are collected in compatible containers with sealable lids. Food containers are NEVER appropriate.

- Sharps (razors, needles, thin pipettes) are collected in rigid puncture-resistant, leakproof containers.

- Waste pump oil is collected for disposal as hazardous waste.

- Empty chemical containers are rinsed 3 times with a small amount of water, collecting the first rinse as waste. All labels are defaced. After this procedure, the containers may be reused or recycled. Five gallon containers are collected by EHS.

D. Specific Practices for Use with Carcinogens and Reproductive Toxins.

- Lab surfaces are covered with plastic-backed paper or its equivalent.

- Procedures involving volatile, powdered, or aerosolized carcinogens are performed in a chemical fume hood that is exhausted to the outside.

- Designated work and storage areas are established for carcinogens and reproductive toxins. These areas, including chemical fume hoods and refrigerators, are labeled “Chemical Carcinogen.”

- Unbreakable outer (secondary) containers are used for transportation of carcinogens.

- Access procedures are used if work involves moderate or greater amounts of carcinogens or moderate to lengthy procedures. These procedures may include:

- closed doors

- restricted access – only authorized personnel permitted

- written access procedures posted on the outer door.

- Dry sweeping and mopping are prohibited if powdered carcinogens, mutagens, or toxins (e.g., acrylamide and ethidium bromide) are used.

E. OSHA-Specified Cancer-Causing Agents.

2-Acetylaminofluorene

Acrylonitrile

alpha-Naphthylamine

4-Aminodiphenyl

Asbestos

Benzene

Benzidine

beta-Naphthylamine

beta-Propiolactone

bis-Chloromethyl ether

1,3-Butadiene

Cadmium

1,2-dibromo-3-chloropropane

3,3’-Dichlorobenzidine (and its salts)

4-Dimethylaminoazobenzene

Ethyleneimine

Ethylene oxide

Formaldehyde

Inorganic arsenic

Lead

Methyl chloromethyl ether

Methylene chloride

Methylenedianiline

N-Nitrosodimethylamine

Vinyl chloride

F. Medical Surveillance Provisions. If exposure to an OSHA-specified carcinogen is measured to be above the action level or the short term exposure limit (STEL), certain specific regulatory requirements come into play, one of which is a medical surveillance program. Medical surveillance is intended to determine whether personnel are experiencing adverse health effects from exposure to contaminants. It is to be provided without cost to employees and at a reasonable time and place. The parameters of the medical examination are contaminant-specific and primarily determined by or under the supervision of a licensed physician. For example, following a worker’s potential exposure to lead, the occupational physician will order biological monitoring for blood lead level, as required in the OSHA Lead Standard, but the other exam elements are left to the physician’s discretion. The OSHA Formaldehyde Standard requires medical questionnaires to be completed by workers with possible formaldehyde exposure. The physician discerns who needs a physical after reviewing the questionnaires.

## Appendix E – Compressed Gas Cylinders Fact Sheet

Safety Policy SY25: Compressed Gas Cylinders. Based on 29 CFR 1910.1450, Occupational exposure to hazardous chemicals in laboratories, by reference to Prudent Practices in the Laboratory, National Research Council.

____________________________________________

PROPERTIES AND HAZARDS

Handling compressed gases may be more hazardous than handling solid and liquid materials because of the unique properties of gases. These properties and their associated hazards are:

- pressure hazards causing equipment failure and leakage

- rapid diffusion, causing dangerous toxic or anesthetic effects, asphyxiation, and rapid formation of explosive concentrations

- low boiling-point materials, cryogenic materials, or liquefied gases causing frostbite

- the same hazards as those associated with solid or liquid chemicals, including corrosion, irritation, flammability, and high reactivity.

____________________________________________

PROPER WORK AND HANDLING PRACTICES

A. Storage Practices.

- The regulator is removed and the valve protection cap is in place when cylinders are stored.

- Cylinders are situated away from heat and ignition sources.

- Flammable gases (e.g., carbon monoxide, hydrogen) are stored away from other gases, especially oxidizers (e.g., nitrous oxide, oxygen).

- Cylinders are situated away from major traffic flow.

- Cylinders are maintained in an environment at near-room temperatures. They are not subjected to a temperature greater than 125 °F or lower than -21 °F.

- Flames never come into contact with any part of a compressed gas cylinder.

- A valve protection cap is left on each cylinder until it has been properly secured in the lab and when it is not in use (after having been secured).

- Cylinders must be secured against a wall or bench with cylinder clamps, chains, or straps, or be placed in a cylinder stand.

B. Transportation.

- Large cylinders are transported only on a wheeled cylinder cart. Cylinders are not slid or rolled, since even practiced handlers can lose control of them.

- Small cylinders are transported in a manner that protects them from potential damage from falling or striking objects.

C. Use of Cylinders.

- Lab personnel wear eye protection when changing regulators or manipulating tubing or equipment potentially under pressure.

- Cylinders are situated away from heat and ignition sources.

- Cylinders are situated away from major traffic flow.

- Cylinders are maintained in an environment at near-room temperatures. They are not subjected to a temperature greater than 125 °F or lower than -21 °F.

- Flames never come into contact with any part of a compressed gas cylinder.

- Cylinders are used only with a regulator. Cylinders contain pressures greater than most lab equipment can withstand. Cylinder users are aware that inadvertent closing of a valve or stop cock or plugging of a line could result in a violent failure of the apparatus.

- A regulator and gauge shall be installed at the point of use to show the outlet pressure when the source cylinder is outside of the lab.

- Cylinder valves are closed when not in use, if feasible. They are never tampered with, forced, lubricated, or modified.

- Cylinder leaks are attended to immediately. If a leak persists and/or cannot be controlled by simple adjustment, the supplier and EHS are contacted immediately. The cylinder is removed to a chemical fume hood or location where the leakage can be exhausted or diluted and left there until the contents can be disposed of according to vendor’s or manufacturer’s directions.

- When discharging a gas into a liquid, a trap or suitable check valve is used to prevent liquid from backflowing into the cylinder or regulator.

- Cylinders are used only with fittings, valves, regulators, and tubing designated by the vendor or manufacturer for the gas being used.

- Connections are not forced or used with homemade adapters.

- Incompatible gases linked by a direct potential pathway are protected by check valves or other safety devices appropriate for the gases being used.

- Ventilation in the use location is adequate to exhaust potential asphyxiant (e.g., carbon dioxide, helium, nitrogen) releases.

D. Empty Cylinders.

Note: Cylinders are never truly "empty." Empty cylinders shall be handled in the same manner as full and partially full cylinders.

- Full and empty cylinders are not manifolded together.

- Empty cylinders are promptly removed from manifolded systems. Hazardous suckback can occur when an empty cylinder is mistakenly attached to a pressurized system.

- Empty cylinders are labeled "Empty.”

- Valves are closed on empty cylinders, leaving a positive pressure. This prevents the interior from becoming contaminated.

- Valve outlets and protective caps received with the cylinder are replaced on empty cylinders.

- Whenever possible, empty cylinders should be returned to General Stores or the vendor.

- Where return is not feasible, a chemical waste pick up request should be completed to have EHS pick up the empty cylinder.

- Small empty propane or mapp gas cylinders for handheld torches may be disposed of in the regular trash.

E. Specific Procedures for Corrosive Gases.

- Corrosive gases are stored only for short periods before use, preferably less than three months. Using small cylinders ensures a reasonable turnover.

- Corrosive gas cylinders are ideally stored in a ventilated gas cabinet or in a remote location and piped in to prevent destruction of sensitive equipment in the event of a leak.

- Storage areas for corrosive gases are as dry as possible.

- A supply of water is available in case of emergency leaks in corrosive gas cylinders. Most corrosive gases can be absorbed in water.

- Cylinder valve stems on corrosive gases are manipulated frequently to prevent "freezing."

- Regulators and valves are closed when corrosive gas cylinders are not in use.

- Regulators and valves are detached from the cylinder except when it is in frequent use (weekly or daily).

- When corrosive gases are in use, an eyewash is immediately adjacent to the work area.

- When corrosive gases are in use, a shower is available in close proximity to the work area. The shower must be within 10 seconds travel time of the gas cylinder.

- Appropriate, chemically compatible, gloves are worn by lab personnel handling corrosive gases.

F. Specific Procedures for Using Acetylene Gas.

- Acetylene cylinders are stored upright (because they are partially filled with acetone).

- Acetylene cylinders that have not stood upright are used only after they have been upright for at least 30 minutes.

- The outlet line of acetylene cylinders contains a flash arrestor.

- Pressures are always maintained below the limit indicated by the red warning line on an acetylene pressure gauge.

- Appropriate tubing is used with acetylene gas. Copper tubing forms explosive acetylides and shall not be used.

G. Specific Procedures for Use with Oxygen and Other Oxidizing Gases.

- When oxygen is used, the cylinder valve is opened momentarily and then closed to blow dirt from the outlet. The valve outlet of an oxygen cylinder valve is never wiped or touched; this avoids leaving organic residues that might be ignited by exposure to high oxygen pressure.

- Oil or grease is never used on the high-pressure side of oxygen, chlorine, or other cylinders containing oxidizing material. Otherwise a fire or explosion could result.

H. Specific Procedures for Use with Toxic, Flammable, or Pyrophoric Gases.

- Toxic gases are purchased and stored in the smallest sizes possible.

- During use and storage, highly toxic gases are located in continuously ventilated gas cabinets or mechanical spaces.

- A continuous gas monitoring system is available for signaling releases of highly toxic gases.

- Lecture bottles of highly toxic gases are used in a chemical fume hood.

- Flash arrestors are present on cylinder lines leading from flammable gases. When flammable gases are used in conjunction with oxygen, the flammable gas lines are equipped with backflow protection to prevent mixing of oxygen with the fuel.

- Fires of pyrophoric or highly combustible gases are not considered extinguished until the source of gas is closed off; otherwise, it can reignite and cause an explosion.

## Appendix F – Highly Reactive Materials, High-Pressure Reactions, or Vacuum Systems Fact Sheet

Based on 29 CFR 1910.1450, Occupational exposure to hazardous chemicals in laboratories, by reference to Prudent Practices in the Laboratory, National Research Council.

____________________________________________

GENERAL OPERATIONAL PRACTICES FOR REACTIVE/EXPLOSIVE HAZARDS/SYSTEMS

Note: There may be overlap between these categories. Compounds may be reactive, may cause system over-pressurization, and may be used with vacuums. All three areas (highly reactive materials, high-pressure systems, and vacuum systems) may apply to one reaction.

- When working with pyrophoric and other highly reactive materials, a flame resistant (FR), fully buttoned lab coat with sleeves fully extended to the wrists must be worn at all times.

- Heat guns are not used for heating if flammable vapors are present. Instead, heating tapes, mantles, or water, steam, or oil baths are used.

- Preplanning for a potential explosion should include provisions to contain the entire reaction mixture.

- Dry ice solvent baths are not used for reactive gases.

- Hot liquids are not brought into sudden contact with lower-boiling liquids.

- Boiling chips are not added once the heated liquid has exceeded its boiling point.

- The areas where highly reactive chemicals, high-pressure, or vacuum equipment are used are posted with signs to warn others of potential danger.

- When a reaction becomes uncontrollable, heat is removed, the addition of reagents is stopped, those nearby are notified, and the chemical fume hood sash is closed until the temperature has dropped.

- Emergency equipment is on hand for reactions that could runaway violently.

- When appropriate, tongs are used to manipulate highly reactive chemicals to prevent exposure of any part of the body to possible injury (e.g., when immersing sodium metal in solvents, handling heated crucibles, or removing weighing dishes from ovens).

____________________________________________

HIGHLY REACTIVE MATERIALS

A. Definition. Highly reactive materials are those agents that undergo rapid chemical change causing exothermic or other self-accelerating reactions when subjected to heat, impact, friction, light, catalysts, or other initiation. These agents are materials that will detonate or deflagrate. Highly reactive materials encompass (but are not limited to):

- Air-reactive chemicals (e.g., palladium or platinum on carbon, platinum oxide, Raney nickel)

- Cryogenic materials/liquefied gas, supercritical fluids (e.g., helium, nitrogen, oxygen)

- Explosive dusts (e.g., carbon powder, flowers of sulfur, magnesium powder, zinc dust)

- Explosives, other (e.g., chlorine, diazomethane, hydrogen, hydrogen peroxide, polymerizing acrolein, trinitrotoluene)

- Highly water-reactive chemicals (e.g., aluminum bromide, metal hydrides, phosphorus pentachloride, tin tetrachloride, titanium tetrachloride)

- Metal hydrides (e.g., lithium aluminum hydride, sodium borohydride)

- Organic peroxides (e.g., acetyl peroxide, benzoyl peroxide)

- Organometallic chemicals and active metals (e.g., lithium, magnesium, potassium, sodium, trimethyl gallium)

- Oxidizing agents (e.g., chromates, halogens, nitrates, oxyhalogens, peroxides, peroxyhalogens, permanganates, persulfates)

- Perchloric acid and perchlorates (e.g., sodium perchlorate)

- Peroxide-forming chemicals (e.g., acrylonitrile, dioxane, ether, tetrahydrofuran)

- Polymerization reactions (e.g., acrylate monomers)

- Polynitro organic chemicals (e.g., dinitrophenylhydrazine, methyl nitronitrosoguanidine, picric acid)

- Pyrophoric chemicals (e.g., boranes, white phosphorus, alkyl metals such as n-butyllithium and dibutyl magnesium)

- Shock-sensitive and other unstable chemicals (e.g., acetylides, azides, nitro compounds, organic nitrates, perchlorates).

Note: Many of the above classes of materials overlap with other classes (e.g., organometallics may be pyrophoric). The list is intended merely to provide guidance for determining whether this section applies to the research in your lab. Exact classification is not necessary.

B. Operational Practices for Specific Classes of Reactives. The categories listed below are not exhaustive and do not necessarily cover all possible circumstances that must be controlled.

Explosive dusts

- Suspensions of oxidizeable particles are handled wet.

- The airborne particulates are not exposed to ignition sources.

- Adequate ventilation has been provided to control the concentration of airborne dusts.

Organometallics and pyrophoric chemicals

- Where organometallics are used, Class D fire extinguishers or pails of dry powder extinguishing agent or sand are provided.

- All pyrophorics are used and stored in an inert atmosphere (e.g., under nitrogen or argon).

- Regulators are set correctly to prevent glassware from being over pressurized with nitrogen or argon.

- To avoid spills resulting in fires, breakable glass bottles are stored inside a rubber or plastic bottle carrier.

Organic peroxides and peroxide-forming solvents

- Organic peroxides and peroxide-forming solvents are protected from and stored away from light.

- Ceramic, plastic, or wooden spatulas are used with organic peroxides. Metal spatulas are never used.

- Glass containers with screw caps or glass stoppers are not used with organic peroxides.

- Friction, grinding, or other forms of impact are not permitted near peroxides.

- Organic peroxides are diluted with inert solvents such as mineral oil to reduce their sensitivity to heat and shock.

- Liquid organic peroxides are never allowed to freeze, as phase changes increase the sensitivity of these compounds to shock and heat.

- Peroxide-forming solvents are disposed of through EHS by the expiration date on the label or within a year of opening, whichever comes first.

- Peroxide-forming compounds are stored in a cool, dark, well-ventilated area.

Oxidizing agents

- Oxidizing agents are separated from reducing materials, metals, and ordinary combustibles.

- Oil baths are not used when oxidizing agents are present.

Perchloric acid and perchlorates

- Organic materials are digested with nitric acid before the addition of perchloric acid.

- Perchloric acid is heated (i.e., during acid-based digestion) only in a water-washdown laboratory chemical fume hood of noncombustible construction.

- Chemical fume hoods in which perchloric acid is heated are inspected frequently for the accumulation of perchlorates. Deposits are saturated with water and removed.

- Perchloric acid is never used near, nor stored on, wooden shelves.

- Perchloric acid is stored in glass bottles on noncombustible (e.g., ceramic or plastic) trays large enough to contain the entire contents of the bottle.

- Perchloric acid and perchlorates are never stored with organic materials.

- Perchloric acid is never heated with sulfuric acid.

Polynitro organic chemicals and shock-sensitive or unstable compounds

- The stock of polynitro compounds is stored separately from other lab chemicals.

- Stock is regularly inspected for degradation or dehydration, as these compounds may become more shock-sensitive with age.

- Polynitro compounds are disposed of through EHS when no longer needed. They are not placed in storage for future use, as they may become more hazardous over time.

- When polynitro and shock-sensitive compounds are moved, they are handled by the container bottom and never by the cap or lid.

- Picric acid is hydrated or kept in solution to reduce sensitivity. It is never allowed to dry out completely.

- Solid sodium azide, in quantities above 25 grams, is dissolved when it arrives in the lab. Solutions of sodium azide do not pose the danger of shock-sensitivity associated with the solid form; however, the hydrazoic acid generated when the azide is dissolved is extremely toxic. Therefore, the solution is always prepared inside a chemical fume hood. If not dissolved, solid azide must be stored in a locked cabinet.

- Teflon or other nonmetal spatulas are used with solid sodium azide due to its reactivity with metals.

____________________________________________

HIGH-PRESSURE SYSTEMS

A. Definition. High-pressure reactions are those experiments that are carried out at pressures above one atmosphere. This includes most hydrogenation reactions since explosive oxygen-hydrogen mixtures can be formed as a result of these reactions.

B. Operational Practices.

- A label on each pressure vessel indicates the maximum allowable working pressure and temperature.

- Service lines are not connected to any closed apparatus incapable of withstanding the maximum pressure of the service line (air, water, etc.).

- All pressure systems are protected with appropriate pressure-relief devices.

- The pressure-relief device is installed so that the discharge is directed away from the area where a person could be affected.

- Pressure-relief devices are inspected periodically. Orifices on both sides of the pressure-relief device are checked for obstruction.

- The lab personnel use pressure gauges with pressure ranges about twice the working pressure of the system.

- Containers, fittings, and other equipment to be used when working with pressure vessels are able to withstand the stresses imposed by the given pressures and temperatures.

- Vessels containing solution are not filled above capacity; preferably, the vessel is only half full.

- The pressure levels of high-pressure devices are monitored periodically as heating proceeds.

____________________________________________

VACUUM SYSTEMS

A. Definition. Vacuum systems include those involving mechanical vacuum pumps, building vacuum systems, water aspirators, or steam aspirators.

Work with vacuum systems poses a substantial danger of injury to the operator from flying shrapnel released during an implosion. Other hazards may include:

- the toxicity of the chemicals in the vacuum system

- fire following breakage of a flask containing flammable solvents

- toxicity from the mercury in manometers and gauges

- over- or under-pressurization arising with thermal conductivity gauges

- electric shock with hot cathode ionization systems.

B. Operational Practices.

Vacuum apparatus

- Vessels used in vacuum operations are protected with suitable relief valves (vacuum breaker).

- A protective shield is placed around evacuated systems.

- Lab personnel wear safety glasses and face shields when working with evacuated systems or setting up such systems.

- The vacuum system has been arranged to allow the equipment to be moved without transmitting strain to the neck of the flask; flasks are supported from below as well as by their necks.

- The vacuum apparatus is well out of the way of traffic to avoid being struck inadvertently.

- Belt-driven mechanical pumps are equipped with protective guards to enclose the moving belts.

Capture of contaminants

- Each vacuum system used for solvent distillation operations is protected by a suitable trapping device (e.g., cold trap, filter, liquid trap) with a backflow check valve.

- Water, solvents, and corrosive gases shall not drawn into the building vacuum (house) system.

- When mechanical vacuum pumps are used with volatile substances, the input line to the pump is fitted with a cold trap to minimize the amount of volatile materials entering the pump and dissolving in the oil. The contents of the cold trap must be disposed of properly. Evaporation is not an acceptable route of disposal.

- If particulates could contaminate a vacuum line (e.g., from an inert atmosphere dry box or glovebox), a HEPA filter is installed.

- If pump oil becomes contaminated, it is drained and changed to prevent the exhaust of chemicals into room air.

- Used pump oil is disposed of through EHS as chemical waste.

- Records of use are maintained for general-purpose lab pumps in order to forestall cross-contamination or reactive chemical incompatibility problems.

- The exhaust from evacuation of volatile, toxic, or corrosive materials is vented to an air exhaust system such as a chemical fume hood or local exhaust duct.

Vessels

- Glass vessels used in conjunction with the vacuum system should be checked with polarized light for cracks, scratches, or etching each time the vessel is used. At minimum, a visual inspection will be conducted.

- Dewar flasks are wrapped with tape or enclosed in wooden or metal containers.

- Reduced pressure is never applied to flat-bottomed flasks unless they have been designed for this purpose.

- Vacuum desiccators are made of borosilicate/Pyrex glass or plastic.

- Evacuated desiccators are never carried or moved.

- Lab personnel wait to open desiccators until atmospheric pressure has been restored.

- If rotary evaporators are used, increases in rotation speed and application of vacuum to the flask are gradual.

## Appendix G – Biological Safety Fact Sheet

Based on 29 CFR 1910.1030, Bloodborne Pathogens, Research Protections Policy RP11: Use of Biohazardous Materials in Research and Instruction, and Safety Policy SY29: Infectious Waste Disposal.

____________________________________________

BIOSAFETY LEVEL 2 CONTAINMENT

A. Principles of Biosafety Containment. “Containment” refers to a reliable plan for managing infectious agents in the lab environment where they are being handled or maintained. The purpose of containment is to reduce or eliminate exposure of lab personnel, other persons, and the outside environment to potentially hazardous agents.

BSL-2 practices, equipment, and facilities are applicable to clinical, diagnostic, teaching, and other facilities in which work is performed with the broad spectrum of indigenous moderate-risk agents present in the community and associated with human disease of varying severity. With good microbiological techniques, such agents can be used safely in activities conducted on the open bench, provided the potential for producing splashes or aerosols is low. Hepatitis B virus, Salmonella, and Toxoplasma spp. are representative of microorganisms assigned to this containment level.

B. Applicability of BSL-2. The BSL-2 requirements apply to research work:

- studying known infectious agents classified as requiring BSL-2 precautions by the CDC/NIH in Biosafety in Microbiological and Biomedical Laboratories (BMBL), and

- involving the handling of vertebrate animals experimentally or naturally infected with agents classified as requiring BSL-2 controls by BMBL.

The biological hazard exists in the potential for autoinoculation, ingestion, or mucous membrane exposure by a person handling the agents or infected animals.

In addition, BSL-2 requirements are required for the handling of human blood, blood products, and other potentially infectious human-derived materials (OPIM). The following materials are considered potentially infectious:

- Human blood, blood components, and blood products

- Semen

- Vaginal secretions

- Cerebrospinal fluid

- Synovial fluid

- Pleural fluid

- Peritoneal fluid

- Amniotic fluid

- Saliva in dental procedures

- Any body fluid visibly contaminated with blood

- All body fluids in situations where it is difficult or impossible to differentiate between body fluids

- Any unfixed tissue or organs from a human (living or dead)

- HIV-containing cell or tissue cultures, organ cultures, and HIV- or HBV-containing culture medium or other solutions

- Blood, organs, or other tissues from experimental animals infected with HIV or HBV

- Human albumin

- Human tissue culture cell lines (even those that are established).

Note: Human albumin and established human cell lines are exempt from the requirements of the Bloodborne Pathogens Standard if they can be characterized as free of contamination from HBV, HIV, and other recognized bloodborne pathogens. The standard states that the final determination that human or other animal cell lines in culture are free of bloodborne pathogens must be made by a biological safety professional or other qualified scientist with background and experience to review such potential contamination and risk. The professional would be expected to comment, in writing, on the test methods and molecular technology applied to a cell line sample to identify or screen for latent viruses capable of infecting humans.

Documentation that given cell lines in use in a lab are not classified as OPIM should be available in the lab’s in the Unit Specific Plan. Documentation may be provided by the cell line distributor or vendor (e.g., ATCC) at the point of origin but these records do not generally account for potential contamination during shipping. To meet the requirements of the law, the PI would need to document that the package was protected from environmental contamination during transport and arrived at the lab undamaged.

____________________________________________

SPILLS

A biological spill shall be followed by prompt action to contain and clean-up the spill. When a spill occurs, warn everyone in the area and call for assistance as needed. Assess the degree of risk involved in the spill based on:

- the volume of material spilled

- the potential concentration of organisms in the material spilled

- the hazard of the organisms involved

- the route of infection of the organisms

- the diseases caused by the organisms.

Spills of biological agents can contaminate areas and lead to infection of lab personnel. Thus, prevention of exposure is the primary goal in spill containment and clean-up, exactly as in chemical spills. In evaluating the risks of spill response, consider the potential for generation of aerosols or droplets.

If an accident is expected to generate droplets or aerosols in the laboratory room atmosphere, the room shall be evacuated immediately. Doors shall be closed and clothing decontaminated. Call EHS to supervise the clean-up. In general, a 30-minute wait is sufficient for the droplets to settle and aerosols to be reduced by air changes. Longer waiting periods may be imposed depending on the situation and the ventilation system in this area. Lab personnel and/or EHS will exercise judgment as to the need for outside emergency help in evacuation.

If a spill of a biological agent occurs in a public area, evacuation of the area shall be immediate. The PI will be responsible for designating the extent of evacuation until EHS or emergency personnel arrive. Remember that prevention of exposure to hazardous aerosols is of primary importance.

Anyone cleaning a spill wears PPE (for example, lab coat, shoe covers, gloves, safety glasses, and, possibly, respiratory protection) to prevent exposure to organisms. Only personnel enrolled in the Respiratory Protection Program, trained, and cleared through EHS are permitted to wear respirators.

____________________________________________

PROPER WORK AND HANDLING PRACTICES

A. Standard Practices.

- Access to the lab is limited or restricted by the PI/supervisor when work with infectious agents is in progress.

- Work surfaces are decontaminated at least once a day and after any spill of infectious material.

- All RMW are chemically decontaminated or autoclaved before disposal.

- Lab personnel wash their hands immediately after removing gloves, after handling agents, and before leaving the lab.

- All procedures are performed carefully to minimize the creation of aerosols.

- Eating, drinking, smoking, gum chewing, applying of cosmetics, or handling contact lenses are prohibited in the lab.

- Food storage is prohibited in the lab. Food is stored in cabinets or refrigerators designated for such use only.

- Mechanical pipetting devices are used; mouth pipetting is prohibited.

- An insect and rodent control program is in effect.

B. Special Practices.

- Lab doors are kept closed when experiments are in progress.

- Contaminated materials that are to be transported in public areas (hallways, etc.) are placed in leak-proof, closed, and labeled or color-coded containers before removal.

- Access to the lab is restricted. Persons who are at increased risk of acquiring infection or for whom infection may be unusually hazardous are not permitted. The PI or supervisor has final responsibility regarding entry and work in the lab. Only persons who are advised of the potential hazard and who meet entry requirements, such as immunization, may enter the lab.

- If the infectious agents used require special entry provisions, such as immunization, a hazard warning sign is posted on access doors to the lab. This includes the universal biohazards symbol, infectious agent, PI’s name and phone number, and special entry requirements.

- Animals and plants unrelated to research are prohibited in the lab.

- Hypodermic needles and syringes are used only for injection and aspiration of fluids. Needle-locking syringes or disposable units are used.

- Used sharps, including needles and syringes, are immediately placed in a red, red-orange, or orange rigid, puncture-resistant container with a lid, and chemically decontaminated or autoclaved before discard or reuse.

- Extreme caution is used when handling needles and syringes to avoid autoinoculation and generation of aerosols during use.

- Spills and accidents resulting in overt exposures are reported to the PI or supervisor and EHS.

C. Primary Barriers.

- Lab personnel wear clothing that protects street clothing. This includes at least one of the following options: lab coats, solid-front gown, smocks, or uniforms.

- Lab clothing is worn only inside the lab.

- Lab clothing that is contaminated is either autoclaved or disinfected with 10% bleach solution prior to laundering.

- Lab personnel wear gloves when handling infectious materials.

- Gloves are carefully removed and changed when visibly contaminated or compromised.

- Persons coming into indirect contact with potentially infectious materials wear gloves if they have lesions or dermatitis on their hands.

- Eye protection is worn when splashes, spray, spatter, or droplets of potentially infectious materials may occur.

- Face shields, or surgical masks and eye protection, are worn when splashes, spray, spatter, or droplets of potentially infectious materials may occur.

D. Containment Equipment. The following procedures are conducted only in a physical containment device such as a biological safety cabinet (BSC) or a chemical fume hood:

- Centrifuging, grinding, blending, vigorous shaking or mixing, sonic disruption, opening infectious-material containers for which internal pressures may differ from ambient pressures, inoculating animals intranasally, and harvesting infected tissue from animals or eggs.

Exception: Materials may be centrifuged in the open lab if sealed rotor heads or centrifuge safety cups are used and if the centrifuge tubes are opened only in a physical containment device.

- Use of high concentrations or large volumes of infectious agents are conducted only in a BSC.

Lab personnel are to be trained in the proper use of BSCs, with an emphasis on activities that may disrupt the inward flow of air through the work opening. Personnel are aware that the activities that can cause escape of aerosols include:

- repeated insertion and withdrawal of arms

- opening and closing lab doors or isolation cubicle

- improper placement or operation of equipment or materials in the BSC

- brisk walking past the BSC during use.

____________________________________________

ADDITIONAL PRACTICES SPECIFIC TO THE USE OF HUMAN BLOOD, BLOOD PRODUCTS, OR OTHER POTENTIALLY INFECTIOUS MATERIALS

A. Standard Practices. The requirements of the Bloodborne Pathogens Standard are discussed in the University’s Exposure Control Plan, entitled Bloodborne Pathogens Program. The plan relates the general elements of the program and the expected protocols that shall apply in your lab.

Any lab personnel who may be exposed to human blood or other human products shall:

- be included in the group’s exposure determination

- practice universal precautions

- have the opportunity to receive HBV vaccination

- sign a waiver or consent form for vaccination

- be offered postexposure evaluation and follow-up

- be trained to understand the hazards of bloodborne pathogens and how to protect against them.

In order to comply with the requirement for universal precautions, the PI shall thoroughly evaluate current lab procedures and supplies for adequacy. Proper application of universal precautions entails:

- proper work practice controls for all work involving blood or OPIM

- required initial and annual Bloodborne Pathogens training

- provision of required engineering controls

- proper waste disposal with an adequate supply of appropriate sharps containers and biohazard bags

- posting of warning labels and signs

- provision of appropriate PPE.

As further pertains to PPE, the PI shall:

- monitor that such supplies are consistently available

- ensure its use through periodic checks

- oversee its regular cleaning and/or proper disposal

- ensure any necessary repair or replacement.

B. Special Practices and Primary Barriers.

- When working with human blood, blood products, and OPIM, lab personnel are prohibited from bending or shearing needles. Needles shall not be replaced in the guards or removed from the syringe.

- Waste materials from operations involving human blood, blood products, and OPIM are autoclaved or treated with 10% bleach solution before disposal.

- Spilled material is treated with 10% bleach solution and wiped up with paper towels by lab personnel wearing PPE.

- All paper towels, gloves, and other supplies used in cleaning the spill are disinfected.

- Bleached materials are not autoclaved due to corrosion of the steel equipment by potential generation of chlorine gas.

- Spills on skin are immediately washed with soap and water.

- Contaminated items and clothing shall not be brought home for disinfection. They must be handled in the lab or another appropriate campus location.

- Contaminated clothing is immediately autoclaved or treated with 10% bleach solution.

- Contaminated clothing is not sent for laundering unless it has been autoclaved or treated with 10% bleach solution.

- All materials disinfected with 10% bleach solution are in contact with the solution for 10 – 30 minutes.

____________________________________________

RECOMBINANT DNA SAFETY PROGRAM

Research involving recombinant or synthetic nucleic acid molecules shall comply with the NIH Guidelines for Research Involving Recombinant or Synthetic Nucleic Acid Molecules (NIH Guidelines). The NIH Guidelines are applicable to all recombinant DNA research conducted Penn State. The purpose of the NIH Guidelines is to specify practices for constructing and handling recombinant DNA molecules, and organisms and viruses containing recombinant DNA molecules.

NIH defines recombinant DNA molecules as:

- molecules that are constructed outside living cells by joining natural or synthetic DNA segments to DNA molecules that can replicate in a living cell

- molecules that result from the replication of those described above.

Synthetic DNA segments which are likely to yield a potentially harmful polynucleotide or polypeptide (e.g., a toxin or a pharmacologically active agent) are considered as equivalent to their natural DNA counterpart. If the synthetic DNA segment is not expressed in vivo as a biologically active polynucleotide or polypeptide product, it is exempt from the NIH guidelines. Genomic DNA of plants and bacteria that have acquired a transposable element, even if the latter was donated from a recombinant vector no longer present, are not subject to the NIH guidelines unless the transposon itself contains recombinant DNA.