USED FLUORESCENT LIGHT TUBE STORAGE AND DISPOSAL

- Collection

- Collect all fluorescent lamps for recycling.  High level and low level mercury bulbs (green ends or green writing) can be collected in the same container.

- Place used tubes in designated storage area.

- Storage

- An area must be designated as the storage area.  This area must be:

- In a secure area; the loading dock is not permissible unless in a gated area.

- An area out of the weather, so that the cardboard containers do not become wet.

- Used light tubes cannot be stored for more than a year.

- Used light tubes must be kept in a container.  This can be the original box that the lights came in or Environmental Health and Safety can also supply boxes for storage.

- Labeling

- All containers of light tubes must be labeled at the start of filling each box with the following: (Pre-printed labels are available)

- "Universal Waste - Lamps”

- Date the container was started to be filled.

- Building name.

- Disposal

- OPP

- Fill out the chemical waste pickup request form for used light tube disposal. This form can found on the EHS web site at: http://www.ehs.psu.edu/hazmat/chem_manifest/chem_manifest.cfm.

The lights will not be picked up without the proper paperwork being submitted.

- Mail a hard copy of the form to Al Matyasovsky in 186 OPP for pickup.

- Pickups are done on the second Wednesday of April, August, and December.

- Pickup request must be received before 5:00 am on Wednesday for them to be picked up.

- Janitorial supervisors are prompted by PM work order to dispose of all boxes (full and partial) on first of the above months.

- If storage area is full prior to one of the three scheduled days, contact Al Matyasovsky for pickup.

- The used lights are then transported to a central storage facility.

- Bulbs are sent for recycling three to four times per year, depending on rate of generation.

- Housing

- Fill out the chemical waste pickup request form for used light tube disposal. This form can found on the EHS web site at: http://www.ehs.psu.edu/hazmat/chem_manifest/chem_manifest.cfm.

The lights will not be picked up without the proper paperwork being submitted.

- EHS will pick up the lights once the request is received.

- The used lights are then transported to a central storage facility.

- Bulbs are sent for recycling three to four times per year, depending on rate of generation.

- Broken light tube cleanup

- All broken lights should be cleaned up immediately.

- Use a broom and dustpan to sweep up the dust and broken glass.

- Put cleaned up material into a bag and place with the used lamps.

See SY 31, http://guru.psu.edu/policies/SY31.html, for further information and the written policy on fluorescent light tube storage and disposal.

Revised 10/27/2009