Guidelines For Barbecues At University Park Campus

1. Barbecues are only approved for recognized university groups.

2. All barbecues must be approved by the Environmental Health and Safety Office.

3. Approval for a barbecue must be secured at least one (1) week prior to the event.

4. The barbecue location must be approved by both the Environmental Health and

Safety Office and the area having jurisdiction.

5. There must be a designated person-in-charge.

6. Only propane fueled grills will be approved for use. The use of charcoal grills is not

permitted.

7. A maximum of three (3) grills will be permitted per event.

8. A 10 foot perimeter must be established and maintained around the grill(s) to prevent

individuals from accidentally coming in contact with the grills.

9. Grills must be situated away from building entrances and overhangs.

10. A minimum of one (1) 5 lb. dry chemical fire extinguisher must be on site.

(Building fire extinguishers shall not be utilized to meet this (requirement)

11. Cooked food must be removed from the grill(s) to a table for dispensing onto

plates, rolls, etc.

The above guidelines are provided for everyone’s safety.

Steven G. Triebold

Fire Safety

Environmental Health and Safety

(814)865-6391

2/97

7/05

4/16

WINWORD\DOCS\BBQ_GUID.DOC