List of Suspect PCB-Containing Materials

Note: The following list does not include every product/material that may contain PCBs. It is intended as a general guide to show the many types of materials that may contain PCBs.

Paint, Varnishes and Lacquers

Non-Conducting materials in Electrical Cables (e.g. Plastic and rubber)

Rubber and Felt Gaskets

Coal Tar Enamel Coatings (e.g. Pipe Coating), and Rust Inhibitor Coatings

Insulation Materials (e.g. Fiberglass, Felt, Foam, and Cork)

Adhesives and Tapes

Caulk, Grout, and Joint Material (e.g. Putty, Silicon, and Bitumen)

Pipe Hangers

Plastic Applications, including Vinyl and PVC

Galbestos Siding

Mastics

Acoustic Ceilings and Floor Tiles

Asphalt Roofing and Tar Paper

Synthetic Resins and Floor Varnish

Sprayed-On Fireproofing

Call Environmental Health and Safety (EHS) at 814-865-6391 if you have any questions or need a material identified or confirmed. DO NOT sample or disturb the material yourself.