**Monthly Pesticide Facility Checklist**

Location:

Date: Inspector:

|  |  |  |  |
| --- | --- | --- | --- |
|  | Yes | No | N/A |
| *General Information* |  |  |  |
| * Clean, neat pesticide storage site |  |  |  |
| * Clean area to dress available |  |  |  |
| * All required PPE available in clean location |  |  |  |
| * Current, on-site annual pesticide inventory |  |  |  |
| * Labels on file for all pesticides |  |  |  |
| * Accurate monthly storage inspection log maintained |  |  |  |
| * Storage area temperature between 40º and 90º F. |  |  |  |
| *Pesticide Containers* |  |  |  |
| * Containers marked with purchase date (old pesticide inventory to be used first) |  |  |  |
| * Insecticides, herbicides, and fungicides segregated |  |  |  |
| * Pesticides stored in original containers |  |  |  |
| * Labels legible and attached to containers |  |  |  |
| * Container caps tightly closed |  |  |  |
| * Containers out of direct sunlight |  |  |  |
| * No reused pesticide containers present |  |  |  |
| * Pesticides stored off the floor and low to the ground |  |  |  |
| * Liquid formulations have secondary containment |  |  |  |
| * Feeds stored separately from pesticides |  |  |  |
| * Used containers properly rinsed |  |  |  |
| * Rinsed and unrinsed containers separated |  |  |  |
| *Spills and Disposal* |  |  |  |
| * Storage area free of spills or leaks |  |  |  |
| * Spill kit present and stocked |  |  |  |
| * Floor drains sealed if flow to other than holding tank |  |  |  |
| * Holding tank in good condition and not full |  |  |  |
| *Safety Information* |  |  |  |
| * Safety equipment separated from pesticides |  |  |  |
| * Fire extinguisher in good working order |  |  |  |
| * First Aid kit available |  |  |  |
| * Phone available and emergency phone numbers posted |  |  |  |
| * Storage room/cabinet and windows locked |  |  |  |
| * Storage area posted: “Danger Pesticide Storage Area” |  |  |  |
| * Storage site well lit and ventilated |  |  |  |

Comments: